NAESB TLR BUSINESS PRACTICE REVIEW

From: Jan 10-11 2007 Joint NERC/NAESB TLR Drafting Team Minutes
Business Practice 3.4.2 and 3.4.3. need to be reviewed to be sure that they adequately capture the deleted original NERC 2.4.2 See September 7, 2005 BPS minutes. Some drafting team members believe that those paragraphs may need to be reworded. Kathy York and Jim Busbin volunteered to work on it. 

The drafting is recommending that new NERC 2.4.2 (old 2.4.3) as revised should be considered as a NAESB business practice, because it is already captured in NAESB 3.4.1 and 3.4.2 and 3.4.3. Review is recommended to be sure that all of the redlined NERC changes are captured. Kathy York and Jim Busbin volunteered to work on it.
From: NERC TLR Procedure Section 2.4.2 – as filed with current SAR (from TLR Procedure filed with FERC)
2.4.2. Curtailment procedures to mitigate an SOL or IROL. The Reliability Coordinator shall curtail Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold as specified in Section 3, “Interchange Transaction Curtailment Order” in the current hour to mitigate an SOL or IROL as well as reallocating, in accordance with Section 6 of this document, to a determined flow for the top of the next hour.

The Reliability Coordinator shall allow Interchange Transactions using Firm Point-to-Point Transmission Service to start if they are submitted to the IDC within specific time limits as explained in Section 7 “Interchange Transaction Curtailments during TLR Level 3b.”  (Sections 3.4.2 and 3.4.1 of NAESB Transmission Loading Relief Business Practice)
From: Original IRO-006 Version 0… Sections 2.4.2 and 2.4.3

2.4.2. Holding new Interchange Transactions. The Reliability Coordinator shall hold

all new Interchange Transactions using Non-firm Point-to-Point Transmission

Service that are at or above the Curtailment Threshold during the period of the

SOL or IROL Violation. The Reliability Coordinator shall allow Interchange

Transactions using Firm Point-to-Point Transmission Service to start if they are

submitted to the IDC within specific time limits as explained in Section 7.

“Interchange Transaction Curtailments during TLR Level 3b.”

2.4.3. Curtailment procedures to mitigate an SOL or IROL. The Reliability

Coordinator shall curtail Interchange Transactions using Non-firm Point-to-Point

Transmission Service that are at or above the Curtailment Threshold as specified

in Section 3, “Interchange Transaction Curtailment Order.”
From: Sept 7 2005 NAESB TLR BPS Drafting Team

The group reviewed comments made by Tennessee Valley Authority (TVA) posted at http://www.naesb.org/pdf2/weq_bps090705w1.doc.  In reference to comment #1, Ms. Mangum-Goins stated that section 3.4.2 and section 3.4.3 of the NAESB TLR Business Practices required clarification to correspond to IRO-006 7.4.4.  TVA’s change was to insert the words “in the current hour or after” in 3.4.3.  Mr. Kezele stated that the IDC Working Group (IDCWG) had identified a problem with IDC coding and the policy language as stated in IRO-006 7.4.4.  The NERC Operating Reliability Subcommittee (ORS) and had requested a policy change in which a TLR level 3B would be handled in the current hour by curtailing transactions and in the next hour by allocation in the same manner as a TLR level 3A.  The change was approved by the TLR Subcommittee.  Ms. York stated that TVA would withdraw their comment.

Latest Approved NAESB TLR BPS

3.4.2. To mitigate a SOL or IROL in the current hour, the Reliability Coordinator shall curtail Interchange Transactions using Non-Firm Transmission Service that are at or above the Curtailment Threshold as defined in section 3.10 and use the Interchange Transaction priorities as specified in Requirement 2 “Interchange Transaction Priorities for use with Interconnection-wide TLR procedures.”  

3.4.3. To continue mitigation of the SOL or IROL for the beginning of the next hour, the Reliability Coordinator shall curtail additional Interchange Transactions using Non-Firm Transmission Service to provide transmission capacity for Interchange Transactions using Firm Transmission Service or Interchange Transaction using higher priority Non-Firm Transmission Service utilizing the Reallocation procedures as specified in Requirement 3.3. 

Issues and Concerns…

1. Does NAESB BPS appropriately capture the intent of the original language and subsequent recommended revisions? Yes

2. Is the language unambiguous as to exactly what the operator is supposed to do?  NO, does this mean that the operator calls a 3a at top of the next hour or does 3b continue through the next hour (note: ambiguity existed in original NERC language).

Recommendation:  The Joint NERC/NAESB TLR Drafting team should determine the appropriate course of action regarding the transition between current hour and next hour during TLR level 3b and make appropriate clarifying changes to the NAESB Business Practices (and if necessary, the NERC reliability standards).

