BPS Responses to Informal Comments Filed on NAESB Request R05007 (ERCOT):
From: DAVIS, EDWARD J  
Sent: Monday, February 27, 2006 7:26 AM
To: 'naesb@naesb.org'
Subject: Entergy Comments - NAESB Informal Request for Comments on R05007 - Remove ERCOT
Entergy agrees with and supports the draft standards dated 2/22/06 containing the removal of ERCOT from the IIP and Manual Time Error Correction.
 

Ed Davis
 

Edward Davis
Entergy Services, Inc
BPS agrees with commenter. 

-----Original Message-----

From: Hawkins, David (CAISO) 

Sent: Monday, February 27, 2006 5:42 PM

To: naesb@naesb.org

Subject: CAISO Comments on RP05007 - Manual Time Error Correction

Section 006-5 of the proposed standard shows the Initiation of time error correction for the West as plus/minus 2 seconds.  The West changed this time error trigger several years ago to plus/minus 5 seconds.  This was based on studies performed by the WECC Performance Work Group that showed that there was a natural pattern of fast/slow periods over a 24 hour time span.  By changing the trigger limits for manual time error corrections to plus/minus 5 seconds, the number of time error corrections required per month was significantly reduced.  A plus/minus range of 2 seconds results in over control of the system and is not a good business practice.  As Chair of the WECC Performance Work Group, we request NAESB change the West limits in Section 006-5 of this Standard to plus/minus 5 seconds.

David Hawkins

Lead Industry Relations Representative

California ISO

Folsom, CA 95630

BPS recognizes these comments as a new request that should be submitted by WECC Performance Work Group and will notify Mr. Hawkins about the NAESB request process.
