BPS Responses to Informal Comments on NAESB Request R06002:
From: DAVIS, EDWARD J  
Sent: Tuesday, March 07, 2006 1:10 PM
To: 'naesb@naesb.org'
Subject: RE: Request for Informal Comments on draft Recommendation R06002 (Modify NAESB pre-split Version 0 TLR business practices to remain consistent with NERC IRO-006-1 pre-split TLR reliability standards (inclusion of market flows)) - Comments due March 9, 
We have several concerns with this Recommendation:
 

1)       Three days is inadequate to properly review and comment on a proposed standard as involved as R06002.
 

2)       The changes in the document weq_bps030906w1.doc do not seem consistent with the Recommendation R06002.
 

3)       We would like to review and comment on this Recommendation in the development stages. However, given the very short time frame we will be unable to participate at the BPS level and will be required to participate at the EC level.
 

Ed
 

 

Edward Davis
Entergy Services, Inc

The BPS acknowledged these comments during the 3/10/06 meeting.    The BPS recognized that 3 days for informal comments may not seem sufficient for a full review and comment period; however, the BPS also recognized that an informal comment period is not part of the official NAESB process.  The BPS did, however, post for informal comments at the request of the commenter.  Due to the nature of the urgency of this request to meet the SPP market opening date of May 1, the BPS could only post for that short period.  A formal and full 30-day comment period will be provided to industry as the standard was voted out of subcommittee during the meeting, and as stated in item 3 of the comments listed above, the BPS expects to receive additional comments from the commenter at that time.

Item 2 of the comments was also discussed with both NAESB and NERC representation weighing in.  It was decided to go forward with the changes to the NAESB BP in order to stay in synch with the NERC Pre-Ballot Review of the companion standard and to divide this request into additional steps should the need arise to continue the established coordination and joint standards process with NERC.
 

 

