TLR IRO-006 Standard Drafting Team 

Draft Minutes April 18 – 19, 2007


[image: image1.png]NORTH AMERICAN ELECTRIC
RELIABILITY CORPORATION




Joint Meeting 

NERC Transmission Loading Relief IRO-006 Standard Drafting Team

NAESB Business Practices Subcommittee
Carmel, Indiana 

April 18 - 19, 2007 

Draft Minutes
Attendance

In-person

Kathy York – TVA 



Sue Mangum-Goins – TVA 


Jim Eckelcamp – Progress Energy 

Daryn Barker – E.ON US

Ben Li – IESO 



Tom Mallinger – MISO

Narinder Saini – Entergy 


Frank Koza – PJM 

David Zwergel – MISO 


Andy Rodriquez – NERC

Bill Lohrman – NERC Consult



Via conference call

DeDe Kirby – NAESB 


Marjorie Pearlman 

Administrative 

Chairman Zwergel led the welcome of the TLR drafting team members, NAESB Business Practices Subcommittee, and guests.  Bill Lohrman reviewed the NERC Antitrust Compliance Guidelines.  

David Zwergel informed the joint group that due to changing job responsibilities he would no longer be serving as chair of the NERC TLR Standard drafting team.  He informed the team that the Standards Committee has appointed Ben Li, representing the IESO, as the new chair of the drafting team.  Mr. Zwergel also mentioned that Tom Mallinger will be the new MISO representative on the drafting team.
Bill Lohrman introduced Andy Rodriquez, who will be the new facilitator for the NERC TLR Standard drafting team.

Chairman Ben Li reviewed the objectives of the meeting and asked that the items on the agenda be approved.

David Zwergel moved to adopt the agenda
The motion passed with no objections

Preparing the draft TLR Standard IRO-006-4 for posting
The drafting team discussed which documents would be needed for posting the draft Attachment 1 and requirements for TLR standard:

Primary Documents:

Attachment 1 – tracked changes of NERC only pieces

Attachment 1 – clean version of NERC only pieces (this is what will be balloted later)

IRO-006-4 Requirements section – tracked changes version

IRO-006-4 Requirements section – clean version (this is what will be balloted later)

Comment Form

Reference Documents to be included with posting:

Attachment 1 – Mapped document (includes both NERC and NAESB pieces) (this will be the basis for the joint operators manual) Clean only
White paper explaining joint NERC / NAESB drafting team process, status and plans
Related NAESB standard containing TLR procedures deemed to be business practices (the NAESB b.p. has a few (2 - 4) minor administrative changes)
Review draft IRO-006 standard with requirements and compliance elements 

Ben Li led the drafting team in a review of the revised requirements, draft compliance elements, violation severity levels, violation risk factors, and time horizons. The drafting team then reviewed the IRO-006-3 Attachment 1 with NERC/NAESB split between reliability portions and business practice portions of Attachment 1.  The drafting team also reviewed the white paper explaining joint NERC / NAESB drafting team process, status and plans.  The white paper will explain to industry what changes were made and why.  The drafting team decided to defer revisions of the related IDC document until Phase 3 of the drafting team assignments.

The drafting team completed the industry comment form that would be posted with the draft TLR standard.

The drafting team decided to defer preparation of a final NERC/NAESB cross-index matrix until the standard is filed with FERC.
Kathy York indicated that NAESB is processing minor changes to the related NAESB business practice for TLR.  The posting of the NERC TLR standard will include the related NAESB business practice as a reference document.
The drafting team determined that the Joint NERC/NAESB operators TLR manual will be posted during the second posting of the draft standard.
MISO/SPP/PJM Curtailment Threshold Field Test 

Tom Mallinger provided a status report on the MISO/SPP/PJM Curtailment Threshold Field Test.  The PJM portion of the field test is planned to begin on June 1, 2007 for PJM.  MISO and SPP planning to join after September 1, 2007.  Because the start of the field test has been delayed until the fall of 2007, SPP will need to take steps to renew their urgent action.

Next Meetings / Next Steps

Andy Rodriquez will refine the time line for completing work on the TLR standard with the NERC staff.  Bill Lohrman will send out the final draft documents to the standard drafting team with comments due back to Andy by C.O.B. Monday, April 23rd.

The drafting team review dates and locations for future meetings:
April 26: conference call (2-4 eastern) to review documents
May 23– 24: 9am – 5pm / 9am – 3pm – TVA Chattanooga – NERC to Host - begin Phase 3
June 19 – 20:  9am – 5pm, 9am – 5pm Houston – NAESB to host, reply to comments 
July 9-10 or 11-12:   9am – 5pm  both days Toronto (Tentative) – NERC to host 
August 22 - 23 9am to 5pm both days (location t.b.d.)  Carmel or Houston? 
Adjourn

Kathy York moved to adjourn the meeting.
The motion passed with no objection.






1
116-390 Village Boulevard, Princeton, New Jersey  08540-5721

Phone: 609.452.8060 ▪ Fax: 609.452.9550 ▪ www.nerc.com

PAGE  
Page 2 of 3

