I have several comments on the standard.  I apologize if these comments duplicate what others have already sent.  I am not on the exploder and I am dependent on David Zwergel to forward me the e-mails:

1. Section B, R1 – The subheadings have been removed (i.e. R1.1, R1.2 and R1.3) but M1 in Section C still refers to these subheadings. 
2. Section D, 1.3 – Suggest revisions as follows: 
The Reliability Coordinator shall maintain data for eighteen months for M1, M4, and M5.

The Reliability Coordinator shall maintain data for the duration the Transmission Operator is party to the procedure in effect plus one calendar year thereafter for M2.

The Reliability Coordinator shall maintain data for the approved duration of the procedure in effect plus one calendar year thereafter for M3.

3. Section D, 2.1.1, 2.2.1, 2.3.1 and 2.4.1 – All four of these sections have had the term “are not followed” added at the end of the sentence with no other changes.  The sentences no longer read correctly and need further changes if this term is to stay.  It also appears a comma should be inserted after “For each TLR in the Eastern Interconnection”. 
Tom Mallinger

Midwest ISO



From: David Zwergel 
Sent: Friday, April 20, 2007 2:36 PM
To: Tom Mallinger
Subject: FW: Draft Files for Review
David T. Zwergel
Midwest ISO


From: Andy Rodriquez 
Sent: Friday, April 20, 2007 12:49 PM
To: tlrdt_plus@nerc.com
Subject: Draft Files for Review
Attached are the draft files we discussed at the last meeting.  We believe these are fairly close to posting quality.  If you were not at the meeting this week, this should give you a look at the work we accomplished.

For those that were in attendance, please note that based on comments form Maureen, we made some minor changes to the standard itself.   Most were simple wording changes.  However, there are a few to point our in case you have questions.

            1.) We reworded R1, because as written it seemed to imply a RC could not implement local AND interconnection wide (the word used was “either”)

            2.) We removed “Transmission Operator,” as all the requirements and measures are on the RC or BA.  The INT standards only apply to BAs, and we can’t have our standard say they apply to TOPs too.

            3.) We changed from “NERC OC” to “ERO.”  The OC can’t approve a regional variance; it has to go through the standards process.

            

Please review all the documents and provide feedback to me by close-of-business Monday, April 23.

 

Andy Rodriquez
North American Electric Reliability Corporation
 

