May 1, 2007
To the NAESB WEQ Executive Committee:

During the development of the NERC TLR Reliability Standards, several additional minor corrections were identified by the NAESB WEQ BPS and NERC TLR Standards Drafting Team.  These minor corrections can be viewed in the attached redlined NAESB WEQ TLR Business Practice Standard.  The NAESB WEQ Business Practices Subcommittee voted to approve these minor corrections and to post them to the WEQ EC for your consideration.  

These minor corrections are identified below for your convenience:

1.2
Use of local procedures.  A Reliability Coordinator shall be allowed to 
implement a NERC-approved local transmission loading relief or congestion 
management procedure simultaneously with the Interconnection-wide TLR 
procedure.
3.6
TLR level 5a.  When a Reliability Coordinator has initiated a TLR level 5a, the 
Reliability Coordinator shall allow additional Interchange Transactions using 
Firm Transmission Service to be implemented after all Interchange Transactions 
using Non-Firm Transmission Service have been curtailed.  The Reliability 
Coordinator shall reallocate Transmission Service by curtailing on a pro rata basis 
Interchange Transactions using Firm Transmission Service to allow additional 
Interchange Transactions using Firm Transmission Service to start on a pro rata 
basis.  These actions shall be taken in accordance with the NERC-approved tag 
submission deadline for Reallocation. The Reliability Coordinator shall hold an 
Interchange Transaction using Firm Transmission Service if the Interchange 
Transaction is submitted after the NERC-approved tag submission deadline for 
Reallocation during TLR level 5a, but shall allow the transaction to start in the 
following hour.
3.6.2.3 The Reliability Coordinator shall curtail or reallocate Interchange Transactions 
utilizing Firm Transmission Service and ask for relief from the Transmission 
Provider’s Native Load and untagged Network Integration Transmission Service 
as identified in requirement 3.6.2.2 to allow the start of additional Interchange 
Transactions utilizing Firm Transmission Service provided those transactions 
were submitted in accordance to the NERC-approved tag submission deadline for 
Reallocation during TLR level 5a
3.6.2.4 Dynamic Schedules using Firm Transmission Service are treated the same as any 
other Interchange Transaction using Firm Transmission Service.
3.7.1.4 Dynamic Schedules using Firm Transmission Service are treated the same as any 
other Interchange Transaction using Firm Transmission Service.
Please reference WEQ BPS minutes and WEQ BPS/NERC TLR Standards Drafting Team minutes for the following dates for more information on these minor corrections: February 27-28, 2007, March 19, 2007, March 27-28, 2007, April 18-19, 2007, and May 1, 2007.  
Thank you,

Kathy York,

Co-Chair of the WEQ BPS

