Final Consensus Division of TLR for Version 0 Business Practices – June 1, 2005

Transmission Loading Relief Business Practices
Purpose:

This standard defines the business practices necessary to implement transmission loading relief procedures needed for curtailment and reloading of Interchange Transactions to relieve overloads on transmission facilities modeled in the Interchange Distribution Calculator (IDC). 

Applicability:

These business practices may be used to relieve congestion on any facility modeled within the IDC or an equivalent interconnection model.

Definitions:

Approval Entity – An entity that has approval rights for an Interchange Transaction Tag. This includes the Transmission Service Providers (TSP), Balancing Authorities (BA), Purchasing-Selling Entities (PSE), and Load Serving Entities (LSE) involved in the Interchange Transaction.   
Balancing Authority (BA) – The entity responsible for integrating resource plans ahead of time, maintaining load-interchange-generation balance within a Balancing Authority Area, and supporting Interconnection frequency in real time. 
Balancing Authority Area - An electrical system bounded by interconnection (tie-line) metering and telemetry, where the Balancing Authority controls (either directly or by contract) generation to maintain its Interchange Schedule with other Balancing Authority Areas and contributes to frequency regulation of the Interconnection.

Constrained Facility – A transmission facility (line, transformer, breaker, etc.) that is approaching, is at, or is beyond its SOL or IROL.  

Constraint– A limitation placed on Interchange Transactions that flow over a Constrained Facility. 

Contract Path - A predetermined electrical path established for scheduling and commercial settlement purposes that represents the continuous flow of electrical energy between the parties to a transaction. The contract path does not necessarily represent the path the energy actually will flow. 

Curtailment Threshold – The minimum Transfer Distribution Factor which, if exceeded, will subject an Interchange Transaction to curtailment to relieve a transmission facility Constraint. 
Firm Transmission Service - The highest quality service offered to customers under a filed rate schedule that anticipates no planned interruption.
Generation Shift Factor (GSF) – A factor to be applied to a generator’s expected change in output to determine the amount of flow contribution that change in output will impose on an identified transmission facility or monitored flowgate. 

Generator to Load Distribution Factor (GLDF) -  the algebraic sum of a GSF and an LSF to determine to total impact of an Interchange Transaction on an identified transmission facility or monitored flowgate.    

Interchange Distribution Calculator (IDC) – The mechanism used by Reliability Coordinators in the Eastern Interconnection to calculate the distribution of Interchange Transactions over specific transmission interfaces, which are known as “Flowgates.” It includes a database of all Interchange Transactions and a matrix of the Distribution Factors for the Eastern Interconnection.  

Interchange Transaction - A Transaction that crosses one or more Balancing Authorities’ boundaries. The planned energy exchange between two adjacent Balancing Authorities. 

Interchange Transaction Tag (Tag) – An Interchange Transaction being submitted for implementation according to Version 1.7.095 NERC Transaction Information Systems Working Group  (TISWG) Electronic Tagging Functional Specification 
Interconnection – Any one of the three major electric system networks in North America: Eastern, Western, and ERCOT.

Interconnection Reliability Operating Limit (IROL) – The value (such as MW, MVar, Amperes, Frequency or Volts) derived from, or a subset of the System Operating Limit, which if exceeded, could expose a widespread area of the Bulk Electric System to instability, uncontrolled separation(s) or cascading outages. 

Load Shift Factor (LSF) - A factor to be applied to a load’s expected change in demand to determine the amount of flow contribution that change in demand will impose on an identified transmission facility or monitored flowgate.    

Native Load (NL) - The demand imposed on an electric utility or an entity by the requirements of all customers located within a franchised service territory that the electric utility or entity has statutory or contractual obligation to serve.  

NERC – North American Electric Reliability Council

NERC Reallocation Submission Deadline – The deadline as established by NERC by which Interchange Transactions must be submitted to the IDC to be considered for initiation and/or Reallocation during certain TLR Levels.
Network Integration (NI) Transmission Service – As specified in the Transmission Service Providers tariff, service that allows an electric transmission customer to integrate, plan, economically dispatch and regulate its network resources in a manner comparable to that in which the transmission owner serves native load customers. 

Non-Firm Transmission Service - As specified in the Transmission Service Providers tariff, transmission service that is reserved and scheduled on an as-available basis and is subject to curtailment or interruption.    
Point to Point (PTP) Transmission Service - As specified in the Transmission Service Providers tariff, transmission Service reserved and/or scheduled between specified points of receipt and delivery. 
Purchasing-Selling Entity (PSE) – The entity that purchases or sells and takes title to energy capacity and interconnected operations services.  PSE’s may be affiliated or unaffiliated merchants and may and may not own generating facilities.

Reliability Coordinator Information System – RCIS
Reallocation - The total or partial curtailment of Transactions during TLR Level 3a or 5a to allow Transactions using equal or higher priority to be implemented. 
Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
Reliability Coordinator (RC) - An entity that provides the security assessment and emergency operations coordination for a group of Balancing Authorities, Transmission Service Providers, and Transmission Operators. 
Sink Balancing Authority - The Balancing Authority in which the load (Sink) is located for an Interchange Transaction.  (This will also be a receiving balancing authority for the resulting Interchange Schedule).
System Operating Limit (SOL) - The value (such as MW, MVar, Amperes, Frequency or Volts) that satisfies the most limiting of the prescribed operating criteria for a specified system configuration to ensure operation within acceptable reliability criteria. System Operating Limits are based upon certain operating criteria. 
Tie Facility(ies) – The transmission facility(ies) interconnecting Balancing Authority Areas.

Transfer Distribution Factor (TDF) - The portion of an Interchange Transaction, expressed in percent that flows across a transmission facility (Flowgate). 

Transmission Customer - Any eligible customer (or its designated agent) that can or does execute a transmission service agreement or can or does receive transmission service.  

Transmission Loading Relief (TLR) - A procedure used in the Eastern Interconnection to relieve potential or actual loading on a constrained facility. 
Transmission Operator – The entity that operates or directs the operations of the transmission facilities 

Transmission Service – Services needed to move energy from a receipt point to a delivery point provided to Transmission Customers by the Transmission Service Provider. 
Transmission Service Provider (TSP) or Transmission Provider (TP) -  The entity that administers the transmission tariff and provides transmission services to qualified market participants under applicable transmission service agreements. 

Business Practice Requirements:

1. General Requirements Regarding use of Interconnection-wide Procedures
1.1.  Use of Interconnection-wide procedures. All Reliability Coordinators shall be obligated to follow the procedures associated with the appropriate Interconnection-wide procedure for their interconnection.
1.2. Use of “local” procedures. A Reliability Coordinator shall be allowed to implement a local transmission loading relief or congestion management procedures simultaneously with the Interconnection-wide procedure. 
1.2.1. The Reliability Coordinator shall revert back to the Interconnection-wide procedure in the event local procedures do not adequately alleviate the IROL or SOL.

1.3. Market-Based congestion management or redispatch procedures. Regulatory-approved Market-Based congestion management or redispatch procedures shall be allowed as a supplement to (or substitute to) the Interconnection-wide procedure.
1.3.1. The Reliability Coordinator shall ensure that Interchange Transactions that have been identified as having been linked with a Regulatory-approved Market-Based congestion management or redispatch procedure are protected from further action which would have been a result of the Interconnection-wide procedure.
1.3.2. The Reliability Coordinator shall revert back to the Interconnection-wide procedure in the event Market-Based procedures do not adequately alleviate the IROL or SOL.

1.4. Commercial notifications. The Reliability Coordinator shall simultaneously notify all parties affected by the invocation of a local congestion management procedure or the Interconnection-wide procedure as determined by the initiation of TLR Level 1 or higher using a method to be specified by NERC (e.g. – the Reliability Coordinator Information System or successor).
1.5. Access to procedure logs. The Reliability Coordinator shall ensure that NERC TLR logs specifying the details associated with the initiation of TLR Level 2 or higher and/or the invocation of the Interconnection-wide procedure are available, subject to applicable confidentiality requirements, to all market participants, regardless of the procedure used to achieve that relief. 

1.6. Reviews may be conducted in coordination with NERC, ISO, RTO of certain TLR events based on the size and number of Interchange Transactions that are affected, the frequency that the TLR Procedure is called for a particular Constrained Facility, or other factors.
2. Interchange Transaction Priorities for use with Interconnection-wide Procedures
2.1. Priority of Interchange Transactions. The Reliability Coordinator shall recognize the Interchange Transaction priority determined by the Transmission Service reserved as follows:

2.1.1. Priority 0. Next-hour Market Service – NX (if offered by Transmission Service Provider)
2.1.2. Priority 1. Service over secondary receipt and delivery points – NS

2.1.3. Priority 2. Non-Firm Point-to-Point  Hourly Service – NH

2.1.4. Priority 3. Non-Firm Point-to-Point  Daily Service – ND

2.1.5. Priority 4. Non-Firm Point-to-Point  Weekly Service – NW

2.1.6. Priority 5. Non-Firm Point-to-Point  Monthly Service – NM

2.1.7. Priority 6. Network Integration Transmission Service from sources not designated as network resources – NN

2.1.8. Priority 7. Firm Point-to-Point Transmission Service  F and Network Integration Transmission Service from Designated Resources – FN

2.2. Interchange Transaction Priority when Transmission Service is Reserved on the Constrained Facility(ies).  The Reliability Coordinator shall use the following procedure to establish the priority of an Interchange Transaction when Transmission Service is reserved on a contract path that includes the constrained facility(ies): (See Appendix A for examples)
2.2.1. The Reliability Coordinator shall assign priority to the Interchange Transaction based upon the transmission service priority of the Transmission Service link with the Constrained Facility regardless of the Transmission Service priority on the other links along the contract path.
2.2.1.1.  The Reliability Coordinator shall consider the entire Interchange Transaction non-firm if the transmission link (i.e. a segment on the Contract Path) on the Constrained Facility is Non-firm Point-to-Point Transmission Service, even if other links in the contract path are firm. 
2.2.1.2.  The Reliability Coordinator shall consider the entire Interchange Transaction firm if the transmission link on the Constrained Facility is Firm Point-to-Point Transmission Service, even if other links in the contract path are non-firm.
2.3. Interchange Transaction Priority when Transmission Service is not Reserved on the Constrained Facility(ies).  The Reliability Coordinator shall use the following procedure to establish the priority of an Interchange Transaction when Transmission Service is reserved on a contract path that does not include the constrained facility(ies): (See Appendix A for examples)
2.3.1. The Reliability Coordinator shall assign priority to the Interchange Transaction based upon the lowest transmission service priority of all Transmission Service links along the contract path.
2.3.1.1.  The Reliability Coordinator shall consider the entire Interchange Transaction non-firm if any of the transmission links on the contract path are Non-firm Point-to-Point Transmission Service.

2.3.1.2.  The Reliability Coordinator shall consider the entire Interchange Transaction firm if all of the transmission links on the contract path are Firm Point-to-Point Transmission Service, even if none of the transmission links are on the Constrained Facility, and shall not be curtailed to relieve a Constraint off the contract path until all non-firm Interchange Transactions that are at or above the Curtailment Threshold have been curtailed.
2.4. Sub-Priorities During Reallocation. During Reallocation, the Reliability Coordinator shall establish the following “Sub-Priorities”, listed from highest priority to lowest prioritiy, within each Non-firm Transmission Service priority for determining how pending Interchange Transactions with equal or higher priority transmission service shall be loaded:

2.4.1. Sub-Priority S1. Sub-Priority S1 shall assigned to that portion of an Interchange Transaction that is already flowing. 
2.4.2. Sub-Priority S2. Sub-Priority S2 shall be assigned to that portion an Interchange Transaction that has been curtailed or held by the Interconnection-wide procedure.
2.4.3. Sub-Priority S3. Sub-Priority S3 shall be assigned to that portion of an Interchange Transaction that is already flowing which is scheduled to increase from its current-hour schedule in the upcoming hour in accordance with its energy profile. 
2.4.4. Sub-Priority S4. Sub-Priority S4 shall be assigned to a new or revised Interchange Transaction that is submitted after the Interconnection-wide procedure has been declared.  
3. Eastern Interconnection Procedure for Physical Curtailment of Interchange Transactions
3.1. When a Reliability Coordinator has initiated an TLR Level 1 (Notify Reliability Coordinators of potential SOL or IROL Violations), the Reliability Coordinator shall take no action against any Interchange Transaction.

3.2. When a Reliability Coordinator has initiated an TLR Level 2 (Hold transfers at present level to prevent SOL or IROL Violations), the Reliability Coordinator shall take the following actions: 

3.2.1. The Reliability Coordinator should ensure that TLR Level 2 is a transient state, so that Interchange Transactions are properly initiated according to their transmission reservation priority. 

3.2.1.1. The Reliability Coordinator should make best efforts possible to ensure that TLR Level 2 does not exceed 30 minutes in duration.

3.2.1.2. If TLR Level 2 exceeds 30 minutes in duration, the Reliability Coordinator shall document this action on the appropriate procedure log.
3.2.2. The Reliability Coordinator shall hold the implementation of any additional Interchange Transactions using non-firm transmission service that are at or above the Curtailment Threshold.  

3.2.3. The Reliability Coordinator shall allow additional Interchange Transactions that flow across the Constrained Facility to be initiated if their flow reduces the loading on the Constrained Facility or has a Transfer Distribution Factor less than the Curtailment Threshold. 

3.2.4. The Reliability Coordinator shall allow all Interchange Transactions using Firm Point-to-Point Transmission Service to be initiated.

3.2.5. The Reliability Coordinator shall allow all Dynamic Schedules, including adjustments made pursuant to NERC Standard INT-004 R5 using Firm transmission service to continue as normal.  NOTE: copy this language to each level up through TLR Level 4.
3.3. When a Reliability Coordinator has initiated an TLR Level 3a (Reallocation of Transmission Service by curtailing Interchange Transactions using Non-firm Point-to-Point Transmission Service to allow Interchange Transactions using higher priority Transmission Service), the Reliability Coordinator shall take the following actions:

3.3.1. The Reliability Coordinator shall allow those Interchange Transactions using Firm Point-to-Point Transmission Service that have been submitted prior to the NERC Reallocation Submission Deadline to be initiated as scheduled.

3.3.1.1.  The Reliability Coordinator shall hold an Interchange Transaction using Firm Transmission Service if the Interchange Transaction is submitted after the NERC Approved Tag Submission Deadline for Reallocation during TLR Level 3a, but shall allow the transaction to start in the following hour.

3.3.2. The Reliability Coordinator with the constraint shall consider for Reallocation those Interchange Transactions using higher priority Non-firm Point-to-Point Transmission Service as specified in Requirement 2, “Interchange Transaction Priorities for use with Interconnection-wide Procedures”. 

3.3.2.1. The Reliability Coordinator shall consider only those Interchange Transactions that have been submitted prior to the NERC Approved Tag Submission Deadline for Reallocation during TLR Level 3a for the upcoming hour. 

3.3.2.1.1. Interchange Transactions submitted after this deadline shall be considered for Reallocation the following hour.

3.3.2.2. The Reliability Coordinator shall only consider those Interchange Transactions at or above the Curtailment Threshold for which the Interconnection-wide procedure is called.
3.3.2.3.  The Reliability Coordinator shall displace Interchange Transactions utilizing lower priority transmission service to allow the initiation of Interchange Transactions utilizing higher priority Non-firm or Firm Transmission Service.
3.3.2.4.  The Reliability Coordinator shall not curtail Interchange Transactions using Non-firm Transmission Service to allow the initiation or increase of another transaction having the same Non-Firm Transmission Service priority.

3.3.2.5. If all Interchange Transactions using Non-firm Point-to-Point Transmission Service have been curtailed and there are additional requests to allow Interchange Transactions using Firm Point-to-Point Transmission Service to begin that cannot be accommodated without violating an SOL/IROL, the Reliability Coordinator shall initiate  TLR Level 4 or Level 5a as appropriate. 

3.3.2.6.  The Reliability Coordinator shall reload curtailed Interchange Transactions prior to starting new or increasing existing Interchange Transactions.

3.3.2.6.1. Interchange Transactions that were submitted prior to the initiation of the Interconnection-wide procedure but were subsequently held from starting because they failed to meet the NERC Approved Tag Submission Deadline for Reallocation during TLR Level 3a or were held over from a TLR Level 2, shall be considered to have been curtailed and thus would be eligible for reload at the same time as the curtailed Interchange Transaction.

3.3.3. The Reliability Coordinator shall consider for Reallocation and/or reload Interchange Transactions that have been held or curtailed as prescribed in this Requirement according to their Transmission Service priorities when operating conditions permit.

3.3.3.1. The Reliability Coordinator shall fill available transmission capability by reloading or starting eligible Transactions on a pro-rata basis. 

3.3.4. The Reliability Coordinator shall consider for Reallocation Interchange Transactions that have start times other than the top of the hour at the start of the following hour.

3.3.5. In considering transactions using Non-Firm Point to Point Transmission Service for curtailment and/or reallocation, the Reliability Coordinator shall consider transaction Sub-Priorities as follows:

3.3.5.1. Interchange Transactions with Sub-Priority S1 shall be allowed to continue flowing at the lesser of its current-hour MW level or the MW level specified in the schedule for the upcoming hour. For calculated values less than zero, zero shall be used.

3.3.5.2. Interchange Transactions with Sub-Priority S2 shall be allowed to reload to the lesser of its current-hour MW level or the MW level specified in the schedule for the upcoming hour. For calculated values less than zero, zero shall be used.

3.3.5.3. Interchange Transactions with Sub-Priority S3 shall be allowed to increase from its current-hour MW level to the MW level specified in its schedule for the upcoming hour. For calculated values less than zero, zero shall be used.
3.3.5.4. Interchange Transactions with Sub-Priority S4 shall be allowed to start once all other Interchange Transactions with the same transmission service priority submitted prior to the initiation of the Interconnection-wide procedure have been (re)loaded. 

3.4. When a Reliability Coordinator has initiated an TLR Level 3b (Curtail Interchange Transactions using Non-Firm Transmission Service Arrangements to mitigate a SOL or IROL Violation), the Reliability Coordinator shall take the following actions:
3.4.1. The Reliability Coordinator shall allow Interchange Transactions using Firm Point-to-Point Transmission Service to start if they are submitted prior to the NERC Approved Tag Submission Deadline for Reallocation during TLR Level 3b.
3.4.2. To mitigate a SOL or IROL in the current hour, the Reliability Coordinator shall curtail Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold as defined in section 3.10 and use the Interchange Transaction priorities as specified in Requirement 2 “Interchange Transaction Priorities for use with Interconnection-wide Procedures.”  
3.4.3. To determine flows for the beginning of the next hour, the Reliability Coordinator shall curtail additional Interchange Transactions using Non-firm Point-to-Point Transmission Service to provide transmission capacity for Interchange Transactions using Firm Point-to-Point Transmission Service or Interchange Transaction using higher priority Non-firm Point-to-Point Transmission Service utilizing the Reallocation procedures as specified in Requirement 3.3 
3.4.4. If all Interchange Transactions using Non-firm Point to Point Transmission Service have been curtailed and there are additional requests to allow Interchange Transactions using Firm Point-to-Point Transmission Service to begin that cannot be accommodated without violating an SOL/IROL, The Reliability Coordinator initiate TLR Level 4 or Level 5a as appropriate.
3.5. [image: image1.wmf]Allocation based on Weighted Impact

1

2

3

4

5

6

7

8

9

Transaction 

ID

Initial 

Transaction

Distribution 

Factor

(1)*(2) 

Impact On 

Interface

(2)/(2TOT) 

Impact 

weighting 

factor

(3)*(4) 

Weighted 

Max Interface 

Reduction

(5)*(Relief 

Requested)

/(5 Tot) 

Interface 

Reduction

(6)/(2) 

Transaction 

Reduction

(1)-(7)     New 

Transaction 

Amount

(8)*(2) 

Adjusted 

Impact On 

Interface

Example 1

A-D(1)

800

0.6

480

0.34

164.57

209.73

349.54

450.46

270.27

A-D(2)

200

0.6

120

0.34

41.14

52.43

87.39

112.61

67.57

B-D

800

0.15

120

0.09

10.29

13.11

87.39

712.61

106.89

C-D

100

0.2

20

0.11

2.29

2.91

14.56

85.44

17.09

E-B

100

0.05

5

0.03

0.14

0.18

3.64

96.36

4.82

F-B

100

0.15

15

0.09

1.29

1.64

10.92

89.08

13.36

2100

1.75

760

219.71

280.00

553.45

1546.55

480.00

Example 2

A-D(1)

1000

0.6

600

0.52

313.04

262.16

436.93

563.07

337.84

B-D

800

0.15

120

0.13

15.65

13.11

87.39

712.61

106.89

C-D

100

0.2

20

0.17

3.48

2.91

14.56

85.44

17.09

E-B

100

0.05

5

0.04

0.22

0.18

3.64

96.36

4.82

F-B

100

0.15

15

0.13

1.96

1.64

10.92

89.08

13.36

2100

1.15

760

334.35

280.00

553.45

1546.55

480.00

Example 3

A-D(1A)

200

0.6

120

0.17

20.28

52.43

87.39

112.61

67.57

A-D(1B)

200

0.6

120

0.17

20.28

52.43

87.39

112.61

67.57

A-D(1C)

200

0.6

120

0.17

20.28

52.43

87.39

112.61

67.57

A-D(1D)

200

0.6

120

0.17

20.28

52.43

87.39

112.61

67.57

A-D(2)

200

0.6

120

0.17

20.28

52.43

87.39

112.61

67.57

B-D

800

0.15

120

0.04

5.07

13.11

87.39

712.61

106.89

C-D

100

0.2

20

0.06

1.13

2.91

14.56

85.44

17.09

E-B

100

0.05

5

0.01

0.07

0.18

3.64

96.36

4.82

F-B

100

0.15

15

0.04

0.63

1.64

10.92

89.08

13.36

2100

3.55

760

 

108.31

280.00

553.45

1546.55

480.00

When a Reliability Coordinator has initiated an TLR Level 4 (Reconfigure Transmission), the Reliability Coordinator shall take the following actions:

3.5.1. The Reliability Coordinator shall hold (not implement) all new Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold. 
3.5.2. The Reliability Coordinator shall allow Interchange Transactions using Firm Point-to-Point Transmission Service to start if they are submitted prior to the NERC Approved Tag Submission Deadline for Reallocation during TLR Level 3b. 

3.6. When a Reliability Coordinator has initiated an TLR Level 5a (Reallocation of Transmission Service by curtailing Interchange Transactions using Firm Point-to-Point Transmission Service on a pro rata basis to allow additional Interchange Transactions using Firm Point-to-Point Transmission Service), the Reliability Coordinator shall take the following actions:

3.6.1. The Reliability Coordinator shall use the following process for reallocation of Interchange Transactions using Firm Point-to-Point Transmission Service:

3.6.1.1. The Reliability Coordinator shall assist the Transmission Operator(s) in identifying known re-dispatch options that are available to the Transmission Customer that will mitigate the loading on the Constrained Facilities. 

3.6.1.1.1. If such re-dispatch options are deemed insufficient to mitigate loading on the Constrained Facilities, the Reliability Coordinator shall continue to implement these re-dispatch options while simultaneously implementing other actions as described in this requirement. 
3.6.1.2. The Reliability Coordinator shall calculate the percent of the overload on the Constrained Facility caused by both Interchange Transactions utilizing Firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold and the Transmission Provider’s Network Integration Transmission Service and Native Load, as required by the Transmission Provider’s filed tariff and as described in Requirement 3.11, “Parallel Flow Calculation Procedure for Reallocating or Curtailing Firm Transmission Service.”

3.6.1.3. The Reliability Coordinator shall curtail or reallocate Interchange Transactions and ask for relief from the Transmission Provider’s Network Integration Transmission Service and Native Load as identified in requirement 3.6.1.2 to allow the start of additional Interchange Transactions utilizing Firm Transmission Service on a pro-rata basis (based on the MW level of the MW total to all such Interchange Transactions) providing those transactions were submitted in accordance to the NERC Approved Tag Submission Deadline for Reallocation during TLR Level 5a.
3.6.1.3.1. The Reliability Coordinator shall assist the Transmission Provider in curtailing Transmission Service to Network Integration Transmission Service customers and Native Load if such curtailments are required by the Transmission Provider’s tariff. 

3.6.1.3.2. The Reliability Coordinator will assist the Transmission Provider to ensure that available re-dispatch options will continue to be implemented. 
3.7. When a Reliability Coordinator has initiated an TLR Level 5b (Curtail Interchange Transactions using Firm Point-to-Point Transmission Service to mitigate a SOL or IROL violation), the Reliability Coordinator shall take the following actions:

3.7.1. The Reliability Coordinator shall use the following process for curtailment of Interchange Transactions using Firm Point-to-Point Transmission Service:

3.7.1.1. The Reliability Coordinator shall assist the Transmission Operator(s) in identifying those known re-dispatch options that are available to the Transmission Customer that will mitigate the loading on the Constrained Facilities. 

3.7.1.1.1. If such re-dispatch options are deemed insufficient to mitigate loading on the Constrained Facilities, the Reliability Coordinator shall continue to implement these re-dispatch options while simultaneously implementing other actions as described in this requirement.
3.7.1.2. The Reliability Coordinator shall calculate the percent of the overload on the Constrained Facility caused by both Interchange Transactions utilizing Firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold and the Transmission Provider’s Network Integration Transmission Service and Native Load, as required by the Transmission Provider’s filed tariff and as described in Requirement 3.11, “Parallel Flow Calculation Procedure for Reallocating or Curtailing Firm Transmission Service.”

3.7.1.3. The Reliability Coordinator shall curtail Interchange Transactions and shall ask for relief from the Transmission Provider’s Network Integration Transmission Service and Native Load as calculated in requirement 3.7.1.2 until the SOL or IROL violation has been mitigated. 

3.7.1.3.1. The Reliability Coordinator shall assist the Transmission Provider in curtailing Transmission Service to Network Integration Transmission Service customers and Native Load if such curtailments are required by the Transmission Providers’ tariff. 

3.7.1.3.2. The Reliability Coordinator will assist the Transmission Provider to ensure that available re-dispatch options will continue to be implemented.

3.8. When a Reliability Coordinator initiates a TLR Level 6 (Emergency Conditions), all parties shall work together with the Reliability Coordinator(s) to return the system to a safe and stable condition.
3.9. The Reliability Coordinator shall notify all affected parties when the Reliability Coordinator has returned the system to TLR Level 0.
3.10. The Curtailment Threshold for the Eastern Interconnect shall be 0.05 (5%).
3.11. Parallel Flow Calculation Procedure for Reallocating or Curtailing Firm Transmission Service

3.11.1. The Reliability Coordinator shall use Transfer Distribution Factors (TDF’s) to calculate the portion of parallel flows on any Constrained Facility due to Interchange Transactions using Firm Point to Point Transmission Service. 

3.11.1.1. Only those Interchange Transactions with TDF’s greater than or equal to the Curtailment Threshold shall be considered.

3.11.2. The Reliability Coordinator shall use the Per Generator Method  (as described in this section) to calculate the portion of parallel flows on any Constrained Facility due to Network Integrated (NI) transmission service customers and service to Native Load (NL) customers for each Balancing Authority (See Appendix B for examples).  

3.11.2.1. The Reliability Coordinator shall assign the amount of Constrained Facility relief that must be achieved by each NI transmission service or NL customers within a given Balancing Authority.  

3.11.2.1.1. For each NI transmission service or NL customer, the Reliability Coordinator shall determine the amount of flow contributing to the constrained facility from those generators assigned to that customer using Generator to Load Distribution Factors (GLDFs) for those generators.

3.11.2.1.2. The GLDF for each generator shall determine the impact that generator has on the Constrained Facility.

3.11.2.1.3. The sum of the contributions to the Constrained Facility from all generators assigned to the NI transmission service or NL customer shall be the amount of relief assigned to that customer.

3.11.2.1.4. The Reliability Coordinator shall not specify how the reduction will be achieved.

3.11.2.2. GLDFs shall be calculated for each NI transmission service and NL customer as the Generation Shift Factors (GSFs) of the NI transmission service or NL customer’s assigned generation minus its Load Shift Factors (LSFs).  

3.11.2.2.1. GSFs shall be calculated from a single bus in the study case.
3.11.2.2.2. LSFs shall be calculated by scaling load.

3.11.2.2.3. The Generator to Load Distribution Factors (GLDFs) must be greater than or equal to the Curtailment Threshold to be considered.
3.11.2.2.4. GLDFs whose contributions are counter to the constraint (i.e. counter flow) shall be ignored for the purposes of the calculation.
3.11.2.3. Each generator shall be assigned to a given NI transmission service or NL customer within a Balancing Authority Area for the purposes of calculating their contribution to a given constraint. Exceptions may include special cases where generators are only included for case modeling purposes.

3.11.2.4. For a given generator bus, all generators modeled at that bus shall be assumed online and operating at their maximum MVA value except as noted otherwise in this procedure. 

3.11.2.4.1. At the time of calculation, daily security information will be used to update the calculation for transmission line outages, generator outage or derate information, and daily load forecasts as appropriate.

3.11.2.4.2. Only those generator busses whose aggregate modeled capacity exceeds 20MW shall be considered. Generator busses whose aggregate modeled capacity does not exceed 20MW shall be excluded.

3.11.2.5. Generators shall be assigned to a given NI transmission service or NL customer based upon the customer’s controlling interest in the facility and may include partial facilities or facilities from Balancing Authority Areas external to the customer’s host Balancing Authority.

3.11.2.6. If the total amount of generation from the generation facilities assigned to a given NI transmission service or NL customer exceed the total load for that customer, the generation shall be scaled down to match that customer’s total load.  
3.11.2.7. If the total amount of generation from the generation facilities assigned to a given NI transmission service or NL customer is less than the total load for that customer, it shall be assumed that the imports necessary to meet total load are being scheduled on Point to Point transmission service. Generation shall not be scaled to meet load in this instance.

3.11.2.8. All NI transmission service and NL customers in the Eastern Interconnection, working with their respective Balancing Authorities, shall be obligated to achieve the amount of relief assigned to them by the Reliability Coordinator via the Per Generator Method.
4. Market-Based Congestion Management Solutions

4.1. Reserved for OWL and/or Market Redispatch

Appendix A
Examples of On-Path and Off-Path Mitigation
This section explains, by example, the obligations of the Transmission Service Providers on and off the contract path when calling for Transmission Loading Relief. When Reallocating or curtailing Interchange Transactions using Firm Point-to-Point Transmission Service under TLR Level 5a or 5b, the Transmission Service Providers may be obligated to perform comparable curtailments of its Transmission Service to Network Integration and Native Load customers. 

Scenario:

· Interchange Transaction arranged from system A to system D, and assumed to be at or above the Curtailment Threshold

· Contract path is A-E-C-D (except as noted)

· [image: image2.wmf]A

B

C

D

E

F

1

2

Contract path

Non Firm

Weekly

Non Firm

Hourly

Firm

Non Firm

Network

Locations 1 and 2 denote Constraints

Case 1:
E is a non-firm Monthly path, C is non-firm Hourly; E has Constraint at #2.

· E may call Reliability Coordinator for TLR Procedure to relieve overload at Constraint #2.

· [image: image3.wmf]A

B

C

D

E

F

1

2

Contract path

Non Firm

Weekly

Firm

Non Firm

Weekly

Non Firm

Network

Interchange Transaction A-D may be curtailed by TLR action as though it was being served by Non-firm Monthly Point-to-Point Transmission Service, even though it was using Non-firm Hourly Point-to-Point Transmission Service from C. That is, it takes on the priority of the link with the Constrained Facility along the contract path. (Principle 1)

Case 2:
E is a non-firm hourly path, C is firm; E has Constraint at #2.

· Although C is providing Firm Service, the Constraint is not on C’s system; therefore E is not obligated to treat the Interchange Transaction as though it was being served by Firm Point-to-Point Transmission Service.

· E may call Reliability Coordinator for TLR Procedure to relieve overload at Constraint #2. 

· [image: image4.wmf]A

B

C

D

E

F

1

2

Contract path

Firm

Firm

Firm

Firm

Interchange Transaction A-D may be curtailed by TLR action as though it was being served by Non-firm Hourly Point-to-Point Transmission Service, even though it was using firm service from C. That is, when the constraint is on the contract path, the Interchange Transaction takes on the priority of the link with the Constrained Facility. (Principle 1)

Case 3:
E is a non-firm hourly path, C is firm, B has Constraint at #1.

· B may call Reliability Coordinator for TLR Procedure to relieve overload at Constraint #1.

· [image: image5.wmf]A

B

C

D

E

F

1

2

Contract path

Non Firm

Weekly

Non Firm

Weekly

Non Firm

Hourly

Non Firm

Network

Non Firm

Monthly

Non Firm

Weekly

Interchange Transaction A-D may be curtailed by TLR action as though it was being served by Non-firm Hourly Transmission Service, even if it was using firm Transmission Service elsewhere on the path. When the constraint is off the contract path, the Interchange Transaction takes on the lowest priority reserved on the contract path. (Principle 3)

Case 4: E is a firm path; A, D, and C are Non-firm; E has Constraint at #2.

· Interchange Transaction A – D is considered Firm priority for curtailment purposes.

· E may then call Reliability Coordinator for TLR, which would curtail all Interchange Transactions using Non-firm Point-to-Point Transmission Service first.

· [image: image6.wmf]A

B

C

D

E

F

1

2

Non Firm

Weekly

Non Firm

Monthly

Non Firm

Hourly

Non Firm

Network

Contract path

E is obligated to try to reconfigure transmission to mitigate Constraint #2 in E before E may curtail the Interchange Transaction as ordered by the TLR. (Principle 2)

Case 5: The entire path (A-E-C-D) is firm; E has Constraint at #2.

· Interchange Transaction A – D is considered Firm priority for curtailment purposes.

· E may call Reliability Coordinator for TLR, which would curtail all Interchange Transactions using Non-firm Point-to-Point Transmission Service first.

· E is obligated to curtail Interchange Transactions using Non-firm Point-to-Point Transmission Service, and then reconfigure transmission on its system, or, if there is an agreement in place, arrange for reconfiguration or other congestion management options on another system, to mitigate Constraint #2 in E before the firm A-D transaction is curtailed. (Principle 2)
· [image: image7.wmf]Allocation based on Weighted Impact

1

2

3

4

5

6

7

8

9

Transaction 

ID

Initial 

Transaction

Distribution 

Factor

(1)*(2) 

Impact On 

Interface

(2)/(2TOT) 

Impact 

weighting 

factor

(3)*(4) 

Weighted 

Max Interface 

Reduction

(5)*(Relief 

Requested)

/(5 Tot) 

Interface 

Reduction

(6)/(2) 

Transaction 

Reduction

(1)-(7)     New 

Transaction 

Amount

(8)*(2) 

Adjusted 

Impact On 

Interface

Example 1

A-D(1)

800

0.6

480

0.34

164.57

209.73

349.54

450.46

270.27

A-D(2)

200

0.6

120

0.34

41.14

52.43

87.39

112.61

67.57

B-D

800

0.15

120

0.09

10.29

13.11

87.39

712.61

106.89

C-D

100

0.2

20

0.11

2.29

2.91

14.56

85.44

17.09

E-B

100

0.05

5

0.03

0.14

0.18

3.64

96.36

4.82

F-B

100

0.15

15

0.09

1.29

1.64

10.92

89.08

13.36

2100

1.75

760

219.71

280.00

553.45

1546.55

480.00

Example 2

A-D(1)

1000

0.6

600

0.52

313.04

262.16

436.93

563.07

337.84

B-D

800

0.15

120

0.13

15.65

13.11

87.39

712.61

106.89

C-D

100

0.2

20

0.17

3.48

2.91

14.56

85.44

17.09

E-B

100

0.05

5

0.04

0.22

0.18

3.64

96.36

4.82

F-B

100

0.15

15

0.13

1.96

1.64

10.92

89.08

13.36

2100

1.15

760

334.35

280.00

553.45

1546.55

480.00

Example 3

A-D(1A)

200

0.6

120

0.17

20.28

52.43

87.39

112.61

67.57

A-D(1B)

200

0.6

120

0.17

20.28

52.43

87.39

112.61

67.57

A-D(1C)

200

0.6

120

0.17

20.28

52.43

87.39

112.61

67.57

A-D(1D)

200

0.6

120

0.17

20.28

52.43

87.39

112.61

67.57

A-D(2)

200

0.6

120

0.17

20.28

52.43

87.39

112.61

67.57

B-D

800

0.15

120

0.04

5.07

13.11

87.39

712.61

106.89

C-D

100

0.2

20

0.06

1.13

2.91

14.56

85.44

17.09

E-B

100

0.05

5

0.01

0.07

0.18

3.64

96.36

4.82

F-B

100

0.15

15

0.04

0.63

1.64

10.92

89.08

13.36

2100

3.55

760

 

108.31

280.00

553.45

1546.55

480.00

A, C, D, may be requested by E to try to reconfigure transmission to mitigate Constraint #2 in E at E’s expense. (Principle 2)
Case 6: The entire path (A-E-C-D) is firm; B has Constraint at #1.

· Interchange Transaction A – D is considered Firm priority for curtailment purposes.

· B may call Reliability Coordinator for TLR Procedure for all non-firm Interchange Transactions that contribute to the overload at Constraint #1. 

· [image: image8.wmf]A

800

 (450)

200 

(112)

D

B

800 

(713)

C

100

 (85)

E

100 

(96)

F

100 

(89)

Following the curtailment of all non-firm Interchange Transactions, the Reliability Coordinator (ies) will determine which Transmission Operator(s) will reconfigure their transmission, if possible, to mitigate constraint #1. (Principle 4)

· A-D transaction may be curtailed as a result. However, the A-D transaction is treated as a firm Interchange Transaction and will be curtailed only after non-firm Interchange Transactions. (Note: This means that the firm contract path is respected by all parties, including those not on the contract path.) (Principle 4)
Case 7: Two A-to-D transactions using A-B-C-D and A-E-C-D; A and B are non-firm; B has Constraint at #1

· B is not obligated to reconfigure transmission to mitigate Constraint at #1. (Principle 1)

· B may call for TLR Procedure to relieve overload at Constraint #1.

· If both A – D Interchange Transactions have the same TDF across Constraint #1, then they both are subject to curtailment. However, Interchange Transaction A – D using the A-B-C-D path is assigned a higher priority (priority NW on B), and would not be curtailed until after the Interchange Transaction using the path A-E-C-D (priority NH on the contract path as observed by B who is off the contract path).
Appendix B
Example Calculations of the Per Generator Method
Example 1: The Per Generator Method Calculation 

An example of calculating firm transaction curtailments using the Per Generator Method is provided in this section, assuming that the constrained flowgate is #3006 (Eau Claire-Arpin 345 kV circuit). The GLDFs for this flowgate are presented in Table B-1. In this example, a total Firm PTP contribution of 708.85 MW is assumed to be given by the IDC.

From Table B-1, the NI/NL contributions of all Balancing Authority Areas that impact the Constrained Facility are listed below:

ALTE = 27.0 MW

ALTW = 41.1 MW

NSP   = 33.1 MW 

WPS  = 26.2 MW

Total NL & NI contribution = 127.4 MW 

Total Firm (PTP & NI/NL) contribution = 127.4 MW + 708.85 MW = 836.25 MW

NL & NI portion of total Firm contribution = 127.4/836.25 = 15.2%

PTP portion of total Firm contribution = 708.85/836.25 = 84.47%

Allocation of relief of the Constrained Facility to each Balancing Authority Area with impactive NI/NL contribution is given below:

ALTE = 
27.0 /127.4 x 0.152 = 3.2%

ALTW = 
41.1 /127.4 x 0.152 = 4.9%

NSP = 

33.1 /127.4 x 0.152 = 3.9%

WPS = 
26.2 /127.4 x 0.152 = 3.1% 

Assume that 50 MW of relief is needed. Then those Balancing Authority Areas that impact NI/NL contribution and Firm PTP service are responsible for the providing the following amounts of flowgate relief:

Relief provided by removing Firm PTP = 0.845 x 50 = 42.25 MW

Relief provided by removing NL & NI contributions ALTE = 0.032 x 50 = 1.60 MW

Relief provided by removing NL & NI contributions ALTW = 0.049 x 50 = 2.45 MW

Relief provided by removing NL & NI contributions NSP = 0.039 x 50 = 1.95 MW

Relief provided by removing NL & NI contributions WPS = 0.031 x 50 = 1.55 MW

Table B-1

Native Load Responsibilities 

Flowgate #:  3006 
Flowgate Name: EAU CLAIRE-ARPIN 345 KV 
	Common Name
	Generator 
Reference 
System
	Generator 
Shift 
Factor (GSF)
	Percent 
Assigned
	GLDF 
Gen to Load 
Factor
	Pmax 
(MW)
	Energy 
on 
Flowgate

	ALTE  #364
	Avail Assigned Gen: 1,514
Load Level: 1,796
Scaling: 1.000
	ALTE_LD 
Load Shift Factor: -0.097
	.
	.
	.
	.

	NED G1 13.8--1 CA=ALTE
	39000_NED_G1
	0.022
	100
	.1195
	113.0
	13.5

	NED G2 13.8--2 CA=ALTE
	39001_NED_G2
	0.022
	100
	.1195
	113.0
	13.5

	Summary
	.
	.
	.
	.
	.
	27.0

	WPS   #366
	Avail Assigned Gen: 1,691
Load Level: 1,910
Scaling: 1.000
	WPS_LD 
Load Shift Factor: -0.193
	.
	.
	.
	.

	COL G1 22.0--1 CA=ALTE
	39152_COL_G1
	-0.094
	32
	.0993
	525.0
	16.6

	COL G2 22.0--2 CA=ALTE
	39153_COL_G2
	-0.094
	32
	.0993
	525.0
	16.6

	EDG G4 22.0--4 CA=ALTE
	39207_EDG_G4
	-0.118
	32
	.0752
	331.0
	7.9

	Summary
	.
	.
	.
	.
	.
	41.1

	NSP   #623
	Avail Assigned Gen: 8,492
Load Level: 8,484
Scaling: 0.999
	NSP_LD 
Load Shift Factor: 0.206
	.
	.
	.
	.

	WHEATON5 161--1 CA=NSP
	61870_WHEATO
	0.298
	100
	.0919
	55.0
	5.0

	WHEATON5 161--2 CA=NSP
	61870_WHEATO
	0.298
	100
	.0919
	63.0
	5.8

	WHEATON5 161--3 CA=NSP
	61870_WHEATO
	0.298
	100
	.0919
	55.0
	5.0

	WHEATON5 161--4 CA=NSP
	61870_WHEATO
	0.298
	100
	.0919
	55.0
	5.0

	WHEATON5 161--5 CA=NSP
	61871_WHEATO
	0.293
	100
	.0874
	57.0
	5.0

	WHEATON5 161--6 CA=NSP
	61871_WHEATO
	0.293
	100
	.0874
	57.0
	5.0

	WISSOTAG69.0--1 CA=NSP
	69168_WISSOT
	0.266
	100
	.0601
	37.0
	2.2

	Summary
	.
	.
	.
	.
	.
	33.1

	ALTW  #631
	Avail Assigned Gen: 2,337
Load Level: 3,640
Scaling: 1.000
	ALTW_LD 
Load Shift Factor: 0.065
	.
	.
	.
	.

	FOXLK53G13.8--3 CA=ALTW
	62016_FOXLK5
	0.147
	100
	.0819
	88.5
	7.3

	LANS5 4G22.0--4 CA=ALTW
	62057_LANS5_
	0.116
	100
	.0506
	277.0
	14.0

	LANS5 3G22.0--3 CA=ALTW
	62058_LANS5_
	0.116
	100
	.0505
	35.8
	1.8

	FAIRMONT69.0--3 CA=ALTW
	65816_FAIRMO
	0.151
	100
	.0857
	5.0
	0.4

	FAIRMONT69.0--4 CA=ALTW
	65816_FAIRMO
	0.151
	100
	.0857
	6.0
	0.5

	FAIRMONT69.0--5 CA=ALTW
	65816_FAIRMO
	0.151
	100
	.0857
	12.0
	1.0

	FAIRMONT69.0--6 CA=ALTW
	65816_FAIRMO
	0.151
	100
	.0857
	7.0
	0.6

	FAIRMONT69.0--7 CA=ALTW
	65816_FAIRMO
	0.151
	100
	.0857
	6.5
	0.6

	Summary
	.
	.
	.
	.
	.
	26.2

	.
	.
	.
	.
	.
	.
	.

	TOTAL Summary
	.
	.
	.
	.
	.
	127.4


Example 2: Use of Per Generator Method while Simultaneously Curtailing Point to Point Transmission Service 

An example of the output of the IDC calculation of curtailment of firm transmission service is provided below for the specific Constrained Facility identified in the NERC Book of Flowgates as Flowgate 1368.  In this example, a total Firm PTP contribution to the Constrained Facility, as calculated by the IDC, is assumed to be 21.8 MW. 

The Table B-2 below presents a summary of each Balancing Authority’s responsibility to provide relief to the Constrained Facility due to its NI transmission service and service to NL contribution to the Constrained Facility.  In this example, Balancing Authority LAGN would be requested to curtail 17.3 MW of its total of 401.1 MW of flow contribution on the Constrained Facility. 
In summary, Interchange Transactions would be curtailed by a total of 21.8 MW and NI transmission service and service to NL would be curtailed by a total of 178.2 MW by the five Balancing Authorities identified in the table.  These curtailments would provide a total of 200.0 MW of relief to the Constrained Facility.
Table B-2

	Sink Reliability Coordinator

	Service Point

	Scaled
P Max

	Flowgate
NNL MW

	Current NNL Relief

	NNL Responsibility

	NNL Responsibility

Acknowledgement


						Inc/Dec

	Current Hr

	Acknowledge

Time

	Total MW

Resp.


	EES

	EES

	8429.7

	2991.4

	0.0

	128.9

	128.9

	13:44

	128.9


	EES

	LAGN

	1514.0

	718.6

	0.0

	31.0

	31.0

	13:44

	31.0


	SOCO

	SOCO

	5089.2

	401.1

	0.0

	17.3

	17.3

	13:44

	17.3


	SWPP

	CLEC

	235.7

	18.0

	0.0

	0.8

	0.8

	13:42

	0.8


	SWPP

	LEPA

	22.8

	4.1

	0.0

	0.2

	0.2

	13:42

	0.2


	Total

	15291.4
	4133.2
	0.0

	178.2
	178.2
		178.2


	


Appendix C
Transaction Curtailment Formula

Example

This example is based on the premise that a transaction should be curtailed in proportion to its TDF on the Constraints. Its effect on the interface is a combination of its size in MW and its effect based on its distribution factor.

	Column
	Description

	1.
Initial Transaction
	Interchange Transaction before the TLR Procedure is implemented.

	2.
Distribution Factor
	Proportional effect of the Transaction over the constrained interface due to the physical arrangement and impedance of the transmission system.

	3.
Impact on the Interface
	Result of multiplying the Transaction MW by the distribution factor. This yields the MW that flow through the constrained interface from the Transaction. Performing this calculation for each Transaction yields the total flow through the constrained interface from all the Interchange Transactions. In this case, 760 MW.

	4.
Impact Weighting Factor
	“Normalization” of the total of the Distribution Factors in Column 2. Calculated by dividing the Distribution Factor for each Transaction by the total of the Distribution Factors.

	5.
Weighted Maximum Interface Reduction
	Multiplying the Impact on the Interface from each Transaction by its Impact Weighting Factor yields a new proportion that is a combination of the MW Impact on the Interface and the Distribution Factor.

	6.
Interface Reduction
	Multiplying the amount we need to reduce the flow over the constrained interface (280 MW) by the normalization of the Weighted Maximum Interface Reduction yields the actual MW reduction that each Transaction must contribute to achieve the total reduction.

	7.
Transaction Reduction
	Now we have to divide by the Distribution Factor to see how much the Transaction must be reduced to yield the result we calculated in Column 7. Note that the reductions for the first two Interchange Transactions (A-D (1) and A-D (2) are in proportion to their size since their distribution factors are equal.

	8.
New Transaction Amount
	Subtracting the Transaction Reduction from the Initial Transaction yields the New Transaction Amount.

	9.
Adjusted Impact on Interface
	A check to ensure the new constrained interface MW flow has been reduced to the target amount.






3.5.1 needs review for appropriate semantics related to hold vs. curtail





� EMBED Excel.Sheet.8  ���








_989837043.xls
Sheet1

				Allocation based on Weighted Impact

				1		2		3		4		5		6		7		8		9

		Transaction ID		Initial Transaction		Distribution Factor		(1)*(2) Impact On Interface		(2)/(2TOT) Impact weighting factor		(3)*(4) Weighted Max Interface Reduction		(5)*(Relief Requested)/(5 Tot) Interface Reduction		(6)/(2) Transaction Reduction		(1)-(7)     New Transaction Amount		(8)*(2) Adjusted Impact On Interface

		Example 1

		A-D(1)		800		0.6		480		0.34		164.57		209.73		349.54		450.46		270.27

		A-D(2)		200		0.6		120		0.34		41.14		52.43		87.39		112.61		67.57

		B-D		800		0.15		120		0.09		10.29		13.11		87.39		712.61		106.89

		C-D		100		0.2		20		0.11		2.29		2.91		14.56		85.44		17.09

		E-B		100		0.05		5		0.03		0.14		0.18		3.64		96.36		4.82

		F-B		100		0.15		15		0.09		1.29		1.64		10.92		89.08		13.36

				2100		1.75		760				219.71		280.00		553.45		1546.55		480.00

		Example 2

		A-D(1)		1000		0.6		600		0.52		313.04		262.16		436.93		563.07		337.84

		B-D		800		0.15		120		0.13		15.65		13.11		87.39		712.61		106.89

		C-D		100		0.2		20		0.17		3.48		2.91		14.56		85.44		17.09

		E-B		100		0.05		5		0.04		0.22		0.18		3.64		96.36		4.82

		F-B		100		0.15		15		0.13		1.96		1.64		10.92		89.08		13.36

				2100		1.15		760				334.35		280.00		553.45		1546.55		480.00

		Example 3

		A-D(1A)		200		0.6		120		0.17		20.28		52.43		87.39		112.61		67.57

		A-D(1B)		200		0.6		120		0.17		20.28		52.43		87.39		112.61		67.57

		A-D(1C)		200		0.6		120		0.17		20.28		52.43		87.39		112.61		67.57

		A-D(1D)		200		0.6		120		0.17		20.28		52.43		87.39		112.61		67.57

		A-D(2)		200		0.6		120		0.17		20.28		52.43		87.39		112.61		67.57

		B-D		800		0.15		120		0.04		5.07		13.11		87.39		712.61		106.89

		C-D		100		0.2		20		0.06		1.13		2.91		14.56		85.44		17.09

		E-B		100		0.05		5		0.01		0.07		0.18		3.64		96.36		4.82

		F-B		100		0.15		15		0.04		0.63		1.64		10.92		89.08		13.36

				2100		3.55		760				108.31		280.00		553.45		1546.55		480.00

				Currently Proposed Method

				1		2		3		4		5		6		7		8		9

				Initial Transaction		Distribution Factor		(1)*(2) Impact On Interface		(3)/(3MAX) Impact weighting factor		(3)*(4) Weighted Max Interface Reduction		(5)*(6 Tot) (5 Tot) Interface Reduction		(6)/(2) Transaction Reduction		(1)-(7)     New Transaction Amount		(8)*(2) Adjusted Impact On Interface

		A-D(1)		800		0.6		480		1.00		480.00		248.27		413.78		386.22		231.73

		A-D(2)		200		0.6		120		0.25		30.00		15.52		25.86		174.14		104.48

		B-D		800		0.15		120		0.25		30.00		15.52		103.44		696.56		104.48

		C-D		100		0.2		20		0.04		0.83		0.43		2.16		97.84		19.57

		E-B		100		0.05		5		0.01		0.05		0.03		0.54		99.46		4.97

		F-B		100		0.15		15		0.03		0.47		0.24		1.62		98.38		14.76

				2100				760		1.58		541.35		280.00		547.39		1552.61		480.00

		A-D(1)		1000		0.6		600		1.00		600.00		268.76		447.94		552.06		331.24

		B-D		800		0.15		120		0.20		24.00		10.75		71.67		728.33		109.25

		C-D		100		0.2		20		0.03		0.67		0.30		1.49		98.51		19.70

		E-B		100		0.05		5		0.01		0.04		0.02		0.37		99.63		4.98

		F-B		100		0.15		15		0.03		0.38		0.17		1.12		98.88		14.83

				2100				760		1.27		625.08		280.00		522.60		1577.40		480.00

		A-D(1A)		200		0.6		120		1.00		120.00		46.32		77.20		122.80		73.68

		A-D(1B)		200		0.6		120		1.00		120.00		46.32		77.20		122.80		73.68

		A-D(1C)		200		0.6		120		1.00		120.00		46.32		77.20		122.80		73.68

		A-D(1D)		200		0.6		120		1.00		120.00		46.32		77.20		122.80		73.68

		A-D(2)		200		0.6		120		1.00		120.00		46.32		77.20		122.80		73.68

		B-D		800		0.15		120		1.00		120.00		46.32		308.79		491.21		73.68

		C-D		100		0.2		20		0.17		3.33		1.29		6.43		93.57		18.71

		E-B		100		0.05		5		0.04		0.21		0.08		1.61		98.39		4.92

		F-B		100		0.15		15		0.13		1.88		0.72		4.82		95.18		14.28

				2100				760		6.33		725.42		280.00		707.64		1392.36		480.00



&L&"Arial,Bold"Southwest Power Pool&C&"Arial,Bold"LLR Scheme Comparison&R&D

Page &P

A

800 (450)

200 (112)

D

B

800 
(713)

C

100 (85)

E

100 (96)

F

100 (89)



Sheet2

		



&A

Page &P



Sheet3

		



&A

Page &P



Sheet4

		



&A

Page &P



Sheet5

		



&A

Page &P



Sheet6

		



&A

Page &P



Sheet7

		



&A

Page &P



Sheet8

		



&A

Page &P



Sheet9

		



&A

Page &P



Sheet10

		



&A

Page &P



Sheet11

		



&A

Page &P



Sheet12

		



&A

Page &P



Sheet13

		



&A

Page &P



Sheet14

		



&A

Page &P



Sheet15

		



&A

Page &P



Sheet16

		



&A

Page &P




