Consideration of Comments — TLR – Reliability Standard IRO-006-4

The TLR Standard Drafting Team requesters thank all commenters who submitted comments on Draft 1 of the TLR standard.  This standard was posted for a 30-day public comment period from May 1 through June 14, 2007.  The requesters asked stakeholders to provide feedback on the standard through a special standard Comment Form. There were 11 sets of comments, including comments from 37 different people from more than 17 companies representing 8 of the 10 Industry Segments as shown in the table on the following pages. 
Based on the comments received, the drafting team is recommending        .   

In this “Consideration of Comments” document stakeholder comments have been organized so that it is easier to see the responses associated with each question.  All comments received on the standards can be viewed in their original format at: 

http://www.nerc.com/~filez/standards/Reliability-Coordination-Transmission-Loading-Relief.html
If you feel that your comment has been overlooked, please let us know immediately. Our goal is to give every comment serious consideration in this process!  If you feel there has been an error or omission, you can contact the Director of Standards, Gerry Adamski, at 609-452-8060 or at gerry.adamski@nerc.net.  In addition, there is a NERC Reliability Standards Appeals Process.

The Industry Segments are:

1 — Transmission Owners

2 — RTOs, ISOs

3 — Load-serving Entities
4 — Transmission-dependent Utilities

5 — Electric Generators

6 — Electricity Brokers, Aggregators, and Marketers

7 — Large Electricity End Users

8 — Small Electricity End Users

9 — Federal, State, Provincial Regulatory or other Government Entities

10 – Regional Reliability Organizations, Regional Entities

	Commenter
	Organization
	Industry Segment

	
	
	1
	2
	3
	4
	5
	6
	7
	8
	9
	10

	1. 
	Thad K. Ness
	American Electric Power (AEP)
	(
	
	
	
	(
	(
	
	
	
	

	2. 
	Greg Rowland
	Duke Energy
	(
	
	(
	
	
	
	
	
	
	

	3. 
	Narinder K. Saini
	Entergy Services Inc.
	(
	
	
	
	
	
	
	
	
	

	4. 
	Steve Myers
	ERCOT
	
	(
	
	
	
	
	
	
	
	(

	5. 
	Ron Falsetti
	IESO
	
	(
	
	
	
	
	
	
	
	

	6. 
	
	ISO/RTO Council Standards Review Committee (SRC)
	
	(
	
	
	
	
	
	
	
	

	7. 
	
	MRO-NSRS
	
	
	
	
	
	
	
	
	
	(

	8. 
	Bill Lohrman
	Prague Power, LLC
	
	
	
	
	
	
	
	(
	
	

	9. 
	
	Public Service Commission of South Carolina
	
	
	
	
	
	
	
	
	(
	

	10. 
	
	Southern Company -- Transmission
	(
	
	(
	
	
	
	
	
	
	

	11. 
	
	Tennessee Valley Authority Reliability Coordinators
	
	
	
	
	
	
	
	
	
	

	12. 
	
	
	
	
	
	
	
	
	
	
	
	

	13. 
	
	
	
	
	
	
	
	
	
	
	
	

	14. 
	
	
	
	
	
	
	
	
	
	
	
	

	15. 
	
	
	
	
	
	
	
	
	
	
	
	

	16. 
	
	
	
	
	
	
	
	
	
	
	
	

	17. 
	
	
	
	
	
	
	
	
	
	
	
	

	18. 
	
	
	
	
	
	
	
	
	
	
	
	

	19. 
	
	
	
	
	
	
	
	
	
	
	
	

	20. 
	
	
	
	
	
	
	
	
	
	
	
	

	21. 
	
	
	
	
	
	
	
	
	
	
	
	

	22. 
	
	
	
	
	
	
	
	
	
	
	
	

	23. 
	
	
	
	
	
	
	
	
	
	
	
	

	24. 
	
	
	
	
	
	
	
	
	
	
	
	

	25. 
	
	
	
	
	
	
	
	
	
	
	
	

	26. 
	
	
	
	
	
	
	
	
	
	
	
	

	27. 
	
	
	
	
	
	
	
	
	
	
	
	

	28. 
	
	
	
	
	
	
	
	
	
	
	
	

	29. 
	
	
	
	
	
	
	
	
	
	
	
	

	30. 
	
	
	
	
	
	
	
	
	
	
	
	

	31. 
	
	
	
	
	
	
	
	
	
	
	
	

	32. 
	
	
	
	
	
	
	
	
	
	
	
	

	33. 
	
	
	
	
	
	
	
	
	
	
	
	

	34. 
	
	
	
	
	
	
	
	
	
	
	
	

	35. 
	
	
	
	
	
	
	
	
	
	
	
	

	36. 
	
	
	
	
	
	
	
	
	
	
	
	

	37. 
	
	
	
	
	
	
	
	
	
	
	
	

	38. 
	
	
	
	
	
	
	
	
	
	
	
	

	39. 
	
	
	
	
	
	
	
	
	
	
	
	

	40. 
	
	
	
	
	
	
	
	
	
	
	
	

	41. 
	
	
	
	
	
	
	
	
	
	
	
	

	42. 
	
	
	
	
	
	
	
	
	
	
	
	

	43. 
	
	
	
	
	
	
	
	
	
	
	
	

	44. 
	
	
	
	
	
	
	
	
	
	
	
	

	45. 
	
	
	
	
	
	
	
	
	
	
	
	

	46. 
	
	
	
	
	
	
	
	
	
	
	
	

	47. 
	
	
	
	
	
	
	
	
	
	
	
	

	48. 
	
	
	
	
	
	
	
	
	
	
	
	

	49. 
	
	
	
	
	
	
	
	
	
	
	
	

	50. 
	
	
	
	
	
	
	
	
	
	
	
	


I – Indicates that individual comments were submitted in addition to comments submitted as part of a group

G1 – NPCC CP9 Reliability Standards Working Group (NPCC CP9)
G2 – MRO and JDRJC Associates

G3 – MRO Members

G4 – Standards Review Committee
Index to Questions, Comments, and Responses
51.
Do you agree that the new “Purpose” statement captures the intent of the standard?  If not, please explain your answer.


72.
In order to develop appropriate measures and compliance elements for the requirements and hold the applicable reliability functions responsible for meeting these requirements, the team has removed Transmission Operator from the applicability list on the basis that the requirements in IRO-006-3 that apply to the Transmission Operators are either not applicable (Section 1.6.3, Attachment 1) or already covered by other standards (Sections 1.8.1 and 2.9.2, Attachment 1).  Do you agree with the applicable entities defined in the standard?  If not, please specify to which entities the standard should apply.


93.
The intent of the revised standard is to capture the reliability requirements of the former TLR procedure following the NERC/NAESB split.  Do you agree that the draft revisions to the standard and Attachment 1 accomplished this objective?  If not, please explain your answer.


114.
Do you agree with the violation risk factors proposed in the standard?  If not, please explain your answer.


135.
Do you agree with the time horizons proposed in the standard?  The drafting team was given the following criteria to use in assigning a “time horizon.”  Note that time horizons are used as one component in determining the size of a sanction.  More information about time horizons can be found in the Sanctions Guidelines. If not, please explain your answer.


146.
Do you agree with the measures proposed in the standard?  If not, please explain your answer.


167.
Do you agree with the measures proposed in the standard?  If not, please explain your answer.


208.
The drafting team is planning a joint NERC NAESB TLR operator’s manual for the TLR procedure.  What would your organization like to see contained in a joint manual?


229.
Are you aware of any conflicts between the proposed standard and any regulatory function, rule/order, tariff, rate schedule, legislative requirement or agreement?  If yes, please explain your answer.


2310.
Do you have any concerns that would prevent you from voting to approve this draft standard?  If yes, please explain your answer.


2411.
Please provide any other comments you have (that you have not already provided in response to the above questions) regarding this draft standard.





1. Do you agree that the new “Purpose” statement captures the intent of the standard?  If not, please explain your answer. 
Summary Consideration:  

	Question #1

	Commenter
	Yes
	No
	Comment

	American Electric Power
	(
	(
	IRO-005-2 deals with current day operations.  IRO-005-2 R3, R16, and R17 all deal with the IROL violation issue and taking appropriate action to relieve the violation within 30 minutes.

IRO-005-2 R3:  As portions of the transmission system approach or exceed SOLs or IROLs, the Reliability Coordinator shall work with its Transmission Operators and Balancing Authorities to evaluate and assess any additional Interchange Schedules that would violate those limits. If a potential or actual IROL violation cannot be avoided through proactive intervention, the Reliability Coordinator shall initiate control actions or emergency procedures to relieve the violation without delay, and no longer than 30 minutes. The Reliability Coordinator shall ensure all resources, including load shedding, are available to address a potential or actual IROL violation.

IRO-005-2 R16:  Each Reliability Coordinator shall confirm reliability assessment results and determine the effects within its own and adjacent Reliability Coordinator Areas. The Reliability Coordinator shall discuss options to mitigate potential or actual SOL or IROL violations and take actions as necessary to always act in the best interests of the Interconnection at all times.

IRO-005-2 R17:  When an IROL or SOL is exceeded, the Reliability Coordinator shall evaluate the local and wide-area impacts, both real-time and post-contingency, and determine if the actions being taken are appropriate and sufficient to return the system to within IROL in thirty minutes. If the actions being taken are not appropriate or sufficient, the Reliability Coordinator shall direct the Transmission Operator, Balancing Authority, Generator Operator, or Load-Serving Entity to return the system to within IROL or SOL.

	Response: 

	Duke Energy
	(
	(
	

	Response: 

	Entergy
	(
	(
	The purpose of this standard is to provide a method, as stated in R1, to prevent or relieve SOL or IROL violations to maintain the reliability of the bulk elelctric system. We suggest the purpose be revised to reflect this concept. It seems NAESB will be providing the buisness practices associate with the relief of congestion.

	Response: The Drafting Team’s use of the term “congestion” is not intended to refer to congestion costs or congestion pricing, but rather a condition in which the demands of the electrical system are approaching or in excess of the capacity of that system.  As such, we believe the language is correct as written. 

	ERCOT
	(
	(
	

	Response: 

	IESO
	(
	(
	

	Response: 

	ISO/RTO Council
	(
	(
	

	Response: 

	MRO
	(
	(
	

	Response: 

	Prague Power
	(
	(
	

	Response: 

	PSC South Carolina
	(
	(
	

	Response: 

	Southern Transm.
	(
	(
	The original purpose contained phrasing that sounded more like requirements - terms such as "... the Reliability Coordiantor Must ..." and "... the Rliability Coordiantor needs to ..." - than a clear, concise purpose for the standard.  We feel the newly stated purpose accomplishes this.

	Response: 

	TVA
	(
	(
	

	Response: 


2. In order to develop appropriate measures and compliance elements for the requirements and hold the applicable reliability functions responsible for meeting these requirements, the team has removed Transmission Operator from the applicability list on the basis that the requirements in IRO-006-3 that apply to the Transmission Operators are either not applicable (Section 1.6.3, Attachment 1) or already covered by other standards (Sections 1.8.1 and 2.9.2, Attachment 1).  Do you agree with the applicable entities defined in the standard?  If not, please specify to which entities the standard should apply.
Summary Consideration:  

	Question #2

	Commenter
	Yes
	No
	Comment

	American Electric Power
	(
	(
	

	Response: 

	Duke Energy
	(
	(
	

	Response: 

	Entergy
	(
	(
	We see that Attachment 1 contains references to and places requirements on the TOP which are not applicable or already covered by other standards. This amounts to double jeopardy to the TOP. It also is inappropriate to state that the standard does not apply to the TOP (Applicability section), but then place requirements on the TOP in Attachment 1 (Section 1.2.1, 1.8.1, and 2.9.2). We agree with the removal of the TOP from the Applicability section. However, we disagree with keeping the requirements on the TOP in Attachment 1. Please remove all references to the TOP in Attachment 1.

	Response: 

	ERCOT
	(
	(
	

	Response: 

	IESO
	(
	(
	

	Response: 

	ISO/RTO Council
	(
	(
	

	Response: 

	MRO
	(
	(
	

	Response: 

	Prague Power
	(
	(
	

	Response: 

	PSC South Carolina
	(
	(
	

	Response: 

	Southern Transm.
	(
	(
	We agree.

	Response: 

	TVA
	(
	(
	In R1 of the standard it states that the Reliabiilty Coordintor shall, "with its authority and at its discretion, select" one or more procedures to provide transmission loading relief.   In Sections 1.1 and 1.2.1 of Attachment 1 to IRO-006 it states that the RC shall initiate a TLR at the request of the Transmission Operator (Section 1.1 Attachment 1) or if any Transmission Operator who operates a tie facility shall be allowed to request relief from its Reliability Coordinator (Section 1.2.1).  Since requirement R1.1 states that the TLR procedure for use in the Eastern Interconnection is provided in Attachment 1 then we feel the Transmission Operator requesting their RC to implement the TLR procedure should be held accountable for requesting to use the procedure and therefore it should be applicable to the TOp.

	Response: 


3. The intent of the revised standard is to capture the reliability requirements of the former TLR procedure following the NERC/NAESB split.  Do you agree that the draft revisions to the standard and Attachment 1 accomplished this objective?  If not, please explain your answer.
Summary Consideration:  

	Question #3

	Commenter
	Yes
	No
	Comment

	American Electric Power
	(
	(
	

	Response: 

	Duke Energy
	(
	(
	The portions of the Regional Differences (Section E) that describe how the impact of market flows on facilities are calculated should not be moved to NAESB.  The amount of flow presented to the IDC for curtailment on a constrained facility (Flowgate) clearly has Reliability aspects.
Also, while it is clear what the intent is, the objective has not been accomplished because there are some instances where information may need to be in both documents.
Attachment 1 - Section 2 Transmission Loading Relief (TLR) Levels should have a statement for each level that indicates whether or not transactions will be impacted. (Example – for TLR Level 1 – No transactions will be impacted; Level 2 - Prevents all transactions less than priority 7 with TDF > 5% from starting or increasing; etc.) A good guide for this can be found on the NERC site under IDC training – IDC TLR Matrix.
Attachment 1 - Section 3.1 (Interchange Transaction Curtailment Order for use in TLR Procedures / Priority of Interchange Transactions) should not be moved to NAESB. Without this, there will be no reference to the curtailment order in the procedure.
Additional comments:

•
Section 1.5.1 should not move to NAESB

•
Section 2.2.2 “However, the RC…on the Constrained Facility” should stay in IRO-
004.

•
Section 2.2.3 “If the time in TLR Level 2…TLR Log” should stay in IRO-004.

•
Section 2.5.3 First sentence should move to NAESB.

•
Section 2.5.3 Reference to Section 4 in last sentence needs to be reviewed since •
Section 4 moves to NAESB.

•
Section 3.2 – 3.2.1.1 Stay in the IRO.

•
Section 4.1.4 Stay in the IRO.

•
Section 6 – 6.1 Need wording like section 7 – 7.1

•
Section 6.2 -6.2.6 Should move to NAESB

•
Section 7.4.1 – 7.4.3 Move to NAESB

•
Section 7.7 – 7.9, Appendix E and F should move to NAESB.

•
Attachment 1 - Section 1.7 Redispatch options should not be moved

•
Attachment 1 - Section 2. - Introduction – The last two sentences are “on 
path/off path discussion”. Similar discussion was moved.

•
Attachment 1 - Section 2.5.3 – the first sentence should be moved

	Response: 

	Entergy
	(
	(
	The draft revisions do address the NERC/NAESB split.

	Response: 

	ERCOT
	(
	(
	

	Response: 

	IESO
	(
	(
	

	Response: 

	ISO/RTO Council
	(
	(
	

	Response: 

	MRO
	(
	(
	

	Response: 

	Prague Power
	(
	(
	

	Response: 

	PSC South Carolina
	(
	(
	

	Response: 

	Southern Transm.
	(
	(
	We agree the standard and its attachment seem to reflect all reliability components of the pre-split standard.

	Response: 

	TVA
	(
	(
	Agree if this is viewed against the current posted version 3 of IRO_006 but not against Version 0 of IRO-006.

	Response: 


4. Do you agree with the violation risk factors proposed in the standard?  If not, please explain your answer.
Summary Consideration:  

	Question #4

	Commenter
	Yes
	No
	Comment

	American Electric Power
	(
	(
	

	Response: 

	Duke Energy
	(
	(
	

	Response: 

	Entergy
	(
	(
	We suggest R1 have a VRF of HIGH as improper violation of this requirement by improper use or not use of procedure to alleviate SOL or IROL violation can have severe impact on reliability.

	Response: The Drafting Team believes that this standard describes some of the processes through which a Reliability Coordinator may obtain congestion relief.  However, these are not the only ways in which an RC may do so, and this standard is not intended to require a specific process be followed, unless the RC chooses to implement an interconnection-wide procedure.  There are other standards that apply to the RC’s ability or failure to actually obtain relief in a timely manner.  As such, the Drafting Team believes the risk factors of this standard are largely procedural, and merit a lower Violation Risk Factor.

	ERCOT
	(
	(
	

	Response: 

	IESO
	(
	(
	

	Response: 

	ISO/RTO Council
	(
	(
	

	Response: 

	MRO
	(
	(
	The Violation Risk Factors are not in line with impact on reliability of the requirements.  The VRFs should be higher.

	Response: The Drafting Team believes that this standard describes some of the processes through which a Reliability Coordinator may obtain congestion relief.  However, these are not the only ways in which an RC may do so, and this standard is not intended to require a specific process be followed, unless the RC chooses to implement an interconnection-wide procedure.  There are other standards that apply to the RC’s ability or failure to actually obtain relief in a timely manner.  As such, the Drafting Team believes the risk factors of this standard are largely procedural, and merit a lower Violation Risk Factor.

	Prague Power
	(
	(
	

	Response: 

	PSC South Carolina
	(
	(
	

	Response: 

	Southern Transm.
	(
	(
	We find the proposed violation risk factors appropriate.

	Response: 

	TVA
	(
	(
	

	Response: 


5. Do you agree with the time horizons proposed in the standard?  The drafting team was given the following criteria to use in assigning a “time horizon.”  Note that time horizons are used as one component in determining the size of a sanction.  More information about time horizons can be found in the Sanctions Guidelines. If not, please explain your answer.
Summary Consideration:  

	Question #5

	Commenter
	Yes
	No
	Comment

	American Electric Power
	(
	(
	

	Response: 

	Duke Energy
	(
	(
	

	Response: 

	Entergy
	(
	(
	

	Response: 

	ERCOT
	(
	(
	

	Response: 

	IESO
	(
	(
	

	Response: 

	ISO/RTO Council
	(
	(
	

	Response: 

	MRO
	(
	(
	

	Response: 

	Prague Power
	(
	(
	

	Response: 

	PSC South Carolina
	(
	(
	

	Response: 

	Southern Transm.
	(
	(
	We are in agreement with the proposed time horizons for this standard.

	Response: 

	TVA
	(
	(
	

	Response: 


6. Do you agree with the measures proposed in the standard?  If not, please explain your answer.
Summary Consideration:  

	Question #6

	Commenter
	Yes
	No
	Comment

	American Electric Power
	(
	(
	

	Response: 

	Duke Energy
	(
	(
	M5 seems to be measuring compliance to other Standards. INT-001 and INT-003 has applicability for the BA and not the RC. And INT-004 has applicability for both the RC and BA. INT-004 has no measure or compliance for the RC.  There should not be a requirement (R5) or measure (M5) that requires compliance to another standard.
R3 needs to be split into two requirements, one that focuses on implementing a local procedure simultaneously with the Interconnection-wide procedure and another that states specifically, “Each Reliability Coordinator shall follow the curtailments as directed by the Interconnection-wide procedure.”  This requirement should have a Medium Violation Risk factor and a real time operations time horizon.  This would be similar to R4, but for curtailing transactions that are within an Interconnection.
M3 – Need to have clarity on just what is considered a procedure in this case.

	Response: Regarding R5 and M5, the Drafting Team recognizes that this Requirement can be improved.  However, in this initial scope of work, we do not intend to change the requirement, as our goal is more the “splitting” of responsibility, rather than changes to the standard.  We will include this within the “Phase III” scope of work.

Regarding R3, the Drafting Team agrees that this requirement should be restructured, and will include this within the “Phase III” scope of work. 
Regarding M3, by “procedure,” we mean “any series of actions that are intended to work together to achieve an objective,” in this case, that objective being to provide congestion relief.  The drafting team will clarify this.


	Entergy
	(
	(
	

	Response: 

	ERCOT
	(
	(
	

	Response: 

	IESO
	(
	(
	

	Response: 

	ISO/RTO Council
	(
	(
	

	Response: 

	MRO
	(
	(
	

	Response: 

	Prague Power
	(
	(
	

	Response: 

	PSC South Carolina
	(
	(
	

	Response: 

	Southern Transm.
	(
	(
	We agree with the proposed measures for this standard

	Response: 

	TVA
	(
	(
	

	Response: 


7. Do you agree with the measures proposed in the standard?  If not, please explain your answer.
Summary Consideration:  

	Question #7

	Commenter
	Yes
	No
	Comment

	American Electric Power
	(
	(
	The Violation Severity Levels do not make sense, especially those for the Eastern Interconnection.  What is the rationale for the selection of 2-3 procedural violations being moderate and 4-5 being high and 6 or more being severe?  For ERCOT and the Western Interconnection, not following just one procedural requirement is a severe violation.  Also, for the east, is the SDT stating that all the requirements in Attachment 1 are of equal weight, hence the 2-3, and 4-5, etc. division?  The SDT needs to review these one more time.
For 2.3.2, this should be moved to the lower category and made 2.1.3 once R4 is cleaned up.  The requirement it references, R4, is unclear.  Each Interconnection has their own Interconnection-wide procedure.  So when curtailing an Interchange Transaction that crosses an Interconnection boundary, which Interconnection-wide procedure are the initiating and responding RC to use, the one in the initiating RC's interconnection or the one in the responding RC's interconnection?
2.4.4 should be restated as follows:  While attempting to mitigate an existing IROL violation in the Eastern Interconnection, the Reliability Coordinator only applied TLR Levels 5 and lower as the sole remedy for an existing IROL violation.  In the situation under 2.4.4, the appropriate action for the RC to take is to issue a TLR Level 6 - Emergency Procedures, which provides for the RC to redispatch generation, reconfigure transmission, or reduce load to mitigate the critical condition, which an IROL violation is.  See 2.9 of Attachment 1 to IRO-006-4 for reference.

	Response: We recognize the concern with the way the Violation Severity Levels are handled for the individual procedures.  Until such time as the compliance elements are further clarified in Phase III, compliance auditors will be provided a set of guidelines to utilize in determining procedural violations.  However, they will be given discretion in determining the actual violation severity level, based on their review of the facts relevant to the audit.
The intention of 2.3.2, and the associated R4, is to require that an RC in one interconnection, when asked to respond to a request for relief based on an interconnection-wide procedure in another interconnection, must comply with that request in such a way that the requirements of the invoked interconnection-wide procedure are honored. 

We agree with your suggestion for 2.4.4.  

	Duke Energy
	(
	(
	Violation Severity Levels 2.4.2 and 2.4.3 should be moved from Severe to High because these violations may not adversely affect the effectiveness of TLR in mitigating the congestion on the constrained facility.

Section 2.1.2 – the RC has no compliance obligation

	Response: Regarding 2.4.2 and 2.4.3, we believe that these may impact the effectiveness of TLR in mitigating congestion.  
Regarding 2.4.2: If a party attempts to utilize a procedure to which they are nto a party, there is a chance that they will be unable to actually implement the procedure.  For example, assume A, B, and C have a joint redispatch procedure in place.  X is not party to the procedure.  If X experiences a IROL, and calls upon A, B, and C to redispatch, A, B, and C may refuse because X is not party too the agreement.  As such, valuable time may be lost, and the risk of the IROL elevated.  As such, we bleive this to be a Severe violation.  

Regarding 2.4.3: If a party attempts to utilize a local procedure in lieu of the interconneciton-wide procedure without ERO approval, then the industry at loarge has been given no opportunity to verify that the local procedure will achive the stated goals of providing relief.  Without this review, it is possible the party implementing the local procedure can be putting the interconenciton in jeopardy. As such, we beleive this to be a Severe violation.  

Regarding 2.1.2, we note that INT-004 applies to Reliability Coordinators.    



	Entergy
	(
	(
	

	Response: 

	ERCOT
	(
	(
	The Violation Severity Levels seemingly could be interpreted in more than one way.  This should be clarified before approval.  Do the numbers apply per event or to a total by month?  Also, there appears to be no differentiation between minor and major infractions. 
The severity level of high for 2.3.2 seems to be too high and it should be a moderate level violation. It seems inconsistent that within an interconnection several requirements may be violated (2.2) but in an across interconnection situation only 1 violation is required to be a high severity. The TLR will only be applicable to one Interconnection as there are no AC connections between interconncetions. Therfore it should be treated the same with regard to severity as if it did not cross the boundry.

	Response: We recognize the concern with the way the Violation Severity Levels are handled for the individual procedures.  Until such time as the compliance elements are further clarified in Phase III, compliance auditors will be provided a set of guidelines to utilize in determining procedural violations.  However, they will be given discretion in determining the actual violation severity level, based on their review of the facts relevant to the audit.

The intention of 2.3.2, and the associated R4, is to require that an RC in one interconnection, when asked to respond to a request for relief based on an interconnection-wide procedure in another interconnection, must comply with that request in such a way that the requirements of the invoked interconnection-wide procedure are honored. As a specific example, a generator that is in one interconnection may be asked to curtail a transaction that is sinking in a different interconnection, based on the impact of the flows from the DC-tie to the sink.  In this case, the source generator must comply with the directive, even though they are in a different interconnection.  



	IESO
	(
	(
	

	Response: 

	ISO/RTO Council
	(
	(
	One compliance element issue is that it is not clear how to interpret the number of interconnection wide violations by an RC for each TLR in the Eastern Interconnection (the Violation Severity Level is set by the number of violations).  One way to interpret this is that for each TLR event, an RC may  have multiple violations.  The number of violations for that event establishes the Violation Severity Level for just that event.  In this interpretation, the number of violations do not carry over from one event to another event.  Another way to interpret this is the RC accumulates the number of violations for all events as it goes through the month until it reaches a total of 6 at which time it has a severe Violation Severity Level.  It then resets for the same month such that future TLR violations could result in one or more violations. It is not clear which interpretation to apply.  Another compliance element issue is that there is no distinction in the consequences of the violations.  This means a minor infraction of one requirement that has no impact on reliability will be treated on an equal basis as a major infraction of another requirement that does have an impact on reliability when determining the violation count to establish the Violation Severity Level.

	Response: We recognize the concern with the way the Violation Severity Levels are handled for the individual procedures.  Until such time as the compliance elements are further clarified in Phase III, compliance auditors will be provided a set of guidelines to utilize in determining procedural violations.  However, they will be given discretion in determining the actual violation severity level, based on their review of the facts relevant to the audit.

	MRO
	(
	(
	

	Response: 

	Prague Power
	(
	(
	

	Response: 

	PSC South Carolina
	(
	(
	

	Response: 

	Southern Transm.
	(
	(
	We agree with the proposed compliance elements reflected in this standard.

	Response: 

	TVA
	(
	(
	Needs more clarification to understand exact parameters

	Response: 


8. The drafting team is planning a joint NERC NAESB TLR operator’s manual for the TLR procedure.  What would your organization like to see contained in a joint manual?
Summary Consideration:  
	Question #8

	Commenter
	Comment

	American Electric Power
	No comment.

	Response: 

	Duke Energy
	We would like to see at least two things: 1) All the requirements that pertain to TLRs from both the IRO standard and the NAESB business practice in one place, and a concise summary of how and when to call a TLR and how to respond to it (sort of an operator’s guide).

	Response: 

	Entergy
	We suggest the manual contain Attachement 1 with the appropriate NAESB requirements (standards) interleaved in the proper locations.

	Response: 

	ERCOT
	The Reliability Standard  should flow as it currently does. The attachment (manual) should flow so that the TLR process is logical for both Business and Reliability organizations to follow.  It is recommended that both NERC and NAESB versions of the standard contain the complete joint proceedure. This is so that the industry always has the correct complete version. The current version of the approved Business and Reliability Standard should be referred to by the procedure. The attachement (manual) containing the TLR procedure should highlight the Reliability steps so that they are distinguishable from the Business steps.

	Response: 

	IESO
	Following the split of IRO-006, a joint NERC/NAESB TLR operator's manual is required to allow system operator to have a one-stop shop for all the requirements - reliability and business practice, needed to implement an interconnection-wide TLR procedure.

The TLR operator's manual, therefore, should contain all the information in the pre-split IRO-006, and be made available to all operating entities through NERC.

	Response: 

	ISO/RTO Council
	We agree.  This is in line with the correct steps to accomplish what FERC requested of NERC and NAESB.  A common manual is the correct way to go on this.  The split should be an administrative measure only, so that it is handled as quickly as possible.  This would allow the members to quickly start the next phase, which is to do away with the Urgent Action SPP waiver and to change the threshold.    

The combined procedure (NERC-NAESB) should be made available to all areas through NERC.  We expect that NERC and NAESB will work out a process where NAESB is OK with their standard being included in the NERC version.  The joint NERC-NAESB process allows for this, so the end result needs to be a jointly published document.  
Also, the NERC-NAESB fees need to include some sort of funding for updates to the NERC IDC.  A common document will facilitate coordination between functional entities using one guiding procedure."

	Response: 

	MRO
	Business practice proceedures and NERC Reliability Standards.

	Response: 

	Prague Power
	A consistent flow of interwoven NERC and NAESB TLR requirements, clearly delinated (e.g. different fonts or shading) as to which organization is responsible for the development and maintenance of the respective requirements.

	Response: 

	PSC South Carolina
	N/A for Public Service Commission of South Carolina

	Response: 

	Southern Transm.
	The joint NERC NAESB TLR Operator's Manual should essentially provide the operator with the same information he/she has in the pre-split version of the standard.  The drafting team should work to format the joint manual in a way that follows a logical order and is easily understandable  The manual should contain references to the latest version of the applicable NERC Standards and NAESB Business Practices.  A question for the Drafting Team i- how will the joint manual be maintained and updated?

	Response:   We believe that the joint operating manual will fall under the Joint Standard Development Process, which is the manner in which this standard is currently being developed, or a similar joint process.  As such, there will coordination to ensure changes are not made without understanding their full impact.

	TVA
	We would like to see one document that contains both the NERC requirements and NAESB Business Practices together.  Would prefer this to be highlighted or different fonts for each so that it is easily distinguishable what sections belong to what group.

	Response: 


9. Are you aware of any conflicts between the proposed standard and any regulatory function, rule/order, tariff, rate schedule, legislative requirement or agreement?  If yes, please explain your answer.
Summary Consideration:  

	Question #9

	Commenter
	Yes
	No
	Comment

	American Electric Power
	(
	(
	

	Response: 

	Duke Energy
	(
	(
	

	Response: 

	Entergy
	(
	(
	

	Response: 

	ERCOT
	(
	(
	

	Response: 

	IESO
	(
	(
	

	Response: 

	ISO/RTO Council
	(
	(
	

	Response: 

	MRO
	(
	(
	

	Response: 

	Prague Power
	(
	(
	

	Response: 

	PSC South Carolina
	(
	(
	

	Response: 

	Southern Transm.
	(
	(
	

	Response: 

	TVA
	(
	(
	

	Response: 


10. Do you have any concerns that would prevent you from voting to approve this draft standard?  If yes, please explain your answer.

Summary Consideration:  

	Question #10

	Commenter
	Yes
	No
	Comment

	American Electric Power
	(
	(
	Yes, see our comments to Q#7 and Q#11.

	Response: 

	Duke Energy
	(
	(
	

	Response: 

	Entergy
	(
	(
	We would like the suggestions contained herein to be included in the draft standard. We may also wish to see other changes made, depending on suggestions by other commenters.

	Response: 

	ERCOT
	(
	(
	Only the concerns expressed with regard to Question 7 regarding Violation Severity Levels

	Response: 

	IESO
	(
	(
	

	Response: 

	ISO/RTO Council
	(
	(
	See response to Question 7.  This could possibly affect vote decisions.

	Response: 

	MRO
	(
	(
	

	Response: 

	Prague Power
	(
	(
	

	Response: 

	PSC South Carolina
	(
	(
	

	Response: 

	Southern Transm.
	(
	(
	

	Response: 

	TVA
	(
	(
	We would like to see the conflict between Requirement 1 and Sections 1.1 and 1.2.1 of Attachment 1 resolved before we could approve this draft.   ( see question 2)

	Response: 


11. Please provide any other comments you have (that you have not already provided in response to the above questions) regarding this draft standard.

Summary Consideration:  

	Question #11

	Commenter
	Comment

	American Electric Power
	For the Standard, IRO-006-4:

R1.1 - Delete the following:  "TLR procedure alone is an inappropriate and ineffective tool to mitigate an IROL violation.  Other acceptable and more effective procedures to mitigate actual IROL violations include:  reconfiguration, redispatch, or load shedding."   This is a incorrect statement.  The Eastern Interconnection TLR procedure includes TLR Level 6 - Emergency Procedures, which provides for the RC to redispatch generation, reconfigure transmission, or reduce load to mitigate the critical condition, which an IROL violation is.  See 2.9 of Attachment 1 to IRO-006-4 for reference.  TLR Level 6 is an often forgotten element of the TLR procedure, but is does exist and is perfect for the situation sited.

For Attachment 1:

1.2 - Delete the following:  "However, the TLR procedure is an

inappropriate and ineffective tool as a sole means to mitigate existing IROL violations

due to the time required to implement the procedure. Reconfiguration, redispatch, and

load shedding are more timely and effective in mitigating existing IROL violations."  This is an incorrect statement for the reason sited above in R1.1.  It is interesting to note that in 1.3 of Attachment 1 acknowledges our position by stating that "Furthermore, if a Reliability Coordinator deems that a transmission loading condition could jeopardize Bulk Electric System reliability, the Reliability Coordinator shall have the authority to enter TLR Level 6 directly, and immediately direct the Balancing Authorities or Transmission Operators to take such actions as redispatching generation, or reconfiguring transmission, or reducing load to mitigate the critical condition until Interchange Transactions can be reduced utilizing the TLR Procedure or other methods to return the system to a secure state."  As TLR Level 6 is part of the TLR procedures, and TLR Level 6 is for directing immediate reconfiguration, redispatch, or load shedding, then the TLR procedure is an effective tool to mitigate IROL violations.

3.0  TLR Level 0 - This is numbered incorrectly.  It is part of section 2, thus should be numbered 2.10, and 3.0.1 should be numbered 2.10.1.

Under the heading Requirements on pg. 7, 4.1 to 4.5 were part of former section 7, Interchange Transaction Curtailments During TLR Level 3B.  If these requirements are to stay, then this heading should be used again, and they should be numbered section 3.  However, we question why these remain.  All but 4.5 appear to be related to the business practice side of TLR, thus they should go to NAESB.

Appendix A - This is very out of date.  NERC has not used the term OSL violation for years.  This chart needs to be updated to the present terminology, using IROL and SOL, not OSL and Security Limit Violation.

	Response:  Regarding R1.1 and Attachment 1 Section 1.2: This language was included at the request of the Federal Energy Regulatory Commission.  We will clarify that this statement applies to TLR levels 1-5 only.

Regarding Attachment 1 Section 3.0: We agree and will correct the numbering.

Regarding Attachment 1 Appendix A: We will update the terminology.

 

	Duke Energy
	We are concerned that there is a lack of clarity between R1, R1.1 and R3 regarding the use of local procedures in response to a SOL or IROL viiolation.  R1 states that the RC can select a local procedure at its discretion, and R1.1 recognizes that an Interconnection-wide TLR procedure used alone is an inappropriate and ineffective tool.  However R3 states that the RC must have prior approval from the ERO to use a local procedure as a substitute for curtailments directed by the Interconnection-wide procedure.  However it is unclear how prior approval can be obtained since the local procedure will be case-specific to the problem that initiates the Interconnection-wide procedure. Further, depending upon the resolution of this issue, M3 will need to be restated.

Also, in general the standard drafting team needs to carefully review cross-references to assure that the reliability and business practices split is correctly implemented. 

B. Requirements:

•
R1.1. - The statement “inappropriate and ineffective tool” need to be clarified. If the reason is that the IDC does not respond fast enough, then say so (similar to statement in Attachment 1 – 1.2.)

	Response: Regarding R1, R1.1, and R3: R1 is intended to tell the Reliability Coordinator that they may relieve congestion through the use of local procedures or Interconnection-wide procedures.  R1.1 is intended to state that TLR is not robust enough to address existing IROLs, and that more aggressive action should be taken by the RC through local procedures.  R3 is intended to address a slightly different situation; if an RC calls for an Interconnection wide procedure, or another RC calls for the Interconnection-wide procedure and asks an RC to take action, the RC must obey the request unless they have been pre-authorized to take alternative actions.  One example might be a local procedure that rather than curtailing 20 transactions by 5MW each instead curtails a single 100MW transaction.  This is acceptable as a local procedure, but if an RC wishes to do this instead of following the curtailments dictated by the interconnection-wide procedure, they must obtain ERO approval of the substitution procedure in advance of the procedure being utilized in this fashion.  We will attempt to clarify this in the standard. 
Regarding R1.1, we will make the language consitent to explain the shortcomings of the prcedure with regard to existing IROLs.

	Entergy
	There is a comment added to R1.1 reflecting the FERC Order 693 paragraph 964 regarding the use of tools other than TLR to mitigate an actual IROL. That statement, being in R1.1, seems to apply only to the Eastern Interconnection. Please add that note to the other two Interconnections, or move the note so it applies to all three Interconnections.

Please better define the "Local" Procedure. Is it developed by the TOP? Is the curtailment of transactions allowed in "Local" Procedures? Is only transmission reconfiguration allowed? Is redispatch of designated network resources allowed in a "Local" Procedure?   We realize that better defining "Local Procedure' may not be related to NERC/NAESB split.  However, it is important to not use any "Local Procedure" without proper description and disclosure.

M5 identifies specific INT standards, INT-001, INT-003, and INT-004. We suggest the references to specific INT standards be deleted. Some time in the future those specific standards may be retired and this standard would then need to be revised.

	Response: Regarding 1.2, this is intended to apply only to TLR and the Eastern Interconnection, and the requirement so states.
Regarding the definition of “local procedure,” these procedures may be developed in many different ways (by the TOp, by the RRO, by stakeholders, etc…) and approved by many different organizations (by state regulators, by the RRO, by the ERO, by FERC, etc…).  We believe the term “local procedure” applies to any procedure, regardless of source or approval body, that is not one of the three interconnection-wide procedures described.  

Regarding M5, we agree with your comments, and will improve this language with the Phase III work. 



	ERCOT
	ERCOT does not use the TLR process.  The Drafting Team should consider whether this standard should include a Regional Variance for a Region that does not use TLR, or for a single-Region Interconnection that does not use TLR.  Or, does the Drafting Team believe that updating the wording of Requirement R1.3 would be sufficient?

	Response: The Drafting Team believes the language in R1 and R1.3 allows ERCOT to not implement TLR.  

	IESO
	None.

	Response: 

	ISO/RTO Council
	We find IRO-006-4 a significant improvement over IRO-006-3, however we strongly support continued improvement of this standard. The following comments are intended for Phase III of the standard development. 

IRO-006-4: The roles of the RC (as initiator or responder) are unclear and should be clarified.

IRO-006-4, Attachment 1: Should be reviewed to determine whether there is any portion that should become part of a standard.  Attachment 1 largely is procedural in nature, but part(s) of it possibly should rewritten in the form of a standard. 

IRO-006-4, Attachment 1: Some of the assumptions made by IDC are fairly crude and can result in the inappropriate selection of interchange transactions to be curtailed. 

IRO-006-4, Attachment 1: Should either specify requirements for IDC, or require after-the-fact analysis of IDC results upon request to identify and quantify deficiencies, or both.

	Response: The drafting team will consider these items in the Phase III scope of work. 

	MRO
	Complete and approve the Joint NERC/NASB operators manual in a expiditiuous manner.

Regarding Requirement R1.1: The requirement needs to be rewritten somehow.  It doesn't seem appropriate to me to to list TLR as the first procedure and then go on to say it is an inappropriate procedure and list other more appropriate procedures.  The drafting team should just change the list of procedures if they want to specify them and list TLR as the last procedure in the list if that is what they are saying. 
One MRO member submitted the following comment regarding violation severity levels: I question whether 2.4.2, 2.4.3 or 2.4.4 should be severe violations.  How any of these actually could lead to system separation or collapse in and of themselves is not obvious to me.  In addition I question the whole premise of how they are using this set of violation severity levels.  They are all premised on a violation during one IROL incident.  It seems to me that a violation of one step in a procedure to mitigate an IROL should not be what is considered, but a pattern of  not following procedures or mitigation steps or IROL's not being mitigated in the 30 minutes allowed.  Making one simple mistake in implementing a procedure in one IROL incident should not lead to sanctions.

	Response: Regarding the Joint Operators manual, it is our intent to post this document prior to balloting the standard.

Regarding R1.1, the intent is not to state that TLR is an inappropriate tool for managing congestion; rather, it is intended to say that if the system is in an insecure state, better choices exist to address the problem than TLR.  There is not intended to be any ranking of the choices based on the order in which they are presented.  

Regarding 2.4.2: If a party attempts to utilize a procedure to which they are not a party, there is a chance that they will be unable to actually implement the procedure.  For example, assume A, B, and C have a joint redispatch procedure in place.  X is not party to the procedure.  If X experiences a IROL, and calls upon A, B, and C to redispatch, A, B, and C may refuse because X is not party too the agreement.  As such, valuable time may be lost, and the risk of the IROL elevated.  As such, we believe this to be a Severe violation.  

Regarding 2.4.3: If a party attempts to utilize a local procedure in lieu of the interconnection-wide procedure without ERO approval, then the industry at large has been given no opportunity to verify that the local procedure will achieve the stated goals of providing relief.  Without this review, it is possible the party implementing the local procedure can be putting the interconnection in jeopardy. As such, we believe this to be a Severe violation.  

Regarding 2.4.4: FERC has directed, and the standard explicitly states, that TLR should not be used in this manner, due to the amount of time required to implement TLR.  As such, using TLR as the sole remedy for an existing IROL will result in the security of the Interconnection being placed in jeopardy.  As such, we believe this to be a Severe violation.
  

	Prague Power
	n/a

	Response: 

	PSC South Carolina
	None

	Response: 

	Southern Transm.
	We have no further comment at this time.  We appreciate the work of the TLR Drafting Team and our opportunity to submit comments regarding the proposed standard.

	Response: 

	TVA
	None.

	Response: 


� The appeals process is in the Reliability Standards Development Procedure: http://www.nerc.com/standards/newstandardsprocess.html.  









Page 28 of 28

