List of Phase III Changes
1.) Request for exemption from ramp requirements for TLR-cuts (CoC IRO-006-1, Q3 - OVEC)

2.) Request that curtailed transactions cannot be reloaded by anyone except the issuer of the curtailment.  (CoC IRO-006-1, Q5 - JISWG)

3.) Identify cases where denial of a curtailment may be allowed (CoC IRO-006-1, Q5 - JISWG)

4.) Identify cases (if any) where a curtailment may be allowed for non-reliability reasons (CoC IRO-006-1, Q5 - JISWG)

5.) Appropriate uses (if any) of “proxy” flowgates (CoC IRO-006-1, Q5 – AEP, OVEC)
6.) Ensure there are no “double jeopardy” situations with IRO-005 (CoC IRO-006-4,Q1-AEP)

7.) Review role of TOp in IRO-006 (CoC IRO-006-4, Q2)

8.) Request to move the first sentence in 2.5.3 to NAESB (The issuance of a TLR Level 4 shall result in the curtailment, in the current hour and the next hour, of all Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold that impact the Constrained Facilities.) (CoC IRO-006-4, Q3 – Duke)
9.) Request to keep 5.1.5 within the IRO-006 standard (All Balancing Authorities in the Eastern Interconnection shall be obligated to achieve the amount of Constrained Facility relief assigned to them by the Per Generator Method.) (CoC IRO-006-4, Q3 – Duke)
10.) Request to move sections 6.2 – 6.2.6 (from mapping document) to either NAESB or the IDC Ref Doc (CoC IRO-006-4, Q3 – Duke)
11.) Request to move sections 7.4.1. – 7.4.3 (from mapping document) to NAESB (CoC IRO-006-4, Q3 – Duke)
12.) Request to move sections 7.7 – 7.9 (from mapping document) to  NAESB or the IDC Ref Doc (CoC IRO-006-4, Q3 – Duke)
13.) Attachment 1 - Section 2. Identify whether reference to “On-Path or Off-path” belongs in standard, attachment, reference document, or NAESB (CoC IRO-006-4, Q3 – Duke)
14.) Redraft of R5 and M5 (CoC IRO-006-4, Q6-Duke; q11 entergy)
15.) Restructure of R3 (CoC IRO-006-4, QA6 Duke) R3 needs to be split into two requirements, one that focuses on implementing a local procedure simultaneously with the Interconnection-wide procedure and another that states specifically, “Each Reliability Coordinator shall follow the curtailments as directed by the Interconnection-wide procedure.” 
16.) Rewrite of R4 (CoC IRO-006-4, Q7-AEP)

17.) Evaluate the need for TLR Level 6 (CoC IRO-006-4, Q7-AEP)

18.) Restructure of R4, which deals with coordination across Interconnections (CoC IRO-006-4, Q7-ERCOT)

19.) Rewrite 4.1 – 4.5 (CoC IRO-006-4, Q11-AEP)
20.) Update Appendix A diagram with correct erminology (CoC IRO-006-4, Q11-AEP) 

21.) IRO-006-4: The roles of the RC (as initiator or responder) are unclear and should be clarified. (CoC IRO-006-4, Q11-IRC)

22.) IRO-006-4, Attachment 1: Should be reviewed to determine whether there is any portion that should become part of a standard.  Attachment 1 largely is procedural in nature, but part(s) of it possibly should be rewritten in the form of a standard. (CoC IRO-006-4, Q11-IRC)

23.) IRO-006-4, Attachment 1: Some of the assumptions made by IDC are fairly crude and can result in the inappropriate selection of interchange transactions to be curtailed. (CoC IRO-006-4 Q11-IRC)

24.) IRO-006-4, Attachment 1: Should either specify requirements for IDC, or require after-the-fact analysis of IDC results upon request to identify and quantify deficiencies, or both. (CoC IRO-006-4, Q11-IRC)

25.) Move timing guidelines in Attachment 1 to IDC Reference Document 

26.) Move Attachment 1 Appendix E, F to IDC Reference Document

