Specific Questions from TVA on NAESB TLR BP
· RCIS needs a more complete definition; may use the NERC Glossary for suggestion

· 1.6 – delete reference to ISO, RTOs (Entergy has same comment)

· Section 2.4 – we have a lot of questions on the language and feel it needs more clarification (now states that the RC establishes sub priorities…maybe it should say recognizes sub priorities from the IDC which establishes them
· Section 3.1 – modify the language to match NERC language in 2.1.2 (reference:  notify all RCs using RCIS and check the IDC) 

· Section 3.2.1.2 – Change the word procedure log to NERC TLR log

· Section 3.2.2 – why did the language change to on-firm in last sentence from the original NERC 2.2.2….after timing guidelines have passed, firm is also held; this business practice language seems to indicate it will flow and not be held.

· Need to look at language in INT-004 R5 to see if language on dynamic schedules matches Business Practice section 3.2.5.

· May need to add a section to instruct a reloading process after TLR events are over

· Section 3.3.2 needs clarification (check with Joel)

· Section 3.4.3 and 3.4.4 – is this tied to NERC section 3.3?
· Section 3.5.2 – why did we exclude words….TLR level 4 or whichever is later (from NERC section 2.5.2.)
· Section 3.6.1.3 – agree with Entergy’s rewording of the paragraph

· Section 3.7.1.3 – Need to add “firm” back to the language

· Section 3.8 – Change the words “work together” to “comply”

· Section 3.9 – Do we want to develop a business practice to accompany NERC section 2.9.1 where it discusses “at its discretion”?

· NERC Sections 7.4-7.6 – were these principles covered anywhere in the NAESB Business Practice

