Minor Corrections Needed for NAESB WEQ TLR BP - Request R06002

BP Sections needing changes:

Section 3.2.5 - reference to NERC INT-004, R5 needs to be changed to “current version of NERC INT-004

Section 3.3.1 - reference to NERC IRO-006-1 needs to be changed to “current version of IRO-006”

Section 3.3.1.2 - reference to NERC INT-004, R5 needs to be changed to “current version of NERC INT-004

Section 3.4.1.2 - reference to NERC INT-004, R5 needs to be changed to “current version of NERC INT-004

Section 3.5.2.1 - reference to NERC INT-004, R5 needs to be changed to “current version of NERC INT-004

Potential Changes to Appendix D (will search appendix for all references during meeting):

References to Appendix E - “How the IDC Handles Reallocation” of NERC IRO-006-1 need to be changed to IDC Reference Document.

Also, need to consider changes to reference of IRO-006-1 to “current version of IRO-006”

Changes to this appendix need to be confirmed with the TLR team during a July 19th teleconference, since this is waiver language for PJM and MISO.  If team decides we should leave as is due to it being part of original waiver language, then NAESB will leave the references as currently posted in the Business Practice and then make those changes when we do work on Version 1 and after the Market Curtailment Threshold field test.
