A. Introduction 
1. Title: Reliability Coordination — Transmission Loading Relief (TLR) 
2. Number: IRO-006-5 

3. Purpose: To provide reductions in transmission facility loading due to interchange transactions. 
 

4. Applicability: 
4.1. Reliability Coordinators.

5. Proposed Effective Date: First day of first quarter after BOT adoption. 

B. Requirements 

R1.
If  Reliability Coordinators in the Eastern Interconnection decide to use the Interconnection-wide TLR procedure to provide reductions in loading due to interchange transactions on transmission facilities modeled in the IDC, then the Reliability Coordinators must use the Interconnection-wide procedure for the Eastern Interconnection per Attachment 1 of this IRO-006 and is called “Transmission Loading Relief (TLR) for use in the Eastern Interconnection.” [Violation Risk Factor: Low] [Time Horizon: Real-time Operations]
R2.
If Reliability Coordinators in the Western Interconnection decide to use the Interconnection-wide TLR procedure to provide reductions in loading due to interchange transactions on transmission facilities, then the Reliability Coordinators must use the Interconnection-wide procedure for the Western Interconnection per Attachment 2 of this IRO-006 and is called “WSCC Unscheduled Flow Mitigation Plan.” http://www.wecc.biz/documents/library/UFAS/UFAS_mitigation_plan_rev_20 01-clean_8-8-03.pdf.” [Violation Risk Factor: Low] [Time Horizon: Real-time Operations] 

R3.
If the Reliability Coordinator in ERCOT decides to use the Interconnection-wide TLR procedure to provide reductions in loading due to interchange transactions on transmission facilities, then the Reliability Coordinators must use the Interconnection-wide procedure for ERCOT is provided in Attachment 3 of this IRO-006 and is called “Section 7 of the ERCOT Protocols.” [Violation Risk Factor: Low] [Time Horizon: Real-time Operations] 

R4.
When Interconnection-wide procedures are implemented to curtail Interchange Transactions that cross an Interconnection boundary, each Reliability Coordinator shall comply with the provisions of the Interconnection-wide procedure for its own Interconnection. [Violation Risk Factor: Low] [Time Horizon: Real-time Operations] 

R5.
 

C. Measures 

	Requirement
	Measure

	R1
	-
	N/A

	R1.1
	M1.1
	A Balancing Authority and/or its Reliability Coordinator shall be capable of providing evidence (such as logs) showing the directives of the Reliability Coordinator and/or actions taken to comply with the directives of the Reliability Coordinator. If a discrepancy exists between the evidence of the Balancing Authority and the evidence of the Reliability Coordinator, the evidence of the Reliability Coordinator shall take precedence.

	R1.2
	M1.2
	A Transmission Operator and/or its Reliability Coordinator shall be capable of providing evidence (such as logs) showing the directives of the Reliability Coordinator and/or actions taken to comply with the directives of the Reliability Coordinator. If a discrepancy exists between the evidence of the Transmission Operator and the evidence of the Reliability Coordinator, the evidence of the Reliability Coordinator shall take precedence.

	R2
	M2
	A Reliability Coordinator shall be capable of providing evidence (such as logs) that demonstrate the actions that were taken to mitigate a potential or actual SOL or IROL violation in its Reliability Coordinator Area.

	R2.1
	-
	N/A

	R2.1.1
	M2.1.1
	An Initiating Reliability Coordinator in the Eastern Interconnection that invokes the Interconnection-wide procedure to mitigate an actual IROL violation shall be capable of providing evidence (such as logs) that demonstrate that one or more other procedures were also used to mitigate the actual IROL. Other procedures include, but are not limited to, reconfiguration, redispatch, or load shedding.

	R2.1.2
	M2.1.2
	An Initiating Reliability Coordinator in the Eastern Interconnection that invokes the Interconnection-wide procedure shall be capable of providing evidence (such as logs) that demonstrate that Eastern Interconnection-wide transmission loading relief procedures were followed.

	R2.1.3
	M2.1.3
	A Responding Reliability Coordinator in the Eastern Interconnection that is asked to respond to the Interconnection-wide procedure shall be capable of providing evidence (such as logs) that demonstrate that the Interconnection-wide transmission loading relief procedures were followed, or provide evidence that an alternate procedure had been accepted by the ERO and that the alternate procedure was followed.

	R2.2
	-
	N/A

	R2.2.1
	M2.2.1
	An Initiating Reliability Coordinator in the Western Interconnection that invokes the Interconnection-wide procedure shall be capable of providing evidence (such as logs) that demonstrate that Western Interconnection-wide transmission loading relief procedures were followed.

	R2.2.2
	M2.2.2
	A Responding Reliability Coordinator in the Western Interconnection that is asked to respond to the Interconnection-wide procedure shall be capable of providing evidence (such as logs) that demonstrate that the Interconnection-wide transmission loading relief procedures were followed, or provide evidence that an alternate procedure had been accepted by the ERO and that the alternate procedure was followed.

	R2.3
	-
	N/A

	R2.3.1
	M2.3.1
	An Initiating Reliability Coordinator in ERCOT that invokes the Interconnection-wide procedure shall be capable of providing evidence (such as logs) that demonstrate that ERCOT Interconnection-wide transmission loading relief procedures were followed.

	R2.3.2
	M2.3.2
	A Responding Reliability Coordinator in ERCOT that is asked to respond to the Interconnection-wide procedure shall be capable of providing evidence (such as logs) that demonstrate that the Interconnection-wide transmission loading relief procedures were followed, or provide evidence that an alternate procedure had been accepted by the ERO and that the alternate procedure was followed.

	R2.4
	M2.4
	Each Reliability Coordinator that invokes local procedures to mitigate a potential or actual SOL or IROL violation shall be capable of providing evidence (such as logs) that demonstrate the local actions that were taken.

	R2.4.1
	M2.4.1
	Each Reliability Coordinator shall be capable of providing evidence (such as written documentation) that the Transmission Operator experiencing the potential or existing SOL or IROL violations is a party to the local transmission loading relief or congestion management procedures when these procedures have been implemented.

	R2.5
	-
	N/A

	R3
	M3
	[???]A Responding Reliability Coordinator shall be capable of providing evidence (such as logs) that it complied with the provisions of its Interconnection-wide procedure as requested by the Initiating Reliability Coordinator when requested to curtail an Interchange Transaction that crosses an Interconnection boundary.

	R4
	M4
	Each Reliability Coordinator and Balancing Authority shall be capable of providing evidence (such as Interchange Transaction Tags, operator logs, voice recordings or transcripts of voice recordings, electronic communications, computer printouts) that they have complied with applicable Interchange scheduling standards INT-001, INT003, and INT-004 during the implementation of relief procedures, up to the point emergency action is necessary.


D. Compliance 

1.
Compliance Monitoring Process 

1.1.
Compliance Monitoring Responsibility:  The Regional Reliability Organization shall have responsibility for compliance monitoring.
1.2.
Compliance Monitoring Period and Reset Time Frame:  The compliance monitoring period shall be one (1) calendar year. The reset period shall be one (1) month without a violation.

1.3.
Data Retention 
	Measure
	Entity
	Data Retention Period

	M1.1
	RC
	Eighteen (18) months

	
	BA
	Eighteen (18) months

	M1.2
	RC
	Eighteen (18) months

	
	TOP
	Eighteen (18) months

	M2
	RC
	Eighteen (18) months

	M2.1.1
	RC
	Eighteen (18) months

	M2.1.2
	RC
	Eighteen (18) months

	M2.1.3
	RC
	Eighteen (18) months

	M2.2.1
	RC
	Eighteen (18) months

	M2.2.2
	RC
	Eighteen (18) months

	M2.3.1
	RC
	Eighteen (18) months

	M2.3.2
	RC
	Eighteen (18) months

	M2.4
	RC
	Duration of the procedure plus one (1) calendar year thereafter

	M2.4.1
	RC
	Duration that the Transmission Operator is party to the procedure plus one (1) calendar year thereafter

	M3
	RC
	Eighteen (18) months

	M4
	RC
	Eighteen (18) months


2.
Additional Compliance Information:  Each Reliability Coordinator, Balancing Authority, and Transmission Operator shall demonstrate compliance through self-certification submitted to its Compliance Monitor annually and reporting by exception. The Compliance Monitor may also use scheduled on-site reviews every three years, and investigations upon complaint, to assess performance. Each Reliability Coordinator, Balancing Authority, and Transmission Operator shall have the following available for its Compliance Monitor to inspect during a scheduled, on-site review or within 5 days of a request as part of an investigation upon complaint:
2.1.
Operations logs, voice recordings or transcripts of voice recordings or other documentation providing the evidence of its compliance to all the requirements for all Interconnection-wide procedures that it has implemented during the review period.
2.2.
TLR reports.

3.
Violation Severity Levels 

	Requirement
	Entity
	Violation Severity

	R1
	N/A
	N/A

	R1.1
	BA
	Severe:  a Balancing Authority failed to comply with one (1) or more directives of its Reliability Coordinator.

	R1.2
	TOP
	Severe:  a Transmission Operator failed to comply with one (1) or more directives of its Reliability Coordinator.

	R2
	RC
	High:  a Reliability Coordinator failed to take action to mitigate a potential or actual SOL or IROL violation one (1) or more times.

	R2.1 

R2.2 

R2.3
	N/A
	N/A

	R2.1.1
	RC
	High:  a Reliability Coordinator in the Eastern Interconnection failed to take action, other than the Interconnection-wide procedure, to mitigate an actual IROL violation one (1) or more times.

	R2.1.2

R2.2.1

R2.3.1
	RC
	Lower:  the Initiating Reliability Coordinator violated one (1) of the requirements of the interconnection-wide procedure.

Moderate:  the Initiating Reliability Coordinator violated two (2) or three (3) of the requirements of the interconnection-wide procedure.

High:  the Initiating Reliability Coordinator violated four (4) or five (5) of the requirements of the interconnection-wide procedure.

Severe:  the Initiating Reliability Coordinator violated seven (7) or more of the requirements of the interconnection-wide procedure. 

	R2.1.3

R2.2.2

R2.3.2
	RC
	Lower:  the Responding Reliability Coordinator violated one (1) of the requirements of the interconnection-wide procedure.

Moderate:  the Responding Reliability Coordinator violated two (2) or three (3) of the requirements of the interconnection-wide procedure.

High:  the Responding Reliability Coordinator violated four (4) or five (5) of the requirements of the interconnection-wide procedure.

Severe:  the Responding Reliability Coordinator violated seven (7) or more of the requirements of the interconnection-wide procedure. 

Severe:  the Responding Reliability Coordinator used an alternate plan that had not been approved by the ERO one (1) or more times. 

	R2.4
	N/A
	N/A

	R2.4.1
	RC
	Severe:  the Reliability Coordinator failed to make the Transmission Operator a party to a local procedure one (1) or more times

	R2.5
	N/A
	N/A

	R3
	RC
	High:  the Responding Reliability Coordinator failed to curtail a transaction that crossed an interconnection boundary one (1) or more times. 

	R4
	RC
BA
	Lower:  The Reliability Coordinator or Balancing Authority failed to comply with applicable interchange standards up to the point of emergency action one (1) or more times.


E. Regional Differences 

1. PJM/MISO Enhanced Congestion Management

2. Southwest Power Pool Enhanced Congestion Management

F. Associated Documents

G. Revision History

	Version 
	Date 
	Action 
	Tracking 

	0 
	4/1/2005 
	Effective Date 
	New 

	0 
	8/8/2005 
	Removed “Proposed” from Effective Date 
	Errata 

	1 
	8/8/2005 
	Revised Attachment 1 
	Revision 

	3 
	2/26/2007 
	Revised Purpose and Attachment 1 related to NERC NAESB split of the TLR procedure 
	Revision 

	4
	
	NERC/NAESB split of IRO-006 with the intention of making minimal changes to the remaining content & format
	Revision 

	5 
	
	Rewrite of IRO-006 following NERC/NAESB split to improve clarity and organization
	Revision 


�Other methods of providing relief (eg.  Redispatch, reconfiguration, load shedding) are covered in other standards.


�The standard is equally applicable to initiating or responding RCs.


�Existing R1 requirement to follow the instructions of the RC are explicitly stated in NERC Standard TOP-001. Existing R2 requirement implies that taking no action is not an option—but it is. And it implies that you are not in compliance with the standard at any time when you are in violation.


�This requirement should be in the applicable interchange scheduling standards.





