Violation Severity Level Guideline for

IRO-006 Attachment 1
These guidelines are intended to assist regional entities in evaluating TLR performance.  They are not intended to mandate any specific requirements upon compliance or penalty assessment.   RCs are expected to review each TLR event and self-report to their regional entity all occurrences of requirement violations. 

Evaluation of the violation of IRO-006 Attachment 1 by regional entities will be based on a sample of the TLRs experienced within a month.  A sample will consist of 10 TLR events during the month.  This sample will be made up of the following:
· Up to five TLR events with a known problem.  A known problem is defined as a TLR 5 or TLR 6 event, TLR used when an IROL violation occurred or where there was a deviation from the Interconnection-wide procedure.

· The remainder to be made up of randomly selected TLR events.

· If the total number for TLR events is less than 10, then all TLR events should be used.

Each TLR event in the sample will be reviewed for violations of the Attachment 1 requirements using the level of importance described in Appendix A for each violation. The levels of importance indicate how a violation of that requirement would impact reliability.  Each violation will be assigned a violation score as described below:

Low        -
Contributes 0 to a violation (these are mainly administrative issues not associated with reliability).  
Medium  -
Contributes .5 to a violation.

High        -
Contributes 1 to a violation.

The sum of all violation scores will be rounded down to the closest whole number for each TLR event, and that total violation score will be used to determine the Violation Severity Level as described below.

	VSL
	Number of Accumulated Violations Based on All TLR Events in Reset Period

	Lower
	One violation of applicable Interconnection-wide procedure.

	Moderate
	Two to three violations of applicable Interconnection-wide procedure.

	High

	Four to five violations of applicable Interconnection-wide procedure.

	Severe
	Six or more violations of applicable Interconnection-wide procedure.


Appendix A

NERC TLR Standard Non-Compliance Criteria
The requirements described in IRO-006 Attachment 1 are assigned a level of importance with a higher number of violations allowed for low level of importance areas (minor infractions) and a lower number of violations allowed for a high level of importance areas (major infractions). 

1.0 TLR Procedure

1.1 Initiation Only by RC – Not requirement
1.1.1 Requesting relief on transmission facilities. – Not requirement
1.2 Mitigating SOL & IROL Violations – High (if use TLR as sole means to mitigate existing IROL)
1.3 Sequencing – High (if don’t have authority to directed BAs and TOPs during Level 6)

1.4 Notification of TLR Procedure Implementation 
1.4.1 Notifying Other Reliability Coordinators – Low (this process now automated)

1.4.1.1 Actions Expected – High (notification of expected actions)
1.4.2 Notifying Transmission Operators and Balancing Authorities – Low (this process now automated)

1.4.3 Notifying Link Balancing Authorities – High (sink RC responsible to notify sink BA to curtail)
1.4.3.1 Notification Order – Not requirement
1.4.4 Updates – Low (this process now automated)
1.5 Obligations – High

1.6 Consideration of Interchange Transactions – Not requirement
1.6.1 Interchange Transactions Not in the IDC – Medium

1.6.2 Transmission Elements Not in IDC – Medium

1.6.3 Questionable IDC Results – Medium

1.6.4 Curtailment that Would Cause a Constraint Elsewhere – Medium

1.7 Logging – Low (log creation automated in IDC)

1.8 TLR Event Review – Low
1.8.1 Providing Information – Low
1.8.2 Market Committee Review – Not requirement
1.8.3 Operating Reliability Subcommittee Review –  Low 
2.0 Transmission Loading Relief (TLR) Levels

2.1 TLR Level 1

2.1.1 Medium (if call TLR w/o condition present)
2.1.2 Notification Procedures – Low (IDC does automatic notification) 

2.2 TLR Level 2

2.2.1 Medium (if call TLR w/o condition present)
2.3 TLR Level 3a

2.3.1 – Medium (if call TLR w/o condition present)
2.4 TLR Level 3b

2.4.1 Medium (if call TLR w/o condition present)
2.5 TLR Level 4 – Reconfigure Transmission

2.5.1 Medium (if call TLR w/o condition present)
2.5.2 Reconfiguration Procedures – Medium (if do not request reconfiguration)
2.6 TLR Level 5a

2.6.1 Medium (if call TLR w/o condition present)
2.7 TLR Level 5b

2.7.1 Medium (if call TLR w/o condition present)
2.8 Curtailment of Interchange Transactions Using Firm Transmission Service

2.8.1 High

2.8.1.1 TLR Level 5a – High

2.8.1.2 TLR Level 5b – High

2.9 TLR Level 6

2.9.1 Medium (if call TLR w/o condition present)
2.9.2 Implementing Emergency Procedures – High

2.10 TLR Level 0 – TLR Concluded

2.10.1 Interchange Transaction Restoration and Notification Procedure – Low (IDC does automatic notification)

3.1 Not requirement
3.2 Medium

3.3 Not requirement
3.4 Medium

3.5 Not requirement
Draft
1
July 6, 2007

