2.4. TLR Level 3b — Curtail Interchange Transactions using Non-Firm Transmission

Service Arrangements to mitigate a SOL or IROL Violation

2.4.1. The Reliability Coordinator shall use the following circumstances to establish the

need for entering TLR Level 3b:

• One or more transmission facilities are operating above their SOL or IROL, or

• Such operation is imminent and it is expected that facilities will exceed their

security limit unless corrective action is taken, or

• One or more Transmission Facilities will exceed their SOL or IROL upon the

removal from service of a generating unit or another transmission facility.

• Transactions using Non-firm Point-to-Point Transmission Service are flowing

that are at or above the Curtailment Threshold on those facilities.




2.4.2. Curtailment procedures to mitigate an SOL or IROL. 

The Reliability Coordinator shall curtail Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold as specified

in Section 3, “Interchange Transaction Curtailment Order.” in the current hour to mitigate an SOL or IROL as well as reallocating, in accordance with Section 6 of this document, to a determined flow for the top of the next hour.
The Reliability Coordinator shall allow Interchange Transactions using Firm Point-to-Point Transmission Service to start if they are submitted to the IDC within specific time limits as explained in Section 7.“Interchange Transaction Curtailments during TLR Level 3b.”

7. Interchange Transaction Curtailments During TLR Level 3b

Introduction

This section provides the details for implementing TLR Level 3b, which curtails Interchange Transactions using Non-firm Point-to-Point Transmission Service to assist the Reliability Coordinator to recover from SOL or IROL violations. TLR Level 3b curtails Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold in the current hour while reallocating to a determined flow for the top of the next hour (See Requirement 2.4, “TLR Level 3b.)

Requirements

7.1. The Reliability Coordinator shall be allowed to call a TLR 3b at any time to help mitigate a SOL or IROL violation.

7.2. The Reliability Coordinator shall consider only those Interchange Transactions at or

above the Curtailment Threshold for curtailment, or holding.

7.3. The Reliability Coordinator shall curtail existing Interchange Transactions using Non firm Point-to-Point Transmission Service as necessary to provide the required relief on

the Constrained Facility for the current hour.






7.6. The Reliability Coordinator shall reallocate Interchange Transactions using Non-firm Point-to-Point Transmission Service in accordance with Section 6 of this document for the next hour to maintain the desired flow using reallocation in accordance with the following timing specifications
7.6.1 IF issued Prior to XX: 25 Non firm Interchange Transactions will be curtailed to meet the desired current hour relief

7.6.1.1 At XX: 25 a reallocation will be performed to maintain the desired flow at the top of the following hour
7.6.2 If issued After XX: 25 Non firm Interchange Transactions will be curtailed to meet the desired current hour relief AND a reallocation will be performed to maintain the target flow identified for the current hour.
7.6.3  Transactions must be in the IDC by the Approved-tag Submission Deadline for Reallocation (see Requirement 6.2).
7.7. The Reliability Coordinator shall allow Interchange Transactions using Firm Point-to-

Point Transmission Service to start as explained in Appendix F, “Considerations for

Interchange Transactions using Firm Point-to-Point Transmission Service.”

7.8. The Reliability Coordinator shall progress to TLR Level 5b as necessary if there is still

insufficient transmission capacity for Interchange Transactions using Firm Point-to-Point

Transmission Service to start as scheduled after all Interchange Transactions using Nonfirm

Point-to-Point Transmission Service have been curtailed.

7.9. The IDC shall issue ADJUST Lists to the Generation and Load Balancing Authority

Areas and the Purchasing-Selling Entity who submitted the tag. The ADJUST List will

include:

7.9.1. Interchange Transactions using Non-firm Point-to-Point Transmission Service

that are to be curtailed, , or held during current and next hours.

7.9.2. Interchange Transactions using Firm Point-to-Point Transmission Service that

were entered after XX:25 or issuance of TLR 3b (see Case 3 in Appendix F).

7.10. The Sink Balancing Authority shall send the ADJUST Lists back to the IDC as soon as

possible to ensure the most accurate calculations for actions subsequent to the TLR 3b

being called.

7.11. The Reliability Coordinator will no longer be required to call a TLR Level 3a as soon as the SOL or IROL violation that caused the TLR 3b to be called has been mitigated due to the inherent next hour reallocation that takes place for the top of the next hour in the TLR Level 3b


7.11.2. 

