NAESB Coordinate Interchange Business Practice (R05001) Draft – containing revisions up through 12/8/05CIBP meeting


General ISO RTO Council Comments:

NAESB Response to Comments: ISO-NE requests that the NAESB CIBP provide written responses to each of the provided comments. We believe that the commenting party should get an understanding of the opinion of the committee regarding the comments. 
Document Format: The document would be easier to follow if  it was broken down into sub-sections with headings – similar to the OASIS Business Practice document. In addition, the text contains inconsistent fonts and formatting . 

Document History: The document should contain a revision history and version number so that the development of the standard can be chronologically reviewed.

Compliance: There are no measures or compliance aspects associated with this business practice. While we recognize that this initial business practice is voluntary, typically NAESB's intent it to file business practices with FERC such that they will become mandatory.  If there is any intent of this BP being filed with FERC, measures and compliance aspects should be included in the business practice. 

Submittal Timing Requirements: Which NERC/NAESB standard contains the 'submittal' timing requirements that were previously in INT-004-0?  The phrase 'submittal timing' is used throughout this The only timing defined in Appendix E is related to the time allotted for review/approval by applicable entities.
Inappropriate Information in Appendix A: Appendix A includes procedures related to ATC calculations and coordination between specific areas that should not be a part of a Coordinate Interchange Business Practice.  Additionally, requirements for ERCOT (a non-FERC jurisdictional entity) should be deleted from a document that will receive FERC approval.  Since the actual business practice requirements for scheduling between the three Interconnections are found within regional Operating Guides and local transmission tariffs, it is not appropriate to replicate those requirements in an intercontinental wide business practice since those requirements apply only to portions of the continent.  We ask NAESB to consider removing Appendix A in its entirety and move any relevant requirements in the requirements section.
Reliability Information in Appendices C and D: Appendices C and D still seem to contain reliability related information, referencing Curtailments and Reloads. We believe this reliability related information should be removed from the NAESB CIBP. 

Market Assessment Timing Requirements: 

We recall that one objective of splitting the commercial and reliability aspects of the Interchange was to improve efficiencies. That proposed objective had the commercial aspect of an Interchange be completed and approved prior to being sent for reliability evaluation. 

We would like to understand why the NAESB CIBP has abandoned the above mentioned objective and is proposing to have the Market Assessment timing be simultaneous with the Reliability Assessment? In this Business Practice, are you assigning non-reliability functions to the reliability entity of the Interchange Authority in the NERC functional?
Putting software limitations aside, does the CIBP team believe the proposed timing arrangements (having market and reliability assessments performed simultaneously) are appropriate, or does the team believe that the timing requirements for these assessments should be modified at some point in the future to occur in series (first commercial arrangements then reliability coordination)? If so, then has there been any considerations of the timing for such changes?

Coordinate Interchange

Purpose: Incorporate necessary revisions to the approved NAESB Coordinate Interchange Business Practice (R03013) to include added definitions, Industry transformation from Reliability Authority (RA) to the Reliability Coordinator (RC), and improvements to certain requirements of the Standard. [The purpose only states why the BP is being modified. That information should be in a 'record of revisions' section.  The purpose statement should provide a description why the Business Practices were written, how they will be used, and what are the corresponding NERC Standards with which these standards must be 'in-synch'.]
Applicability: Balancing Authority (BA), Reliability Coordinator (RC), Interchange Authority (IA), Transmission Service Provider (TSP), PurchasingSelling Entity (PSE), Generator-Provider Entity (GPE), Load-Serving Entity (LSE), and any Purchasing-Selling Entity (PSE) whose transmission approval rights are cited.

Definitions [The reliability definitions that are administered by NERC should be stated identically in this standard (i.e. Reliability Coordinator, Balancing Authority, etc). Moreover, the standard should indicate if such definition is used form the NERC glossary.]
Approval Entity – An entity that has approval rights for an Arranged Interchange; this includes the Transmission Service Providers (TSP),  Balancing Authorities (BA), Generator-Providing Entity (GPE), and the Load-Serving Entity (LSE) that are included in the Arranged Interchange, as well as any Purchasing Selling Entity (PSE) whose transmission approval rights are cited in the Arranged Interchange. 
Arranged Interchange – The state where a Request for Interchange (RFI) has been received by the Interchange Authority (IA). [From NERC Glossary]
Balancing Authority  – The entity with the highest level of responsibility for integrating resource plans ahead of time, maintaining load-interchange-generation balance within a Balancing Authority Area, and supporting Interconnection frequency in real time. 
Balancing Authority Area – The collection of generation, transmission, and loads within the metered boundaries of the Balancing Authority. The Balancing Authority maintains load-resource balance within this area.
Confirmed Interchange – The state where the Interchange Authority has verified the Arranged Interchange 
.
Generator-Providing Entity, (GPE) – The generator-providing Purchasing Selling Entity who is responsible for providing the source generation from owned, affiliated, or contractually bound generation referenced on the Request For Interchange (RFI).  (Please check with e-Tag material for appropriate definition.) [What does this statement in the parenthesis mean?]
Implemented Interchange – The state where the Balancing Authority enters the Confirmed Interchange into its Area Control Error equation.

Interchange – Energy transfers that cross Balancing Authority boundaries.

Interchange Authority, (IA) - Verifies complete and accurate Arranged Interchange between Source and Sink Balancing Authority areas, and ensures communication of the Arranged Interchange for assessment and implementation purposes. 
Interchange Block Accounting – Energy accounting that assumes a beginning and ending ramp time of zero minutes. For accounting purposes, this moves the energy associated with the starting and ending ramps into the adjacent starting and ending clock time of the Interchange.

Interconnected Operations Services – a service (exclusive of basic energy and transmission services) that is required to support the reliable operation of the interconnected bulk electric systems.
Load-Serving Entity, (LSE) – The load-serving PSE who is responsible for creating the RFI and secures transmission to serve the electrical demand and energy requirements of its end-use customers.
Market Assembly –The function responsible for coordinating the submittal of a completed and accurate Arranged Interchange from the Requesting Purchasing-Selling Entity to the Interchange Authority within an organized Market. 

Market Period – The period of time beginning with the Requesting Purchasing-Selling Entity (PSE), or its designee, making required purchase, sale, and transmission service arrangements to support the Arranged Interchange through the period of time when the Interchange Authority receives the Arranged Interchange. 

Purchasing-Selling Entity, (PSE) – The entity that purchases or sells, and takes title to, energy, capacity, and Interconnected Operations Services. Purchasing-Selling Entities may be affiliated or unaffiliated merchants and may or may not own generating facilities.
Reliability Coordinator - The entity with the highest level of authority that has responsibility for reliable operation of the bulk electric system, has wide area view of the bulk electric system and has the operating tools, processes and procedures, including the authority to prevent or mitigate emergency operating situations in both next-day analysis and real-time operations. The Reliability Coordinator has the purview that is broad enough to enable the calculation of interconnection reliability operating limits, which may be based on the operating parameters of transmission systems beyond any transmission operator’s vision.

 Reliability Period – The period of time beginning with the Interchange Authority (IA) requesting approvals from the reliability Approval Entities through the completion of the physical flow of the energy associated with the originally submitted Arranged Interchange.
Request For Interchange, (RFI)- A collection of required data, as defined in Appendix D of this standard, necessary for the purpose of submitting to the Interchange Authority as an Arranged Interchange. [This definition is different than NERC. It is not inconsistent, but why not use the NERC definition?]
Requesting Purchasing-Selling Entity, (PSE) – The entity that prepares and submits the Request For Interchange (RFI) to the Interchange Authority (IA) and holds the transmission reservation being presented for use.

Sink Balancing Authority  – The Balancing Authority in which the load (sink) is

located for an Interchange Transaction. 

Source Balancing Authority – The Balancing Authority in which the generation (source)is located for an Interchange Transaction.

Business Practices Requirements 

1. All requests to implement bilateral Interchange between a Source and Sink Balancing Authority shall be accomplished by the submission of a completed and accurate Request For Interchange (RFI) to the Interchange Authority (IA). [Need to indicate exclusion of interchange for emergency energy.]

1.1 To the extent that Intra BA transactions are submitted as a Request for Interchange (RFI), those transactions will be subject to all provisions of this standard.

2. Until other means are adopted by NAESB, the primary method of submitting the Request For Interchange (RFI) to the Interchange Authority shall be electronic (E-Tag) and in accordance with the latest Version of the NERC Transaction Information Systems Working Group (TISWG) Electronic Tagging Functional Specification . 
2.1. A backup or redundant electronic system shall be available for immediate use should the primary electronic means become disabled. [Should we have information in here such as: Who is responsible for this? The interchange Authority or the Entities? What does back up mean? How soon should the back up system be up and running?] 

2.2. Submitting Request for Interchange (RFI) to the Interchange Authority via facsimile is acceptable only as a last resort when the electronic means and its required backup or redundant system are not available. [What is the official facsimile form? How is the sending of faxes performed? Who has the responsibility to send requests , receive approvals and disseminate the information? If described in another section then there should be a link here guiding the reader to that section].
3. Arranged Interchange that crosses Interconnection Boundaries shall be in accordance with Appendix A “Interchange Transaction Tagging Across Interconnection Boundaries”. 

4. In the event of E-Tag system component failure, the requirements and procedures contained within Appendix B “Electronic Tagging Service Performance Requirements and Failure Procedures” shall be followed.
5. It shall be the responsibility of the Load Serving Entity (LSE), or its designee, to ensure that there is a complete and accurate Request For Interchange (RFI) which shall contain at a minimum, the information specified in Appendix D “Required and Correctable Tag Data”.

6. Approval Entities shall only be allowed to take actions against an Arranged Interchange as specified in Appendix C “Interchange Transaction Tag Actions”.

6.1.  [Definition of an Approval Entity includes this statement so this requirement is not needed].

6.2. Prior to the expiration of the market assessment period defined in the Appendix E, “Timing Table”, Column B, the PSE (whose transmission rights are cited), LSE and GPE, shall respond to a request from the Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange. 

6.2.1. Each PSE (whose transmission rights are cited), LSE and GPE shall assess the Arranged Interchange for completeness and accuracy of the information contained in the Arranged Interchange.

· This requirement should state what will happen if they do not respond in the time provided (is it passively approved or denied?)
· It is suggested that a set of minimum data validations be included here.
7. All information on energy purchase, energy sale, and transmission service arrangements required for the RFI shall be performed prior to being submitted to the IA. [The development of the RFI during the Market Period is solely commercial based and NAESB should work on developing the rules and timing requirements.] [It is not clear whether or not this 

At its discretion, the Requesting Purchasing-Selling Entity may defer this responsibility to the Market Assembly function. 

8. Eastern and Western Interconnection Timing Requirements: 

The completed and accurate Arranged Interchange, or modification to the Arranged Interchange, submitted to the Interchange Authority shall follow the timing requirements contained in this standard under Appendix E “Timing Table.”  [What 'timing requirements' is this requirement referring to? If it is the market assessment approval timing requirements then this should be stated clearly here. This BP should not be referring to any of the reliability approval timing requirements in Appendix E.]
8.2 Transactions that cross Interconnection boundaries involving ERCOT shall follow the timing requirements contained within this standard.  [What 'timing requirements' are you referring to? If it is the market assessment approval timing requirements  - that should be stated clearly here.] 

9. All denials of Arranged Interchange by an Approval Entity during the Market Assessment Period shall be accompanied by the reason for such denial and communicated to the Interchange Authority[1. The Reliability Period assessment is fully described in the NERC Coordinate Interchange Standards, and INT-008 covers the communication associated with denial of an Arranged Interchange. This requirement should only address communication related to the Market Assessment. 2. The communication of the status change is covered by Requirement 10, below.]
10. Any changes to the status of the Arranged, Confirmed, or Implemented  Interchange shall be communicated by the Interchange Authority to all involved parties of the Interchange such as , Balancing Authorities, Reliability Coordinators, Generator-Providing Entity, Load-Serving Entity, and Transmission Service Providers. 

11. The Requesting PSE shall have the right to request modifications to the Arranged, Confirmed or Implemented Interchange for non-reliability related issues according to the timing requirements set forth in this Standard.
· What timing requirements is the above requirement referring to?  There are no submittal timing requirements contained in this business practice.  

· The definition of Implemented Interchange is that which has been incorporated in the ACE by the BA. It is not appropriate to allow the actions modification to be applied to Implemented Interchange.  However, if an Implemented Interchange is considered to be the 'whole' interchange once the first hour has been implemented in the ACE, then this requirement should clearly state that only 'future' hours of an Implemented Interchange may be modified. This comment applies to all sub-requirements.
11.1. The Requesting PSE can request to increase or decrease the energy level or the transmission profile of an Arranged, Confirmed or Implemented Interchange.  
a) In the case of an increase in the energy level then the Requesting PSE must modify the transmission profile to provide the necessary transmission capacity to cover the increased energy flow.
11.2. The Requesting PSE shall have the right to request an extension to the Arranged, Confirmed or Implemented Interchange energy profile to reflect a desire to flow energy during hours not previously specified. 

11.2.1. The Requesting PSE must provide the necessary transmission capacity with the extension.
11.3. If the modification is denied by any Approval Entity, the previous Confirmed or Implemented Interchange remains valid.

12. All parties involved in the Arranged Interchange shall have, or arrange to have, personnel and facilities on site and immediately available for notification of changes to the Arranged Interchange from the beginning of the Market Period through the time when the energy flow of the Implemented Interchange has been completed.

13. Unless provided for under a FERC approved market mechanism, energy accounting for all Interchange shall be accomplished via Interchange Block Accounting. 

14. Settlement of losses shall be either handled as financial or as payment in-kind in accordance with the Transmission Service Provider tariff. 

14.1. For losses handled as payment in-kind, the PSE, or its designee, shall communicate to the IA via Arranged Interchange the amount of MW losses and the entity that should receive them along the Interchange path.

Suggested changes to the above text are made to eliminate the confusion with the statement "(either the original or a separate Arranged Interchange)".
15. All Reliability Coordinators, Balancing Authorities, Transmission Service Providers, Generator-Providing Entity, Load-Serving Entity, and other entities involved in an Interchange request shall not disclose the Interchange Transaction information to any PSE not involved in the Interchange transaction.

16. After a curtailment of Interchange has ended (The standard has not introduced what is a Curtailment), the Sink Balancing Authority shall return the Interchange profile to the previous level, unless additional modification to the energy level occurred during the curtailment period and such modification affects the energy level after the end time of the Curtailment period.  [While we have provided comments on the wording of this requirement, at the same time, we believe that this requirement should be removed altogether from this document.  The actions taken by Reliability Entities on a Interchange during the reliability period is within the scope of the NERC Coordinate Interchange Standards.]
17. Default ramp duration for the North American Interconnection shall be as follows:

17.1. Default ramp duration for the Eastern Interconnection shall be 10 minutes equally across the start and end times of the Implemented Interchange unless otherwise agreed to by all parties involved in the Implemented Interchange.  [Suggest to reword this to more clearly indicate that it is 5 minutes before the start time and 5 minutes after the end time of the Implemented Interchange.]
17.2. Default ramp duration for the Western Interconnection shall be 20 minutes equally across the top of the hour of the Implemented Interchange (as referred to in accepted WECC practices [WECC reference will be included here]) unless otherwise agreed to by all parties involved in the Implemented Interchange.  
Appendix A
Interchange Transaction Tagging Between Interconnections

Between Electric Reliability Council of Texas (ERCOT) and Eastern Interconnections

[image: image3.wmf] 

Tagging

 

Across

 

 

ERCOT

/

Eastern

 

Interconnection

 

Interface

 

PSE Receives

 

Approval from SPP

 

DC 

Tie Operator and

 

ISO

 

PSE Creates 

E

-

Tag

 

and Sends to

 

SPP 

R

C

 

SPP 

R

C validates 

 

SPP 

RC 

sends 

E

-

T

ag to ERCOT 

 

PSE Sends 

E

-

Tag to Others PSE

 

Submits 

E

-

Tag 

 

via ERCOT OASIS

 

SPP 

RC 

and ERCOT

 

ISO Coordinate ATC

 

ERCOT ISO

 

Notifies S/R CAs

 

in ERCOT

 

S/R 

BA

s Confirm

 

Schedule with 

BAs 

in

 

EI and 

DC

 Tie Operator

 

DC 

Tie O

perator Sets

 

Flows per 

 

E

-

Tag

 

SPP 

R

C Enters 

E

-

Tag

 

into IDC

 

A Purchasing-Selling Entity that is seeking transmission arrangements to schedule energy between the ERCOT and Eastern Interconnections will coordinate through the Southwest Power Pool (SPP) Reliability Coordinator.  Requests for service must be made to the SPP Reliability Coordinator for service into or through SPP (including service across either the North or East DC Ties) via the SPP OASIS.  Request for service must also be made in ERCOT via the ERCOT Scheduling System. The SPP Reliability Coordinator will coordinate approval of reservations and schedules involving the SPP portion of transmission service (including the DC ties) and service in ERCOT.

The following procedures are followed when scheduling transmission service between SPP and ERCOT:

· The Purchasing-Selling Entity must receive approval for DC tie service and transmission service in SPP from the SPP Reliability Coordinator for the proposed transaction and arrange required ancillary services.

· For all transmission service requests, the Requesting Purchasing-Selling Entity will create a Request For Interchange (known as the E-Tag) and submit it to the SPP Reliability Coordinator. [This level of detail is repetitive of already stated approval requirements for E-Tags and including it is inconsistent with the procedures for transactions between Western and Eastern Interconnections] The approved Tag will be available to the parties to the transaction and the ERCOT ISO. 

· Simultaneous with submitting requests using the Request For Interchange to the SPP Reliability Coordinator (for next hour, non-firm and all other transmission service requests), the Requesting Purchasing-Selling Entity submits requests to the ERCOT ISO via the ERCOT Scheduling System.  The MW profile information submitted to ERCOT must exactly match the information on the E-Tag supplied to ERCOT by the SPP Reliability Coordinator. (See note.)(
· [ SPP does not coordinate ATC calculations on transmission paths in ERCOT,  This may be a carry-over from outdated procedures.]
· [ ERCOT is not a FERC jurisdictional entity and these procedures should not be included in a document that will seek FERC approval.]
·  The DC tie operator will follow the Interchange Transaction E-Tag when setting flows across the tie.

· The SPP Reliability Coordinator will use the E-Tag to populate the IDC. [This requirement is not relevant to a business practice for coordinating interchange.]
· [ ERCOT is not a FERC jurisdictional entity and these procedures should not be included in a document that will seek FERC approval]
Between Western and Eastern Interconnections

· All Interchange Transactions that cross the Interconnection Boundary, including next hour and same day service, will be submitted in E-Tag for inclusion in the Eastern Interconnection IDC.

Interchange Transaction where the sink is in the Eastern Interconnection

· The Purchasing-Selling Entity serving the load shall be responsible for submitting the E-Tag.  The Purchasing-Selling Entity responsible for submitting the E-Tag will be required to submit the E-Tag in accordance with the time requirements of this business practice. There are no submittal timing requirements in this business practice.
· The Transmission Service Providers and Balancing Authorities responsible for assessing the E-Tag will be required to assess the E-Tag in accordance with the time requirements in NERC Standards. 

Interchange Transaction where the Sink is in the Western Interconnection
· The Purchasing-Selling Entity serving the load shall be responsible for submitting the E-Tag. 
· For Hourly/Multi-Hour Same Day Transactions, the sink Purchasing-Selling Entity in the Eastern Interconnection (last PSE before the DC Tie) shall be responsible for submitting the E-Tag. The term sink Purchasing-Selling Entity in the Eastern Interconnection is confusing because the actual sink is in the Western Interconnection. You could specify that “the last PSE before the DC in the Eastern Connection should create this tag” if that is the intent. Also, please remove the strikeout wording.
· The Purchasing-Selling Entity responsible for submitting the E-Tag will be required to submit the E-Tag in accordance with the time requirements in NERC Standards.  [Submittal timing requirements are not contained in the NERC Standards, nor are they contained in this business practice.]
The Transmission Service Providers and Balancing Authorities responsible for assessing the E-Tag will be required to assess the E-Tag in accordance with the time requirements in NERC’s Standards.
Appendix B
Electronic Tagging Service Performance Requirements and Failure Procedures 
This document describes the performance requirements of the E-Tag System and the procedures to be followed in the event of an E-Tag System component’s failure.  Due to the importance of accurate information flow these procedures and requirements have been developed to ensure that reliable data communications remain available at all times.  

A.
Performance Requirements

Tag Agent Service Requirements

Entities that are required to use E-Tag agent services are responsible for obtaining an E-Tag agent service in order to conduct business; there are no exemptions to this requirement.   (what type of performance is this sentence referring to?). However, in cases of E-Tag agent service failure, non-receipt of critical information (such as curtailment notifications, transaction denials, and schedule modifications) due to performance problems shall be the responsibility of the E-Tag agent user.

An entity can contract with a third-party to obtain an E-Tag Agent Services. However, the entity is still responsible for prompt actions that adhere to the requirements in these standards even in situations where there is non-performance of the contracted third party E-Tag Agent. 
E-Tag Approval Services

Entities that are required to employ E-Tag approval services are responsible for providing an E-Tag approval service as well as providing a level of redundancy; there are no exemptions from this requirement.  At a minimum, E-Tag approval services may not have greater than 1.0% of the E-Tags sent to their system within a calendar month be recorded determined by the Interchange Authority Service as having a state of “COMM_FAIL.”  While there is no specific level of redundancy that is required by this Appendix, sufficient redundancy must be in place that the entity is confident of achieving this standard. Why isn’t there a redundancy requirement? This is inconsistent with the requirement stipulated in Section 2.1.
An entity can contract with a third-party to obtain an E-Tag Approval Services. However, the entity is still responsible for prompt actions that adhere to the requirements in these standards even in situations where there is non-performance of the contracted third party E-Tag Approval Services. 
In order to monitor compliance with this requirement the Balancing Authorities will arrange with their Authority Services to generate compliance reports at the beginning of each month determining this metric for the previous month on a Provider-by-Provider basis.  These results should be available for investigation of any violations and the results of this investigation may be posted once finalized. [It is not clear as to who investigates and publishes incidents of violations.]
Interchange Tag Authority (IA) Services

The Interchange Authority service is the most critical element of the E-Tag systemand therefore this service must meet much higher standards of performance.  These standards can be divided into two areas: Implementation, and Policies and Performance. 

Implementation

Interchange Authority services must be implemented in a manner that provides for redundancy and fault-tolerance [what does it mean? Please define.] through hardware and software; there are no exemptions to this requirement. Specifically, an Interchange Authority service must provide, at a minimum, the following:

· Two or more connections [from separate service providers?] to the Internet, which may either be available concurrently or be switchable on demand (within five minutes);

· Redundant/Fault-Tolerant Networking Equipment between the Internet providers’ demarcation points and the computer systems, as well as between each of the components of the system required to be inter-networked to provide functionality (i.e., FDDI Rings, dual homing, etc…);

· Redundant/Fault-Tolerant computer systems that can immediately recover from a loss of any single component (i.e., mirrored databases, web clusters, etc…). [Need to specify what level of availability, e.g. 99.x% is acceptable.]
Providers of Interchange Authority services may be required to provide documented explanations (to whom?)of how these providers meet or exceed the above requirements.  These documents may be evaluated for fitness and will be held in confidence.

Policies and Performance

The following shall be required of all Interchange Authority services:

· All scheduled outages must be performed between the hours of 01:00 CST and 04:00 CST.  Any maintenance that must be performed outside this three hour window must be accomplished though the use of redundant systems in such a manner that no outage is visible;

· Notice of Scheduled outages must be given to the public at least 24 hours before the outage is to occur.  Notice shall be deemed valid if the following actions have been taken:

1. Users of the system are sent notifications, via email or a proprietary system, time stamped at least 24 hours prior to the outage;

2. The TISFORUM mailing list is sent Email notification time stamped at least 24 hours prior to the outage;

3. The OASIS TSIN mailing list is sent email notification time stamped at least 24 hours prior to the outage.

Any system problem that creates behavior contrary to that described in the E-Tag specification shall constitute an “unscheduled outage.”  For example, a system that begins rejecting every third message received due to a component failure in a cluster would constitute an unscheduled outage (although the system was only failing one third of the time, it was not performing as described in the E-Tag specification).

Interchange Authority services may not be in a state of scheduled or unscheduled outage for more than 0.5% of the time for the month, based on outage time (in minutes) for the month divided by total time in the month (in minutes).  Specific allowed outages may be granted to address special circumstances (i.e., scheduled specification changes, major internet outages, etc…).  These specific allowed outages, if granted, may require public posting for all customers to view.

An entity can contract with a third-party to obtain an Interchange Authority services. However, the entity is still responsible for prompt actions that adhere to the requirements in these standards even in situations where there is non-performance of the contracted third party Interchange Authority services. 
To monitor compliance with these requirements, the Operator of an Interchange Authority system shall be required to submit (to whom?), at the beginning of each month, a report describing outage activity for the previous month.    This report shall consist of the following items: 

1. The beginning of the outage;

2. The ending of the outage;

3. The type of outage (Scheduled or Unscheduled);

4. The nature of the outage (Maintenance, System Crash, etc…);

5. In the event of an Unscheduled Outage, the cause of the outage and the steps taken to ensure the problem has been addressed and will not reoccur. 

The report format may be in a standardized electronic form.  These documents  may be evaluated  and held in confidence.  Statistics may be developed from these reports identifying system outage durations for each month.    These preliminary findings will be held in confidence until they are confirmed. These performance percentages shall be posted and electronically accessible once confirmed, at the end of the month following the month evaluated. 

Entities experiencing difficulty due to an unnoticed [what does it mean?] scheduled or unscheduled outage may send a Request for Investigation (to whom?).  This request should specify the estimated time the outage occurred, the estimated time the outage ended, and document evidence of the outage (such as TMP logs, email messages, etc…).  Claims may be investigated with the appropriate Tag Authority Service Operator.  Should a Tag Authority Service Operator be unable to refute the claim, and the Investigation Requestor appears to have provided an accurate representation of an undocumented outage, calculated outage percentages may be modified to include the undocumented incident.  

B.
Failure Procedures 

The Electronic Tagging Service must have back up procedures in place to protect the data from various hardware/software/internet related failures. 
Failures also have a wide variety of scopes.  A failure may affect a single entity with a small number of schedules while all of its neighbors continue to operate normally, a small number of utilities in a local area, or a regional RTO with thousands of active schedules.  However failures occur, the operation of the electric utility grid must continue.  This document describes the manner in which operations are to be coordinated should such a failure become a reality.

Assumptions

A general assumption is that each operational entity in the electric utility industry has an internal energy management system, marketing system, or contract system that will not be affected by the Internet communication failure. 

Entities
Requesting PSE – The entity that prepares and submits an RFI(normally a Purchasing Selling Entity). 

Path Participant – Any of the entities that are part of a schedule Interchange transaction. 

Interchange Authority Service Entity – The entity that provides the Interchange Authority service for an E-Tag.  The Interchange Authority service itself is typically a computer system that maintains the master database for the tag and communicates status with other computer systems.  The Interchange Authority Service Entity is the utility industry entity that is responsible for providing the service.  In E-Tag 1.7.095, this entity is the Sink Balancing Authority acting as the Tag Authority. 

Approval Entity – An entity that has approval rights for Arranged Interchange; this includes the Transmission Service Providers (TSP), scheduling Balancing Authorities (BA), Generator-Providing Entity (GPE) and the Load-Serving Entity (LSE) involved in the Arranged Interchange
Checkout Partners– The entities that perform the checkout process.  Most commonly two adjacent Balancing Authorities checking net interchange.  It might also be two marketers checking sales and purchases, or a transmission customer checking schedules with a transmission provider. The checking partners must have prior agreement on the method of checkout, e.g. telephone call, e-tag, etc.
Failure Actions

When a failure occurs an entity will soon realize that it has lost communications with the other servers in the electronic tagging arena.  Yet it must still communicate current energy flows across the transmission network and expected flows for the next few hours.  Transmission curtailments must be accounted for in the sense that a required reduction in energy flows or increase in generation needs to be communicated.  However, accounting issues will take a secondary priority to reliability issues in this exchange, and detail relating back to tags, schedules, and transmission reservations can be reconstructed later. 

The table below lists typical failures that might occur and the emergency actions that the entity will take to compensate for that failure. 

These procedures are old and possibly need revision. The policies are needed and when outages occur they will become very valuable. Some of the actions address BA to BA exchange of information which may be better addressed with NERC Standards. We suggest that these procedures be reviewed on a face-to-face meeting where a broader input and discussion can occur.
	Entity
	Connectivity Problem
	Backup actions

	Requesting PSE
	Unable to submit tag to Interchange Authority Service.
	Ask another entity in the transaction chain to submit the schedule instead.  The other entity now becomes the author.

Create a backup paper copy of the schedule and fax to authority service entity and all approval actions in the transaction.

	Path Participant
	Not receiving update messages.


	Use Recovery Process to resynchronize from authority service.

Use telephone with Authority Service Entity to update status.

	Interchange Authority Service Entity
	Unable to send messages to generation or load Balancing Authorities.
	Telephone a schedule author to inform  of  experienced problems. The schedule author should fax the Interchange schedule to the Approval Entity.
Telephone the Approval Entity to notify of the message failure.

Approve or deny the schedule at the request of the Approval Entity (override).

	Interchange Authority Service Entity
	Unable to send messages to an Approval Entity for an intermediate Transmission Provider or Balancing Area.
	Telephone schedule author to notify of the message failure.  The author will fax the schedule to the Approval Entity.

Telephone Approval Entity to notify of the message failure.

Approve the schedule automatically.

Deny the schedule at the request of the Approval Entity (override).

	InterchangeAuthority Service Entity
	Unable to send messages to an information only entity.


	No Action required.

	InterchangeAuthority Service Entity
	Unable to receive messages.


	Broadcast a message by email or fax to all entities that use your authority service.  The message should forecast a recovery time for your service.  In the meantime, your Interchange Authority Service is down.

	Approval Entity
	Unable to receive messages from an authority service.

(The Authority has an obligation to notify you and the authoring PSE.

The Authoring PSE has an obligation to fax the tag to the approver.)
	Use the Recovery Process to resynchronize from Authority Services or Central Repository.

Telephone the Authority Service entity with the approval or denial of the schedule.

	Approval Entity
	Unable to send messages to an authority service.


	Telephone the Interchange Authority Service Entity with approval or denial of the schedule.

	Checkout

Partner
	Unable to exchange messages.
	Telephone net exchange to the checkout partner.

Create a backup paper copy of the checkout data and fax to the checkout partner.


Notes:

1. The first action in every case is to attempt to establish connection by using an alternate communication method, a second Internet service provider, dial up connection, or a private network if one is available.

2. Next, the backup actions are attempted in the order specified.

3. The backup actions include printing paper reports [or a stored electronic copy?] from the internal energy management system.  The reports include a schedule detail report for a short time period, net exchange between two operational entities, and transmission reservation usage between a transmission provider and a customer.

4. Every backup action list ends with a fax or telephone call that is completely independent of the public Internet. 

Reports

Three reports have been designed to communicate energy flows and transmission reservation usage between partner entities with a tie where possible back to the schedules as known before the communication failure. [Need to specify who prepare the reports, and when and how the reports are sent.] 

Net Exchange

A Net Exchange report is a paper summary of Interchange:

· The time span of the report will cover a period of the current hour to a few hours in the future, up to 24 hours.

· The entity and the partner entity are any two entities that share common schedules.

· The date and time are the date and time of the report.

· Net schedules are the net of schedules from and to the other entity.

· TO is a sum of the schedules from the entity to the partner entity.

· FROM is a sum of the schedules from the partner entity to the entity.

· Tag or fragment lines represent the data from each tag or fragment that was known at the time of the failure or has been entered later.

· Recent adjustment lines represent a summary of changes to the schedules that occurred since the failure. 

Schedule Detail

A Schedule Detail report is a paper copy [or a stored electronic copy?] of an individual schedule.  It includes:

· The schedule identification number and most current active revision number.

· The fully expanded energy schedule for a period of the current hour to a few hours in the future, up to 24 hours.

· The complete path with all OASIS and contract references. 

Reservation Usage

A transmission Reservation Usage report is a summary of Reservation Usage:

· The time span of the report will cover a period of the current hour to a few hours in the future, up to 24 hours.

· The entities on the report are a transmission provider and a transmission contract holder.

· Gross reservations is the sum of reservations, Usage is the sum of usage.

· The detail lines are tag or fragment usage of reservation, organized by product and OASIS reservation number. 

Recovery Process

The last backup issue is the recovery of current status when the communication link is reestablished.  The recovery is accomplished by a query request to the Interchange Authority service for each entity that the entity does business with.  The query returns a list of all the schedules that reference that entity with the schedule ID, the current version number and the last modified date and time.  

The recovering entity then compares with its own database and updates his database to be current with the Interchange Authority’s database.  When all Interchange Authority services have been queried, the recovery is complete. 

If the entity desires, it can request a complete audit history of each schedule.

Appendix C 
Transaction E-Tag Actions
For Eastern and Western Interconnections

The table below explains the various E-tag actions that are possible, and the entities that are entitled to initiate these actions:

	Desired Policy Action
	Reason
	Tagging Action
	Initiated by
	Result

	Approve a Tag Request
	Economic, Reliability, or Contractual
	Set Status (to Approved)
	Approval Entity*
	Approver indicates approval

	Deny a Tag Request
	Economic, Reliability, or Contractual
	Set Status (to Denied)
	Approval Entity*
	Approval indicates denial

	Study a Tag Request
	Economic, Reliability, or Contractual
	Set Status (to Studied)
	Approval Entity*
	Approval indicates the tag has been viewed, but have not committed to a decision

	Withdraw a Tag Request
	Economic
	Withdraw Request prior to request implementation
	Requesting PSE**
	Request is dead

	Cancel a New Tag
	Economic
	Request Profile Change – Set Energy and Capacity for the transaction to zero prior to transaction start
	Requesting PSE**
	Tag is dead

	Terminate a Tag
	Economic
	Request Profile Change – Set Energy and capacity of the transaction to zero from a point of time forward
	Requesting PSE**
	Portion of tag is dead

	Extend an E-Tag
	Economic
	Request Profile Change – Append additional hours onto an existing transaction
	Requesting PSE**
	Tag is extended 

	Reduce an E-Tag
	Economic
	Request Profile Change – Decrease Energy flow or Committed Transmission Reservation(s) for a transaction for a specific set of hours
	Requesting PSE**, Market Operator***
	Profile is Decreased

	Increase an E- Tag 
	Economic
	Request Profile Change – Increase Energy flow or Committed Transmission Reservation(s) for a transaction for a specific set of hours
	Requesting PSE**, Market Operator***
	Profile is Increased

	
	
	
	
	

	
	
	
	
	


[These line items were deleted because they are related to reliability information]
Notes: 

*Purchasing-Selling Entities and Load-Serving Entities may elect to defer their approval rights to the Host Balancing Authority of their facilities.  For more information, see PSE and LSE approval rights below

**In some situations, Balancing Authorities implement certain Interchange Transactions or Interchange Schedules, such as bilateral inadvertent payback, Dynamic Schedules, and emergency schedules from Reserve Sharing Groups. In these situations, the Balancing Authority serves as the Purchasing-Selling Entity and can perform these actions.

***Entities registered as market operators and serving as either source or sink for a Transaction may exercise such functions in order to indicate correct flow based on market clearing.

PSE and LSE Approval Rights

Purchasing-Selling Entities providing generation (GPE) and Load-Serving Entities (LSE) have been granted the right, but not the obligation, to approve Transaction requests using their resources. Only GPE’s who are capable of controlling the output of the source generator should be allowed approval rights. If PSEs and LSEs specify an approval service in the Master Registry, then they are expected to approve/deny Transactions when so requested. Otherwise, their Host Balancing Authority is expected to act on their behalf. .The following table illustrates the proper way to interpret this requirement:

	If the PSE…
	Specified an Approval URL
	The PSE should be granted rights to approve or deny

	
	Did not specify an Approval URL
	The BA should have proxy approval rights for the PSE


Is there a data base that defines these relationships? Will this be shown on the e-tag? 

Appendix D
Required and Correctable E-Tag Data

A.
New Interchange Transactions

A new Interchange transaction [isn’t it called a request for Interchange transaction only at this point] is an Interchange transaction Arranged Interchange (E-Tag) that has not yet been implemented approved or confirmed for implementation.  Such Arranged Interchange must be presented to those Approval Entities (as an E-Tag) that are responsible for the implementation of the Interchange transaction in order that they may evaluate the E-Tag and determine whether or not the Interchange can be implemented.  The following information is to be used to describe such an Interchange transaction.  

1. Market Information

1.1. Market Redispatch Information (only required if E-Tag is MRD Transaction).  (See “E-Tag Functional Specification Version 1.7095”)

1.2. Financial Path (Required) ( the description of financially responsible parties for the Interchange in order.  This will typically start with a Purchasing-Selling Entity providing generation (GPE) and finish with a Load Serving Entity (LSE), and where applicable, intermediate Purchasing-Selling Entities between the two.

1.2.1. Energy Title Holder(s) (Required) – the identity of the entities financially responsible to take and/or deliver the energy as described in the physical path.  This will typically be a Purchasing-Selling Entity providing generation, a Load Serving Entity, and where applicable, Intermediate Purchasing-Selling Entities.

1.2.1.1. Energy Product Type (Correctable) – the type of energy delivered by the Energy Title Holder.  

1.2.1.2. Contract Number(s) (Correctable) – reference to a Transaction entered into by the Energy Title Holder with one or more other participants in the Transaction.

1.2.1.3. Miscellaneous Information (Correctable) – information provided at the author’s Requesting PSE’s option regarding the Transaction.

2. Physical Information
2.1. Physical Path (Required) – the description of physically scheduling parties for the Interchange in order and related to the financially responsible parties described above.  This will always contain a Generation segment, at least one Transmission segment, and a Load segment.

2.1.1. Generation (Required) – set of data describing the physical and contractual characteristics of the energy source.  

2.1.1.1. Source (Required) – the physical point at which the energy is being generated.  This may vary in granularity, dependent on local business practices.

2.1.1.2. Contract Number(s) (Correctable) ( reference to a schedule or agreement entered into by the Purchasing-Selling Entity providing generation and the Generator Operator.

2.1.1.3. Miscellaneous Information (Correctable) – information provided at the Requesting PSE’s option regarding the Interchange Transaction.

2.1.1.4. Energy Profile (Required) – energy to be produced by the Generator Operator for this Transaction.

2.1.2. Transmission (Required) – set of data describing the physical and contractual characteristics of a wheel (import, export, or through).

2.1.2.1. Transmission Service Provider (Required) – the identity of the transmission provider that is wheeling the energy.

2.1.2.2. Point of Receipt (Correctable) – valid Point of Receipt for scheduled Transmission Reservation.

· Point of Delivery (Correctable) – valid Point of Delivery for scheduled Transmission Reservation.

· Scheduling Entities (Correctable) – entity that is physically scheduling interchange on behalf of the Transmission Service Provider in order to provide wheeling services.  Typically this is the Balancing Authority for the Transmission Service Provider, but may be several Balancing Authorities supporting a regional transmission service.

· Loss Provision Information (Required) (Correctable)– Information describing the manner in which losses are accounted when they are not scheduled as in-kind megawatt distributions through the original transaction.  Types may be financial (paid in dollars based on tariff provisions), internal (scheduled in megawatts to the Transmission Service Provider from a resource inside the Transmission Service Provider’s area), or external (scheduled in megawatts to the Transmission Service Provider from a resource outside the Transmission Provider’s area). If internal or external, must specify contract numbers or Transaction IDs.

· Miscellaneous Information (Correctable) – information provided at the Requesting PSE’s option regarding the transaction.

· POR and POD Profiles (Required) – schedule of Energy Flow imported at the Point of Receipt and exported at the Point of Delivery.

· Transmission Reservation Number(s) (Required) (Correctable) – reference to a particular transmission reservation being used to provide transmission capacity to support the transaction being described.

2.1.2.2.1. Transmission Product (Required) (Correctable) – Specifies the firmness of service associated with the transmission reservation being used.

2.1.2.2.2. Requesting PSE (Required) (Correctable) – identifies the entity that purchased and holds the transmission reservation being presented for use.

2.1.2.2.3. Transmission Reservation Profile (Required) - information describing the transmission reservation commitment associated with the Transmission Service Provider.

2.1.2.2.3.1. Committed Transmission Reservation Level (Required) – schedule of transmission reservation committed by the Requesting Purchasing-Selling Entity for use for this Transaction.

2.1.3. Load (Required) – set of data describing the physical and contractual characteristics of the energy sink.

2.1.3.1. Sink (Required) – the physical point at which the energy is being consumed.  This may vary in granularity, dependent on local business practices.

2.1.3.2. Contract Number(s) (Correctable) ( reference to a schedule or agreement entered into by the Load Serving Entity and the distribution provider.

2.1.3.3. Miscellaneous Information (Correctable) – information provided at the requesting PSE’s option regarding the Transaction.

2.1.3.4. Energy Profile (Required) – energy to be consumed by the load for this Transaction.

Using Multiple Transmission Reservations to Support a Single Leg of an Interchange Transaction

The use of multiple transmission reservations to support a single leg of an Interchange Transaction is known as transmission stacking.  There are two types of transmission stacking:

· Vertical stacking, in which a Requesting Purchasing-Selling Entity combines multiple reservations to achieve a certain net level of transmission capacity, and

· Horizontal stacking, in which a Requesting Purchasing-Selling Entity combines multiple reservations to achieve a certain transmission capacity coverage over time.

The following diagrams illustrate these concepts more fully.  In both cases, the assumed need is 100 MW of transmission capacity for hours 06:00 through 22:00.

[image: image1.wmf]Reservation 12345

(50MW from 6:00 

–

22:00)

Reservation 67890

(50MW from 6:00 

–

22:00)

TIME

06:00

22:00

14:00

CAPACITY

100MW

50MW

0MW

Vertical Stacking


[image: image2.wmf]Reservation 12345

(100 MW from 6:00 

–

14:00)

Reservation 67890

(100 MW from 14:00 

–

22:00)

TIME

06:00

22:00

14:00

CAPACITY

100MW

50MW

0MW

Horizontal Stacking


Should a Requesting PSE elect to utilize stacking, including any combination of the two stacking types, to support their Interchange Transaction, they must understand the following requirements:

· Stacks MUST be described through fully qualified profiles for each reservation being used

· At no point may the coverage described by the stack be less than the transmission capacity needed for the Transaction’s energy flow



· 
· 
· 
· 
C.
Market-Related Profile Modifications

Profile Modifications are changes to an Interchange Transaction’s energy profile based on market desires.  Such modifications must be presented to those entities that are responsible for the implementation of the modification in order that they may evaluate the Interchange Transaction request and determine whether or not the modification can be implemented.  The following information must be used to describe such a modification. 

· The Interchange Transaction being modified

· All necessary profile changes to set the transmission capacity or energy flow to the desired levels during the appropriate hours, and

· A contact person that initiated the modification

Appendix E
Commercial Timing Table

This appendix should take the NERC timing table EXACTLY as it is shown in INT-005 (his version is missing the "BA and TSP Conduct Reliability Assessments" in Column B) and state in text outside the table (not merely in a footnote) what additions are made by NAESB to accommodate the Market Assessment.  
The timing requirements (Appendix E) are somewhat in conflict with the NERC Standard (Attachment 1-INT-001-0).  This is not wrong, per se, but may be confusing, as the NERC standard is written such that the "more restrictive" rules apply.  All requirements in Appendix E refer to the time "before ramp start'" while all in 1-INT-001-0 refer to the time as "before block start."  There also appear to be conflicting rules in how to determine the amount of time an approval entity has to verify.  Whether the NERC standard changes or the NAESB standard changes, it would be helpful if they were consistent.  Note that the timing requirements as they will necessitate changes in people's systems.
Such as:

This Timing Table is taken directly from NERC INT-005 with additions made to Column B to accommodate Market Assessments.  This Market Assessment occurs simultaneous with the Reliability Assessment performed by the BA and TSP.  All communication of any associated change in status is handled via the IA.

Market Assessments are performed by the GPE, LSE and those PSEs whose transmission rights are cited on the interchange.  During the Market Period, commercial arrangements have been made to allow the submittal of the Arranged Interchange to the IA. However, the submittal of the Arranged Interchange does not imply approval of the GPE, LSE and PSEs whose transmission rights are cited on the interchange; that approval is performed during the Market Assessment.     
Timing Table

[image: image4.wmf] 

Tagging

 

Across

 

 

ERCOT

/

Eastern

 

Interconnection

 

Interface

 

PSE Receives

 

Approval from SPP

 

DC 

Tie Operator and

 

ISO

 

PSE Creates 

E

-

Tag

 

and Sends to

 

SPP 

R

C

 

SPP 

R

C validates 

 

SPP 

RC 

sends 

E

-

T

ag to ERCOT 

 

PSE Sends 

E

-

Tag to Others PSE

 

Submits 

E

-

Tag 

 

via ERCOT OASIS

 

SPP 

RC 

and ERCOT

 

ISO Coordinate ATC

 

ERCOT ISO

 

Notifies S/R CAs

 

in ERCOT

 

S/R 

BA

s Confirm

 

Schedule with 

BAs 

in

 

EI and 

DC

 Tie Operator

 

DC 

Tie O

perator Sets

 

Flows per 

 

E

-

Tag

 

SPP 

R

C Enters 

E

-

Tag

 

into IDC

 







	
	A
	B
	C
	D

	If

Actual Arranged Interchange (RFI) is Submitted
	IA Makes Initial Distribution of Arranged Interchange 
	GPE, LSE, and PSE
 Conduct Market Assessments
 

BA and TSP Conduct Reliability Assessments
IA Verifies Reliability Data Complete
	IA Compiles and Distributes Status 
	BA Prepares  Confirmed Interchange for Implementation
	Minimum Total Reliability Period

(Columns A through D)

	<1 hour prior to ramp start
	< 1 minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA for all Interconnections except WECC
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	15 minutes

	<1 hour prior to ramp start
	< 1 minute from RFI submission
	< 5 minutes from Arranged Interchange receipt from IA for WECC
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	10 minutes

	>1 hour to  < 4 hours prior to ramp start
	< 1 minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start
	1 hour plus 1 minute

	> 4 hours prior to ramp start
	< 1 minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	4 hours


� EMBED Word.Picture.8  ���





Interchange Timeline with Minimum Reliability-Related Response Times 





Ramp Start





Request for Interchange Submitted











� This PSE reference applies to PSE’s whose transmission rights are cited on Arranged Interchange.  


� These Market Assessments take place in concurrence with NERC Reliability Assessments (as found in NERC INT-005-1). 





NAESB Draft Coordinate Interchange Standard page 1

_1193028290.doc


Tagging Across 







ERCOT/Eastern







Interconnection







Interface







PSE Receives







Approval from SPP







dc DC Tie Operator and







ISO







PSE Creates E-Tag







and Sends to







SPP RSC







SPP RSC validates 







SPP SC RC sends E-tTag to ERCOT 







PSE Sends E-Tag to Others PSE







Submits E-Tag 







via ERCOT OASIS







SPP SC RC and ERCOT







ISO Coordinate ATC







ERCOT ISO







Notifies S/R CAs







in ERCOT







S/R BACAs Confirm







Schedule with CAs BAs in







EI and dcDC Tie Operator







dc DC Tie Operator Sets







Flows per NERC E-Tag







SPP RSC Enters E-Tag







into IDC












