NAESB Coordinate Interchange Business Practice (R05001) Draft – containing revisions up through 12/8/05CIBP meeting



From: Robert Rhodes 
Sent: Wednesday, January 25, 2006 4:58 PM
To: naesb@naesb.org
Cc: SPP ORWG (EXPLODER); Charles Yeung
Subject: SPP ORWG Comments on NAESB R05001 Draft Coordinate Interchange Business Practice
Attached is a marked up draft of NAESB R05001 Draft Coordinate Interchange Business Practice which represents comments of a group representing the Southwest Power Pool’s Operating Reliability Working Group (ORWG).  Thank you for the opportunity to review the business practice and provide input into the NAESB deliberation process.

The group providing the comments consisted of:

            Jason Atwood                Calpine

            Dan Boezio                   AEP

            Bob Cochran                 SPS

            Mike Gammon               KCPL

            Allen Klassen                Westar

            Randy Root                   GRDA

            Robert Rhodes               SPP ORWG Secretary

Robert C. Rhodes, Jr., PE
Manager, Reliability Coordination
Southwest Power Pool
Coordinate Interchange

Purpose: Incorporate necessary revisions to the approved NAESB Coordinate Interchange Business Practice (R03013) to include added definitions, Industry transformation from Reliability Authority (RA) to the Reliability Coordinator (RC), and improvements to certain requirements of the Standard.
Applicability: Balancing Authority, Reliability Coordinator, Interchange Authority, Transmission Service Provider, Purchasing-Selling Entity (the Generator-Provider Entity (GPE),Load-Serving Entity (LSE), and PSE whose transmission approval rights are cited.
Definitions

Approval Entity – An entity that has approval rights for Arranged Interchange; this includes the Transmission Service Providers (TSP), scheduling Balancing Authorities (BA), Generator-Providing Entity (GPE), the Load-Serving Entity (LSE) and Purchasing Selling Entity (PSE) whose transmission rights involved in the Arranged Interchange. 
Arranged Interchange – The state where a Request for Interchange (RFI) has been received by the Interchange Authority (IA). 
Balancing Authority  
– The entity with the highest level of responsibility for integrating resource plans ahead of time, maintaining load-interchange-generation balance within a Balancing Authority Area, and supporting Interconnection frequency in real time.
Balancing Authority Area – The collection of generation, transmission, and loads within the metered boundaries of the Balancing Authority. The Balancing Authority maintains load-resource balance within this area.
Confirmed Interchange – The state where the Interchange Authority has verified the Arranged Interchange 
.
Generator-Providing Entity, (GPE) – The generator-providing Purchasing Selling Entity who is responsible for providing the source generation from owned, affiliated, or contractually bound generation referenced on the Request For Interchange (RFI).  (Please check with e-Tag material for appropriate definition.)
Implemented Interchange – The state where the Balancing Authority enters the Confirmed Interchange into its Area Control Error equation.

Interchange – Energy transfers that cross Balancing Authority boundaries.

Interchange Authority, (IA) - Verifies complete and accurate Arranged Interchange between Source and Sink Balancing Authority areas, and ensures communication of the Arranged Interchange for assessment and implementation purposes. 
Interchange Block Accounting – Energy accounting that assumes a beginning and ending ramp time of zero minutes. For accounting purposes, this moves the energy associated with the starting and ending ramps into the adjacent starting and ending clock time of the Interchange.

Interconnected Operations Services – a service (exclusive of basic energy and transmission services) that is required to support the reliable operation of the interconnected bulk electric systems.
Load-Serving Entity, (LSE) 
– The load-serving PSE who is responsible for creating the RFI and secures transmission to serve the electrical demand and energy requirements of its end-use customers.
Market Assembly – The function responsible for coordinating the submittal of a completed and accurate Arranged Interchange from the Requesting Purchasing-Selling Entity to the Interchange Authority within an organized Market. 

Market Period – The period of time beginning with the Requesting Purchasing-Selling Entity (PSE), or its designee, making required purchase, sale, and transmission service arrangements to support the Arranged Interchange through the period of time when the Interchange Authority receives the Arranged Interchange.

Purchasing-Selling Entity, (PSE) – The entity that purchases or sells, and takes title to, energy, capacity, and Interconnected Operations Services. Purchasing-Selling Entities may be affiliated or unaffiliated merchants and may or may not own generating facilities.
Reliability Coordinator - The entity that is the highest level of authority who is responsible for the reliable operation of the bulk electric system, has the wide area view of the bulk electric system, and has the operating tools, processes and procedures, including the authority to prevent or mitigate emergency operating situations in both next-day analysis and real-time operations. The Reliability Coordinator has the purview that is broad enough to enable the calculation of interconnection reliability operating limits, which may be based on the operating parameters of transmission systems beyond any transmission operator’s vision.

 Reliability Period – The period of time beginning with the Interchange Authority (IA) requesting approvals from the reliability Approval Entities through the completion of the physical flow of the energy associated with the originally submitted Arranged Interchange.
Request For Interchange, (RFI)- A collection of required data, as defined in Appendix D of this standard, necessary for the purpose of submitting to the Interchange Authority as an Arranged Interchange. 
Requesting Purchasing-Selling Entity, (PSE) – The entity that prepares and submits the Request For Interchange (RFI) to the Interchange Authority (IA) and holds the transmission reservation being presented for use.
Sink Balancing Authority  – The Balancing Authority in which the load (sink) is

located for an Interchange Transaction. 

Source Balancing Authority – The Balancing Authority in which the generation (source)is located for an Interchange Transaction.

Business Practices Requirements 

1. All requests to implement bilateral Interchange between a Source and Sink Balancing Authority shall be accomplished by the submission of a completed and accurate Request For Interchange (RFI) to the Interchange Authority (IA).

1.1 To the extent that Intra BA transactions are submitted as a Request for Interchange (RFI), those transactions will be subject to all provisions of this standard.
2. Until other means are adopted by NAESB, the primary method of submitting the Request For Interchange (RFI) to the Interchange Authority shall be electronic and in accordance with the Version 1.7.095 NERC Transaction Information Systems Working Group (TISWG) Electronic Tagging Functional Specification .

2.1. A backup or redundant electronic system shall be available for immediate use should the primary electronic means become disabled.

2.2. Submitting Request for Interchange (RFI) to the Interchange Authority via facsimile is acceptable only as a last resort when the electronic means and its required backup or redundant system are not available.

3. Arranged Interchange that crosses Interconnection Boundaries shall be in accordance with Appendix A “Interchange Transaction Tagging Across Interconnection Boundaries”. 
4. In the event of E-Tag system component failure, the requirements and procedures contained within Appendix B “Electronic Tagging Service Performance Requirements and Failure Procedures” shall be followed. 
5. It shall be the responsibility of the load serving Purchasing-Selling Entity (PSE), or its designee, to ensure the completed and accurate Request For Interchange (RFI) contains, at a minimum, the information specified in Appendix D “Required and Correctable Tag Data”.
6. Approval Entities shall only be allowed to take actions against an Arranged Interchange as specified in Appendix C “Interchange Transaction Tag Actions”.
6.1. An Approval Entity shall include a PSE who is not the Requesting PSE but is listed as the “owner” of the transmission rights being cited on the Arranged Interchange.
6.2. Prior to the expiration of the market assessment period defined in the Appendix E, “Timing Table”, Column B,  the PSE (whose transmission rights are cited), LSE and GPE, shall respond to a request from the Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange. 

6.2.1. Each PSE (whose transmission rights are cited), LSE and GPE shall assess the Arranged Interchange for completeness and accuracy of the information contained in the Arranged Interchange.

7. All information on energy purchase, energy sale, and transmission service arrangements required for the RFI shall be performed prior to being submitted to the IA. 

At its discretion, the Requesting Purchasing-Selling Entity may defer this responsibility to the Market Assembly function.
8. Eastern and Western Interconnection Timing Requirements: 
The completed and accurate Arranged Interchange, or modification to the Arranged Interchange, submitted to the Interchange Authority shall follow the timing requirements contained in this standard under Appendix E “Timing Table.”
8.2 Transactions that cross Interconnection boundaries involving ERCOT shall follow the timing requirements contained within this standard.   
9. All denials of Arranged Interchange by an Approval Entity during the Reliability Period assessment shall be accompanied by the reason for such denial and communicated to the Interchange Authority and by the Interchange Authority to the Requesting Purchasing-Selling Entity. 
10. Any changes to the status of the Arranged, Confirmed, or Implemented  Interchange shall be communicated by the Interchange Authority to all involved parties of the Interchange, including Balancing Authorities, Reliability Coordinators, Generator-Providing Entity, Load-Serving Entity, and Transmission Service Providers. 
11. The Requesting PSE shall have the right to request modifications to the Arranged, Confirmed or Implemented Interchange for non-reliability related issues according to the timing requirements set forth in this Standard. 
11.1. The Requesting PSE can request to increase or decrease the Arranged, Confirmed or Implemented Interchange energy and committed transmission(s) profile to reflect a desire to flow more or less energy or commit more or less transmission than originally requested.  
a) In the case of an increase, the Requesting PSE must provide the necessary transmission capacity that must be available from either the earlier Transaction or is provided with the increase.
11.2. The Requesting PSE shall have the right to request an extension to the Arranged, Confirmed or Implemented Interchange energy profile to reflect a desire to flow energy during hours not previously specified. 

11.2.1. The Requesting PSE must provide the necessary transmission capacity with the extension.
11.3. If the modification is denied by any Approval Entity, the original Implemented Interchange remains valid, including the duration period.
12. All parties involved in the Arranged Interchange shall have, or arrange to have, personnel and facilities on site and immediately available for notification of changes to the Arranged Interchange from the beginning of the Market Period through the end of the Market Period.
13. Unless provided for under a FERC approved market mechanism, energy accounting for all Interchange shall be accomplished via Interchange Block Accounting. 
14. Settlement of losses shall be either handled as financial or as payment in-kind in accordance with the Transmission Service Provider tariff. 
14.1. For losses handled as payment in-kind, the PSE, or its designee, shall communicate to the IA, via Arranged Interchange (either the original or a separate Arranged Interchange), the MW losses and the entity the losses are with for each TSP/BA along the Interchange path.
15. All Reliability Coordinators, Balancing Authorities, Transmission Service Providers, Generator-Providing Entity, Load-Serving Entity, and other entities involved in an Interchange request shall not disclose the Interchange Transaction information to any PSE not involved in the Interchange transaction.
16. After a curtailment of Interchange has ended, the Sink Balancing Authority shall return the Interchange profile to the originally requested level, unless otherwise specified by the entity submitting the Request For Interchange.
17. Default ramp duration for the North American Interconnection shall be as follows:
17.1. Default ramp duration for the Eastern Interconnection shall be 10 minutes equally across the start and end times of the Implemented Interchange unless otherwise agreed to by all parties involved in the Implemented Interchange. 
17.2. Default ramp duration for the Western Interconnection shall be 20 minutes equally across the top of the hour of the Implemented Interchange (as referred to in accepted WECC practices [WECC reference will be included here]) unless otherwise agreed to by all parties involved in the Implemented Interchange.  
Appendix A

Interchange Transaction Tagging Between Interconnections

Between Electric Reliability Council of Texas (ERCOT) and Eastern Interconnections

[image: image3.wmf] 

Tagging

 

Across

 

 

ERCOT

/

Eastern

 

Interconnection

 

Interface

 

PSE Receives

 

Approval from SPP

 

DC 

Tie Operator and

 

ISO

 

PSE Creates 

E

-

Tag

 

and Sends to

 

SPP

 

SPP

 validates 

 

SPP

 

sends 

E

-

T

ag to ERCOT 

 

PSE Sends 

E

-

Tag to Others PSE

 

Submits 

E

-

Tag 

 

via ERCOT OASIS

 

SPP

 

and ERCOT

 

ISO Coordinate ATC

 

ERCOT ISO

 

Notifies S/R CAs

 

in ERCOT

 

S/R 

BA

s Confirm

 

Schedule with 

BAs 

in

 

EI and 

DC

 Tie Operator

 

DC 

Tie O

perator Sets

 

Flows per 

 

E

-

Tag

 

SPP

 Enters 

E

-

Tag

 

into IDC

 

A Purchasing-Selling Entity that is seeking transmission arrangements to schedule energy between the ERCOT and Eastern Interconnections will coordinate through the Southwest Power Pool (SPP).  Requests for service must be made to SPP for service into or through SPP (including service across either the North or East DC Ties) via the SPP OASIS.  Request for service must also be made in ERCOT via the ERCOT Scheduling System. SPP will coordinate approval of reservations and schedules involving the SPP portion of transmission service (including the DC ties) and service in ERCOT.

The following procedures are followed when scheduling transmission service between SPP and ERCOT:

· The Purchasing-Selling Entity must receive approval for DC tie service and transmission service in SPP from SPP for the proposed transaction and arrange required ancillary services.

· For all transmission service requests, the Requesting Purchasing-Selling Entity will create a Request For Interchange (known as the E-Tag) and submit it to SPP. SPP will validate certain information on the E-Tag and check that a reservation exists before approving the E-Tag.  The approved Tag will be available to the parties to the transaction and the ERCOT ISO. 

· Simultaneous with submitting requests using the Request For Interchange to SPP (for next hour, non-firm and all other transmission service requests), the Requesting Purchasing-Selling Entity submits requests to the ERCOT ISO via the ERCOT Scheduling System.  The MW profile information submitted to ERCOT must exactly match the information on the E-Tag supplied to ERCOT by SPP. (See note.)(
· SPP coordinates approval of the transaction if ATC is available in SPP and across the DC tie and works with the ERCOT ISO to coordinate ATC calculations in ERCOT.
· The ERCOT Reliability Coordinator notifies the delivering/receiving ERCOT Balancing Authority of the approved transaction and provides a copy of the Interchange Transaction E-Tag and ERCOT schedule request.

· The delivering/receiving ERCOT Balancing Authority communicates with the delivering/receiving control area Balancing Authority outside of ERCOT, confirms the transaction/schedule, and confirms with the DC tie operator.

· The DC tie operator will follow the Interchange Transaction E-Tag when setting flows across the tie.

· SPP will use the E-Tag to populate the IDC and to determine constrained facility ATC in the operating horizon. 
· ERCOT ISO requires transactions/schedules involving use of the DC ties to include the Interchange Transaction E-Tag reference in the comments field on the ERCOT schedule request.

Between Western and Eastern Interconnections

· All Interchange Transactions that cross the Interconnection Boundary, including next hour and same day service, will be submitted in E-Tag for inclusion in the Eastern Interconnection IDC.

Interchange Transaction where the sink is in the Eastern Interconnection

· The Purchasing-Selling Entity serving the load shall be responsible for submitting the E-Tag.  The Purchasing-Selling Entity responsible for submitting the E-Tag will be required to submit the E-Tag in accordance with the time requirements of this business practice.
· The Transmission Service Providers and Balancing Authorities responsible for assessing the E-Tag will be required to assess the E-Tag in accordance with the time requirements in NERC Standards. 

Interchange Transaction where the Sink is in the Western Interconnection

· The Purchasing-Selling Entity serving the load shall be responsible for submitting the E-Tag. 
· For Hourly/Multi-Hour Same Day Transactions, the sink Purchasing-Selling Entity in the Eastern Interconnection (last PSE before the DC Tie) shall be responsible for submitting the E-Tag. 
· The Purchasing-Selling Entity responsible for submitting the E-Tag will be required to submit the E-Tag in accordance with the time requirements in NERC Standards. 
The Transmission Service Providers and Balancing Authorities responsible for assessing the E-Tag will be required to assess the E-Tag in accordance with the time requirements in NERC’s Standards.
Appendix B

Electronic Tagging Service Performance Requirements and Failure Procedures 
This document describes the performance requirements of the E-Tag System and the procedures to be followed in the event of an E-Tag System component’s failure.  Due to the importance of accurate information flow, these procedures and requirements have been developed to ensure that reliable data communications remain available at all times.  

A.
Performance Requirements

Tag Agent Service Requirements

Entities that are required to use E-Tag agent services are responsible for providing an E-Tag agent service with which to conduct business; there are no exemptions to this requirement.  There is no specific requirement against which performance should be measured. However, in cases of E-Tag agent service failure, non-receipt of critical information (such as curtailment notifications, transaction denials, and schedule modifications) due to performance problems shall be the responsibility of the E-Tag agent user.

While it is acceptable for an entity to contract with a third-party to provide for this requirement, it should be understood that the E-Tag agent user is ultimately responsible for the provision of the service. The non-performance of a third party does not excuse the entity from the obligation to provide the service.

E-Tag Approval Services

Entities that are required to employ E-Tag approval services are responsible for providing an E-Tag approval service as well as providing a level of redundancy; there are no exemptions from this requirement.  At a minimum, E-Tag approval services may not have greater than 1.0% of the E-Tags sent to their system within a calendar month be recorded determined by the Interchange Authority Service as having a state of “COMM_FAIL.”  While there is no specific level of redundancy that is required by this Appendix, sufficient redundancy must be in place that the entity is confident of achieving this standard.

While it is acceptable for an entity to contract with a third-party to provide for this requirement, it should be understood that the entity required to employ the E-Tag approval service is ultimately responsible for the provision of the service.  The non-performance of a third party does not excuse the entity from the obligation to provide the service.

In order to monitor compliance with this requirement, the Balancing Authorities will arrange with their Authority Services to generate compliance reports at the beginning of each month determining this metric for the previous month on a Provider-by-Provider basis.  These results should be available for investigation of any violations and the results of this investigation may be posted once finalized.

Interchange Tag Authority (IA) Services

As the Interchange Authority service is the most critical element of the E-Tag system, it must meet much higher standards.  These standards can be divided into two areas: Implementation, and Policies and Performance. 

Implementation

Interchange Authority services must be implemented in a manner that provides for redundancy and fault-tolerance through hardware and software; there are no exemptions to this requirement. Specifically, an Interchange Authority service must provide, at a minimum, the following:

· Two or more connections to the Internet, which may either be available concurrently or be switchable on demand (within five minutes);

· Redundant/Fault-Tolerant Networking Equipment between the Internet providers’ demarcation points and the computer systems, as well as between each of the components of the system required to be inter-networked to provide functionality (i.e., FDDI Rings, dual homing, etc…);

· Redundant/Fault-Tolerant computer systems that can immediately recover from a loss of any single component (i.e., mirrored databases, web clusters, etc…).

Providers of Interchange Authority services may be required to provide documented explanations of how they meet or exceed the above requirements.  These documents may be evaluated for fitness and will be held in confidence.

Policies and Performance

The following shall be required of all Interchange Authority services:

· All scheduled outages must be performed between the hours of 01:00 CST and 04:00 CST.  Any maintenance that must be performed outside this three hour window must be accomplished though the use of redundant systems in such a manner that no outage is visible;

· Notice of Scheduled outages must be given to the public at least 24 hours before the outage is to occur.  Notice shall be deemed valid if the following actions have been taken:

1. Users of the system are sent notifications, via email or a proprietary system, time stamped at least 24 hours prior to the outage;

2. The TISFORUM mailing list is sent Email notification time stamped at least 24 hours prior to the outage;

3. The OASIS TSIN mailing list is sent email notification time stamped at least 24 hours prior to the outage.

Any system problem that creates behavior contrary to that described in the E-Tag specification shall constitute an “unscheduled outage.”  For example, a system that begins rejecting every third message it receives due to a component failure in a cluster would constitute an unscheduled outage (although the system was only failing one third of the time, it was not performing as described in the E-Tag specification).

Interchange Authority services may not be in a state of scheduled or unscheduled outage for more than 0.5% of the time for the month, based on outage time (in minutes) for the month divided by total time in the month (in minutes).  Specific allowed outages may be granted to address special circumstances (i.e., scheduled specification changes, major internet outages, etc…).  These specific allowed outages, if granted, may require public posting for all customers to view.

While it is acceptable for an entity to contract with a third-party to provide for these requirements, it should be understood that the entity required to employ the Interchange Authority service is ultimately responsible for the provision of the service.  The non-performance of a third party does not excuse the entity from the obligation to provide the service.

To monitor compliance with these requirements, the Operator of an Interchange Authority system may be required to submit, at the beginning of each month, a report describing outage activity for the previous month.    This report shall consist of the following items: 

1. The beginning of the outage;

2. The ending of the outage;

3. The type of outage (Scheduled or Unscheduled);

4. The nature of the outage (Maintenance, System Crash, etc…);

5. In the event of an Unscheduled Outage, the cause of the outage and the steps taken to ensure the problem has been addressed and will not reoccur. 

The report format may be in a standardized electronic form.  These documents  may be evaluated  and held in confidence.  Statistics may be developed from these reports identifying system outage durations for each month.    These preliminary findings will be held in confidence until they are confirmed. These performance percentages shall be posted and electronically accessible once confirmed, at the end of the month following the month evaluated. 

Entities experiencing difficulty due to an unnoticed scheduled or unscheduled outage may send a Request for Investigation.  This request should specify the estimated time the outage occurred, the estimated time the outage ended, and document evidence of the outage (such as TMP logs, email messages, etc…).  Claims may be investigated with the appropriate Tag Authority Service Operator.  Should a Tag Authority Service Operator be unable to refute the claim, and the Investigation Requestor appears to have provided an accurate representation of an undocumented outage, calculated outage percentages may be modified to include the undocumented incident.  

B.
Failure Procedures 

Backup procedures are needed because, in a communication system that operates on the public Internet, failures are certain to occur.  The failures may be caused as a result of overload of the network, loss of connection to an Internet service provider, corruption of one or more servers by computer hackers, failure of one or more entity’s Internet servers, internal firewall failure, and many other reasons.

Failures also have a wide variety of scopes.  A failure may affect a single entity with a small number of schedules while all of its neighbors continue to operate normally, a small number of utilities in a local area, or a regional RTO with thousands of active schedules.  However failures occur, the operation of the electric utility grid must continue.  This document describes the manner in which operations are to be coordinated should such a failure become a reality.

Assumptions

A general assumption is that each operational entity in the electric utility industry has an internal energy management system, marketing system, or contract system that will not be affected by the Internet communication failure. 

Actors

Requesting PSE- The entity that prepares and submits an RFI, normally a Purchasing Selling Entity 
Path Participant – Any of the entities that are part of an schedule Interchange transaction. 

Interchange Authority Service Entity – The entity that provides the Interchange Authority service for an E-Tag.  The Interchange Authority service itself is typically a computer system that maintains the master database for the tag and communicates status with other computer systems.  The Interchange Authority Service Entity is the utility industry entity that is responsible for providing the service.  In E-Tag 1.7.095, this entity is the Sink Balancing Authority. 

Approval Entity – An entity that has approval rights for Arranged Interchange; this includes the Transmission Service Providers (TSP), scheduling Balancing Authorities (BA), Generator-Providing Entity (GPE) and the Load-Serving Entity (LSE) involved in the Arranged Interchange
Checkout Partners– The entities that perform the checkout process.  Most commonly two adjacent Balancing Authorities checking net interchange.  It might also be two marketers checking sales and purchases, or a transmission customer checking schedules with a transmission provider.

Failure Actions

When a failure occurs an entity will soon realize that it has lost communications with the other servers in the electronic tagging arena.  Yet it must still communicate current energy flows across the transmission network and expected flows for the next few hours.  Transmission curtailments must be accounted for in the sense that a required reduction in energy flows or increase in generation needs to be communicated.  However, accounting issues will take a secondary priority to reliability issues in this exchange, and detail relating back to tags, schedules, and transmission reservations can be reconstructed later. 

The table below lists typical failures that might occur and the emergency actions that the entity will take to compensate for that failure. 

	Entity
	Connectivity Problem
	Backup actions

	Requesting PSE
	Unable to submit tag to Interchange Authority Service.
	Ask another entity in the transaction chain to submit the schedule for you.  He then becomes the author.

Create a backup paper copy of the schedule and fax to authority service entity and all approval entities in the transaction.

	Path Participant
	Not receiving update messages.


	Use Recovery Process to resynchronize from authority service.

Use telephone with Authority Service Entity to update status.

	Interchange Authority Service Entity
	Unable to send messages to generation or load Balancing Authorities.
	Telephone schedule author to notify of the message failure.  The author will fax the schedule to the Approval Entity for these control areas.

Telephone Approval Entity to notify of the message failure.

Approve or deny the schedule at the request of the Approval Entity (override).

	Interchange Authority Service Entity
	Unable to send messages to an Approval Entity for an intermediate Transmission Provider or Balancing Area.
	Telephone schedule author to notify of the message failure.  The author will fax the schedule to the Approval Entity.

Telephone Approval Entity to notify of the message failure.

Approve the schedule automatically.

Deny the schedule at the request of the Approval Entity (override).

	InterchangeAuthority Service Entity
	Unable to send messages to an information only entity.


	No Action required.

	InterchangeAuthority Service Entity
	Unable to receive messages.


	Broadcast a message by email or fax to all entities that use your authority service.  The message should forecast a recovery time for your service.  In the meantime, your Interchange Authority Service is down.


	Approval Entity
	Unable to receive messages from an authority service.

(The Authority has an obligation to notify you and the authoring PSE.

The Authoring PSE has an obligation to fax the tag to the approver.)
	Use the Recovery Process to resynchronize from Authority Services or Central Repository.

Telephone the Authority Service entity with the approval or denial of the schedule.

	Approval Entity
	Unable to send messages to an authority service.


	Telephone the Interchange Authority Service Entity with approval or denial of the schedule.

	Checkout

Partner
	Unable to exchange messages.
	Telephone net exchange to the checkout partner.

Create a backup paper copy of the checkout data and fax to the checkout partner.


Notes:

1. The first action in every case is to attempt to establish connection by using an alternate communication method, a second Internet service provider, dial up connection, or a private network if one is available.

2. Next, the backup actions are attempted in the order specified.

3. The backup actions include printing paper reports from the internal energy management system.  The reports include a schedule detail report for a short time period, net exchange between two operational entities, and transmission reservation usage between a transmission provider and a customer.

4. Every backup action list ends with a fax or telephone call that is completely independent of the public Internet. 

Reports

Three reports have been designed to communicate energy flows and transmission reservation usage between partner entities with a tie where possible back to the schedules as known before the communication failure. 

Net Exchange

A Net Exchange report is a paper summary of Interchange:

· The time span of the report will cover a period of the current hour to a few hours in the future, up to 24 hours.

· The entity and the partner entity are any two entities that share common schedules.

· The date and time are the date and time of the report.

· Net schedules are the net of schedules from and to the other entity.

· TO is a sum of the schedules from the entity to the partner entity.

· FROM is a sum of the schedules from the partner entity to the entity.

· Tag or fragment lines represent the data from each tag or fragment that was known at the time of the failure or has been entered later.

· Recent adjustment lines represent a summary of changes to the schedules that occurred since the failure. 

Schedule Detail

A Schedule Detail report is a paper copy of an individual schedule.  It includes:

· The schedule identification number and most current active revision number.

· The fully expanded energy schedule for a period of the current hour to a few hours in the future, up to 24 hours.

· The complete path with all OASIS and contract references. 

Reservation Usage

A transmission Reservation Usage report is a summary of Reservation Usage:

· The time span of the report will cover a period of the current hour to a few hours in the future, up to 24 hours.

· The entities on the report are a transmission provider and a transmission contract holder.

· Gross reservations is the sum of reservations, Usage is the sum of usage.

· The detail lines are tag or fragment usage of reservation, organized by product and OASIS reservation number. 

Recovery Process

The last backup issue is the recovery of current status when the communication link is reestablished.  The recovery is accomplished by a query request to the Interchange Authority service for each entity that the entity does business with.  The query returns a list of all the schedules that reference that entity with the schedule ID, the current version number and the last modified date and time.  

The recovering entity then compares with its own database and updates his database to be current with the Interchange Authority’s database.  When all Interchange Authority services have been queried, the recovery is complete. 

If the entity desires, it can request a complete audit history of each schedule.

Appendix C 

Transaction E-Tag Actions
For Eastern and Western Interconnections

The table below explains the various E-tag actions that are possible, and the entities that are entitled to initiate these actions:

	Desired Policy Action
	Reason
	Tagging Action
	Initiated by
	Result

	Approve a Tag Request
	Economic, Reliability, or Contractual
	Set Status (to Approved)
	Approval Entity*
	Approver indicates approval

	Deny a Tag Request
	Economic, Reliability, or Contractual
	Set Status (to Denied)
	Approval Entity*
	Approval indicates denial

	Study a Tag Request
	Economic, Reliability, or Contractual
	Set Status (to Studied)
	Approval Entity*
	Approval indicates the tag has been viewed, but have not committed to a decision

	Withdraw a Tag Request
	Economic
	Withdraw Request prior to request implementation
	Requesting PSE**
	Request is dead

	Cancel a New Tag
	Economic
	Request Profile Change – Set Energy and Capacity for the transaction to zero prior to transaction start
	Requesting PSE**
	Tag is dead

	Terminate a Tag
	Economic
	Request Profile Change – Set Energy and capacity of the transaction to zero from a point of time forward
	Requesting PSE**
	Portion of tag is dead

	Extend an E-Tag
	Economic
	Request Profile Change – Append additional hours onto an existing transaction
	Requesting PSE**
	Tag is extended 

	Reduce an E-Tag
	Economic
	Request Profile Change – Decrease Energy flow or Committed Transmission Reservation(s) for a transaction for a specific set of hours
	Requesting PSE**, Market Operator***
	Profile is Decreased

	Increase an E- Tag 
	Economic
	Request Profile Change – Increase Energy flow or Committed Transmission Reservation(s) for a transaction for a specific set of hours
	Requesting PSE**, Market Operator***
	Profile is Increased

	Curtail an E-Tag
	Reliability (SOL Violation, Loss of Gen, loss of Load)
	Request Profile Change – Limit Energy flow for a transaction for a specific set of hours
	Source BA, Sink BA, Transmission Service Provider, Reliability Coordinator
	Profile is Decreased

	Reload an E-Tag
	SOL Violation eliminated, Generator Returned, Load Returned
	Request Profile Change – Release Limit of Energy flow for a transaction for a specific set of hours
	Source BA, Sink BA, Transmission Service Provider, Reliability Coordinator
	Profile is Increased


Notes: 

*Purchasing-Selling Entities and Load-Serving Entities may elect to defer their approval rights to the Host Balancing Authority of their facilities.  For more information, see PSE and LSE approval rights below

**In some situations, Balancing Authorities implement certain Interchange Transactions or Interchange Schedules, such as bilateral inadvertent payback, Dynamic Schedules, and emergency schedules from Reserve Sharing Groups. In these situations, the Balancing Authority serves as the Purchasing-Selling Entity and can perform these actions.

***Entities registered as market operators and serving as either source or sink for a Transaction may exercise such functions in order to indicate correct flow based on market clearing.

PSE and LSE Approval Rights

Purchasing-Selling Entities providing generation (GPE) and Load-Serving Entities (LSE) have been granted the right, but not the obligation, to approve Transaction requests using their resources. Only GPE’s who are capable of controlling the output of the source generator should be allowed approval rights. If PSEs and LSEs specify an approval service in the Master Registry, then they are expected to approve/deny Transactions when so requested. Otherwise, their Host Balancing Authority is expected to act on their behalf. .The following table illustrates the proper way to interpret this requirement:

	If the PSE…
	Specified an Approval URL
	The PSE should be granted rights to approve or deny

	
	Did not specify an Approval URL
	The BA should have proxy approval rights for the PSE


Appendix D

Required and Correctable E-Tag Data

A.
New Interchange Transactions

A new Interchange transaction is an Interchange transaction Arranged Interchange (E-Tag) that has not yet been implemented approved or confirmed for implementation.  Such Arranged Interchange must be presented to those Approval Entities (as an E-Tag) that are responsible for the implementation of the Interchange transaction in order that they may evaluate the E-Tag and determine whether or not the Interchange can be implemented.  The following information is to be used to describe such an Interchange transaction.  

1. Market Information

1.1. Market Redispatch Information (only required if E-Tag is MRD Transaction).  (See “E-Tag Functional Specification Version 1.7095”)

1.2. Financial Path (Required) ( the description of financially responsible parties for the Interchange in order.  This will typically start with a Purchasing-Selling Entity providing generation (GPE) and finish with a Load Serving Entity (LSE), and where applicable, intermediate Purchasing-Selling Entities between the two.

1.2.1. Energy Title Holder(s) (Required) – the identity of the entities financially responsible to take and/or deliver the energy as described in the physical path.  This will typically be a Purchasing-Selling Entity providing generation, a Load Serving Entity, and where applicable, Intermediate Purchasing-Selling Entities.

1.2.1.1. Energy Product Type (Correctable) – the type of energy delivered by the Energy Title Holder.  

1.2.1.2. Contract Number(s) (Correctable) – reference to a Transaction entered into by the Energy Title Holder with one or more other participants in the Transaction.

1.2.1.3. Miscellaneous Information (Correctable) – information provided at the author’s Requesting PSE’s option regarding the Transaction.

2. Physical Information

2.1. Physical Path (Required) – the description of physically scheduling parties for the Interchange in order and related to the financially responsible parties described above.  This will always contain a Generation segment, at least one Transmission segment, and a Load segment.

2.1.1. Generation (Required) – set of data describing the physical and contractual characteristics of the energy source.  

2.1.1.1. Source (Required) – the physical point at which the energy is being generated.  This may vary in granularity, dependent on local business practices.

2.1.1.2. Contract Number(s) (Correctable) ( reference to a schedule or agreement entered into by the Purchasing-Selling Entity providing generation and the Generator Operator.

2.1.1.3. Miscellaneous Information (Correctable) – information provided at the Requesting PSE’s option regarding the Interchange Transaction.

2.1.1.4. Energy Profile (Required) – energy to be produced by the Generator Operator for this Transaction.

2.1.2. Transmission (Required) – set of data describing the physical and contractual characteristics of a wheel (import, export, or through).

2.1.2.1. Transmission Service Provider (Required) – the identity of the transmission provider that is wheeling the energy.

2.1.2.2. Point of Receipt (Correctable) – valid Point of Receipt for scheduled Transmission Reservation.

· Point of Delivery (Correctable) – valid Point of Delivery for scheduled Transmission Reservation.

· Scheduling Entities (Correctable) – entity that is physically scheduling interchange on behalf of the Transmission Service Provider in order to provide wheeling services.  Typically this is the Balancing Authority for the Transmission Service Provider, but may be several Balancing Authorities supporting a regional transmission service.

· Loss Provision Information (Required) (Correctable)– Information describing the manner in which losses are accounted when they are not scheduled as in-kind megawatt distributions through the original transaction.  Types may be financial (paid in dollars based on tariff provisions), internal (scheduled in megawatts to the Transmission Service Provider from a resource inside the Transmission Service Provider’s area), or external (scheduled in megawatts to the Transmission Service Provider from a resource outside the Transmission Provider’s area). If internal or external, must specify contract numbers or Transaction IDs.

· Miscellaneous Information (Correctable) – information provided at the Requesting PSE’s option regarding the transaction.

· POR and POD Profiles (Required) – schedule of Energy Flow imported at the Point of Receipt and exported at the Point of Delivery.

· Transmission Reservation Number(s) (Required) (Correctable) – reference to a particular transmission reservation being used to provide transmission capacity to support the transaction being described.

2.1.2.2.1. Transmission Product (Required) (Correctable) – Specifies the firmness of service associated with the transmission reservation being used.

2.1.2.2.2. Requesting PSE (Required) (Correctable) – identifies the entity that purchased and holds the transmission reservation being presented for use.

2.1.2.2.3. Transmission Reservation Profile (Required) - information describing the transmission reservation commitment associated with the Transmission Service Provider.

2.1.2.2.3.1. Committed Transmission Reservation Level (Required) – schedule of transmission reservation committed by the Requesting Purchasing-Selling Entity for use for this Transaction.

2.1.3. Load (Required) – set of data describing the physical and contractual characteristics of the energy sink.

2.1.3.1. Sink (Required) – the physical point at which the energy is being consumed.  This may vary in granularity, dependent on local business practices.

2.1.3.2. Contract Number(s) (Correctable) ( reference to a schedule or agreement entered into by the Load Serving Entity and the distribution provider.

2.1.3.3. Miscellaneous Information (Correctable) – information provided at the requesting PSE’s option regarding the Transaction.

2.1.3.4. Energy Profile (Required) – energy to be consumed by the load for this Transaction.

Using Multiple Transmission Reservations to Support a Single Leg of an Interchange Transaction

The use of multiple transmission reservations to support a single leg of an Interchange Transaction is known as transmission stacking.  There are two types of transmission stacking:

· Vertical stacking, in which a Requesting Purchasing-Selling Entity combines multiple reservations to achieve a certain net level of transmission capacity, and

· Horizontal stacking, in which a Requesting Purchasing-Selling Entity combines multiple reservations to achieve a certain transmission capacity coverage over time.

The following diagrams illustrate these concepts more fully.  In both cases, the assumed need is 100 MW of transmission capacity for hours 06:00 through 22:00.

[image: image1.wmf]Reservation 12345

(50MW from 6:00 

–

22:00)

Reservation 67890

(50MW from 6:00 

–

22:00)

TIME

06:00

22:00

14:00

CAPACITY

100MW

50MW

0MW

Vertical Stacking


[image: image2.wmf]Reservation 12345

(100 MW from 6:00 

–

14:00)

Reservation 67890

(100 MW from 14:00 

–

22:00)

TIME

06:00

22:00

14:00

CAPACITY

100MW

50MW

0MW

Horizontal Stacking


Should a Requesting PSE elect to utilize stacking, including any combination of the two stacking types, to support their Interchange Transaction, they must understand the following requirements:

· Stacks MUST be described through fully qualified profiles for each reservation being used

· At no point may the coverage described by the stack be less than the transmission capacity needed for the Transaction’s energy flow

B.
Curtailments and Reloads (Reliability Related Profile Modifications)

Curtailments and Reloads are special kinds of modifications to an Interchange transaction’s energy profile based on reliability concerns.  Such modifications must be presented to those entities that are responsible for the implementation of the modification in order that they may evaluate the transaction request and determine whether or not the modification can be implemented.  The following information must be used to describe such a modification.  

· The Transaction being curtailed or reloaded

· All necessary profile changes to set the maximum flow allowed for the transaction during the appropriate hours

· A contact person that initiated the curtailment or reload, and

· A description of the necessity for the schedule change.

C.
Market-Related Profile Modifications

Profile Modifications are changes to an Interchange Transaction’s energy profile based on market desires.  Such modifications must be presented to those entities that are responsible for the implementation of the modification in order that they may evaluate the Interchange Transaction request and determine whether or not the modification can be implemented.  The following information must be used to describe such a modification. 

· The Interchange Transaction being modified

· All necessary profile changes to set the transmission capacity or energy flow to the desired levels during the appropriate hours, and

· A contact person that initiated the modification
Appendix E

Commercial Timing Table
Timing Table

[image: image4.wmf] 

Tagging

 

Across

 

 

ERCOT

/

Eastern

 

Interconnection

 

Interface

 

PSE Receives

 

Approval from SPP

 

DC 

Tie Operator and

 

ISO

 

PSE Creates 

E

-

Tag

 

and Sends to

 

SPP

 

SPP

 validates 

 

SPP

 

sends 

E

-

T

ag to ERCOT 

 

PSE Sends 

E

-

Tag to Others PSE

 

Submits 

E

-

Tag 

 

via ERCOT OASIS

 

SPP

 

and ERCOT

 

ISO Coordinate ATC

 

ERCOT ISO

 

Notifies S/R CAs

 

in ERCOT

 

S/R 

BA

s Confirm

 

Schedule with 

BAs 

in

 

EI and 

DC

 Tie Operator

 

DC 

Tie O

perator Sets

 

Flows per 

 

E

-

Tag

 

SPP

 Enters 

E

-

Tag

 

into IDC

 







	
	A
	B
	C
	D

	If

Actual Arranged Interchange (RFI) is Submitted
	IA Makes Initial Distribution of Arranged Interchange 
	GPE, LSE, and PSE
 Conduct Market Assessments
 

IA Verifies Reliability Data Complete
	IA Compiles and Distributes Status 
	BA Prepares  Confirmed Interchange for Implementation
	Minimum Total Reliability Period

(Columns A through D)

	<1 hour prior to ramp start
	< 1 minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA for all Interconnections except WECC
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	15 minutes

	<1 hour prior to ramp start
	< 1 minute from RFI submission
	< 5 minutes from Arranged Interchange receipt from IA for WECC
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	10 minutes

	>1 hour to  < 4 hours prior to ramp start
	< 1 minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start
	1 hour plus 1 minute

	> 4 hours prior to ramp start
	< 1 minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	4 hours


� EMBED Word.Picture.8  ���





Interchange Timeline with Minimum Reliability-Related Response Times 





Ramp Start





Request for Interchange Submitted











� This PSE reference applies to PSE’s whose transmission rights are cited on Arranged Interchange.  


� These Market Assessments take place in concurrence with NERC Reliability Assessments (as found in NERC INT-005-1). 





�This definition should be consistent with the NERC definition.


�This definition needs to be consistent with the NERC definition.


�This appendix should remain as a NAESB business practice.  The NERC Coordinate Interchange Standard should reference the NAESB business practice.  NAESB should not change this business practice without the consent of NERC because of the reliability implications associated with this practice.


�E-tag, as it works today, doesn’t force the DC tie operator to be on the tag.  To ensure that the DC tie operator is made aware of all tags there should be an e-tag requirement specifying the inclusion of the DC tie operator.


�We have removed references to the SPP Reliability Coordinator and simply left the reference to SPP.


�How is the default ramp rate difference between the Western and Eastern Interconnections to be handled?  Shouldn’t that be incorporated into this business practice?


�This should remain a business practice with NAESB.


�How about changing this to Participating Entities or Operational Entities?


�This is a consequence of the IA being down, what is the backup action?  How does Interchange continue while the IA is down?


�This should remain as a business practice with NAESB.


�This should remain a business practice with NAESB.


�We would suggest that a common set of reasons be used for indicating the reason for tag denial.


�This should remain a business practice at NAESB.





NAESB Draft Coordinate Interchange Standard page 1

_1199712396.doc


Tagging Across 







ERCOT/Eastern







Interconnection







Interface







PSE Receives







Approval from SPP







dc DC Tie Operator and







ISO







PSE Creates E-Tag







and Sends to







SPP RSC







SPP RSC validates 







SPP SC RC sends E-tTag to ERCOT 







PSE Sends E-Tag to Others PSE







Submits E-Tag 







via ERCOT OASIS







SPP SC RC and ERCOT







ISO Coordinate ATC







ERCOT ISO







Notifies S/R CAs







in ERCOT







S/R BACAs Confirm







Schedule with CAs BAs in







EI and dcDC Tie Operator







dc DC Tie Operator Sets







Flows per NERC E-Tag







SPP RSC Enters E-Tag







into IDC












