ISO New England would like to recommend changes to the language in the CIBP associated with Interchange Transactions between Interconnections.  There are two subjects covered in Appendix A of the current CIBP. The first is a description of transactions between SPP and ERCOT.  The second is a set of high level bullets associated with flow between the Eastern and Western Interconnections.  

With respect to the first subject, it does not seem appropriate to carry this SPP to ERCOT information forward into a new business practice. This description covers a very broad scope, and narrowing it down to only the scope of the CIBP would not provide any additional information than is already contained in the existing requirements.  

Reviewing the bullets associated with the transactions between the Eastern and Western Interconnects, we do not see any information in these bullets that isn't already specified in the main body of the business practice.  

As such, we suggest eliminating Appendix A and modifying Requirements 1, 3, 8 as shown below to cover the minimal items associated with interchange transactions crossing Interconnections that might differ from any other interchange transaction.
1. All requests to implement bilateral Interchange  between a Source Balancing Authority and Sink Balancing Authority, where a Balancing Authority is located in either the Eastern or Western Interconnection, shall be accomplished by the submission of a completed and accurate Request For Interchange (RFI) to the Interchange Authority (IA).

1.1 To the extent that Intra BA transactions are submitted as a Request for Interchange (RFI), those transactions will be subject to all provisions of this standard.
3. Arranged Interchange that crosses Interconnection Boundaries (Eastern, Western or ERCOT) shall be subject to the submittal and approval timing requirements associated with the most restrictive Interconnection involved in the Interchange. [We do not believe that this requirement needs to define WHAT the timing requirements are for each Interconnection – only to point out that customers must recognize and consider the most restrictive timing when creating their interchange. The actual timing requirements for the Eastern and Western Interconnections are covered in other 'requirements' in the CIBP should not be repeated here.]



·  

Requirement 6 already discussing the requirements associated with approval and Appendix E; so Requirement 8 seems duplicative.  However, if Requirement 8 is intended to specify the initial 'submittal' timing requirements that the customer must honor – this language should be modified; but cannot be modified until a clear set of 'submittal' timing requirements are developed - because Appendix E does not show 'submittal' timing requirements.
