

[image: image1.wmf] 


NAESB WEQ FINAL ACTION RATIFIED 06/21/04
                                       Requesters:
NAESB Members of the Joint Interface Committee
                                       Request No.: 
R03013
                                       Request Title:
Coordinate Interchange Business Practices

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

  X  Accept as requested


  X  Change to Existing Practice

      Accept as modified below


      Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
  X  Initiation




  X  Initiation 

      Modification




      Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

  X  Business Practice Standard 


  X  Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


Accept as requested Business Practices that are consistent with the current version of NERC Policy 3, will complement NERC compliance templates associated with Policy 3, and will ultimately facilitate the implementation of the NERC Coordinate Interchange Reliability Standard currently under development as part of the NERC Standards process.
Recommended Standards:

NAESB Coordinate Interchange Business Practice Standard
(Request For Interchange, RFI)
Background:

In light of the continuing restructuring of the Electric industry, and FERC’s rulemaking to ensure open and non-discriminatory access to the nation’s transmission systems, NERC is developing Reliability Standards to replace current Operating Policies and Procedures. 

With regards to Policy 3, NERC currently is developing the Coordinate Interchange Standard to address the reliability issues associated with bilateral Interchange. The Standard is being developed using the Functional Model as a basis for defining the “Functions” necessary for Bulk Electric System reliability rather than the existing NERC Operating Policies for “Control Areas”.

Introduction:

The NAESB Standards Review Subcommittee requested the development of a NAESB Business Practice Standard complementary to NERC’s Coordinate Interchange Standard in June, 2003. This Standard development was approved by the Joint Interface Committee (JIC) representatives from NERC, NAESB, and RTO/ISO and assigned to NAESB for development.

This Standard identifies market-supported processes necessary to facilitate fair & “equitable” Interchange practices. It specifies the arrangements that need to be made and the data that needs to be communicated to the Interchange Authority (IA) and to all involved parties of the Request for Interchange (RFI) in order for Interchange to take place between Source and Sink Balancing Authorities (BA). It also implements the flow of data and approval mechanisms to facilitate Interchange. 

Although this Standard specifies that NAESB is to determine the protocols needed to implement the Standard, it is not NAESB’s intent to replace the existing ETAG specifications and protocols.   

This Standard only covers the business arrangements and data requirements necessary to get the RFI to the IA and transition it into Arranged Interchange. The transition from Arranged Interchange to Confirmed Interchange and ultimately to Implemented Interchange will be accomplished in accordance with NERC Standards.

The Standard recognizes that FERC approved tariffs may supersede some provisions in this Standard. 

The Standard applies Functional Model definitions to provide consistency with NERC’s Reliability Standards. Terms used in this Standard which are defined by the Functional Model are not defined herein.  

Until such time that the Entities defined by the NERC Functional Model are certified, the existing entities currently performing those functions will continue to do so.

Terms defined in the proposed NERC Coordinate Interchange Standard are included for reference only. Although these terms have not been approved as a Standard, the ESS believes these definitions will provide clarity to the various transition states of Interchange.  For the purposes of this standard, only these terms are defined as follows:

Arranged Interchange – The state where required information is provided to the Interchange Authority
Confirmed Interchange - The state where the Interchange Authority has verified the Arranged Interchange and it is provided to the Balancing Authorities. 

Interchange – Energy transfers that cross Balancing Authority boundaries.

Implemented Interchange- The state where the Balancing Authority enters the Confirmed Interchange into its area control error (ACE) equation’s net scheduled Interchange component

Definitions  
RFI Standard 1.0 For the purposes of this Standard, the following definitions shall be applied:

RFI Standard 1.1 Approval Entities – Those entities responsible for providing active approvals during the Market and/or Reliability Periods.
RFI Standard 1.2 Interchange Block Accounting – Energy accounting that assumes a beginning and ending ramp time of zero minutes. For accounting purposes, this moves the energy associated with the starting and ending ramps into the adjacent starting and ending clock time of the Interchange.
RFI Standard 1.3 Market Adjustment – A desired modification to the energy and/or transmission profile during the Confirmed Interchange period.

RFI Standard 1.4 Market Assembly – Function responsible for coordinating the submittal of the completed and balanced RFI from the Requesting PSE, or its designee, to the Interchange Authority. 
RFI Standard 1.5 Market Period – The period of time when a Requesting PSE is making purchase, sale, and Transmission service arrangements needed to support a RFI.

RFI Standard 1.6 Reliability Period – The segment of time from when the IA has received the RFI from the requesting PSE, or its designee, to physical implementation (beginning of ramp time).

RFI Standard 1.7 Request For Interchange, RFI- A collection of data as defined in the NAESB RFI Datasheet to be submitted to the IA for the purpose of implementing bilateral Interchange.

RFI Standard 1.8 Requesting PSE – The PSE submitting the Request For Interchange (RFI). Under current policy this entity would be called the “Tag Author”.
RFI Standard 1.9 Sink BA – The Balancing Authority responsible for monitoring and/or controlling the load identified as the sink of a bilateral Interchange. 
.RFI Standard 1.10 Source BA – The Balancing Authority responsible for monitoring and/or controlling the generation identified as the source of a bilateral Interchange. 
. RFI Standard 1.11 Interchange Correction – Modifications to non-reliability data of a Request For Interchange (RFI) while it is Arranged Interchange. This non-reliability data is located in the NAESB RFI Datasheet and is labeled as “correctable”.

Business Practices

RFI Standard 2.0 All requests to implement bilateral Interchange shall be accomplished by the submission of a completed “Request For Interchange”, RFI, to the Interchange Authority (IA).  

RFI Standard 2.1 A completed RFI shall contain, at a minimum, the NERC required information specified in the most current version of the NAESB RFI Datasheet (attached). 

RFI Standard 2.2 It shall be the responsibility of the load serving Purchasing-Selling-Entity (PSE), or their designee, to ensure the completed RFI has been submitted to IA.

RFI Standard 3.0 All energy purchase, energy sale, and Transmission service arrangements necessary to implement the bilateral Interchange shall be performed during the Market Period.

RFI Standard 4.0 The Requesting PSE shall verify all necessary business and transmission arrangements prior to the RFI being submitting to the IA and shall distribute a copy of the RFI to all involved parties. At its discretion, the Requesting PSE may defer this responsibility to the Market Assembly Function.

RFI Standard 4.1 In the current ETAG environment, the Market Assembly Function shall be accomplished by the Tagging Authority.  

RFI Standard 5.0 The completed RFI shall be submitted to the IA and to all involved parties in accordance with the timing requirements of the most current version of the NAESB RFI Submission and Response Timetables (attached). 

RFI Standard 5.1  Upon receipt of the RFI by the IA, the RFI transitions into Arranged Interchange.

RFI Standard 6.0 The Arranged Interchange shall be assessed by all reliability Approval Entities and those assessments communicated back to the IA in accordance with the timing requirements of the most current version of the NAESB RFI Submission and Response Timetables.

RFI Standard 6.1 The initiation of the assessment period shall begin at the time the Approval Entities receive a copy of the RFI from the Requesting PSE. 

RFI Standard 6.2 The results of that assessment shall be promptly communicated by the IA to all involved parties. 

RFI Standard 6.3 All denials of a requested RFI by any reliability Approval Entity shall be communicated to all involved parties and shall be accompanied by the reason for such denial. 

RFI Standard 7.0 Any changes to the status of the RFI shall be communicated by the IA to all involved parties of the RFI, including BAs, IAs, RAs, all PSEs , and the TSPs. 

RFI Standard 7.1 In the current ETAG environment this shall be accomplished by the Tagging Authority.  

RFI Standard 8.0 The primary method for submitting a RFI to the IA shall be by electronic means using protocols to be determined by NAESB. 

RFI Standard 8.1 A backup or redundant electronic system shall be available for immediate use should the primary electronic means become disabled.

RFI Standard 8.2 Submitting a RFI to the IA via facsimile is acceptable only as a last resort when the electronic means and its required backup or redundant system are not available.

RFI Standard 8.3 Until such time as NERC and/or NAESB establish replacement protocols, the preferred method of submitting data to the IA shall be the most current version of the NERC E-Tag Specifications. 

RFI Standard 9.0 Corrections to the Arranged Interchange shall be allowed until the Arranged Interchange has been approved by the reliability Approval Entities.

RFI Standard 9.1 Timing for corrections shall be in accordance with the NAESB RFI Submission and Response Timetables.

RFI Standard 10.0 Market adjustments made to the Confirmed Interchange by the PSE, or their designee, must be submitted to the IA and the reliability Approval Entities. 

RFI Standard 10.1 Timing of the approval assessment on the Market Adjustment by the reliability Approval Entities shall be in accordance with the NAESB RFI Submission and Response Timetables. If the adjustment is denied by any Approval Entity, the original request remains valid for the original RFI duration period.
RFI Standard 11.0 All parties involved in the bilateral Interchange shall have, or arrange to have, personnel on site and immediately available 24 x 7 for notification of changes to the Request for Interchange. 

RFI Standard 11.1 The personnel shall be available from the beginning of the Market Period through the implementation of the Confirmed Interchange.

RFI Standard 12.0  Unless provided for under a FERC approved market mechanism, energy accounting for all RFIs shall be accomplished via Interchange Block Accounting. 

RFI Standard 13.0 Settlement of losses shall be either handled as financial or as payment in-kind.  

RFI Standard 13.1 For losses handled as payment in-kind, the PSE, or its designee, shall communicate to the IA, via a RFI (either the original RFI or  separate RFIs), the MW losses and the entity the losses are with for each TSP/BA along the Interchange path.
RFI Standard 14.0 Default ramp rates for the North American Interconnection shall be as follows:

RFI Standard 14.1 Default ramp rate for the Eastern Interconnection shall be 10 minutes equally across the start and end times of the RFI unless otherwise agreed to by all parties involved in the RFI . 

RFI Standard 14.2 Default ramp rate for the Western Interconnection shall be 20 minutes equally across the start and end times of the RFI unless otherwise agreed to by all parties involved in the RFI.

See also Attachments:
· NAESB RFI Datasheet

· NAESB RFI Submission and Response Timetable

3
June 21, 2004
Page 6

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







