DATE: 8/17/05

SUBJECT: Suggestions for Revising Draft R05001 8-18-05

Submitted by Edward Davis

Roman,
 
I would like to submit the following comments on the draft of R05001 Coordinate Interchange Standard for the conference call August 18. 
 
1)       Please add a definition of Interchange Authority since the standard will have definitions for other entities.
 
2)       The term "completed and balanced RFI" appears in several locations of R05001. I suggest we define "balanced RFI". If the definition is source MW equal sink MW then "balanced" is not the appropriate term since the RFI may also contain MWs for losses which makes the RFI not balanced. I suggest a more appropriate term replace "balanced", maybe "accurate" or "meeting all commercial terms and conditions" or delete the term "balanced".
 
3)       Standards 8 and 9 place requirements on the time a RFI is submitted to the IA. Unfortunately those times do not align with the times contained in the existing timing tables nor the NERC V1 Coordinate Interchange standards being developed. I suggest Standards 8 and 9 be replaced by a requirement that the RFI be submitted to the IA in conformance with the NERC timing requirements.
 
 
The above will do for now but I may have more comments in the future.
 
NAESB, please post this email on the website for the WEQ Coordinate Interchange Standard Drafting Team Conference Call of August 18, 2005. 
 
Thank you.
 
Ed
 
 
Edward J. Davis
Entergy Services, Inc
L-MOB-18E
P.O. Box 61000
New Orleans, LA
