November 2, 2005

Mr. Mike Oatts
Southern Company Services

Chair-NERC Coordinate Interchange Standard Drafting Team

P.O. Box 2641

Birmingham, Al. 35291

Dear Mike,

I am writing on behalf of the NAESB Coordinate Interchange Business Practice (CIBP) Task Force and the NAESB Joint Interchange Scheduling Working Group (JISWG) to request a change to the Timing Table contained in Standard INT-005-1.

As previously discussed and agreed to with the NERC Coordinate Interchange standard drafting team, the CIBP task force removed the market approval process previously contained in the NAESB CIBP standard in favor of one approval process currently contained in the NERC Coordinate Interchange Standard and implemented by the E-tagging system. In doing so, the Purchasing Selling Entity (PSE) (whose transmission rights are cited in the Arranged Interchange), Generator-Providing Entity (GPE) and Load-Serving Entity (LSE) are required in the NAESB CIBP standard (to be contained in next draft) to respond to the Interchange Authority’s (IA) request for assessment in the same manner as the Transmission Service Provider (TSP) and Balancing Authority (BA) are required to do in the NERC standard.
However, the PSE (whose transmission rights are cited), GPE and the LSE are not mentioned or required in the Timing Table contained in INT-005-1, under column B, to conduct assessments as the IA, BA, and TSP are required to do. We recognize that the PSE, GPE and LSE are not reliability entities, but in order for both the NERC and NAESB Coordinate Interchange standards to reference only one timing table, it is appropriate for them to be included in column B of the table.

Therefore, the CIBP Task Force and the JISWG respectfully request that the PSE (whose transmission rights are cited in the Arranged Interchange), GPE and the LSE be included in the Timing Table, under column B, in the final draft of the NERC Coordinate Interchange standard.

We appreciate the NERC Coordinate Interchange standard drafting team considering this request and, should you have any questions, please don’t hesitate to contact me.

Sincerely,

Roman Carter, 

Chair-Coordinate Interchange Business Practice Task Force

