[image: image1.png]0

I

0




North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone: (713) 356-0060, Fax: (713) 356-0067, E-mail: naesb@naesb.org

Home Page: www.naesb.org

via email and posting

TO:
NAESB WEQ Inadvertent Interchange Payback Practice Task Force Meeting Participants and Posting for Interested Parties

FROM: 
Todd Oncken, Deputy Director

RE:
IIPTF Conference Call Final Minutes – July 21, 2005
DATE:

August 1, 2005
North American Energy Standards Board
WEQ Inadvertent Interchange Payback Task Force

July 21, 2005 Conference Call
Final Minutes
1.  
Welcome

Mr. Cox called the meeting to order. Mr. Oncken gave the antitrust advice.  Participants introduced themselves.  The draft agenda was adopted by consent.  The draft minutes from July 7, 2005 were reviewed and Mr. Blohm offered edits.  The modified draft minutes were adopted by consent.  

2. Continue development of white paper discussing IIPTF results

The subcommittee reviewed the current draft report and discussed the new language inserted since the last conference call.  Descriptions were submitted for each of the proposals prior to the conference call.  During discussion of the description of WOLF, Mr. Cox proposed deleting the reference to reactive power, noting that the deletion would keep the paper focused on the affects of WOLF in relation to inadvertent interchange.  Mr. Lively objected to the deletion and explained that WOLF is integral to reactive power and reactive power affects the operations of the whole system.  It was noted that the tone of the final report should be informational and not advocate for any particular proposal.  Additionally, it was noted that deference should be given to the proposers of each of the proposals when crafting the descriptive language.  
During discussion of the workpaper submitted by Mr. Blohm, Mr. Cox opposed Mr. Blohm’s emphasis on the NERC JIITF process and whitepaper because the JIITF was not binding on the IIPTF.  Mr. Blohm agreed that the language could be modified, and agreed to submit edited language prior to the next conference call.  Discussion on WATEC was postponed since Mr. Henery was not able to participate in the conference call.  However, the group thought it was important to capture the following thought:  WATEC requires 100 percent participation by the Interconnection and there was question within the IIPTF on whether that would be attainable in the East.  

The subcommittee agreed the intent of the language regarding the comment period Mr. Vandervort submitted added value, but the language should be modified.  Mr. Cox noted that both proposals submitted for the comment period still needed significant refinement before they would have been implementable.
3. Other Business
No other business was discussed.

4. Future Meetings
No additional meetings were scheduled.  Please see the IIPTF website for currently scheduled meetings.
5.
Adjourn 
The conference call adjourned at 2:21 p.m. Central.
6.
Attendees

	Name
	Organization

	Robert Blohm
	Consulting Economist

	Phil Cox
	American Electric Power

	Mark Lively
	Utility Economic Engineer

	Todd Oncken
	NAESB

	Eric Senkowicz
	FRCC

	Angela Thomason
	NAESB


NAESB WEQ Inadvertent Interchange Payback Task Force Final Minutes – July 21, 2005

Page 2 of 2

