Calpine Comments on Use of OASIS Improvements

· Adapt OASIS systems to better interface directly with energy trading platforms

· Improve ATC posting timing requirements to represent most current conditions as soon as possible.
· Calculated ATC values (including scenario analyzer functions) should be standardized, accommodating for differing commercial operations in each market region.
· Review and study of TSRs for Day Ahead need to be accomplished before market functions for next-day close (10-11am for most market regions).

· ALL pre-Order 888 (“grandfathered”) transmission and ancillary services in current use should be represented in OASIS.

· Eliminate masking of TSR tag Source and Sink when request status is Denied, Withdrawn, Refused, Displaced, Invalid, Declined, Annulled or Retracted.
· The same TSR tag number should be used when status is changed to Recall; do not create a new TSR tag number for this event.
· Multiple POR, POD, Source and Sink listings that represent the same point should be reduced to just one acronym for each.
· Allow for multiple Redirect TSR numbers to be entered on the same Original reservation tag.
· Standardize TLR posting requirements, eliminating practices of some Transmission Owners that do no show transmission service curtailments unless they affect transactions across their control area boundary.

· Initiate standard that requires ALL historical transmission service reservations are available for review up to a number of years in the past.

· Initiate standard that eliminates disparity of posting “sensitive” information. This standard should also include procedures of user certification that allows access to this class of information.

· Enhance the TSR result postings to allow showing of (i) limiting transmission elements and (ii) available generation dispatch options that would allow acceptance of reservation request.

· Availability of TSR study result postings should be standardized, eliminating practice of some Transmission Owners that charge for viewing these documents.

· Routine auditing should be performed to ensure all functions a Transmission Owner’s OATT represents is actually allowed by its OASIS website.
