Transmission Loading Relief Standard – Version 0, Draft 2

TLR V2 Draft 1 Reliabiltiy – Redline 3.30.05 Time 11:30 a.m. Central

[image: image1.wmf]00:00

01:00

00:20

00:10

00:30

00:40

00:50

00:25

Beginning of

Current Hour

Approved-Tag

Submission

Deadline for

Reallocation

(Must be in IDC for

Realloction at 01:00)

SC Sends Reallocation

notifications. CAs

curtail Non-firm

Transactions

and notify PSEs

TLR 3a

Firm Transactions

that are in IDC by

00:25 or by the

time the TLR is

declared (if later)

start as scheduled

TLR Re-issue

Alarm

Congestion

Management

Report to Issuing

Security Coordinator

Congestion Management

Report confirmed by Issuing

Security Coordinator

Congestion

Management

Report confirm by

Security Coordinator of

Sink Control Area

00:35

Adjust Lists sent to LCAs,

GCAs, authoring PSEs

00:45

Adjust

Tables from

LCAs

Potential Adjust List

Issued

Reallocation begins for Non-

firm Transactions that are in

IDC by 00:25 and for Firm

Transactions that are in by

the time the TLR is declared if

it is declared after 00:25.

Others are held for

Reallocation at 02:00.

Transmission Loading Relief – Eastern Interconnection

Purpose:

This standard defines procedures for curtailment and reloading of Interchange Transactions to relieve overloads on transmission facilities modeled in the IDC. This process is defined in the requirements below, is depicted in Appendix A, and examples of curtailment calculations using these procedures are in Appendix B.

Requirements

1. 
2. Roles and Responsibilities of Reliability Coordinators

2.1. Initiation only by Reliability Coordinator. A Reliability Coordinator shall be the only entity authorized to initiate the TLR Procedure and shall do so at 1) the Reliability Coordinator’s own request, or 2) upon the request of a Transmission Operator.  All Reliability Coordinators shall comply with the request of the Reliability Coordinator who initiated the TLR Procedure, unless the initiating Reliability Coordinator agrees otherwise.
2.2. Mitigating transmission constraints. A Reliability Coordinator may utilize the TLR Procedure to mitigate potential or actual System Operating Limit (SOL) violations or Interconnection Reliability Operating Limit (IROL) violations on any transmission facility modeled in the Interchange Distribution Calculator (IDC). (Note: reword as an applicability statement)In addition, a Reliability Coordinator may implement other NERC-approved procedures to request relief to mitigate any other transmission constraints as necessary to preserve the reliability of the system.  
2.2.1. 
2.2.1.1. 
2.3. Order of TLR Levels and taking emergency action. The Reliability Coordinator shall not be required to follow the TLR Levels in their numerical order (Requirement 2, “TLR Levels”). Furthermore, if a Reliability Coordinator deems that a transmission loading condition could jeopardize bulk system reliability, the Reliability Coordinator shall have the authority to enter TLR Level 6 directly, and immediately direct the Balancing Authorities or Transmission Operators to take such actions as re-dispatch generation, or reconfigure transmission, or reduce load to mitigate the critical condition until Interchange Transactions can be reduced utilizing the TLR Transaction Curtailment Procedures, or other methods, to return the system to a secure state.

2.4. Notification of TLR Procedure implementation. The Reliability Coordinator initiating the use of the TLR Procedure shall notify other Reliability Coordinators and Balancing Authorities and Transmission Operators, and must post the initiation and progress of the TLR event on the appropriate NERC web page(s).

2.4.1. 
2.4.1.1. 
2.4.2. Notifying Transmission Operators and Balancing Authorities. The Reliability Coordinator shall notify Transmission Operators and Balancing Authorities in its Reliability Area when entering and leaving any TLR level.

2.4.3. Notifying Balancing Authorities. The Reliability Coordinator for the sink Balancing Authority shall be responsible for directing the sink Balancing Authority to curtail the Interchange Transactions as specified by the Reliability Coordinator implementing the TLR Procedure. 
2.4.3.1. (Note: 1.4.3.1 deleted - add a BP requirement that identifies the commercial simultaneous notification to everyone)
2.4.4. Updates. Transmission Operators and Balancing Authorities who have had Interchange Transactions impacted by the TLR will be updated by their Reliability Coordinator.  
2.5. 
2.5.1.  (Recommend NERC modification of IRO-006)
2.6. Use of the IDC for Interchange Transaction Management. The Reliability Coordinator shall implement this procedure, in accordance with NAESB-approved business practices, using the IDC, except as limited below. 

2.6.1. Interchange Transactions not in the IDC. Reliability Coordinators shall also treat known Interchange Transactions that may not appear in the IDC in accordance with the procedures in this document. and in accordance with NAESB-approved business practices.
2.6.2. Transmission elements not in IDC. When a Reliability Coordinator is faced with an overload on a transmission element that is not modeled in the IDC, the Reliability Coordinator shall use the best information available to curtail Interchange Transactions in order to operate the system in a reliable manner. The Reliability Coordinator shall use its best efforts to ensure that Interchange Transactions with a Transfer Distribution Factor of less than the Curtailment Threshold on the transmission element not modeled in the IDC are not curtailed.

2.6.3. Questionable IDC results. Any Reliability Coordinator (or Transmission Operator through its Reliability Coordinator) who believes the curtailment list from the IDC for a particular TLR event is incorrect shall use its best efforts to communicate those adjustments necessary to bring the curtailment list into conformance with the principles of this Procedure to the initiating Reliability Coordinator. Causes of questionable IDC results may include:

· Missing Interchange Transactions that are known to contribute to the Constraint.

· Significant change in transmission system topology

· TDF matrix error.

Impacts of questionable IDC results may include:
· Curtailment that would have no effect on, or aggravate the constraint.

· 
If other Reliability Coordinators are involved in the TLR event, all impacted Reliability Coordinators shall be in agreement before any adjustments to the curtailment list are made.
1.5.4
Curtailment that would cause a constraint elsewhere. A Reliability Coordinator shall be allowed to exempt an Interchange Transaction from curtailment if that Reliability Coordinator is aware that the Interchange Transaction curtailment directed by the IDC would cause a constraint to occur elsewhere. This exemption shall only be allowed after the Reliability Coordinator has consulted with the Reliability Coordinator who initiated the curtailment. 
1.6.4. (Note: change use of word - curtailment) (question about the linkage with the IDC concerning this provision)
1.8 Logging. The Reliability Coordinator shall complete the NERC Transmission Loading Relief Procedure Log whenever it invokes TLR Level 2 or above, and send a copy of the log to NERC within two business days of the TLR event for posting on the NERC web site.

1.6.5.  TLR Event Review. The Reliability Coordinator may be required, at the request of the Operating Reliability Subcommittee to provide a TLR 
1.7 
1.8 event  (Note: Reliability requirement requires the log and BP requires access to the log)
1.9 report  in accordance with TLR review processes established by NERC as required. 

1.9.1. Providing information. Transmission Operators and Balancing Authorities within the Reliability Coordinator’s Area, and all other Reliability Coordinators, including Transmission Operators and Balancing Authorities within their respective Reliability Areas, shall provide information, as requested by the initiating Reliability Coordinator, in accordance with TLR review processes established by NERC.

1.9.2. (Will need to be reworded to replace Market Committee)
1.9.3. Operating Reliability Subcommittee reviews. The Operating Reliability Subcommittee shall conduct reviews to ensure proper implementation and for “lessons learned”.
3. Transmission Loading Relief (TLR) Levels and Approved Tag Submission Deadline for Reallocation
Introduction

This requirement describes the various levels of the TLR Procedure. The levels are not meant to imply a required sequence—the Reliability Coordinator can vary the sequence based on system conditions. .  This requirement also states the Approved Tag Submission Deadline for Reallocation during TLR levels 3a and 5a.


2.1. TLR Level 1 – Notify Reliability Coordinators of potential SOL or IROL Violations.

2.1.1. The Reliability Coordinator shall use the following circumstances to establish the need for TLR Level 1:

· The transmission system is secure.

· The Reliability Coordinator foresees a transmission or generation contingency or other operating problem within its Reliability Area that could cause one or more transmission facilities to approach or exceed their SOL or IROL.

2.1.2. (Note: deleted based on 1.4.1
2.2. TLR Level 2 – Hold transfers at present level to prevent SOL or IROL Violations
2.2.1. The Reliability Coordinator shall use the following circumstances to establish the need for entering TLR Level 2:

· The transmission system is secure,

· [image: image4.wmf]MW

Time

10

20

40

S1

TLR

One or more transmission facilities are expected to approach, or are approaching, or are at their SOL or IROL.

2.2.2. 
2.2.3. 2.3

TLR Level 3a – Reallocation of Transmission Service by curtailing Interchange Transactions using Non-firm Point-to-Point Transmission Service to allow Interchange Transactions using higher priority Transmission Service.

2.3.1. The Reliability Coordinator shall use the following circumstances to establish the need for entering TLR Level 3a:

· The transmission system is secure

· One or more transmission facilities are expected to approach, or are approaching, or are at their SOL or IROL

· Transactions using Non-firm Point-to-Point Transmission Service are flowing that are at or above the Curtailment Threshold on those facilities.

· The Transmission Provider has previously approved a higher priority Point-to-Point Transmission Service reservation over which a Transmission Customer wishes to begin an Interchange Transaction. 

2.3.2. 
2.3.2.1. 
2.3.2.2. 
2.3.2.3. 
2.3.2.4. 
2.3.2.4.1. 
2.3.2.5. 
2.3.2.6. 
2.4. TLR Level 3b – Curtail Interchange Transactions using Non-Firm Transmission Service Arrangements to mitigate a SOL or IROL Violation

2.4.1. The Reliability Coordinator shall use the following circumstances to establish the need for entering TLR Level 3b:
· One or more transmission facilities are operating above their SOL or IROL, or

· Such operation is imminent and it is expected that facilities will exceed their reliability limit unless corrective action is taken, or

· One or more Transmission Facilities will exceed their SOL or IROL upon the removal from service of a generating unit or another transmission facility

· Transactions using Non-firm Point-to-Point Transmission Service are flowing that are at or above the Curtailment Threshold on those facilities.

2.4.2. 
2.5
Curtailment procedures to mitigate an SOL or IROL. The Reliability Coordinator shall curtail Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold as 
TLR Level 4 – Reconfigure Transmission

2.5.1. The Reliability Coordinator shall use the following circumstances to establish the need for entering TLR Level 4:
· One or more Transmission Facilities are above their SOL or IROL, or

· Such operation is imminent and it is expected that facilities will exceed their reliability limit unless corrective action is taken

2.5.2. Holding new Interchange Transactions. The Reliability Coordinator shall hold all new Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold during the period of the SOL or IROL Violation. The Reliability Coordinator shall allow Interchange Transactions using Firm Point-to-Point Transmission Service to start if they are submitted to the IDC by 25 minutes past the hour or the time at which the TLR Level 4 is called, whichever is later. See Appendix E, Section E2 - Timing Requirements.  
2.5.3. Reconfiguration procedures. Following the curtailment of all Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold in Level 3b that impact the Constrained Facilities, if a SOL or IROL violation is imminent or occurring, the Reliability Coordinator(s) shall request that the affected Transmission Operators reconfigure transmission on their system, or arrange for reconfiguration on other transmission systems, to mitigate the constraint. Specific details are explained in Requirement 4, “Principles for Mitigating Constraints On and Off the Contract Path”.
2.6. TLR Level 5a – Reallocation of Transmission Service by curtailing Interchange Transactions using Firm Point-to-Point Transmission Service on a pro rata basis to allow additional Interchange Transactions using Firm Point-to-Point Transmission Service.

2.6.1. The Reliability Coordinator shall use the following circumstances to establish the need for entering TLR Level 5a:

· The transmission system is secure
· One or more transmission facilities are at their SOL or IROL
· All Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold have been curtailed.
· The Transmission Provider has been requested to begin an  Interchange Transaction using previously arranged Firm Transmission Service that would result in a SOL or IROL violation.
· No further transmission reconfiguration is possible or effective.
2.7. TLR Level 5b – Curtail Interchange Transactions using Firm Point-to-Point Transmission Service to mitigate a SOL or IROL violation.

2.7.1. The Reliability Coordinator shall use following circumstances to establish the need for entering TLR Level 5b:
· One or more Transmission Facilities are operating above their SOL or IROL, or

· Such operation is imminent, or

· One or more Transmission Facilities will exceed their SOL or IROL upon the removal from service of a generating unit or another transmission facility.

· All Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold have been curtailed.

· No further transmission reconfiguration is possible or effective.

2.7.2. [image: image9.wmf]MW

Time

10

20

40

S3

TLR

Tag

The Reliability Coordinator shall use the following three-step process for curtailment of Interchange Transactions using Firm Point-to-Point Transmission Service:

2.7.2.1. Step 1 – Identify available re-dispatch options. The Reliability Coordinator shall assist the Transmission Operator(s) in identifying those known re-dispatch options that are available to the Transmission Customer that will mitigate the loading on the Constrained Facilities. If such re-dispatch options are deemed insufficient to mitigate loading on the Constrained Facilities, the Reliability Coordinator shall proceed to implement these options while proceeding to Steps 2 and 3 below.

2.7.1.1. 
2.7.1.2.  (Note: reword to sound less like a reliability requirement and more like an allocation of resources requirement)
2.8. 
2.7.3. 
· 
· 
· 
· 
· 
2.7.4. 
2.7.4.1. 
2.7.4.2. Step 2 – The Reliability Coordinator shall calculate the percent of the overload on the Constrained Facility caused by both, Firm Point-to-Point Transmission Service (at or above the Curtailment Threshold) and the Transmission Provider’s Network Integration Transmission Service and Native Load, as required by the Transmission Provider’s filed tariff.  This is described in Requirement 5, “Parallel Flow Calculation Procedure for Reallocating or Curtailing Firm Transmission Service.”

2.7.4.3. Step 3 – Curtailment of Interchange Transactions using Firm Transmission Service. At this point, the Reliability Coordinator shall begin the process of curtailing Interchange Transactions as calculated in Requirement 2.7.2.2 over the Constrained Facilities using Firm Point-to-Point Transmission Service until the SOL or IROL violation has been mitigated. The Reliability Coordinator shall assist the Transmission Provider in curtailing Transmission Service to Network Integration Transmission Service customers and Native Load if such curtailments are required by the Transmission Providers’ tariff. Available re-dispatch options will continue to be implemented.
2.8. TLR Level 6 – Emergency Procedures

2.8.1. The Reliability Coordinator shall use following circumstances to establish the need for entering TLR Level 6:
· One or more Transmission Facilities are above their SOL or IROL.

· One or more Transmission Facilities will exceed their SOL or IROL upon the removal from service of a generating unit or another transmission facility.

2.8.2. Implementing emergency procedures. If the Reliability Coordinator deems that transmission loading is critical to bulk system reliability, the Reliability Coordinator shall immediately direct the Balancing Authorities and Transmission Operators in its Reliability Area to re-dispatch generation, or reconfigure transmission, or reduce load to mitigate the critical condition until Interchange Transactions can be reduced utilizing the TLR Procedures or other procedures to return the system to a secure state. All Balancing Authorities and Transmission Operators shall comply with all requests from their Reliability Coordinator.

2.9. TLR Level 0 – TLR concluded
2.9.1. Interchange Transaction restoration and notification procedures. The Reliability Coordinator initiating the TLR Procedure shall notify all Reliability Coordinators within the Interconnection via the RCIS when the SOL or IROL violations are mitigated and the system is in a “normal” state, allowing Interchange Transactions to be re-established at its discretion. Those with the highest transmission priorities shall be re-established first if possible.
3. 
3.1. 
3.1.1. 



3. Approved Tag Submission Deadlines
3.1 TLR Level 3a and 5a (Reallocation).  Reliability Coordinators shall consider all approved Tags for Interchange Transactions at or above the Curtailment Threshold that have been submitted to the IDC by 00;25 for Reallocation at 01:00 when re-issuing a TLR 3a or 5a.  

3.2




 TLR Level 3b and 5b.  NAESB-approved business practices address      Approved Tag Submission Deadlines for the issuance of a TLR 3b or 5b.
3.1.2.  (Add reference from box on left.)
3.2.1.1. Deleted
3.2.1.2. 
3.2.1.3. 
3.2.1.4. 
3.3.1.1. Deleted
3.3.1.2. 
3.3.1.3. 
3.3.1.4. 
4. 



4.1. 
4.1.1. 

4.1.2. 

4.2. 
4.2.1. 

4.2.2. 

5. 



5.1. 
 (Note: consider including the reference document per generator method)
5.1.1. 
5.1.2. 
5.1.3. 
5.1.4. 
5.1.5.  (Note: reword)
5.1.6. 
5.2. 
 (Note: may need to extract specifics out of the NERC reference document- The parallel flow calculation procedure reference document with the goal being to eliminate the reference document)
6. 




6.1. 

6.1.1. 
6.1.2. 
6.1.3. 
6.1.4. 
6.1.5. 
6.1.6. 
6.1.7. 
6.1.8. 
 (Note: Editorial)
6.2. 

6.2.1. 
6.2.2. 
6.2.2.1. 
6.2.2.2. 


6.2.3. 
6.2.4. 
6.2.5. 
6.2.5.1. 
6.2.5.2. 
6.2.5.3. 

6.2.5.4. 
6.2.5.5. 

6.2.5.6. 

6.2.5.7. 

6.2.6. 




7. 




7.1.  (Note: 7.1 thru 7.8 may need rewording or may go away because they are duplicates)
7.2. 
7.3. 
7.4.  (Note: change order in process to modify IDC)
7.5. 
7.6. 
7.7. 
7.8. 
7.9.  (Note: identify and rewrite the appropriate BP and move the IDC specifics into Appendix E)
7.9.1. 
7.9.2. 
7.10.  (Note: identify and rewrite the appropriate BP and move the IDC specifics into Appendix E)
7.11.  
7.11.1. 
7.11.2. 










Appendix A (Note: may need rework)
Transaction Management and Curtailment Process

This flowchart depicts an overview of the Transaction Management and Curtailment process. Detailed decisions are not shown.

[image: image19.emf]00:00

01:00

Beginning of

Next Hour

00:20 00:10

00:30

00:40 00:50

00:25

Beginning of

Current Hour

Firm Transactions

must be submitted

to IDC by 00:25 to

start as scheduled

TLR 3b

IDC issues

Congestion

Management

Report based on

time of calling

TLR 3b. ADJUST

List follows.

IDC checks for

additional approved

Firm Transactions.

Congestion

Management Report

and second ADJUST

List issued if needed.

TLR 1

Firm

Transactions are

started as

scheduled. Non-

firm

Transactions

may be loaded.

 (Note: reference to BP)



	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	



 (Note: delete)


 (Note: BP)







	
	
	
	
	
	
	


						
	
	

	


	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
		


	



 Appendix E (Note: create stand alone NERC reference/IDC implementation guide document – for review and discussion)
_____________________________________________________________

How the IDC Handles Reallocation
The IDC algorithms reflect the reallocation and reloading principles in this Appendix, as well as the reporting requirements, and status display. The IDC will obtain the Tag Submittal Time from the Tag Authority, and post the Reloading/ Reallocation information to the NERC TLR site.  

A summary of IDC features that support the reallocation process is provided in Attachment E1. Details on the interface and display features are provided in Attachment E2.  Refer to Version 1.7.095 NERC Transaction Information Systems Working Group  (TISWG) Electronic Tagging Functional Specification for details about the E-Tag system.

E1 – Summary of IDC Features that Support Transaction Reloading/Reallocation 

The following is a summary of IDC features and E-Tag interface that support Reloading/Reallocation: 

Information posted from IDC to NERC TLR site.

1. Restricted directions (all source/sink combinations that impact a Constrained Facility(ies) with TLR 2 or higher) will be posted to the NERC TLR site and updated as necessary. 

2. TLR Constrained Facility status and Transfer Distribution Factors will continue to be posted to NERC TLR site. 

3. Lowest priority of Interchange Transactions (marginal “bucket”) to be Reloaded/Reallocated next-hour on each TLR Constrained Facility will be posted on NERC TLR site. This will provide an indication to the market of priority of Interchange Transactions that may be Reloaded/Reallocated the following hours. 

IDC Logic, IDC Report, and Timing

1. The Reliability Coordinator will run the IDC the Reloading/Reallocation report at approximately 00:26 The IDC will prompt the Reliability Coordinator to enter a maximum loading value. The IDC will alarm if the Reliability Coordinator doesn’t enter this value and issue a report by 00:30 or change from TLR 3a Level. The Report will be distributed to Balancing Authorities and Transmission Operators at 00:30. This process repeats every hour as long as the approved Tag submission deadline for Reallocation is in effect (or until the TLR level is reduced to 1 or 0).

2. For Interchange Transactions in the restricted directions, tags must be submitted to the IDC by the approved Tag submission deadline for Reallocation to be considered for Reallocation next-hour. The time stamp by the Tag Authority is regarded the official tag submission time.

3. Tags submitted to IDC after the approved Tag submission deadline for Reallocation will not be allowed to start or increase but will be considered for Reallocation the next hour. 

4. Interchange Transactions in restricted directions that are not indicated as “PROCEED” on the Reload/Reallocation Report will not be permitted to start or increase next hour.

Reloading/Reallocation Transaction Status

Reloading/Reallocation status will be determined by the IDC for all Interchange Transactions. The Reloading/Reallocation status of each Interchange Transaction will be listed on IDC reports and NERC TLR site as appropriate. An Interchange Transaction is considered to be in a restricted direction if it is at or above the Curtailment Threshold. Interchange Transactions below the Curtailment Threshold are unrestricted and free to flow subject to all applicable Policy and tariff rules. 

1. HOLD. Permission has not been given for Interchange Transaction to start or increase and is waiting for the next Reloading/Reallocation evaluation for which it is a candidate. Interchange Transactions with E-tags submitted to the Tag Authority prior to TLR 2 or higher being declared (pre-tagged) will change to CURTAILED Status upon evaluation that does not permit them to start or increase. Transactions with E-tags submitted to Tag Authority after TLR 2 or higher was declared (post-tagged) will retain HOLD Status until given permission to proceed or E-Tag expires.

2. CURTAILED. Transactions for which E-Tags were submitted to Tag Authority prior to TLR 2 or higher being declared (pre-tagged) and ordered to be curtailed totally, curtailed partially, not permitted to start, or not permitted to increase. Interchange Transactions (pre-tagged or post-tagged) that were flowing and ordered to be reduced or totally curtailed. The Balancing Authority will indicate to the IDC through the E-Tag adjustment table the Interchange Transaction’s curtailed values.

3. PROCEED: Interchange Transaction is flowing or has been permitted to flow as a result of Reloading/Reallocation evaluation. The Balancing Authority will indicate through the E-Tag adjustment table to IDC if Interchange Transaction will reload, start, or increase next-hour per PSE’s energy schedule as appropriate.

Reallocation/Reloading Priorities 

1. Interchange Transaction candidates are ranked for loading and curtailment by priority as per Appendix 9C1, Section E, “Principles for Mitigating Constraints On and Off the Contract Path”]. This is called the “Constrained Path Method,” or CPM. (secondary, hourly, daily, … firm etc). Interchange Transactions are curtailed and loaded pro-rata within priority level per TLR algorithm.

2. Reloading/Reallocation of Interchange Transactions are prioritized first by priority per CPM. E-Tags must be submitted to the IDC by the approved-Tag submission deadline for Reallocation of the hour during which the Interchange Transaction is scheduled to start or increase to be considered for Reallocation. 

3. During Reloading/Reallocation, Interchange Transactions using lower priority Transmission Service will be curtailed pro-rata to allow higher priority transactions to reload, increase, or start. Equal priority Interchange Transactions will not reload, start, or increase by pro-rata curtailment of other equal priority Interchange Transactions. 

4. Reloading of Interchange Transactions using Non-firm Transmission Service with CURTAILED Status will take precedence over starting or increasing of Interchange Transactions using Non-firm Transmission Service of the same priority with PENDING Status. 

5. Interchange Transactions using Firm Point-to-Point Transmission Service will be allowed to start as scheduled under TLR 3a as long as their E-Tag was received by the IDC by the approved-Tag submission deadline for Reallocation of the hour during which the Interchange Transaction is due to start or increase, regardless of whether the E-tag was submitted to the Tag Authority prior to TLR 2 or higher being declared or not. If this is the initial issuance of the TLR 3a, Interchange Transactions using Firm Point-to-Point Transmission Service will be allowed to start as scheduled as long as their E-Tag was received by the IDC by the time the TLR is declared.
Total Flow Value on a Constrained Facility for Next Hour 

1. The Reliability Coordinator will calculate the change in net flow on a Constrained Facility due to Reallocation for the next hour based on:

· Present constrained facility loading, present level of Interchange Transactions, and Balancing Authorities NNL responsibility
 (TLR Level 5a) impacting the Constrained Facility,

· SOLs or IROLs, known interchange impacts and Balancing Authority NNL responsibility (TLR Level 5a) on the Constrained Facility the next hour, and

· Interchange Transactions scheduled to begin the next hour.

2. The Reliability Coordinator will enter a maximum loading value for the constrained facility into the IDC as part of issuing the Reloading/Reallocation report.

3. The Reliability Coordinator is allowed to call for TLR 3a or 5a when approaching a SOL or IROL to allow maximum transactional flow next hour, and to manage flows without violating transmission limits.

4. The simultaneous curtailment and Reallocation for a Constrained Facility is allowed. This reduces the flow over the Constrained Facility while allowing Interchange Transactions using higher priority Transmission Service to start or increase the next hour. This may be used to accommodate change in flow next-hour due to changes other than point-to-point Interchange Transactions while respecting the priorities of Interchange Transactions flowing and scheduled to flow the next hour. The intent is to reduce the need for using TLR 3b, which prevents new Interchange Transactions from starting or increasing the next hour. 

5. The Reliability Coordinator must allow Interchange Transactions to be reloaded as soon as possible. Reloading must be in an orderly fashion to prevent a SOL or IROL violation from (re)occurring and requiring holding or curtailments in the restricted direction.

E2 – Timing Requirements

TLR Levels 3a and 5a Issuing/Processing Time Requirement

1. [image: image23.wmf]A

B

C

D

E

F

1

2

Contract path

Firm

Firm

Firm

Firm

In order for the IDC to be reasonably certain that a TLR Level 3a or 5a re-allocation/reloading report in which all tags submitted by the approved-Tag submission deadline for Reallocation are included, the report must be generated no earlier than 00:25 to allow the 10-minute approval time for Transactions that start next hour. 

2. In order to allow a Reliability Coordinator to declare a TLR Level 3a or 5a any time during the hour, the TLR declaration and Reallocation/Reloading report distribution will be treated as independent processes by IDC. That is, a Reliability Coordinator may declare a TLR Level 3a or 5a at any time during the course of an hour. However, if a TLR Level 3a or 5a is declared for the next hour prior to 00:25 (see Figure 5 at right), the Reallocation/Reloading report that is generated will be made available to the issuing Reliability Coordinator only for previewing purposes, and can not be distributed to the other Reliability Coordinators or the market. Instead, the issuing Reliability Coordinator will be reminded by an IDC alarm at 00:25 to generate a new Reallocation/Reloading report that will include all tags submitted prior to the approved-Tag submission deadline for Reallocation. 

3. A TLR Level 3a or 5a Reallocation/Reloading report must be confirmed by the issuing Reliability Coordinator prior to 00:30 in order to provide a minimum of 30 minutes for the Reliability Coordinators with tags sinking in its Reliability Area to coordinate the Reallocation and Reloading with the Sink Balancing Authorities. This provides only 5 minutes (from 00:25 to 00:30) for the issuing Reliability Coordinator to generate a Reallocation/Reloading report, review it, and approve it.

4. The TLR declaration time will be recorded in the IDC for evaluating transaction sub-priorities for Reallocation/Reloading purposes (see Sub-priority Table, in the IDC Calculations and Reporting section below).

Re-Issuing of a TLR Level 2 or Higher

Each hour, the IDC will automatically remind the issuing Reliability Coordinator (via an IDC alarm) of a TLR level 2 or higher declared in the previous hour or earlier about re-issuing the TLR. The purpose of the reminder is to enable the Reliability Coordinator to Reallocate or reload currently halted or curtailed Interchange Transactions next hour. The reminder will be in the form of an alarm to the issuing Reliability Coordinator, and will take place at 00:25 so that, if the Reliability Coordinator re-issues the TLR as a TLR level 3a or 5a, all tags submitted prior to the approved-Tag submission deadline for Reallocation are available in the IDC. 

IDC Assistance with Next Hour PTP Transactions

In order to assist a Reliability Coordinator in determining the MW relief required on a Constrained Facility for the next hour for a TLR level 3a or 5a, the IDC will calculate and present the total MW impact of all currently flowing and scheduled Point-to-Point Transactions for the next hour. In order to assist a Reliability Coordinator in determining the MW relief required on a Constrained Facility for the next hour during a TLR level 5a, the IDC will calculate and present the total MW impact of all currently flowing and scheduled Point-to-Point Transactions for the next hour as well as Balancing Authority with flows due to service to Network Customers and Native Load. The Reliability Coordinator will then be requested to provide the total incremental or decremental MW amount of flow through the Constrained Facility that can be allowed for the next hour. The value entered by the Reliability Coordinator and the IDC-calculated amounts will be used by the IDC to identify the relief/reloading amounts (delta incremental flow value) on the constrained facility. The IDC will determine the Transactions to be reloaded, reallocated, or curtailed to make room for the Transactions using higher priority Transmission Service. The following examples show the calculation performed by IDC to identify the “delta incremental flow”:

Example 1

	Flow to maintain on Facility
	800 MW

	Expected flow next hour from Transactions using Point-to-Point Transmission Service
	950 MW

	Contribution from flow next hour from service to Network customers and Native Load
	-100 MW

	Expected Net flow next hour on Facility
	850 MW

	Amount of Transactions using Point-to-Point Transmission Service to hold for Reallocation
	850 MW – 800 MW = 50 MW

	Amount to enter into IDC for Transactions using Point-to-Point Transmission Service
	950 MW – 50 MW = 900 MW


Example 2

	Flow to maintain on Facility
	800 MW

	Expected flow next hour from Transactions using Point-to-Point Transmission Service
	950 MW

	Contribution from flow next hour from service to Network customers and Native Load
	50 MW

	Expected Net flow next hour on Facility
	1000 MW

	Amount of Transactions using Point-to-Point Transmission Service to hold for Reallocation
	1000 MW – 800 MW = 200 MW

	Amount to enter into IDC for Transactions using Point-to-Point Transmission Service
	950 MW – 200 MW = 750 MW


Example 3

	Flow to maintain on Facility
	800 MW

	Expected flow next hour from Transactions using Point-to-Point Transmission Service
	950 MW

	Contribution from flow next hour from service to Network customers and Native Load
	-200 MW

	Expected Net flow next hour on Facility
	750 MW

	Amount of Transactions using Point-to-Point Transmission Service to hold for Reallocation
	750 MW – 800 MW = -50 MW

None are held


For a TLR levels 3b or 5b the IDC will request the Reliability Coordinator to provide the MW requested relief amount on the Constrained Facility, and will not present the current and next hour MW impact of PTP transactions.  The Reliability Coordinator-entered requested relief amount will be used by IDC to determine the Interchange Transaction Curtailments and flows due to service to Network Customers and Native Load (TLR Level 5b) in order to reduce the SOL or IROLSOL or IROL violation on the Constrained Facility by the requested amount. 

IDC Calculations and Reporting 

At the time the TLR report is processed, the IDC will use all candidate Interchange Transactions for Reallocation that met the approved-Tag submission deadline for Reallocation plus those Interchange Transactions that were curtailed or halted on the previous TLR action of the same TLR event. The IDC will calculate and present an Interchange Transactions Halt/Curtailment list that will include reload and Reallocation of Interchange Transactions. The Interchange Transactions are prioritized as follows:

1. All Interchange Transactions will be arranged by Transmission Service priority according to the Constrained Path Method. These priorities range from 1 to 6 for the various non-firm Transmission Service products (TLR levels 3a and 3b). Interchange Transactions using Firm Transmission Service (priority 7) are used only in TLR levels 5a and 5b. Next-Hour Market Service is included at priority 0 (zero) 

2. In a TLR Level 3a the Interchange Transactions using Non-firm Transmission Service in a given priority will be further divided into four sub-priorities, based on current schedule, current active schedule (identified by the submittal of a tag ADJUST message), next-hour schedule, and tag status. Solely for the purpose of identifying which Interchange Transactions to be loaded under a TLR 3a, various MW levels of an Interchange Transaction may be in different sub-priorities. The sub-priorities are shown in the table on the following page:

	Priority
	Purpose
	Explanation and Conditions

	S1
	To allow a flowing Interchange Transaction to maintain or reduce its current MW amount in accordance with its energy profile.
	The MW amount is the lowest between currently flowing MW amount and the next-hour schedule. The currently flowing MW amount is determined by the e-tag ENERGY PROFILE and ADJUST tables. If the calculated amount is negative, zero is used instead.

	S2
	To allow a flowing Interchange Transaction that has been curtailed or halted by TLR to reload to the lesser of its current-hour MW amount or next-hour schedule in accordance with its energy profile. 
	The Interchange Transaction MW amount used is determined through the e-tag ENERGY PROFILE and ADJUST tables. If the calculated amount is negative, zero is used instead.

	S3
	To allow a flowing Transaction to increase from its current-hour schedule to its next-hour schedule in accordance with its energy profile. 
	The MW amounts used in this sub-priority is determined by the e-tag ENERGY PROFILE table. If the calculated amount is negative, zero is used instead.

	S4
	To allow a Transaction that had never started and was submitted to the Tag Authority after the TLR (level 2 or higher) has been declared to begin flowing (i.e., the Interchange Transaction never had an active MW and was submitted to the IDC after the first TLR Action of the TLR Event had been declared.) 
	The Transaction would not be allowed to start until all other Interchange Transactions submitted prior to the TLR with the same priority have been (re)loaded. The MW amount used is the sub-priority is the next-hour schedule determined by the e-tag ENERGY PROFILE table.


Examples of Interchange Transactions using Non-firm Transmission Service sub-priority settings begin in the Transaction Sub-priority Examples section below.

3. All Interchange Transactions using Firm Transmission Service will be put in the same priority group, and will be Curtailed/Reallocated pro-rata, independent of their current status (curtailed or halted) or time of submittal with respect to TLR issuance (TLR level 5a). Under a TLR 5a, all Interchange Transactions using Non-firm Transmission Service that is at or above the Curtailment Threshold will have been curtailed and hence sub-prioritizing is not required.

All Interchange Transactions processed in a TLR are assigned one of the following statuses:

PROCEED:
The Interchange Transaction has started or is allowed to start to the next hour MW schedule amount.

CURTAILED:
The Interchange Transaction has started and is curtailed due to the TLR, or it had not started but it was submitted prior to the TLR being declared (level 2 or higher).

HOLD:
The Interchange Transaction had never started and it was submitted after the TLR being declared – the Interchange Transaction is held from starting next hour or the transaction had never started and it was submitted to the IDC after the approved-Tag submission deadline – the Interchange Transaction is to be held from starting next hour and is not included in the Reallocation calculations until following hour.

Upon acceptance of the TLR Transaction reallocation/reloading report by the issuing Reliability Coordinator, the IDC will generate a report to be sent to NERC that will include the PSE name and Tag ID of each Interchange Transaction in the IDC TLR report. The Interchange Transaction will be ranked according to its assigned status of HOLD, CURTAILED or PROCEED. The reloading/reallocation report will be made available at NERC’s public TLR site, and it is NERC’s responsibility to format and publish the report. 

Tag Reloading for TLR Levels 1 and 0

When a TLR Level 1 or 0 is issued, the Constrained Facility is no longer under SOL or IROL violation and all Interchange Transactions are allowed to flow. In order to provide the Reliability Coordinators with a view of the Interchange Transactions that were halted or curtailed on previous TLR actions (level 2 or higher) and are now available for reloading, the IDC provides such information in the TLR report. 

New Tag Alarming

Those Interchange Transactions that are at or above the Curtailment Threshold and are not candidates for reallocation because the tags for those Transactions were not submitted by the approved-Tag submission deadline for Reallocation will be flagged as HOLD and must not be permitted to start or increase during the next hour. To alert Reliability Coordinators of those Transactions required to be held, the IDC will generate a report (for viewing within the IDC only) at various times. The report will include a list of all HOLD Transactions. In order not to overwhelm the Reliability Coordinator with alarms, only those who issued the TLR and those whose Transactions sink within their Reliability Area will be alarmed. An alarm will be issued for a given tag only once and will be issued for all TLR levels for which halting new Transactions is required: TLR Level 2, 3a, 3b, 5a and 5b.

Tag Adjustment

The Interchange Transactions with statuses of HOLD, CURTAILED or PROCEED must be adjusted by a Tag Authority or Tag Approval entity. Without the tag adjustments, the IDC will assume that Interchange Transactions were not curtailed/held and are flowing at their specified schedule amounts. 

1. Interchange Transactions marked as CURTAILED should be adjusted to a cap equal to, or at the request of the originating PSE, less than the reallocated amount (shown as the MW CAP on the IDC report). This amount may be zero if the Transaction is fully curtailed.

2. Interchange Transaction marked as PROCEED should be adjusted to reload (NULL or to its MW level in accordance with its Energy Profile in the adjusted MW in the E-Tag) if the Interchange Transaction has been previously adjusted; otherwise, if the Interchange Transaction is flowing in full, the Tag Authority need not issue an adjust.

3. Interchange Transactions marked as HOLD should be adjusted to 0 MW.

Special Tag Status

There are cases in which a tag may be marked with a composite state of ATTN_REQD to indicate that tag Authority/Approval failed to communicate or there is an inconsistency between the validation software of different Tag Authority/Approval Entities. In this situation, the tag is no longer subject to passive approval and its status change to IMPLEMENT may take longer than 10 minutes. Under these circumstances, the IDC may have a tag that is issued prior to the Tag Submittal Deadline that will not be a candidate for reallocation. Such tags, when approved by the Tag Authority, will be marked as HOLD and must be halted. 

Transaction Sub-Priority Examples

The following describes examples of Interchange Transactions using Non-firm Transmission Service sub-priority setting for an Interchange Transaction under different circumstances of current-hour and next-hour schedules and active MW flowing as modified by tag adjust table in E-Tag. 

Example 1 – Transaction curtailed, next-hour Energy Profile is higher

	Energy Profile: Current hour
	20 MW

	Actual flow following curtailment: Current hour
	10 MW

	Energy Profile: Next hour
	40 MW


Sub-priorities for Transaction MW:

	Sub-Priority
	MW Value
	Explanation

	S1
	10 MW
	Maintain current curtailed flow

	S2
	+10 MW
	Reload to current hour Energy Profile

	S3
	+20 MW
	Load to next hour Energy Profile

	S4
	


Example 2 – Transaction curtailed, next-hour Energy Profile is lower

	Energy Profile: Current hour
	40 MW

	Actual flow following curtailment: Current hour
	10 MW

	Energy Profile: Next hour
	20 MW



Sub-priorities for Transaction MW:

	Sub-Priority
	MW Value
	Explanation

	S1
	10 MW
	Maintain current curtailed flow

	S2
	+10 MW
	Reload to lesser of current and next-hour Energy Profile

	S3
	+0 MW
	Next-hour Energy Profile is 20MW, so no change in MW value

	S4
	


Example 3 – Transaction not curtailed, next-hour Energy Profile is higher

	Energy Profile: Current hour
	20 MW

	Actual flow following curtailment: Current hour
	20 MW (no curtailment)

	Energy Profile: Next hour
	40 MW


	Sub-Priority
	MW Value
	Explanation

	S1
	20 MW
	Maintain current flow (not curtailed)

	S2
	+0 MW
	Reload to lesser of current and next-hour Energy Profile

	S3
	+20 MW
	Next-hour Energy Profile is 40MW

	S4
	


Example 4 – Transaction not curtailed, next-hour Energy Profile is lower

	Energy Profile: Current hour
	40 MW

	Actual flow following curtailment: Current hour
	40 MW (no curtailment)

	Energy Profile: Next hour
	20 MW


Sub-priorities for Transaction MW:

	Sub-Priority
	MW Value
	Explanation

	S1
	20 MW
	Reduce flow to next-hour Energy Profile (20MW)

	S2
	+0 MW
	Reload to lesser of current and next-hour Energy Profile

	S3
	+0 MW
	Next-hour Energy Profile is 20MW

	S4
	


Example 5 – TLR Issued before Transaction was scheduled to start

	Energy Profile: Current hour
	0 MW

	Actual flow following curtailment: Current hour
	0 MW (Transaction scheduled to start after TLR initiated)

	Energy Profile: Next hour
	20 MW



	Sub-Priority
	MW Value
	Explanation

	S1
	0 MW
	Transaction was not allowed to start

	S2
	+0 MW
	Transaction was not allowed to start

	S3
	+20 MW
	Next-hour Energy Profile is 20MW

	S4
	+0
	Tag submitted prior to TLR


 (Note: with rewording) 





1. 
2. 
3. 
4. 
5. 
6. 
7. 
a. 
b. 

1. 
2. 
3. 
4. 
5. 




1. 
2. 
3. 


1. 
2. 
3. 
 (Note: with rewording)





· 
· 
· 

· 
· 

· 
· 
· 

· 
· 

· 
· 
· 

· 
· 
· 
· 

· 
· 
· 
· 

· 
· 
· 
Yellow: Reliability


Blue: Business Practices


Purple: Notes





This is a direct repeat of the associated IRO-006 requirement R4.  However, the use of alternate congestion management procedures is a business practice. 


�A business practices is needed that reads “Market-Based congestion management procedures shall be allowed as a supplement to (or substitute to) the TLR process.”





A business practice that defines how costs are recovered may be necessary





Figure 5 - IDC report may be run prior to 00:25, but results are not distributed.





NERC defines the level of emergency (2.1.1, 2.2.1, 2.3.1, 2.4.1, 2.5.1, 2.6.1, 2.7.1, 2.8.1, 2.9.1) (possible deletion of 2.1.2) 


NAESB defines the procedures consistent with that level of emergency








Nothing defines the curtailment threshold.  I believe this should be in the standard – and I believe it to be Business Practice because it defines the allocation of the commercial resources. Transmission Provider or RC must post transmission thresholds. (Add as new  BP – separate section of the procedure defines the threshold)





The Dynamic Scheduling WG Paper says that Dynamic Schedules with Firm XM should not be held under TLR Levels 2 or 3 (Add as new BP)





The definition of Level 3a could be considered reliability even though the actions are commercial.





NERC defines the level of emergency (2.1.1, 2.2.1, 2.3.1, 2.4.1, 2.5.1, 2.6.1, 2.7.1, 2.8.1, 2.9.1) (possible deletion of 2.1.2)


NAESB defines the procedures consistent with that level of emergency





The definition of Level 5a could be considered reliability even though the actions are commercial.





A business practice that defines how costs are recovered may be necessary





Requirement 3.1.2 should reference Requirement 4 to specify how this is handled.





Requirement 3.2 is a repeat of 2.3 and 2.4 and therefore unnecessary (Delete)





Requirement 3.3 is a repeat of 2.6 and 2.7 and therefore unnecessary (Delete)





Figure � SEQ Figure \* ARABIC �1� - Timeline showing approved-Tag submission deadline for Reallocation








Some sections of 6.2 may be considered reliability (Note: wording may need to be adjusted)





The entire Requirement 6.2.5 seems to be more of an IDC reference issue, not a TLR requirements issue (Note: may need to be moved to Appendix E or considered Reliability but regardless needs to be further reviewed for BP implications) (Some portions of this needs to be reworded and moved to Appendix E)





� EMBED Excel.Sheet.8  ���





Figure 5 - IDC report may be run prior to 00:25, but results are not distributed.








� Examples would be 1) a local procedure that curtails Interchange Transactions in a different order or ratio than the Interconnection-wide procedure, or 2) a local re-dispatch procedure.


� The use of PROCEED, CURTAILED, and HOLD refer to an Interchange Transaction status in the IDC, not the E-tag status.


� Flows due to service to Network Customers and Native Load. See “Parallel Flow Calculation Procedure Reference Document.”






62
2

_1071670800.vsd
Drag the side handles to change the width of the text block.�

�

�

00:00�

01:00�

Potential Adjust List
Issued�

00:20�

00:10�

00:30�

00:40�

00:50�

00:25�

Beginning of
Current Hour�

Approved-Tag Submission
Deadline for Reallocation
(Must be in IDC for
Realloction at 01:00)�

SC Sends Reallocation
notifications. CAs
curtail Non-firm Transactions 
and notify PSEs�

Reallocation begins for Non-firm Transactions that are in IDC by 00:25 and for Firm Transactions that are in by the time the TLR is declared if it is declared after 00:25. Others are held for Reallocation at 02:00.�

TLR Re-issue
Alarm�

Congestion
Management
Report to Issuing
Security Coordinator�

Congestion Management
Report confirmed by Issuing
Security Coordinator�

Congestion
Management
Report confirm by 
Security Coordinator of Sink Control Area�

TLR 3a�

Firm Transactions that are in IDC by 00:25 or by the time the TLR is declared (if later) start as scheduled�

00:35�

Adjust Lists sent to LCAs, GCAs, authoring PSEs�

00:45�

Adjust Tables from 
LCAs�

�


_989837043.xls
Sheet1

				Allocation based on Weighted Impact

				1		2		3		4		5		6		7		8		9

		Transaction ID		Initial Transaction		Distribution Factor		(1)*(2) Impact On Interface		(2)/(2TOT) Impact weighting factor		(3)*(4) Weighted Max Interface Reduction		(5)*(Relief Requested)/(5 Tot) Interface Reduction		(6)/(2) Transaction Reduction		(1)-(7)     New Transaction Amount		(8)*(2) Adjusted Impact On Interface

		Example 1

		A-D(1)		800		0.6		480		0.34		164.57		209.73		349.54		450.46		270.27

		A-D(2)		200		0.6		120		0.34		41.14		52.43		87.39		112.61		67.57

		B-D		800		0.15		120		0.09		10.29		13.11		87.39		712.61		106.89

		C-D		100		0.2		20		0.11		2.29		2.91		14.56		85.44		17.09

		E-B		100		0.05		5		0.03		0.14		0.18		3.64		96.36		4.82

		F-B		100		0.15		15		0.09		1.29		1.64		10.92		89.08		13.36

				2100		1.75		760				219.71		280.00		553.45		1546.55		480.00

		Example 2

		A-D(1)		1000		0.6		600		0.52		313.04		262.16		436.93		563.07		337.84

		B-D		800		0.15		120		0.13		15.65		13.11		87.39		712.61		106.89

		C-D		100		0.2		20		0.17		3.48		2.91		14.56		85.44		17.09

		E-B		100		0.05		5		0.04		0.22		0.18		3.64		96.36		4.82

		F-B		100		0.15		15		0.13		1.96		1.64		10.92		89.08		13.36

				2100		1.15		760				334.35		280.00		553.45		1546.55		480.00

		Example 3

		A-D(1A)		200		0.6		120		0.17		20.28		52.43		87.39		112.61		67.57

		A-D(1B)		200		0.6		120		0.17		20.28		52.43		87.39		112.61		67.57

		A-D(1C)		200		0.6		120		0.17		20.28		52.43		87.39		112.61		67.57

		A-D(1D)		200		0.6		120		0.17		20.28		52.43		87.39		112.61		67.57

		A-D(2)		200		0.6		120		0.17		20.28		52.43		87.39		112.61		67.57

		B-D		800		0.15		120		0.04		5.07		13.11		87.39		712.61		106.89

		C-D		100		0.2		20		0.06		1.13		2.91		14.56		85.44		17.09

		E-B		100		0.05		5		0.01		0.07		0.18		3.64		96.36		4.82

		F-B		100		0.15		15		0.04		0.63		1.64		10.92		89.08		13.36

				2100		3.55		760				108.31		280.00		553.45		1546.55		480.00

				Currently Proposed Method

				1		2		3		4		5		6		7		8		9

				Initial Transaction		Distribution Factor		(1)*(2) Impact On Interface		(3)/(3MAX) Impact weighting factor		(3)*(4) Weighted Max Interface Reduction		(5)*(6 Tot) (5 Tot) Interface Reduction		(6)/(2) Transaction Reduction		(1)-(7)     New Transaction Amount		(8)*(2) Adjusted Impact On Interface

		A-D(1)		800		0.6		480		1.00		480.00		248.27		413.78		386.22		231.73

		A-D(2)		200		0.6		120		0.25		30.00		15.52		25.86		174.14		104.48

		B-D		800		0.15		120		0.25		30.00		15.52		103.44		696.56		104.48

		C-D		100		0.2		20		0.04		0.83		0.43		2.16		97.84		19.57

		E-B		100		0.05		5		0.01		0.05		0.03		0.54		99.46		4.97

		F-B		100		0.15		15		0.03		0.47		0.24		1.62		98.38		14.76

				2100				760		1.58		541.35		280.00		547.39		1552.61		480.00

		A-D(1)		1000		0.6		600		1.00		600.00		268.76		447.94		552.06		331.24

		B-D		800		0.15		120		0.20		24.00		10.75		71.67		728.33		109.25

		C-D		100		0.2		20		0.03		0.67		0.30		1.49		98.51		19.70

		E-B		100		0.05		5		0.01		0.04		0.02		0.37		99.63		4.98

		F-B		100		0.15		15		0.03		0.38		0.17		1.12		98.88		14.83

				2100				760		1.27		625.08		280.00		522.60		1577.40		480.00

		A-D(1A)		200		0.6		120		1.00		120.00		46.32		77.20		122.80		73.68

		A-D(1B)		200		0.6		120		1.00		120.00		46.32		77.20		122.80		73.68

		A-D(1C)		200		0.6		120		1.00		120.00		46.32		77.20		122.80		73.68

		A-D(1D)		200		0.6		120		1.00		120.00		46.32		77.20		122.80		73.68

		A-D(2)		200		0.6		120		1.00		120.00		46.32		77.20		122.80		73.68

		B-D		800		0.15		120		1.00		120.00		46.32		308.79		491.21		73.68

		C-D		100		0.2		20		0.17		3.33		1.29		6.43		93.57		18.71

		E-B		100		0.05		5		0.04		0.21		0.08		1.61		98.39		4.92

		F-B		100		0.15		15		0.13		1.88		0.72		4.82		95.18		14.28

				2100				760		6.33		725.42		280.00		707.64		1392.36		480.00



&L&"Arial,Bold"Southwest Power Pool&C&"Arial,Bold"LLR Scheme Comparison&R&D

Page &P

A

800 (450)

200 (112)

D

B

800 
(713)

C

100 (85)

E

100 (96)

F

100 (89)



Sheet2

		



&A

Page &P



Sheet3

		



&A

Page &P



Sheet4

		



&A

Page &P



Sheet5

		



&A

Page &P



Sheet6

		



&A

Page &P



Sheet7

		



&A

Page &P



Sheet8

		



&A

Page &P



Sheet9

		



&A

Page &P



Sheet10

		



&A

Page &P



Sheet11

		



&A

Page &P



Sheet12

		



&A

Page &P



Sheet13

		



&A

Page &P



Sheet14

		



&A

Page &P



Sheet15

		



&A

Page &P



Sheet16

		



&A

Page &P




