[image: image1.png]0

I

0




North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org


Home Page: www.naesb.org

April 25, 2005
TO:
NERC/NAESB Transmission Loading Relief (TLR) Subcommittee Participants and Interested Parties
FROM:
DeDe Kirby, Project/Meeting Manager
RE:
NERC/NAESB TLR Subcommittee List of Issues Relating to Development of IDC Granularity Business Case

 
DATE:
April 25, 2005
Dear all,

Below are issues relating to the development of a business case for IDC Granularity identified at the April 27th TLR Subcommittee meeting.  There is a general consensus to move to an Option 3A that uses a transaction relief responsibility (TRR) as opposed to an external relief responsibility as prescribed in Option 3.
· Discuss whether Option 1 would be implemented on a Control Area (CA) basis or a Transmission Provider (TP) basis.

· Modify terms CA in Option 1 to Balancing Authority (BA).

· Discuss implementation of Option 1 for dual connected TPs.
· Discuss Network and Native Load calculations for Option 1.  Discuss and identify who reviews the bid prices generators would comply with for economical dispatch.  

· Discuss ERR/IRR calculations necessary for Options 2 & 3.

· Discuss assignment of redispatch costs.  Discuss implications of a weighted average being applied to all CAs involved in a transaction, regardless of their bearing on the flowgate.  

· Review and discuss conducting calculations on a more transactional basis. 

· Discuss the option of an entity curtailing Priority 1 tags during implementation of Option 3.
· Complete various examples of Option 3 implementation.  Include an example of the Reliability Coordinator (RC) implementing a curtailment and the Purchasing Selling Entity (PSE) keeping the transaction active.
· 
· What form of transmission service if any will be required when a generator incs or decs?

· Confidentiality of commercially sensitive data.

· Participation requirements of generators and other market participants (mandatory vs. voluntary, non-jurisdictional).

· What if relief can not be achieved by redispatch? (revert to TLR)

· Coordination of generator shifts and ACE adjustment (are there inadvertent implications).

· Sarbanes-Oxley 
· Creditworthiness and settlement entity issues.
· ACE equation and the addition of Redispatch Offset (X) written so that there will be no inadvertent.

· Tariff implications.


