North American Electric Reliability Council


[image: image1.wmf]
North American Electric Reliability Council
Princeton Forrestal Village, 116-390 Village Boulevard, Princeton, New Jersey 08540-5731

Request for Information
Selection of a Next Generation Transmission Congestion Management Tool

(IDC Granularity Option 3)

Draft – Not for official release.
Table of Contents

1Princeton Forrestal Village, 116-390 Village Boulevard, Princeton, New Jersey 08540-5731

1.
Introduction
4
2.
Selection Procedure and Rules
5
3.
Background
7
3.1
North American Electric Reliability Council (NERC)
7
3.2
Project Scope
9
3.2.1
Summary of the Current IDC Process
9
3.2.2
Description of IDC Granularity Option 3
10
3.2.3
Type of re-dispatch that could be implemented
10
3.2.4
Re-dispatch Considerations
11
3.2.5
Issues
11
3.2.6
Data Requirements and System Considerations
11
3.3
Products
13
3.4
NERC Specific Requirements
13
3.4.1
Security
13
3.4.2
Data
13
3.4.3
Hardware and Development Languages
13
4.
Business requirements
15
4.1
Real-time Data
15
4.2
Data Input
15
4.3
Access Request Module
16
4.4
Factors Module
16
4.5
Study Module
17
4.6
Security Violations Log
17
4.7
Scheduling module
17
4.8
Analysis
18
4.9
Marginal Zone Module
18
4.10
BA Load Module
19
4.11
Participation and Ownership Factors Module
19
5.
Technical requirements
20
6.
Vendor requirements
22
7.
Price
23
8.
Quality
23
9.
Development and Testing
23
10.
Other
24


	Version
	Editor
	Data
	Changes

	1.0
	Jeff Norman
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


1. Introduction

The North American Electric Reliability Council (NERC) issued this Request for Information (RFI) in order to determine the critical information necessary to develop and release a full Request for Proposal (RFP) for a next generation transmission congestion management tool.  This RFI will refer to this new tool as IDC Granularity Option 3, based upon common terminology found in the “White Paper on the Future of Congestion Management,” released in June 2004 (Attachment 1).  This RFI and the referenced whitepaper outline all of the known requirements necessary for developing a software solution to replace the existing Interchange Distribution Calculator (IDC).

The RFI contains the following sections: 1) an explanation of the selection procedure and rules to be used for this project; 2) a brief description of the organization background; 3) NERC business requirements, including numerous questions outlining the functionality required as a part of the selected software solution; 4) NERC technical requirements; 5) NERC requirements for the selected vendor; 6) questions regarding price and the pricing structure; and, 7) a section on the quality of the package. 

This RFI was compiled after conducting a thorough requirement analysis accomplished through a number of interviews with representatives of the electric power industry, review of the “White Paper on the Future of Congestion Management” (Attachment 1), and relevant experience obtained through the development of similar web-based tools.

2. Selection Procedure and Rules

Responses to the RFI are due by close of business on June 8, 2005.  All responses must be in electronic format, Microsoft Word (Office 2000 or later).  They can be forwarded via email or sent on a compact disk to the address provided on the following page.  An informational meeting will be held for perspective vendors in Chicago, IL on May 11, 2005.  Information on the hotel and time of the meeting is available at www.nerc.com/meetings.  The purpose of the informational meeting is to ensure that potential vendors understand the full scope of this project by providing the opportunity to meet with representatives of NERC, prior to submitting their response to this RFI.

Responses to this RFI will be used to establish the financial justification and technical feasibility for this project.  Therefore, vendors are asked to be as thorough as possible in their responses.  Note that the questions have been deliberately designed to be general in nature, enabling vendors the greatest amount of freedom in their responses.  Vendors may include referenced publications and white papers in their responses.  However, only the responses to this RFI will be used in the evaluation.  The additional materials will be used as reference materials.

Vendor responses will be the only evaluation criteria.  In case the respondent wants to refer to additional information, the vendor should insert an appendix at the end of the document and refer to it where applicable. 

All respondents to this RFI are requested to fill out the following table:

	Responding company information

	Responding company:
	

	Contact name:
	

	Address:
	

	ZIP code:
	

	Town:
	

	Country:
	

	Phone number:
	

	Fax number:
	

	Email:
	

	Package name:
	


Please send responses to the following address.  Note that the preferred method of communication is by email.

Selection of a Next Generation Transmission Congestion Management Tool

(IDC Granularity Option 3)

Brian Nolan

Projects Manager

Off:
1-609-452-8060

Fax:
1-609-452-9550

Email:
Brian.Nolan@nerc.net

North American Electric Reliability Council

Princeton Forrestal Village

116-390 Village Boulevard

Princeton, New Jersey 08540-5731

3. Background

3.1 North American Electric Reliability Council (NERC)

NERC is a nonprofit corporation whose members are ten regional reliability councils.  The members of these councils in turn come from all segments of the electric industry: investor-owned utilities; federal power agencies; rural electric cooperatives; state, municipal, and provincial utilities; independent power producers; power marketers; and end-use customers. These entities account for virtually all the electricity supplied and used in the United States, Canada, and a portion of Baja California Norte, Mexico. 

A ten-member, independent Board of Trustees, including the CEO, governs NERC with guidance and input from an industry Stakeholders Committee.  The Stakeholders Committee elects the independent trustees, votes on amendments to bylaws, participates in the budget process, and provides advice and recommendations to the board on policy matters.  The Board of Trustees provides governance oversight and strategic direction to the NERC management team and staff. 

In fulfilling its mission, NERC performs the following critical functions: 

· Sets standards for the reliable operation and planning of the bulk electric systems. 

· Monitors, assesses, and enforces compliance with standards for bulk electric system reliability. 

· Conducts regular “readiness” audits of all reliability coordinators, control areas, and other bulk electric system operators to ensure they are capable of complying with NERC standards. 

· Supports excellence in electric system operations through accreditation of operator training programs and certification of system operators and operating organizations. 

· Provides education and training resources to promote bulk electric system reliability. 

· Assesses, analyzes, and reports bulk electric system adequacy and performance. 

· Coordinates reliability standards and procedural matters with regional reliability councils and other organizations. 

· Coordinates the provision of applications (tools), data, and services necessary to support the reliable operation and planning of the bulk electric system. 

· Takes a leadership role in critical infrastructure protection of the electricity sector. 

· Responds promptly and investigates major bulk electric system emergencies. 

· Enables the reliable operation of the interconnected bulk electric systems by facilitating information exchange and coordination among reliability service organizations. 

· Administers procedures for appeals and conflict resolution for reliability standards development, certification, compliance, and other matters related to bulk electric system reliability. 

In addition, NERC monitors and participates in the regulatory proceedings of federal, state, and provincial government agencies on issues pertaining to reliability.  NERC also provides advice and guidance to government agencies upon request, serves as a technical resource for federal and state government officials, and participates in related conferences and programs. 

The NERC office is located in Princeton, New Jersey. NERC’s staff of approximately 60 professionals works with the technical committees and their subgroups to provide project coordination and support. (Each regional council has its own staff.)

3.2 Project Scope

The Interchange Distribution Calculator Granularity Task Force (IDCGTF) conducted an investigation that resulted in the IDC Granularity Option 3.  The IDCGTF was formed by the Operating Reliability Subcommittee (ORS) and charged to investigate and propose technical solutions to the existing inaccuracies in the way the Interchange Distribution Calculator (IDC) determines the impacts of energy transactions on flowgates.  The existing IDC inaccuracies are generally due to a lack of precise information provided to and used by the IDC regarding which generator or generators should be dispatched in the IDC model to accurately reflect the true impacts of a particular transaction being scheduled.  This lack of precise information is generally referred to as a lack of “granularity.”  As stated in the congestion management white paper, the IDCGTF investigated three options to increasing IDC granularity, and recommended that the ORS develop a business case to pursue implementation of IDC Granularity Option 3.

3.2.1 Summary of the Current IDC Process

The IDC calculates Transfer Distribution Factors (TDFs) on a balancing authority (BA)-to-balancing authority basis, and assumes linear, reciprocal responses for the source and sink BAs.  The IDC does not account for the movement of specific generators scheduled separately or as part of a central economic dispatch within BAs.  These assumptions become more obvious and problematic when BAs are integrated into a single BA market area. 

A TDF represents the impact of an interchange transaction on a given flowgate.  The IDC uses the sending BA and receiving BA information indicated on an E-tag, along with the associated TDF, to determine the impact of an interchange transaction on a specific flowgate.  During Transmission Loading Relief (TLR), those interchange transactions having a 5% or greater TDF on the flowgate are subject to curtailment.

Interchange transaction Points of Delivery (PODs) and Points of Receipt (PORs) are not generally used for TDF calculations.  However, some pseudo BAs have been created within the existing IDC model in order to address known granularity problems.  For example, the PJM-MISO congestion management process is utilizes marginal zone information for determining transactional impacts into and out of their market footprints.

The IDC calculates TDFs by increasing on-line generation in the source BA and decreasing on-line generation in the sink BA, such that the net BA change is 1 MW.  In general, the amount that a particular generating unit participates in a transaction is based on the ratio of the capacity of that unit to the total generating capacity of the units within the BA.  If a unit is off line or has been identified by the reliability coordinator as a non-participating unit, its capacity is set to zero.  The generator participation for a BA is the same for both imports and exports.  With this method, intra-BA transactions will have a TDF that nets to zero for all flowgates.

3.2.2 Description of IDC Granularity Option 3

IDC Granularity Option 3 is a new toolset for use by reliability coordinators, to help identify their re-dispatch options.  The new toolset is intended to replace the curtailment process used by the existing IDC.  IDC Granularity Option 3 will utilize much of the same linear analysis techniques described in the Congestion Management Process Whitepaper (available at http://www.miso-pjm.com/doc/ferc/20040907-cmp-entirety.pdf), and also incorporate real time ICCP data, utilize merit order knowledge, and link to pricing and bidding processes.  The new toolset could also perform functions that help reliability coordinators communicate information needed for making sound coordinated re-dispatch decisions.  In its initial stages of implementation, Option 3 could take on simpler features that may require that each reliability coordinator have pre-established and known dispatch pairs to alleviate overloads on each flowgate in their purview.

The basis for proposing a long-term solution of direct re-dispatch with financial resolution is that it will provide effective, economical, and timely mitigation of Interconnection Reliability Operating Limit (IROL) and Security Operating Limit (SOL) violations.  This method has the potential to provide a pricing signal that can be a check and balance that need improvements in a number of systems in need of monitoring and compliance, such as full tagging (tagging versus net scheduled interchange), updating tagging of dynamic schedules, and energy imbalance.

As part of the IDC Granularity Option 3 project, reliability coordinators issuing a TLR will cooperate with other reliability coordinators to determine an effective and economical re-dispatch in order to mitigate each operating limit.  The reliability coordinator will initiate the re-dispatch on behalf of the transmission provider.

3.2.3 Type of re-dispatch that could be implemented

Re-dispatch is often thought of as coordinated movement of a pair of generators.  However, re-dispatch could take one of the following forms.

· Identify increment/decrement generation pairs.

· Identify beneficial impacts of increment units that can be offset with decrement from various locations (individual units or external sales).

· Identify beneficial impacts of decrement units that can be offset with increments from various locations (individual units or external purchases).

· Complex re-dispatch combinations involving multiple units across multiple flowgates.  Tools may need to be established to help determine re-dispatch.

· Re-dispatch pricing signals could be used to incorporate voluntary load curtailments into the re-dispatch strategy.

· In the event that load curtailment is necessary, uniform-pricing caps could be used to compensate for load curtailed.

3.2.4 Re-dispatch Considerations

Re-dispatch will be performed with the following considerations:

· Minimize cost to the extent practicable, in order to effectively relieve the constraint.

· Consider complexity — moving a minimal number of units.

· Start-up time and ramping capabilities.

· Expected duration of high flowgate loading.

· Anticipate minimum run levels and minimum run time arrangements.

· Review of the effect of re-dispatch on the next contingency analysis.

As such, re-dispatch required on short notice may utilize re-dispatch that tends to be convenient and utilize fast ramping capabilities, while re-dispatch in later hours of a TLR may look for a more cost effective re-dispatch combination.

3.2.5 Issues

The following issues have been identified, and must be addressed, within IDC Granularity Option 3.

· Re-dispatch would take place regardless of the transmission service priorities that are impacting the constraint.

· Tool needs to be able to test against multiple TLRs.

· Responsibility for relief is transferred from the owners of the tagged transactions to the ultimate net sources and sinks.

3.2.6 Data Requirements and System Considerations

IDC Granularity Option 3 will be required to continually collect and process roughly 1,800 flowgates, with a base case of over 50,000 elements (56,988 AC branches and 5,269 generators).  The minimum requirement for determining re-dispatch and financial responsibility is less than 15 minutes; however, a solution in less than five minutes would be considered optimal.  The data will be collected through E-Tags, NERCnet via Intercontrol Center Communications Protocol (ICCP per IEC60870-6 TASE.2), and the Transmission System Information Network (TSIN) registry.  Note that NERCnet is a private frame relay network.  A list of available data follows:

· Area Control Error

· Frequency

· Demand

· Flow

· Generation

· Load

· Breaker State

· Tap position

· Voltage

Additionally, IDC Granularity Option 3 will be required to analyze the following:

· Real-time and scheduled generation output of units.

· Real-time telemetry of all flowgates and Outage Transfer Distribution Factor (OTDF) flows.

· State estimated value (in lieu of telemetry).

· SDX-based generation values (temporary, until real-time data can be provided).

· Use SDX unit status information to capture quick-start, minimum run times, temporary de-ratings, etc.

· Use SDX outage and load data

The following diagram provides the suggested structure of IDC Granularity Option 3:

[image: image2.jpg]IDC Granularity Option 3 Block

iagram - Suggested

I | | I
| | | |
ICCP  E-Tag  SDX Purchasing/Selling Entity (PSE)

Inputs Inputs  Inputs Inputs
[ N R N 2

\ Financial Input Module

‘ - Generation Bids \
System Estimator gy ‘

- Fixed Transmission Costs

Over Limit Flow i
Responsibility

\ | catcutator ‘

Iterative Process - \

Dependent upon |
- willngness of
. PSEIBATP o \
provide relef. ‘
Relief
| Responsibity \
‘ Module ‘
\
\ T
H \%
: \ \
I \
‘ 1
' Financial ‘
‘ ' Responsibilty
\ i Module !
\ Assignment of relief to BAs. ]
) T
\ i ' ‘
: 1 Assignment o financial |
: ! responsibilty to |

PSE/BAITP ‘





3.3 Products

Several modules are available within the existing IDC, or have been identified as necessary future enhancements.  The basic proposed functionality of each module should be included with each response to this RFI.  The following modules must be incorporated into the IDC Granularity Option 3 tool, at a minimum:

· Customize and define user access levels.

· Password and or certificate access control.

· Administrative section for access control.

· View Generation Shift Factors (GSF), Transaction Distribution Factors (TDF), Load Shift Factors (LSF), Line Outage Distribution Factors (LODF), and Generation to Load Distribution Factors (GLDF).  The purpose of this module is to provide a separate method for accessing the factors listed above without providing full access to the IDC Granularity Option 3 tool.

· Study the impacts of various re-dispatch alternative on the bulk electric system.

· Determine the most economical method for reducing congestion on a given flowgate.  This tool would include a list of generators available for increment or decrement.

· A log for recording curtailments, IROL, and SOL violations.

· Scheduling tool to view upcoming changes to the system such as maintenance impacts and next-hour generation schedules.

· View system loads by BA.

· View marginal zone factors for existing markets.

· View generator participation and ownership factors.

3.4 NERC Specific Requirements

3.4.1 Security

Due to the confidentiality of the data contained within the IDC and the system availability requirements, NERC requires that all vendors comply with NERC Cyber Security Standard 1200, or its successor standards, prior to the establishment of a contract.  Cyber Security Standard 1200 is contained within the NERC Operating Manual, which is located at http://www.nerc.com/~oc/opermanl2.html.

3.4.2 Data

All data contained within the IDC Granularity Option 3 tool will remain the property of NERC.  No data may be used by the vendor in any other way, or released to any other entity, unless the vendor is specifically authorized to do so in writing by NERC.

3.4.3 Hardware and Development Languages

NERC will retain ownership of all data and software developed for this project.  Contracts are structured so that venders are contracted to develop a tool and then provide maintenance and support for a period of time, which is typically extended.  During the RFP process, vendors will be asked to propose and quote all of the required hardware and necessary system software licenses.  NERC will have the option of:
· Having the vendor procure all the hardware and software licenses, or

· Independently securing all or using existing components or licenses.

Acceptable platforms follow:

· Hardware: Vendor must supply hardware specifications with proposal

· Operating Systems: Windows Server 2000®, or later

· Database: SQL Server 2000 or later

Acceptable Development Languages are as follows:

· Microsoft .NET (VB, ASP, C#...)

· VBScript

· JavaScript

· HTML

· DHTML

MS SQL

4. Business requirements

4.1 Real-time Data 

	1. 
	How will real time data be incorporated into the tool?

	

	2. 
	What is the estimated analysis time of the tool?

	

	3. 
	

	

	4. 
	

	

	5. 
	

	

	6. 
	

	

	7. 
	

	


4.2 Data Input

	1. 
	Will you be willing to accept data transfers directly from another vendor?

	

	2. 
	

	

	3. 
	

	

	4. 
	

	

	5. 
	

	

	6. 
	

	


4.3 Access Request Module

	1. 
	How will users request access to the tool?

	

	2. 
	How will representatives of NERC approve their access?

	

	3. 
	

	

	4. 
	

	

	5. 
	

	

	6. 
	

	

	7. 
	

	

	8. 
	

	


4.4 Factors Module

	1. 
	What queries will be available within the factors module?

	

	2. 
	

	

	3. 
	

	

	4. 
	

	

	5. 
	

	

	6. 
	

	

	7. 
	

	

	8. 
	

	


4.5 Study Module

	1. 
	What types of theoretical system analysis will be available within the tool?

	

	2. 
	

	

	3. 
	

	

	4. 
	

	


4.6 Security Violations Log 

	1. 
	How will security violations be stored?

	

	2. 
	How long will security violations be stored within the tool?

	

	3. 
	

	

	4. 
	

	

	5. 
	

	

	6. 
	

	


4.7 Scheduling module

	1. 
	How will maintenance and load forecasts be incorporated?

	

	2. 
	Will users have the ability to forecast the status of the bulk electric system one hour in advance?  Twenty-four hours in advance?

	

	3. 
	

	

	4. 
	

	

	5. 
	

	

	6. 
	

	


4.8 Analysis

	1. 
	What kind of analysis tools will be available?

	

	2. 
	How will pricing be incorporated into identifying specific generators for incrementing or decrementing?

	

	3. 
	

	

	4. 
	

	

	5. 
	

	

	6. 
	

	

	7. 
	

	

	8. 
	

	

	9. 
	

	

	10. 
	

	


4.9 Marginal Zone Module

	1. 
	How will marginal zone factors be incorporated into the tool?

	

	2. 
	

	

	3. 
	

	

	4. 
	

	

	5. 
	

	

	6. 
	

	

	7. 
	

	


4.10 BA Load Module

	1. 
	How will BA loads be incorporated?

	

	2. 
	

	

	3. 
	

	

	4. 
	

	

	5. 
	

	


4.11 Participation and Ownership Factors Module

	1. 
	How will generation participation and ownership factors be incorporated into the tool?

	

	2. 
	

	

	3. 
	

	

	4. 
	

	

	5. 
	

	

	6. 
	

	

	7. 
	

	

	8. 
	

	

	9. 
	

	

	10. 
	

	


5. Technical requirements

	1. 
	Which programming language will be used?

	

	2. 
	How will the source code be made available?

	

	3. 
	Which hardware platform will you support?

	

	4. 
	On which databases will you run the tool?

	

	5. 
	How is the link with Microsoft Office implemented?

	

	6. 
	Which protocols do you support?

	

	7. 
	How can a search be defined?  

	

	8. 
	What data is held on the client?

	

	9. 
	How can a selection on clients be made without customization and output to screen, paper, and file?

	

	15. 
	How is access security being handled (local and remote)?

	

	16. 
	How is information security being handled, e.g., by module, screen, field?

	

	17. 
	How can the software be implemented in modules?

	

	18. 
	How can functionality be selected using parameters?  To what extent?  Explain. 

	

	19. 
	How can the software be customized?

	

	22. 
	How do we transfer information between the tool and the NERC factors database?

	

	24. 
	Can a user work off line? How?

	

	25. 
	How will prices be updated?

	

	26. 
	How is a selection made on the information to be down or uploaded?

	

	27. 
	How is information transferred through the internet?

	

	31. 
	How is on-line help available? 

	

	32. 
	How can we adjust or create on-line help?

	

	35. 
	What features are available to make the system user friendly (e.g.,  toolbars, short cut keys, scripts, etc.)?

	


6. Vendor requirements

	1. 
	When was your company founded?

	

	2. 
	Where is the headquarters?

	

	3. 
	How is your company organized?

	

	4. 
	Where are you located?

	

	5. 
	Who and where are your distributors?

	

	6. 
	How is implementation support organized?

	

	7. 
	How is operational support organized?

	

	8. 
	What is the primary industry you serve?

	

	9. 
	Which customers do you have within the energy or utilities industry?

	

	10. 
	Is the company publicly held?  If yes, which stock exchange and what has been the performance of the stock?

	

	11. 
	How many employees do you have worldwide?

	

	12. 
	How do you support implementations?

	


7. Price

	1. 
	Please explain how the price is built up with different options. 

	

	2. 
	Is there an additional charge for the development tool?  How is this organized?

	

	3. 
	How will the number of users affect the overall price?

	

	4. 
	Is the source code included in the price?  If not, what will be the additional charge and how is this organized?

	

	5. 
	Are databases, standard interfaces included in your price?  How?

	

	6. 
	According to your experience, what is your estimated total cost for implementing?

	


8. Quality

	1. 
	How many days of training can be expected?  Break out into areas.

	


9. Development and Testing

	1. 
	What is the estimated time to develop this tool?  Break out into phases, if possible.

	

	2. 
	What is the estimated time required for testing this tool?

	


10. Other

	1. 
	Is any of the requested functionality of the tool considered to be technically unfeasible, or too complex to implement?  Explain.

	


A New Jersey Nonprofit Corporation

Phone 609-452-8060 ( Fax 609-452-9550 ( URL www.nerc.com

Request for Information
Page 2 of 24
Draft – Not for official release.


