Transmission Loading Relief Standard – Version 0, Draft 2

TLR V1 Task Force – Markup of BPs vs. RRs

[image: image1.wmf]System

Secure

OSL Violation

Monitor

System

Security Limit

Violation?

Potential

SLV?

TLR 1

Request

for Transmission

Service?

Accommodate?

TLR 2 

Hold

Request for Higher Priority

Service

TLR 3a 

Curtail Non-firm

Accommodate?

TLR 4 

Reconfigure

Accommodate?

TLR 5a 

TCF 

Curtail Firm

TLR 3b

Curtailment

Method:

Local

Still

Constrained?

NERC TLR

IDC

Curtail Non-Firm 

Priorities 1-6

Still

Constrained?

Can

Reconfigure?

TLR 4 

Reconfigure

TLR 5b 

Calc TCF 

Curtail Firm

Still

Constrained?

Take

Emergency

Action

No

Yes

Yes

No

No

Yes

Yes

No

Yes

No

Yes

No

No

Yes

No

Yes

Yes

No

No

Yes

Transmission Loading Relief – Eastern Interconnection

Purpose:

This standard defines procedures for  relieving overloads on transmission facilities modeled in the IDC. This process is defined in the requirements below and is depicted in Appendix A.

Requirements

1. Roles and Responsibilities of Reliability Coordinators

1.1. Initiation only by Reliability Coordinator. A Reliability Coordinator shall be the only entity authorized to initiate the TLR Procedure and shall do so at 1) the Reliability Coordinator’s own request, or 2) upon the request of a Transmission Operator.  All Reliability Coordinators shall comply with the request of the Reliability Coordinator who initiated the TLR Procedure, unless the initiating Reliability Coordinator agrees otherwise.

1.2. Mitigating transmission constraints. A Reliability Coordinator may utilize the TLR Procedure to mitigate potential or actual System Operating Limit (SOL) violations or Interconnection Reliability Operating Limit (IROL) violations on any transmission facility modeled in the Interchange Distribution Calculator (IDC). In addition, a Reliability Coordinator may implement other NERC-approved procedures to request relief to mitigate any other transmission constraints as necessary to preserve the reliability of the system.  

1.3. Order of TLR Levels and taking emergency action. The Reliability Coordinator shall not be required to follow the TLR Levels in their numerical order. Furthermore, if a Reliability Coordinator deems that a transmission loading condition could jeopardize bulk system reliability, the Reliability Coordinator shall have the authority to enter TLR Level 6 directly, and immediately direct the Balancing Authorities or Transmission Operators to take such actions as re-dispatch generation, or reconfigure transmission, or reduce load to mitigate the critical condition to return the system to a secure state.

1.4. Notification of TLR Procedure implementation. The Reliability Coordinator initiating the use of the TLR Procedure shall notify other Reliability Coordinators and Balancing Authorities and Transmission Operators, and must post the initiation and progress of the TLR event on the appropriate NERC web page(s).

1.4.1. Notifying Transmission Operators and Balancing Authorities. The Reliability Coordinator shall notify Transmission Operators and Balancing Authorities in its Reliability Area when entering and leaving any TLR level.

1.4.2. Notifying Balancing Authorities. The Reliability Coordinator for the sink Balancing Authority shall be responsible for directing the sink Balancing Authority to provide relief  as specified by the Reliability Coordinator implementing the TLR Procedure. 
1.4.3. Updates. Transmission Operators and Balancing Authorities who have had Interchange Transactions impacted by the TLR will be updated by their Reliability Coordinator.  

1.5. Use of the IDC for Interchange Transaction Management. The Reliability Coordinator shall implement this procedure, in accordance with NAESB-approved business practices, using the IDC, except as limited below. 

1.5.1. Interchange Transactions not in the IDC. Reliability Coordinators shall also treat known Interchange Transactions that may not appear in the IDC in accordance with the procedures in this document. and in accordance with NAESB-approved business practices.

1.5.2. Transmission elements not in IDC. When a Reliability Coordinator is faced with an overload on a transmission element that is not modeled in the IDC, the Reliability Coordinator shall use the best information available to provide relief in order to operate the system in a reliable manner. The Reliability Coordinator shall use its best efforts to ensure that Interchange Transactions with a Transfer Distribution Factor less than the threshold on the transmission element not modeled in the IDC are not curtailed.

1.5.3. Questionable IDC results. Any Reliability Coordinator (or Transmission Operator through its Reliability Coordinator) who believes the curtailment list from the IDC for a particular TLR event is incorrect shall use its best efforts to communicate those adjustments necessary to bring the curtailment list into conformance with the principles of this Procedure to the initiating Reliability Coordinator. Causes of questionable IDC results may include:

· Missing Interchange Transactions that are known to contribute to the Constraint.

· Significant change in transmission system topology

· TDF matrix error.

Impacts of questionable IDC results may include:
· Curtailment that would have no effect on, or aggravate the constraint.

If other Reliability Coordinators are involved in the TLR event, all impacted Reliability Coordinators shall be in agreement before any adjustments to the curtailment list are made.
1.5.4
Curtailment that would cause a constraint elsewhere. A Reliability Coordinator shall be allowed to exempt an Interchange Transaction from curtailment if that Reliability Coordinator is aware that the Interchange Transaction curtailment directed by the IDC would cause a constraint to occur elsewhere. This exemption shall only be allowed after the Reliability Coordinator has consulted with the Reliability Coordinator who initiated the relief request. 
1.8 Logging. The Reliability Coordinator shall complete the NERC Transmission Loading Relief Procedure Log whenever it invokes TLR Level 2 or above, and send a copy of the log to NERC within two business days of the TLR event for posting on the NERC web site.

1.9  TLR Event Review. The Reliability Coordinator may be required, at the request of the Operating Reliability Subcommittee to provide a TLR event report  in accordance with TLR review processes established by NERC. 

1.9.1. Providing information. Transmission Operators and Balancing Authorities within the Reliability Coordinator’s Area, and all other Reliability Coordinators, including Transmission Operators and Balancing Authorities within their respective Reliability Areas, shall provide information, as requested by the initiating Reliability Coordinator, in accordance with TLR review processes established by NERC.

1.9.2. Operating Reliability Subcommittee reviews. The Operating Reliability Subcommittee shall conduct reviews to ensure proper implementation and for “lessons learned”.
2. Transmission Loading Relief (TLR) Levels and Approved Tag Submission Deadline for Reallocation

Introduction

This requirement describes the various levels of the TLR Procedure. The levels are not meant to imply a required sequence—the Reliability Coordinator can vary the sequence based on system conditions. .  This requirement also states the Approved Tag Submission Deadline for Reallocation during TLR levels 3a and 5a.

2.1. TLR Level 1 – Notify Reliability Coordinators of potential SOL or IROL Violations.

2.1.1. The Reliability Coordinator shall use the following circumstances to establish the need for TLR Level 1:

· The transmission system is secure.

· The Reliability Coordinator foresees a transmission or generation contingency or other operating problem within its Reliability Area that could cause one or more transmission facilities to approach or exceed their SOL or IROL.

2.2. TLR Level 2 – Hold transfers at present level to prevent SOL or IROL Violations
2.2.1. The Reliability Coordinator shall use the following circumstances to establish the need for entering TLR Level 2:

· The transmission system is secure,

· One or more transmission facilities are expected to approach, or are approaching, or are at their SOL or IROL.

2.3
TLR Level 3a – Reallocation of Transmission Service by curtailing Interchange Transactions using Non-firm Point-to-Point Transmission Service to allow Interchange Transactions using higher priority Transmission Service.

2.3.1. The Reliability Coordinator shall use the following circumstances to establish the need for entering TLR Level 3a:

· The transmission system is secure

· One or more transmission facilities are expected to approach, or are approaching, or are at their SOL or IROL

· Transactions using Non-firm Point-to-Point Transmission Service are flowing that are at or above the threshold on those facilities.

· The Transmission Provider has previously approved a higher priority Point-to-Point Transmission Service reservation over which a Transmission Customer wishes to begin an Interchange Transaction. 

2.4. TLR Level 3b – Curtail Interchange Transactions using Non-Firm Transmission Service Arrangements to mitigate a SOL or IROL Violation

2.4.1. The Reliability Coordinator shall use the following circumstances to establish the need for entering TLR Level 3b:
· One or more transmission facilities are operating above their SOL or IROL, or

· Such operation is imminent and it is expected that facilities will exceed their reliability limit unless corrective action is taken, or

· One or more Transmission Facilities will exceed their SOL or IROL upon the removal from service of a generating unit or another transmission facility

· Transactions using Non-firm Point-to-Point Transmission Service are flowing that are at or above the threshold on those facilities.

2.5
TLR Level 4 – Reconfigure Transmission

2.5.1. The Reliability Coordinator shall use the following circumstances to establish the need for entering TLR Level 4:
· One or more Transmission Facilities are above their SOL or IROL, or

· Such operation is imminent and it is expected that facilities will exceed their reliability limit unless corrective action is taken

2.5.2. Reconfiguration procedures. Following the curtailment of all Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the threshold in Level 3b that impact the Constrained Facilities, if a SOL or IROL violation is imminent or occurring, the Reliability Coordinator(s) shall request that the affected Transmission Operators reconfigure transmission on their system, or arrange for reconfiguration on other transmission systems, to mitigate the constraint. 
2.6. TLR Level 5a – Reallocation of Transmission Service by curtailing Interchange Transactions using Firm Point-to-Point Transmission Service on a pro rata basis to allow additional Interchange Transactions using Firm Point-to-Point Transmission Service.

2.6.1. The Reliability Coordinator shall use the following circumstances to establish the need for entering TLR Level 5a:

· The transmission system is secure
· One or more transmission facilities are at their SOL or IROL
· All Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the threshold have been curtailed.
· The Transmission Provider has been requested to begin an  Interchange Transaction using previously arranged Firm Transmission Service that would result in a SOL or IROL violation.
· No further transmission reconfiguration is possible or effective.
2.7. TLR Level 5b – Curtail Interchange Transactions using Firm Point-to-Point Transmission Service to mitigate a SOL or IROL violation.

2.7.1. The Reliability Coordinator shall use following circumstances to establish the need for entering TLR Level 5b:
· One or more Transmission Facilities are operating above their SOL or IROL, or

· Such operation is imminent, or

· One or more Transmission Facilities will exceed their SOL or IROL upon the removal from service of a generating unit or another transmission facility.

· All Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the threshold have been curtailed.

· No further transmission reconfiguration is possible or effective.

2.7.2. The Reliability Coordinator shall use the following three-step process for curtailment of Interchange Transactions using Firm Point-to-Point Transmission Service:

2.7.2.1. Step 1 – Identify available re-dispatch options. The Reliability Coordinator shall assist the Transmission Operator(s) in identifying those known re-dispatch options that are available to the Transmission Customer that will mitigate the loading on the Constrained Facilities. If such re-dispatch options are deemed insufficient to mitigate loading on the Constrained Facilities, the Reliability Coordinator shall proceed to implement these options while proceeding to Steps 2 and 3 below.

2.7.2.2. Step 2 – The Reliability Coordinator shall calculate the percent of the overload on the Constrained Facility caused by both, Firm Point-to-Point Transmission Service (at or above the threshold) and the Transmission Provider’s Network Integration Transmission Service and Native Load, as required by the Transmission Provider’s filed tariff.  This is described in Requirement 5, “Parallel Flow Calculation Procedure for Reallocating or Curtailing Firm Transmission Service.”

2.7.2.3. Step 3 – Curtailment of Interchange Transactions using Firm Transmission Service. At this point, the Reliability Coordinator shall begin the process of curtailing Interchange Transactions as calculated in Requirement 2.7.2.2 over the Constrained Facilities using Firm Point-to-Point Transmission Service until the SOL or IROL violation has been mitigated. The Reliability Coordinator shall assist the Transmission Provider in curtailing Transmission Service to Network Integration Transmission Service customers and Native Load if such curtailments are required by the Transmission Providers’ tariff. Available re-dispatch options will continue to be implemented.
2.8. TLR Level 6 – Emergency Procedures

2.8.1. The Reliability Coordinator shall use following circumstances to establish the need for entering TLR Level 6:
· One or more Transmission Facilities are above their SOL or IROL.

· One or more Transmission Facilities will exceed their SOL or IROL upon the removal from service of a generating unit or another transmission facility.

2.8.2. Implementing emergency procedures. If the Reliability Coordinator deems that transmission loading is critical to bulk system reliability, the Reliability Coordinator shall immediately direct the Balancing Authorities and Transmission Operators in its Reliability Area to re-dispatch generation, or reconfigure transmission, or reduce load to mitigate the critical condition until Interchange Transactions can be reduced utilizing the TLR Procedures or other procedures to return the system to a secure state. All Balancing Authorities and Transmission Operators shall comply with all requests from their Reliability Coordinator.

2.9. TLR Level 0 – TLR concluded
2.9.1. Interchange Transaction restoration and notification procedures. The Reliability Coordinator initiating the TLR Procedure shall notify all Reliability Coordinators within the Interconnection via the RCIS when the SOL or IROL violations are mitigated and the system is in a “normal” state, allowing Interchange Transactions to be re-established at its discretion. Those with the highest transmission priorities shall be re-established first if possible.
3. Approved Tag Submission Deadlines
3.1 TLR Level 3a and 5a (Reallocation).  Reliability Coordinators shall consider all approved Tags for Interchange Transactions at or above the threshold that have been submitted to the IDC by 00;25 for Reallocation at 01:00 when re-issuing a TLR 3a or 5a.  

3.2 TLR Level 3b and 5b.  NAESB-approved business practices address      Approved Tag Submission Deadlines for the issuance of a TLR 3b or 5b.
Appendix A (Note: may need rework)
Transaction Management and Curtailment Process

This flowchart depicts an overview of the Transaction Management and Curtailment process. Detailed decisions are not shown.

 
Yellow: Reliability


Blue: Business Practices


Purple: Notes





NERC defines the level of emergency (2.1.1, 2.2.1, 2.3.1, 2.4.1, 2.5.1, 2.6.1, 2.7.1, 2.8.1, 2.9.1) (possible deletion of 2.1.2)


NAESB defines the procedures consistent with that level of emergency





A business practice that defines how costs are recovered may be necessary









62
1

