TLR BPS Version 1 Draft 1 04/22/2005

Transmission Loading Relief Business Practices
Purpose:

This standard defines the business practices necessary to implement transmission loading relief procedures needed for curtailment and reloading of Interchange Transactions to relieve overloads on transmission facilities modeled in the Interchange Distribution Calculator (IDC). 

Applicability:

These business practices may be used to relieve congestion on any facility modeled within the IDC or an equivalent interconnection model.

Definitions:

Approval Entity – An entity that has approval rights for an Interchange Transaction Tag. This includes the Transmission Service Providers (TSP), Balancing Authorities (BA), Purchasing-Selling Entities (PSE), and Load Serving Entities (LSE) involved in the Interchange Transaction.   
Balancing Authority (BA) – The entity responsible for integrating resource plans ahead of time, maintaining load-interchange-generation balance within a Balancing Authority Area, and supporting Interconnection frequency in real time. 
Balancing Authority Area - An electrical system bounded by interconnection (tie-line) metering and telemetry, where the Balancing Authority controls (either directly or by contract) generation to maintain its Interchange Schedule with other Balancing Authority Areas and contributes to frequency regulation of the Interconnection.

Constrained Facility – A transmission facility (line, transformer, breaker, etc.) that is approaching, is at, or is beyond its SOL or IROL.  

Constraint– A limitation placed on Interchange Transactions that flow over a Constrained Facility. 

Contract Path - A predetermined electrical path established for scheduling and commercial settlement purposes that represents the continuous flow of electrical energy between the parties to a transaction. The contract path does not necessarily represent the path the energy actually will flow. 

Curtailment Threshold – The minimum Transfer Distribution Factor which, if exceeded, will subject an Interchange Transaction to curtailment to relieve a transmission facility Constraint. 
Facility Loading Level(s) – Loading threshold(s), as defined by NERC, for Monitored Facilities; some Facility Loading Levels may require various actions to be taken in order to ensure continued reliable operation of the transmission grid.

Firm Transmission Service - The highest quality service offered to customers under a filed rate schedule that anticipates no planned interruption.
Generation Shift Factor (GSF) – A factor to be applied to a generator’s expected change in output to determine the amount of flow contribution that change in output will impose on an identified transmission facility or monitored flowgate. 

Generator to Load Distribution Factor (GLDF) -  the algebraic sum of a GSF and an LSF to determine to total impact of an Interchange Transaction on an identified transmission facility or monitored flowgate.    

Interchange Distribution Calculator (IDC) – The mechanism used by Reliability Coordinators in the Eastern Interconnection to calculate the distribution of Interchange Transactions over specific transmission interfaces, which are known as “Flowgates.” It includes a database of all Interchange Transactions and a matrix of the Distribution Factors for the Eastern Interconnection.  

Interchange Transaction - A Transaction that crosses one or more Balancing Authorities’ boundaries. The planned energy exchange between two adjacent Balancing Authorities. 

Interchange Transaction Tag (Tag) – An Interchange Transaction being submitted for implementation according to Version 1.7.095 NERC Transaction Information Systems Working Group  (TISWG) Electronic Tagging Functional Specification 
Interconnection – Any one of the three major electric system networks in North America: Eastern, Western, and ERCOT.

Interconnection Reliability Operating Limit (IROL) – The value (such as MW, MVar, Amperes, Frequency or Volts) derived from, or a subset of the System Operating Limit, which if exceeded, could expose a widespread area of the Bulk Electric System to instability, uncontrolled separation(s) or cascading outages. 

Monitored Facility – A transmission facility (line, transformer, breaker, etc.) that is being monitored for potential SOL or IROL violations.  

Load Shift Factor (LSF) - A factor to be applied to a load’s expected change in demand to determine the amount of flow contribution that change in demand will impose on an identified transmission facility or monitored flowgate.    

Native Load (NL) - The demand imposed on an electric utility or an entity by the requirements of all customers located within a franchised service territory that the electric utility or entity has statutory or contractual obligation to serve.  

NERC – North American Electric Reliability Council

NERC Reallocation Submission Deadline – The deadline as established by NERC by which Interchange Transactions must be submitted to the IDC to be considered for initiation and/or Reallocation during certain Facility Loading Levels.

Network Integration (NI) Transmission Service – As specified in the Transmission Service Providers tariff, service that allows an electric transmission customer to integrate, plan, economically dispatch and regulate its network resources in a manner comparable to that in which the transmission owner serves native load customers. 

Non-Firm Transmission Service - As specified in the Transmission Service Providers tariff, transmission service that is reserved and scheduled on an as-available basis and is subject to curtailment or interruption.    
Point to Point (PTP) Transmission Service - As specified in the Transmission Service Providers tariff, transmission Service reserved and/or scheduled between specified points of receipt and delivery. 
Purchasing-Selling Entity (PSE) – The entity that purchases or sells and takes title to energy capacity and interconnected operations services.  PSE’s may be affiliated or unaffiliated merchants and may and may not own generating facilities.

Reliability Coordinator Information System – RCIS
Reallocation - The total or partial curtailment of Transactions during TLR Level 3a or 5a to allow Transactions using equal or higher priority to be implemented. 
Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas. 
Reliability Coordinator (RC) - An entity that provides the security assessment and emergency operations coordination for a group of Balancing Authorities, Transmission Service Providers, and Transmission Operators. 
Sink Balancing Authority - The Balancing Authority in which the load (Sink) is located for an Interchange Transaction.  (This will also be a receiving balancing authority for the resulting Interchange Schedule).
System Operating Limit (SOL) - The value (such as MW, MVar, Amperes, Frequency or Volts) that satisfies the most limiting of the prescribed operating criteria for a specified system configuration to ensure operation within acceptable reliability criteria. System Operating Limits are based upon certain operating criteria. 
Tie Facility(ies) – The transmission facility(ies) interconnecting Balancing Authority Areas.

Transfer Distribution Factor (TDF) - The portion of an Interchange Transaction, expressed in percent that flows across a transmission facility (Flowgate). 

Transmission Customer - Any eligible customer (or its designated agent) that can or does execute a transmission service agreement or can or does receive transmission service.  

Transmission Loading Relief (TLR) - A procedure used in the Eastern Interconnection to relieve potential or actual loading on a constrained facility. 
Transmission Operator – The entity that operates or directs the operations of the transmission facilities 

Transmission Service – Services needed to move energy from a receipt point to a delivery point provided to Transmission Customers by the Transmission Service Provider. 
Transmission Service Provider (TSP) or Transmission Provider (TP) -  The entity that administers the transmission tariff and provides transmission services to qualified market participants under applicable transmission service agreements. 

Business Practice Requirements:

1. General Requirements Regarding use of Interconnection-wide Procedures
1.1.  Use of Interconnection-wide procedures. All Reliability Coordinators shall be obligated to follow the procedures associated with the appropriate Interconnection-wide procedure for their interconnection.
1.2. Use of “local” procedures. A Reliability Coordinator shall be allowed to implement a local transmission loading relief or congestion management procedures simultaneously with the Interconnection-wide procedure. 
1.2.1. The Reliability Coordinator shall revert back to the Interconnection-wide procedure in the event local procedures do not adequately alleviate the IROL or SOL.

1.3. Market-Based congestion management procedures. Market-Based congestion management procedures shall be allowed as a supplement to (or substitute to) the Interconnection-wide procedure.
1.3.1. The Reliability Coordinator shall ensure that Interchange Transactions that have been identified as having been liked with a Market-Based congestion management procedure are protected from further action as a result of the Interconnection-wide procedure.
1.3.2. The Reliability Coordinator shall revert back to the Interconnection-wide procedure in the event Market-Based procedures do not adequately alleviate the IROL or SOL.

1.4. Commercial notifications. The Reliability Coordinator shall simultaneously notify all parties affected by the invocation of a local congestion management procedure or the Interconnection-wide procedure as determined by the initiation of Facility Loading Level 1 or higher using a method to be specified by NERC.
1.5. Access to procedure logs. The Reliability Coordinator shall ensure that all logs specifying the details associated with the initiation of Facility Loading Level 1 or higher and/or the invocation of the Interconnection-wide procedure are available to all market participants, regardless of the procedure used to achieve that relief. 

2. Interchange Transaction Priorities for use with Interconnection-wide Procedures
2.1. Priority of Interchange Transactions. The Reliability Coordinator shall recognize the Interchange Transaction priority determined by the Transmission Service reserved as follows:

2.1.1. Priority 0. Next-hour Market Service – NX (if offered by Transmission Service Provider)
2.1.2. Priority 1. Service over secondary receipt and delivery points – NS

2.1.3. Priority 2. Non-Firm Point-to-Point  Hourly Service – NH

2.1.4. Priority 3. Non-Firm Point-to-Point  Daily Service – ND

2.1.5. Priority 4. Non-Firm Point-to-Point  Weekly Service – NW

2.1.6. Priority 5. Non-Firm Point-to-Point  Monthly Service – NM

2.1.7. Priority 6. Network Integration Transmission Service from sources not designated as network resources – NN

2.1.8. Priority 7. Firm Point-to-Point Transmission Service  F and Network Integration Transmission Service from Designated Resources – FN

2.2. Interchange Transaction Priority when Transmission Service is Reserved on the Constrained Facility(ies).  The Reliability Coordinator shall use the following procedure to establish the priority of an Interchange Transaction when Transmission Service is reserved on a contract path that includes the constrained facility(ies):
2.2.1. The Reliability Coordinator shall assign priority to the Interchange Transaction based upon the transmission service priority of the Transmission Service link with the Constrained Facility regardless of the Transmission Service priority on the other links along the contract path.
2.2.1.1.  The Reliability Coordinator shall consider the entire Interchange Transaction non-firm if the transmission link (i.e. a segment on the Contract Path) on the Constrained Facility is Non-firm Point-to-Point Transmission Service, even if other links in the contract path are firm. 
2.2.1.2.  The Reliability Coordinator shall consider the entire Interchange Transaction firm if the transmission link on the Constrained Facility is Firm Point-to-Point Transmission Service, even if other links in the contract path are non-firm.
2.3. Interchange Transaction Priority when Transmission Service is not Reserved on the Constrained Facility(ies).  The Reliability Coordinator shall use the following procedure to establish the priority of an Interchange Transaction when Transmission Service is reserved on a contract path that does not include the constrained facility(ies):
2.3.1. The Reliability Coordinator shall assign priority to the Interchange Transaction based upon the lowest transmission service priority of all Transmission Service links along the contract path.
2.3.1.1.  The Reliability Coordinator shall consider the entire Interchange Transaction non-firm if any of the transmission links on the contract path are Non-firm Point-to-Point Transmission Service.

2.3.1.2.  The Reliability Coordinator shall consider the entire Interchange Transaction firm if all of the transmission links on the contract path are Firm Point-to-Point Transmission Service, even if none of the transmission links are on the Constrained Facility, and shall not be curtailed to relieve a Constraint off the contract path until all non-firm Interchange Transactions that are at or above the Curtailment Threshold have been curtailed.
2.4. Sub-Priorities During Reallocation. During Reallocation, the Reliability Coordinator shall establish the following “Sub-Priorities” within each transmission service priority for determining how pending Interchange Transactions with equal or higher priority transmission service shall be loaded:

2.4.1. Sub-Priority S1. Sub-Priority S1 shall be assigned to an Interchange Transaction that is already flowing that is eligible to maintain or reduce its current MW amount in accordance with its energy profile. 
2.4.2. Sub-Priority S2. Sub-Priority S2 shall be assigned to an Interchange Transaction that has been curtailed or halted by the Interconnection-wide procedure that is eligible to be reloaded to the lesser of its current-hour MW amount or next-hour schedule in accordance with its energy profile..
2.4.3. Sub-Priority S3. Sub-Prioirty S3 shall be assigned to an Interchange Transaction that is already flowing that is eligible to increase from its current-hour schedule to its next-hour schedule in accordance with its energy profile. 
2.4.4. Sub-Priority S4. Sub-Priority S4 shall be assigned to an Interchange Transaction that is submitted after the Interconnection-wide procedure has been declared but is eligible to begin flowing once all other Interchange Transactions with the same transmission service priority submitted prior to the initiation of the Interconnection-wide procedure have been (re)loaded.. 

3. Eastern Interconnection Procedure for Physical Curtailment of Interchange Transactions
3.1. When a Monitored Facility reaches Facility Loading Level 1 (Notify Reliability Coordinators of potential SOL or IROL Violations), the Reliability Coordinator shall take no action against any Interchange Transaction.

3.2. When a Monitored Facility reaches Facility Loading Level 2 (Hold transfers at present level to prevent SOL or IROL Violations), the Reliability Coordinator shall take the following actions: 

3.2.1. The Reliability Coordinator should ensure that Facility Loading Level 2 is a transient state, so that Interchange Transactions are properly initiated according to their transmission reservation priority. 

3.2.1.1. The Reliability Coordinator should make best efforts possible to ensure that Facility Loading Level 2 does not exceed 30 minutes in duration.

3.2.1.2. If Facility Loading Level 2 exceeds 30 minutes in duration, the Reliability Coordinator shall document this action on the appropriate procedure log.
3.2.2. The Reliability Coordinator shall hold the implementation of any additional Interchange Transactions using non-firm transmission service that are at or above the Curtailment Threshold.  

3.2.3. The Reliability Coordinator shall allow additional Interchange Transactions that flow across the Constrained Facility to be initiated if their flow reduces the loading on the Constrained Facility or has a Transfer Distribution Factor less than the Curtailment Threshold. 

3.2.4. The Reliability Coordinator shall allow all Interchange Transactions using Firm Point-to-Point Transmission Service to be initiated.

3.2.5. The Reliability Coordinator shall allow all Dynamic Transfers using Firm transmission service to continue as normal.
3.3. When a Monitored Facility reaches Facility Loading Level 3a (Reallocation of Transmission Service by curtailing Interchange Transactions using Non-firm Point-to-Point Transmission Service to allow Interchange Transactions using higher priority Transmission Service), the Reliability Coordinator shall take the following actions:

3.3.1. The Reliability Coordinator shall allow those Interchange Transactions using Firm Point-to-Point Transmission Service that have been submitted prior to the NERC Reallocation Submission Deadline to be initiated as scheduled.

3.3.1.1.  The Reliability Coordinator shall hold an Interchange Transaction using Firm Transmission Service if the Interchange Transaction is submitted after the NERC Reallocation Submission Deadline, but shall allow the transaction to start in the following hour.

3.3.2. The Reliability Coordinator with the constraint shall consider for Reallocation those Interchange Transactions using higher priority Non-firm Point-to-Point Transmission Service as specified in Requirement 2, “Interchange Transaction Priorities for use with Interconnection-wide Procedures”. 

3.3.2.1. The Reliability Coordinator shall consider only those Interchange Transactions that have been submitted prior to the NERC Reallocation Submission Deadline for the upcoming hour. 

3.3.2.1.1. Interchange Transactions submitted after this deadline shall be considered for Reallocation the following hour.

3.3.2.2. The Reliability Coordinator shall only consider those Interchange Transactions at or above the Curtailment Threshold for which the Interconnection-wide procedure is called.
3.3.2.3.  The Reliability Coordinator shall displace Interchange Transactions utilizing lower priority transmission service to allow the initiation of Interchange Transactions utilizing higher priority Non-firm or Firm Transmission Service.
3.3.2.4.  The Reliability Coordinator shall not curtail Interchange Transactions using Non-firm Transmission Service to allow the initiation or increase of another transaction having the same Non-Firm Transmission Service priority.

3.3.2.5. If all Interchange Transactions using Non-firm Point-to-Point Transmission Service have been curtailed and there are additional requests to allow Interchange Transactions using Firm Point-to-Point Transmission Service to begin that cannot be accommodated without violating an SOL/IROL, the Reliability Coordinator shall take actions as specified for conditions under Facility Loading Level 5a. 

3.3.2.6.  The Reliability Coordinator shall reload curtailed Interchange Transactions prior to starting new or increasing existing Interchange Transactions.

3.3.2.6.1. Interchange Transactions that were submitted prior to the initiation of the Interconnection-wide procedure but were subsequently held from starting because they failed to meet the NERC Reallocation Submission Deadline, shall be considered to have been curtailed and thus would be eligible for reload at the same time as the curtailed Interchange Transaction.

3.3.3. The Reliability Coordinator shall consider for Reallocation and/or reload Interchange Transactions that have been held or curtailed as prescribed in this Requirement according to their Transmission Service priorities when operating conditions permit.

3.3.3.1. The Reliability Coordinator shall fill available transmission capability by reloading or starting eligible Transactions on a pro-rata basis. 

3.3.4. The Reliability Coordinator shall consider for Reallocation Interchange Transactions that have start times other than the top of the hour at the start of the following hour.

3.3.5. In considering transactions using Non-Firm Point to Point Transmission Service for curtailment and/or reallocation, the Reliability Coordinator shall consider transaction Sub-Priorities as follows:

3.3.5.1. Interchange Transactions with Sub-Priority S1 shall be allowed to continue flowing at the lesser of its current-hour MW level or the MW level specified in the schedule for the upcoming hour. For calculated values less than zero, zero shall be used.

3.3.5.2. Interchange Transactions with Sub-Priority S2 shall be allowed to reload to the lesser of its current-hour MW level or the MW level specified in the schedule for the upcoming hour. For calculated values less than zero, zero shall be used.

3.3.5.3. Interchange Transactions with Sub-Priority S3 shall be allowed to increase from its current-hour MW level to the MW level specified in its schedule for the upcoming hour. For calculated values less than zero, zero shall be used.
3.3.5.4. Interchange Transactions with Sub-Priority S4 shall be allowed to start once all other Interchange Transactions with the same transmission service priority submitted prior to the initiation of the Interconnection-wide procedure have been (re)loaded. 

3.4. When a Monitored Facility reaches Facility Loading Level 3b (Curtail Interchange Transactions using Non-Firm Transmission Service Arrangements to mitigate a SOL or IROL Violation), the Reliability Coordinator shall take the following actions:

3.4.1. The Reliability Coordinator shall hold all new Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold. 
3.4.2. The Reliability Coordinator shall allow Interchange Transactions using Firm Point-to-Point Transmission Service to start if they are submitted prior to the NERC Reallocation Submission Deadline.
3.4.3. The Reliability Coordinator shall curtail Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold as specified in Requirement 2 “Interchange Transaction Priorities for use with Interconnection-wide Procedures.”
3.4.4. The Reliability Coordinator shall curtail additional Interchange Transactions using Non-firm Point-to-Point Transmission Service to provide transmission capacity for Interchange Transactions using Firm Point-to-Point Transmission Service if those Interchange Transactions using Firm Point-to-Point Transmission Service are scheduled to start during the current hour or the following hour. (Note: change order in process to modify IDC)
3.4.5. If all Interchange Transactions using Non-firm Point to Point Transmission Service have been curtailed and there are additional requests to allow Interchange Transactions using Firm Point-to-Point Transmission Service to begin that cannot be accommodated without violating an SOL/IROL, The Reliability Coordinator shall take actions as specified for conditions under Facility Loading Level 5a.
3.4.6. The Reliability Coordinator shall not allow existing Interchange Transactions using Non-firm Point-to-Point Transmission Service that are not curtailed to increase.

3.4.7. The Reliability Coordinator shall not Reallocate Interchange Transactions using Non-firm Point-to-Point Transmission Service during a Facility Loading Level 3b.
3.5. When a Monitored Facility reaches  Facility Loading Level 4 (Reconfigure Transmission), the Reliability Coordinator shall take the following actions:

3.5.1. The Reliability Coordinator shall hold all new Interchange Transactions using Non-firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold. 
3.5.2. The Reliability Coordinator shall allow Interchange Transactions using Firm Point-to-Point Transmission Service to start if they are submitted prior to the NERC Reallocation Submission Deadline. 

3.6. When a Monitored Facility reaches Facility Loading Level 5a (Reallocation of Transmission Service by curtailing Interchange Transactions using Firm Point-to-Point Transmission Service on a pro rata basis to allow additional Interchange Transactions using Firm Point-to-Point Transmission Service), the Reliability Coordinator shall take the following actions:

3.6.1. The Reliability Coordinator shall use the following process for reallocation of Interchange Transactions using Firm Point-to-Point Transmission Service:

3.6.1.1. The Reliability Coordinator shall assist the Transmission Operator(s) in identifying known re-dispatch options that are available to the Transmission Customer that will mitigate the loading on the Constrained Facilities. 

3.6.1.1.1. If such re-dispatch options are deemed insufficient to mitigate loading on the Constrained Facilities, the Reliability Coordinator shall continue to implement these re-dispatch options while simultaneously implementing other actions as described in this requirement. 
3.6.1.2. The Reliability Coordinator shall calculate the percent of the overload on the Constrained Facility caused by both Interchange Transactions utilizing Firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold and the Transmission Provider’s Network Integration Transmission Service and Native Load, as required by the Transmission Provider’s filed tariff and as described in Requirement 3.11, “Parallel Flow Calculation Procedure for Reallocating or Curtailing Firm Transmission Service.”

3.6.1.3. The Reliability Coordinator shall curtail or reallocate Interchange Transactions and ask for relief from the Transmission Provider’s Network Integration Transmission Service and Native Load as identified above as necessary to allow the start of additional Interchange Transactions utilizing Firm Transmission Service on a pro-rata basis (based on the MW level of the MW total to all such Interchange Transactions).
3.6.1.3.1. The Reliability Coordinator shall assist the Transmission Provider in curtailing Transmission Service to Network Integration Transmission Service customers and Native Load if such curtailments are required by the Transmission Provider’s tariff. 

3.6.1.3.2. The Reliability Coordinator will assist the Transmission Provider to ensure that available re-dispatch options will continue to be implemented. 
3.7. When a Monitored Facility reaches Facility Loading Level 5b (Curtail Interchange Transactions using Firm Point-to-Point Transmission Service to mitigate a SOL or IROL violation), the Reliability Coordinator shall take the following actions:

3.7.1. The Reliability Coordinator shall use the following process for curtailment of Interchange Transactions using Firm Point-to-Point Transmission Service:

3.7.1.1. The Reliability Coordinator shall assist the Transmission Operator(s) in identifying those known re-dispatch options that are available to the Transmission Customer that will mitigate the loading on the Constrained Facilities. 

3.7.1.1.1. If such re-dispatch options are deemed insufficient to mitigate loading on the Constrained Facilities, the Reliability Coordinator shall continue to implement these re-dispatch options while simultaneously implementing other actions as described in this requirement.
3.7.1.2. The Reliability Coordinator shall calculate the percent of the overload on the Constrained Facility caused by both Interchange Transactions utilizing Firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold and the Transmission Provider’s Network Integration Transmission Service and Native Load, as required by the Transmission Provider’s filed tariff and as described in Requirement 3.11, “Parallel Flow Calculation Procedure for Reallocating or Curtailing Firm Transmission Service.”

3.7.1.3. The Reliability Coordinator shall curtail Interchange Transactions and shall ask for relief from the Transmission Provider’s Network Integration Transmission Service and Native Load as calculated above until the SOL or IROL violation has been mitigated. 

3.7.1.3.1. The Reliability Coordinator shall assist the Transmission Provider in curtailing Transmission Service to Network Integration Transmission Service customers and Native Load if such curtailments are required by the Transmission Providers’ tariff. 

3.7.1.3.2. The Reliability Coordinator will assist the Transmission Provider to ensure that available re-dispatch options will continue to be implemented.

3.8. When a Monitored Facility reaches Facility Loading Level 6 (Emergency Conditions), all parties shall work together with the Reliability Coordinator(s) to return the system to a safe and stable condition.
3.9. The Reliability Coordinator shall notify all affected parties when a Monitored Facility has retured to Facility Loading Level 0.
3.10. Determination of the Curtailment Threshold
3.10.1. The Curtailment Threshold for the Eastern Interconnect shall be 0.05 (5%).

3.11. Parallel Flow Calculation Procedure for Reallocating or Curtailing Firm Transmission Service

3.11.1. The Reliability Coordinator shall use Transfer Distribution Factors (TDF’s) to calculate the portion of parallel flows on any Constrained Facility due to Interchange Transactions using Firm Point to Point Transmission Service. 

3.11.1.1. Only those Interchange Transactions with TDF’s greater than or equal to the Curtailment Threshold shall be considered.

3.11.2. The Reliability Coordinator shall use the Per Generator Method  (as described in this section) to calculate the portion of parallel flows on any Constrained Facility due to Network Integrated (NI) transmission service customers and service to Native Load (NL) customers for each Balancing Authority.  

3.11.2.1. The Reliability Coordinator shall assign the amount of Constrained Facility relief that must be achieved by each NI transmission service or NL customers within a given Balancing Authority.  

3.11.2.1.1. For each NI transmission service or NL customer, the Reliability Coordinator shall determine the amount of flow contributing to the constrained facility from those generators assigned to that customer using Generator to Load Distribution Factors (GLDFs) for those generators.

3.11.2.1.2. The GLDF for each generator shall determine the impact that generator has on the Constrained Facility.

3.11.2.1.3. The sum of the contributions to the Constrained Facility from all generators assigned to the NI transmission service or NL customer shall be the amount of relief assigned to that customer.

3.11.2.1.4. The Reliability Authority shall not specify how the reduction will be achieved.

3.11.2.2. GLDFs shall be calculated for each NI transmission service and NL customer as the Generation Shift Factors (GSFs) of the NI transmission service or NL customer’s assigned generation minus its Load Shift Factors (LSFs).  

3.11.2.2.1. GSFs shall be calculated from a single bus in the study case.
3.11.2.2.2. LSFs shall be calculated by scaling load.

3.11.2.2.3. The Generator to Load Distribution Factors (GLDFs) must be greater than or equal to the Curtailment Threshold to be considered.
3.11.2.3. Each generator shall be assigned to a given NI transmission service or NL customer within a Balancing Authority Area for the purposes of calculating their contribution to a given constraint. Exceptions may include special cases where generators are only included for case modeling purposes.

3.11.2.4. For a given generator bus, all generators modeled at that bus shall be assumed online and operating at their maximum MVA value except as noted otherwise in this procedure. 

3.11.2.4.1. At the time of calculation, daily security information will be used to update the calculation for transmission line outages, generator outage or derate information, and daily load forecasts as appropriate.

3.11.2.4.2. Only those generator busses whose aggregate modeled capacity exceeds 20MW shall be considered. Generator busses whose aggregate modeled capacity does not exceed 20MW shall be excluded.

3.11.2.5. Generators shall be assigned to a given NI transmission service or NL customer based upon the customer’s controlling interest in the facility and may include partial facilities or facilities from Balancing Authority Areas external to the customer’s host Balancing Authority.

3.11.2.6. If the total amount of generation from the generation facilities assigned to a given NI transmission service or NL customer exceed the total load for that customer, the generation shall be scaled down to match that customer’s total load.  
3.11.2.7. If the total amount of generation from the generation facilities assigned to a given NI transmission service or NL customer is less than the total load for that customer, it shall be assumed that the imports necessary to meet total load are being scheduled on Point to Point transmission service. Generation shall not be scaled to meet load in this instance.

3.11.2.8. All NI transmission service and NL customers in the Eastern Interconnection, working with their respective Balancing Authorities, shall be obligated to achieve the amount of relief assigned to them by the Reliability Coordinator via the Per Generator Method.
3.11.2.9. The implementation of the Per Generator Method shall be based on transmission and generation information that is readily available.

4. Market-Based Congestion Management Solutions

4.1. Reserved for OWL and/or Market Redispatch
