

[image: image1.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: WEQ

                                       Requesters:
ESS/ITS/BPS Subcommittees                                       Request No.: 
2008 AP Item 2.b.v.3 & 2008 AP Item 2.a.i.3
                                       Request Title:
ATC/TTC Narratives

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

  X   Accept as requested


   X  Change to Existing Practice

      Accept as modified below


      Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
   X Initiation




   X  Initiation 

      Modification




      Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

  X  Business Practice Standard 


  X   Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


In the FERC Order 890 under Docket Nos. RM05-17-000 and RM05-25-000 dated February 16, 2007, Commission made the following conclusions about ATC/TTC Narratives:

369. The Commission adopts the NOPR proposal, with the modifications discussed below, to require that the transmission provider post a brief, but specific, narrative explanation of the reason for a change in monthly and yearly ATC values on a constrained path.  Rather than requiring a narrative when a monthly or yearly ATC value changes as a result of transactions being reserved, service ending, or the TTC estimate for the path changing by more than 10 percent, we will require a narrative when a monthly or yearly ATC value changes only as a result of a 10 percent change in TTC.  This will reduce the number of ATC changes for which a narrative will be required and address concerns that the new requirement unduly burdens transmission providers.  Any remaining burden is justified by the benefit to transmission customers of receiving timely information regarding changes in TTC that result in changes to ATC.  In addition, we adopt NAESB’s suggestion that posted information include the (1) specific events which gave rise to the change and (2) new values for ATC on that path (as opposed to all points on the network).

370. We reject calls for delays prior to posting data.  While commenters allege the possibility of granting others a competitive advantage through the release of “market-sensitive” data, they have proffered no evidence to support the allegation of potential harm.

371. We do require, as suggested in the NOPR, a narrative with regard to monthly or yearly ATC values when ATC remains unchanged at a value of zero for a significant period, and will set that period at six months or longer.  This information will be valuable to customers and regulators in assessing the ability of a transmission provider’s facilities to meet existing service requests.  The information also will provide assurance to customers that the transmission provider is diligent in regularly evaluating ATC on all paths, monitoring persistent constraints and addressing them in its planning processes. 

The ESS/ITS/BPS has reviewed Order 890 and is recommending adoption of the following standards.  The Subcommittee feels this recommendation complies with the guidance provided by the Commission. The guiding principal addressed by the ESS/ITS/BPS is reflected in the following statement:
The Transmission Provider shall post an ATC narrative when the ATC for any constrained Posted Path meets the criteria specified in WEQ-001-Y.1.  Once the condition(s) leading to the unavailability of ATC triggering the need for posting an ATC narrative has been posted, the Transmission Provider is only required to update the ATC Narrative every six months if those conditions have not changed.  The Transmission Provider shall post a new ATC Narrative if the conditions leading to requiring the posting of such narrative have changed at the time that change in conditions is detected. 

Recommended Standards:

Business Practice Standards for Posting the ATC and TTC Narratives
Standard Y:  ATC Narrative
A Transmission Provider shall post on OASIS a brief, but specific, narrative associated with yearly or monthly ATC values when the posted Firm ATC remains unchanged at a value of zero for six months or longer. 
Standard Y.1:  Frequency and Timing of ATC Narratives
Standard Y.1.1:  Initial ATC Narrative
 A Transmission Provider shall post an ATC narrative when Firm ATC for a constrained Posted Path meets any of the following criteria:
a. The monthly Firm ATC value for a given month has been posted at a value of zero for the past six consecutive months 
b. The monthly Firm ATC is posted at a value of zero for a duration of six consecutive months; where that six-month duration could span past, present, and future months. 
c. The yearly Firm ATC is posted at a value of zero for one or more future years 

For examples see Appendix XX.
Standard Y.1.2:  Successive ATC Narrative

Once the initial ATC narrative has been posted, a Transmission Provider shall post successive narratives when the posted Firm ATC for a constrained Posted Path remains zero and meets either of the following criteria:
a. The conditions leading to requiring the posting of such narrative have changed. 
b. The conditions leading to requiring the posting of such narrative have not changed for six consecutive months and are still applicable.
Standard Y.1.3:  ATC Narrative Timing
A Transmission Provider shall post an ATC narrative for each constrained Posted Path within five (5) business days of meeting  the criteria specified in Y.1.1 or Y.1.2.
Standard Y.2: ATC Narrative Posting On OASIS
The ATC narrative shall be posted for each constrained Posted Path which meets one or more of the criteria specified  in Standard Y.1.1 and 1.2.
Standard Y.2.1  The  ATC narrative shall be posted in accordance with the OASIS Implementation Guide (WEQ-013) Version 1.5 and the OASIS Standards and Communication Protocols (WEQ-002) Version 1.5, such that it may be queried and viewed on OASIS using the systemdata template.
Standard Y.2.2  The ATC narrative shall include in the systemdata template the following information:

· SYSTEM_ELEMENT_TYPE = “PATH”
· SYSTEM_ELEMENT  = Name of the path associated with the posted ATC component value 
· SYSTEM_ATTRIBUTE = “ATC_NARRATIVE”
· START_TIME = Date and time that the posted Firm ATC initially became zero, which may be prior to the date of the ATC narrative posting
· STOP_TIME = Date and time when the posted ATC is expected to be greater than zero. If such date and time is unknown, then a null value shall be returned for STOP_TIME. 
· ATTRIBUTE_VALUE = “0”
· ATTRIBUTE_UNITS = “MW”
· ANNOTATION = Narrative text 
Standard Y.2.3  ATC Narrative Text The narrative text shall include: 
Standard Y.2.3.1  Text Strings

One or more of the following text strings, as applicable:
· All ATC is reserved
· CBM increased 

· TRM increased
· TTC reduced by less than ten percent

· TTC reduced by ten percent or more
· Honoring external constraint of entity <abc> (where <abc> is the NERC Reliability Functional Model entity code of the external entity that triggered the change in ATC)
· Other (use of this text string requires additional explanatory text)
Standard Y.2.3.2 EVENT_ID

The security template EVENT_ID associated with the event that resulted in the posted  ATC change,shall also be included in the ATC narrative text, where applicable.
Standard Z:  TTC Narrative

A Transmission Provider shall post on OASIS a brief, but specific, narrative explanation of the reason for a change in the systemdata template monthly or yearly posted ATC value on a constrained Posted Path when the monthly or yearly ATC value changes as a result of a 10 percent or greater change in the related posted TTC (or TFC, if the Available Flowgate Capability (AFC) methodology is used).  

Standard Z.1: Frequency and Timing of the TTC Narrative
Standard Z.1.1: TTC Narrative

A Transmission Provider shall post a TTC narrative when one of the following events occur:

a. a monthly or yearly ATC posted value in systemdata  is changed on a constrained Posted Path as a result of a 10 percent or greater change in the TTC posted value, or 

Based on the language in 890:

B1.  where the Available Flowgate Capability (AFC) methodology is used, a monthly or yearly ATC posted value in systemdata  is changed on a constrained Posted Path as a result of a 10 percent or greater change in the TFC posted value.
Based on the language in 890-A:

B2.  where the Available Flowgate Capability (AFC) methodology is used, a monthly or yearly ATC posted value in systemdata  is changed on a constrained Posted Path by 10 percent or greater as a result of a change in the underlying AFC inputs.

Standard Z.1.2:  TTC Narrative Timing
A Transmission Provider shall post a TTC narrative within five (5)  business days of meeting the criteria identified in Z.1.1.
Standard Z.2: TTC Narrative Posting on OASIS
The TTC narrative shall be posted for each constrained Posted Path which meets the criteria specified  in Standard Z.1.1
Standard Z.2.1  The TTC narrative shall be posted in accordance with the OASIS Implementation Guide (WEQ-013) Version 1.5 and the OASIS Standards and Communication Protocols (WEQ-002) Version 1.5 such that they may be queried and viewed on OASIS using the systemdata template.
Standard Z.2.2  The TTC narrative posting shall include in the systemdata template the following information for each path:

· SYSTEM_ELEMENT_TYPE = “PATH”
· SYSTEM_ELEMENT  = Name of the path associated with the posted TTC or TFC component value
· SYSTEM_ATTRIBUTE = “TTC_NARRATIVE”
· START_TIME = Date and time that the ATC was changed due to the criteria specified in Z.1.1. 
· STOP_TIME = Date and time for the end of the TTC or TFC change posting.  If the date and time for TTC or TFC returning to the previous posted value is unknown then a null value shall be returned for STOP_TIME. 
· ATTRIBUTE_VALUE =  The maximum change in TTC or ATC, as applicable, over the start /stop time interval rounded to the nearest percent (e.g., an increase of 13.7% in TTC would be posted as +14% and a decrease of 13.7% in TTC would be posted as -14%) 
· ATTRIBUTE_UNITS = “%”
· ANNOTATION = Narrative text 
Standard Z.2.3  TTC Narrative text:

The TTC Narrative text shall include: 
Standard Z.2.3.1Entity Code 

The  NERC Reliability Functional Model entity code of the entity whose event triggered the change.
Standard Z.2.3.2 Event ID

The security template EVENTID associated with the TTC or TFC change, where applicable.
Standard Z.2.3.3 

Text Strings

One or more of the following text strings, as applicable:
· load forecast change

· generation dispatch change

· generation forced outage

· generation scheduled outage

· generation addition

· generation retirement

· transmission configuration change

· system element forced outage 

· system element planned outage 

· system element addition

· system element retirement

· addition of a flowgate 
· removal of a flowgate

· facility rating change, including SOL

· change in transfer capability allocation
· Honoring external constraint of entity <abc> (where <abc> is the NERC Reliability Functional Model entity code of the external entity that triggered the change in ATC)
· Other (use of this text string requires additional explanatory text)

4.  SUPPORTING DOCUMENTATION
a.  Description of Request:


WEQ 2007 Annual Plan Item 2(b)(v) – 3rd bullet – Business practice standards that will set forth how transmission providers will post “explanations of the reason for a change in monthly and yearly ATC values on a constrained path.”  The standards will include a requirement that the transmission provider post the reason for the change in a narrative form.  The posted information will include “the (1) specific events which gave rise to the change and (2) new values for ATC on that path (as opposed to all points on the network).” (Paragraph 369 will not require coordination with the NERC Order 890 reliability standards development)
b.  Description of Recommendation:

c.  Business Purpose:

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):

3
ESS/ITS/BPS
January 3, 2008
Page 1

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







