BPS/ESS/ITS Motions
	Date
	Motion By
	Second
	Status
	Recommendation

	1/11/2008
	Barbara Rehman
	Alan Pritchard
	Passed
	A narrative posting is required only when a Transmission Provider’s ATC changes as a result of a 10% or more change in the Transmission Provider’s TTC/TFC

	1/11/2008
	Barbara Rehman
	Barry Green
	Failed
	The identification of transmission facility/element causing the change to TTC/AFC shall be contained in the narrative text

	1/16/2008
	Barbara Rehman
	Barry Green
	Failed
	For Standard Y and Z Narrative shall be posted within 1 business day

	1/16/2008
	Barbara Rehman
	Barry Green
	Failed
	For Standard Y and Z Narrative shall be posted within 2 business days

	1/16/2008
	Paul Sorenson
	Barbara Rehman
	Passed
	Accept the following text for Section Z of recommendation:

Standard Z:  ATC Change Narrative

The Transmission Provider shall post on OASIS a brief, but specific, narrative explanation of the reason for a change in the monthly or yearly firm or non-firm ATC value on a constrained Posted Path when the monthly or yearly ATC value changes as a result of a 10 percent or greater change in the related posted TTC or Total Flowgate Capability (TFC).

	1/16/2008
	Paul Sorenson
	JT Wood
	Passed
	Accept the following text for item b in Section Z.1.1 of  Recommendation:

b.  where the Available Flowgate Capability (AFC) calculation method is used, a converted monthly or yearly ATC posted value changes on a constrained Posted Path as a result of a 10 percent or greater change in the TFC value.

	1/16/2008
	Paul Sorenson
	Alan Pritchard
	Passed
	Accept the following text in section Z 1.2 and Z.2:

Standard Z.1.2:  ATC Change Narrative Timing

The Transmission Provider shall post an ATC Change Narrative within five (5) business days of meeting the criteria identified in Z.1.1.

Standard Z.2: ATC Change Narrative Posting on OASIS

The ATC Change Narrative shall be posted for each constrained Posted Path which meets the criteria specified in Standard Z.1.1.

	1/16/2008
	Paul Sorenson
	JT Wood
	Passed
	Accept the following text in section Z.2.2:
· START_TIME = Date and time that the Transmission Provider’s underlying TTC or TFC was changed consistent with the criteria specified in Z.1.1.

· STOP_TIME = Date and time of the end of the event that triggered the change in the Transmission Provider’s underlying TTC or TFC consistent with the criteria specified in Z.1.1. .  If the date and time for the end of the event that triggered the change is (1) unknown or is indeterminate, (2) beyond the OASIS posting horizon, or (3) the change is permanent then a null value shall be returned for STOP_TIME.

	1/17/2008
	Ed Davis
	Marilyn Franz
	Failed
	The STOP_TIME be a null value for the ATC Change Narrative.  Section Z.2.3.4: STOP_TIME of Null Value will also be removed from the recommendation if this motion is adopted.

	1/17/2008
	Paul Sorenson
	Barbara Rehman
	Withdrawn
	The STOP_TIME be a null value or, if known, Transmission Provider’s best estimate at the time the ATC Change Narrative is posted.  
Section Z.2.3.4: STOP_TIME of Null Value will also be removed from the recommendation if this motion is adopted.

	1/17/2008
	Jimmy Womack
	Barbara Rehman
	Passed
	The Transmission Provider will post a STOP_TIME if a best or reasonable estimate is known at the time of the posting. If it is unknown a null value will be posted adhering to criteria adopted in Z.2.3.4. The Transmission Provider will not have to update the original posting.

	1/28/08
	Barbara Rehman
	Ron Slagel
	Passed
	In section Z.2.2 START_TIME should read: 

START_TIME = Date and time that the Transmission Provider’s most limiting TTC path’s TTC or TFC flowgate’s TFC changed consistent with the criteria specified in Z.1.1.

	1/28/08
	JT Wood 
	Barbara Rehman
	Passed
	In section Z.2.2 STOP_TIME should read: 

STOP_TIME = Date and time of the end of the reason for the change in the Transmission Provider’s most limiting TTC path’s TTC or TFC flowgate’s TFC, consistent with the criteria specified in Z.1.1, if a reasonable estimate is known at the time of the posting.  If the date and time for the end of the reason for the change is (1) unknown or is indeterminate, (2) beyond the OASIS posting horizon, or (3) the change is permanent then a null value shall be returned for STOP_TIME. 



	1/28/08 
	Barbara Rehman 
	JT Wood 
	Passed 
	Add a new section Z.1.3 to read: Standard Z.1.3: ATC Change  Narrative Updates
The Transmission Provider shall not update posted ATC change narratives.  This does not preclude the Transmission Provider from posting an additional ATC change narrative should updated information become available. 


	
	
	
	
	


