Concepts for Load Forecast Posting – 2/21/08
Categories:

Actual Load

· Is Actual Load to be a single daily value? Complete
Addressed through 2/13 Motion: Define Actual Daily Peak Load to be a single integrated clock hour peak value for the prior day using best available information.
· For Actual Load because provided next day is best available value sufficient? Complete

Addressed through 2/13 Motion: Define Actual Daily Peak Load to be a single integrated clock hour peak value for the prior day using best available information.
Forecast Load

· Is the forecast to be a single daily value or corresponding to the ATC calculation time frame (e.g. Hourly, Daily, Monthly, etc.) Completed.
Granularity

· Should the Actual value be required to have a corresponding Forecast value? - Completed
· What is the Forecast granularity for RTO’s? (By CA or LSE obligations versus geographic? If more granularity than in what instances use CA as when they were multiple CA or LSE? For RTO’s/ISO’s all entities with data for CA to do the Actual/Forecast available to post the foot print (which is an aggregation of the CA’s) and the CA Actual/Forecast.) - Completed
· What is the Forecast granularity for TP’s? Completed with motions from  2/13/08 Last two motions listed for that day.
· Is the Forecast to be system wide or system wide and native load?

The requirement is to post system wide (which includes native load) and native load however system wide and native load may be one and the same.
For ISOs/RTOs the requirement is to post the load for the entire ISO/RTO footprint and each LSE/Control area consistent with the Cheryl Mendrala motion approved on February 13, 2008.
· Is Actual Load to be system wide or system wide and native load?

The requirement is to post system wide (which includes native load) and native load however system wide and native load may be one and the same.

For ISOs/RTOs the requirement is to post the load for the entire ISO/RTO footprint and each LSE/Control area consistent with the Cheryl Mendrala motion approved on February 13, 2008.

Assumptions

· Define economic and weather assumptions?  Complete – refer to motions passed on 2/21/08
· Can we rely on the ATC Implementation Document to establish Load Forecast Assumptions and require posting of significant deviations as required on a daily basis?  The group has determined they cannot rely on the ATC Implementation Document to establish Load Forecast Assumptions but believe the Assumptions concepts have been captured through the motions approved on 2/21/08.
Definitions

· The regulatory text says a transmission provider’s forecast and actual load, what is meant by a “transmission provider’s” load? Does that mean control area/balancing area load, etc. Completed with motions from 2/13/08 Last two motions listed for that day.
· Do we have a clear definition of what Native Load it is? This is addressed in the approved OATT and other FERC required reports
· Define a “Footprint” (e.g. market, reliability, tariff, etc.) - Completed
See Kevin Bates Motion
· Should there be separate standards for regional or operational differences as applied to the MODs? - Completed
Recommendation Formatting
· Decide on the two different approaches to the load forecast documentation methodologies. – Completed (Start with only Paul’s recommendations on splits.) 
Timing

· When should the forecast be posted?  The forecast should be posted in the future of the forecast.  - Completed
