Concepts for Load Forecast Posting – 2/13/08
Categories:

Actual Load

· Is Actual Load to be a single daily value?

· For Actual Load because provided next day is best available value sufficient?

Forecast Load

· Is the forecast to be a single daily value or corresponding to the ATC calculation time frame (e.g. Hourly, Daily, Monthly, etc.)

Granularity

· Should the Actual value be required to have a corresponding Forecast value? - Completed
· What is the Forecast granularity for RTO’s? (By CA or LSE obligations versus geographic? If more granularity than in what instances use CA as when they were multiple CA or LSE? For RTO’s/ISO’s all entities with data for CA to do the Actual/Forecast available to post the foot print (which is an aggregation of the CA’s) and the CA Actual/Forecast.) - Completed
· What is the Forecast granularity for TP’s?

· Is the Forecast to be system wide or system wide and native load?

· Is Actual Load to be system wide or system wide and native load?

Assumptions

· Define economic and weather assumptions?

· Can we rely on the ATC Implementation Document to establish Load Forecast Assumptions and require posting of significant deviations as required on a daily basis?

Definitions

· The regulatory text says a transmission provider’s forecast and actual load, what is meant by a “transmission provider’s” load? Does that mean control area/balancing area load, etc.

· Do we have a clear definition of what Native Load it is?

· Define a “Footprint” (e.g. market, reliability, tariff, etc.)

· Should there be separate standards for regional or operational differences as applied to the MODs? - Completed
Recommendation Formatting
· Decide on the two different approaches to the load forecast documentation methodologies. – Completed (Start with only Paul’s recommendations on splits.) 
Timing

· When should the forecast be posted?  The forecast should be posted in the future of the forecast.  - Completed
