	BPS/ESS/ITS Motions

Load Forecast/Actual Peak Load Recommendation

	Date
	Motion By
	Second
	Status
	Recommendation

	2/13/08
	Barbara Rehman
	
	Failed
	Shall post the final Load Forecasts required in 18 CFR for the previous day and may post for a future day.  

	2/13/08
	JT Wood 
	
	Passed
	Shall post the final Load Forecasts required in 18 CFR in advance of the forecasted period.  

	2/13/08
	Marcie Otondo
	
	Passed
	Define Actual Daily Peak Load to be a single integrated clock hour peak value for the prior day using best available information.

	2/13/08
	Marilyn Franz
	
	Passed
	There shall be different aspects in the Standards to represent the differences within MOD 028, 029, 030. 

	2/13/08
	Cheryl Mendrala
	
	Passed
	If the RTO/ISO is currently creating their footprint Load Forecast or Actual Daily Peak Load values based on an aggregation of the area values that are readily available (historical Control Area or Balancing Area, etc.), then those area values shall also be posted in addition to the footprint postings.   Using this area concept the standard need not require posting by LSE.   

	2/13/08
	Marcie Otondo 
	
	Passed
	The Forecast Load shall be comparable to the Actual Daily Peak Load values (e.g.. BA forecast to BA actual)  but this does not require nor restrict the posting of additional Forecast Load or Actual Daily Peak Load values.  

	2/21/08
	Marcie Otondo
	
	Passed
	The ”final” forecast should be the forecast used for preschedule (west) or day-ahead (east) scheduling.

	2/21/08
	Barry Green
	
	Failed
	The forecast corresponding to the ATC calculation should be published

	2/21/08
	Barbara Rehman
	
	Passed
	The “final” forecast is defined as the single maximum hourly value for the next day

	2/21/08
	JT Wood
	
	Passed
	The requirements for load forecast assumptions shall include a descriptive statement which includes the load forecaster (methodology), weather service (for example temperature, humidity, etc.), actual load assumptions (for example system wide load, native load, historical loads, existing contracts, etc.) rather than posting specific weather values used in the specific load forecast.
Economic assumptions have yet to be determined

	2/21/08
	Paul Sorenson
	
	Passed
	When there are differences or deviations in the inputs to load forecast other than as stated in the methodology  that detail should be posted with the load forecast numbers.

	2/21/08
	Marcie Otondo
	
	Passed
	Economic assumptions will either be included in the descriptive statement or the deviation postings (per the two motions directly above).

	2/21/08
	Kevin Bates
	
	Passed
	With regard to the Cheryl Mendrala motion passed on 2/13/08 a footprint shall be defined as the tariff footprint.

	
	
	
	
	

	
	
	
	
	



Page 2 of 2

