

[image: image1.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: 
WEQ

                                       Requesters: 
ESS/ITS/BPA Subcommittees



                                       Request No.: 
2008AP 2.a.i.4

                                       Request Title:
Load Forecast and Actual Load Business

               
Practice Standards associated with S&CP changes.

Reorganization of proposed recommendation per OATI

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

  X  Accept as requested


      Change to Existing Practice

      Accept as modified below


      Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
   X  Initiation




   X  Initiation 

      Modification




  _   Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

      Business Practice Standard 


  X  Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     _X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


In FERC Order 890 under Docket numbers RM05-17 and RM05-25 the Commission made conclusions to posting load forecast and actual peak load in paragraphs 413 and 416.  In FERC Order 890-A under Docket number RM05-17 and RM05-25 the Commission expanded on their requirements for posting load forecast under paragraphs 136 and 143.  The following recommended Standards address these determinations.
Recommended Standards:
Modifications to WEQ-001 (New Requirements)
Business Practice Standards for Posting the Forecast and Actual Loads
NOTE: NAESB Staff will assign appropriate enumeration to this standard to replace “n” with next sequential standard number within WEQ-001
001-n
FORECASTED AND ACTUAL LOAD 
The Transmission Provider or applicable RTO/ISO shall post on OASIS the forecasted system –wide load, including forecasted native-load, Control Area, or individual Load Serving Entity (LSE) load, as applicable, as well as the actual daily peak load according to the following standards.
001-n.1
Definitions 
Transmission Provider Definitions to be defined by TP Breakout session 8:00 – 9:00 CST
Phone: 866-740-1260

Access code 3560061
Security code: 7342
001-n.1.1
Transmission Provider Obligations
 – Forecast Postings
001-n.1.1.1
Total system-wide load - defined as the sum of all forecasted load values applied by the Transmission Provider to their computation of Available Transfer Capability.

001-n.1.1.2
Native-load - defined as that portion of the total system-wide load representing metered or un-metered areas within the Transmission Provider’s service territory for which the Transmission Provider or any of its Affiliates has the obligation to serve.
The “final” forecast is defined as the single maximum hourly value for the next day (from motion)

The ”final” forecast should be the forecast used for preschedule (west) or day-ahead (east) scheduling. (from motion)
Shall post the final Load Forecasts required in 18 CFR in advance of the forecasted period.   (from motion)
001-n.2.1
Transmission Provider Obligations
 – Actual Load Postings
001-n.2.1.1
System-wide Daily Peak load - defined as the highest integrated MWh value for any given hour during the previous calendar day as measured for theTransmission Provider’s total service territory. 

001-n.2.1.2
Native Daily Peak load - defined as the System-wide Daily Peak Load minus the integrated MWh value for that hour of all metered loads within the Transmission Provider’s service territory that are not comprised within the Transmission Provider’s Native load.

Define Actual Daily Peak Load to be a single integrated clock hour peak value for the prior day using best available information. (from motion)
ISO/RTO Definitions to be defined by ISO/RTO Breakout session 8:00 – 9:00 CST
Phone: 866-740-1260

Access code 3560060

Security code: 1022
001-n.1.2
ISO/RTO Obligations

Entities recognized as approved Independent System Operators (ISOs) or Regional Transmission Organizations (RTOs) shall be obligated to post Load Forecast information on OASIS on the following basis.

001-n.1.2.1
Total system-wide load - defined as the sum of all forecasted load values within the entire ISO/RTO footprint as applied by the ISO/RTO to their computation of Available Transfer Capability.

001-n.1.2.2
Zonal (Control Area) load – defined as the forecasted load for any electrically metered areas within the ISO/RTO footprint that are either 1) a currently recognized Balancing Authority, or 2) a formerly recognized Control Area prior to ISO/RTO formation.  

001-n.1.2.2.1
If the entire ISO/RTO footprint is comprised of a single Balancing Authority and was historically a single Control Area prior to ISO/RTO formation, there is no obligation to post any zonal load forecast information for metered areas within the ISO/RTO except as required by 001-n.1.2.3.
001-n.1.2.3
Load Serving Entity (LSE) load – defined as any forecasted load values supplied to the ISO/RTO by an external entity, exclusive of any zonal load forecast information reported under 001-n.1.2.2, that is included in the determination of the ISO/RTOs system-wide total load.

001-n.2.2
ISO/RTO Obligations

Entities recognized as approved Independent System Operators (ISOs) or Regional Transmission Organizations (RTOs) shall be obligated to post actual Daily Peak Load information on OASIS on the following basis.

001-n.2.2.1
System-wide Daily Peak load - defined as the highest integrated MWh value for any given hour during the previous calendar day as measured for the entire ISO/RTO footprint.

001-n.2.2.2
Zonal (Control Area) Daily Peak load – defined as the integrated MWh value for the hour of the System-wide Daily Peak load for load within electrically metered areas within the ISO/RTO footprint whose load forecast information must be posted as required in standard 001-n.1.

001-n.2.2.3
Load Serving Entity (LSE) Daily Peak load – defined as the integrated MWh value for the hour of the System-wide Daily Peak load for load associated with any LSE Loads whose load forecast information must be posted as required in standard 001-n.1.

Total group to work on remainder of document
001-n.1
LOAD FORECAST INFORMATION 
The following standards set forth the obligations of Transmission Providers and ISOs/RTOs for the posting of Load Forecast information, and the information to be supplied on OASIS related to these forecasts.
001-n.1.1
Transmission Provider Obligations

Transmission Providers shall be obligated to post Load Forecast information on OASIS on the following basis. If the Transmission Provider is a member of an approved Independent System Operator (ISO) or Regional Transmission Organization (RTOs), their obligations under this standard are satisified by the obligations of the ISO/RTO.
001-n.1.1.1
Total system-wide load - defined as the sum of all forecasted load values applied by the Transmission Provider to their computation of Available Transfer Capability.
001-n.1.1.2
Native-load - defined as that portion of the total system-wide load representing metered or un-metered areas within the Transmission Provider’s service territory for which the Transmission Provider or any of its Affiliates has the obligation to serve.

001-n.1.2
ISO/RTO Obligations

Entities recognized as approved Independent System Operators (ISOs) or Regional Transmission Organizations (RTOs) shall be obligated to post Load Forecast information on OASIS on the following basis.

001-n.1.2.1
Total system-wide load - defined as the sum of all forecasted load values within the entire ISO/RTO footprint as applied by the ISO/RTO to their computation of Available Transfer Capability.

001-n.1.2.2
Zonal (Control Area) load – defined as the forecasted load for any electrically metered areas within the ISO/RTO footprint that are either 1) a currently recognized Balancing Authority, or 2) a formerly recognized Control Area prior to ISO/RTO formation.  

001-n.1.2.2.1
If the entire ISO/RTO footprint is comprised of a single Balancing Authority and was historically a single Control Area prior to ISO/RTO formation, there is no obligation to post any zonal load forecast information for metered areas within the ISO/RTO except as required by 001-n.1.2.3.
001-n.1.2.3
Load Serving Entity (LSE) load – defined as any forecasted load values supplied to the ISO/RTO by an external entity, exclusive of any zonal load forecast information reported under 001-n.1.2.2, that is included in the determination of the ISO/RTOs system-wide total load.

001-n.1.2.4
ISOs/RTOs shall include in their ATC related methodologies and supporting data information postings on OASIS, the definitions for all Zonal (Control Area) and/or Load Serving Entity (LSE) loads that are included in their ATC computations and posted on OASIS.  
001-n.1.3
OASIS Information Posting Requirments

All load forecast information required to be posted on OASIS by the Transmission Provider or applicable ISO/RTO shall be made available for query through the systemdata template and in compliance with standards WEQ-002, WEQ-003 and WEQ-013.

001-n.1.3.1
Total system-wide load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the Transmission Provider’s service territory or ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 
· SYSTEM_ATTRIBUTE = “SYSTEM_LOAD_FORECAST”

001-n.1.3.2
Native-load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the Transmission Provider’s service territory or ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “NATIVE_LOAD_FORECAST”
001-n.1.3.3
Zonal (Control Area) load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the metered Balancing Authority Area or former Control Area zone within the ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “ZONE_LOAD_FORECAST”

001-n.1.3.4
Load Serving Entity (LSE) load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the LSE’s load within the ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “LSE_LOAD_FORECAST”

001-n.1.3.5
Transmission Providers and ISOs/RTOs shall post or update all required load forecast information on OASIS concurrently with the posting of any updated ATC or related ATC components that incorporate that load forecast information.

001-n.1.3.6
The time granularity, e.g., daily peak, hourly, etc., for all load forecast information postings on OASIS shall be identical to the granularity of the load forecast information incorporated into the Transmission Provider’s calculation of ATC.  To the extent that this time granularity varies relative to the lead time prior to the day of service, the Transmission Provider shall reflect that change in granularity in its load forecast information postings on OASIS.  The time period for which the load forecast value applies shall be represented in the systemdata tremplate START_TIME and STOP_TIME data elements.
001-n.1.3.7
To the extent that there is a significant deviation in the underlying assumptions used by the Transmission Provider in developing a given forecasted load value from those assumptions applied and documented as part of the Transmission Provider’s ATC methodologies and supporting information postings, those deviations shall be posted in a brief, specific narrative using the systemdata tremplate ANNOTATION data element.

001-n.2
ACTUAL LOAD INFORMATION 
The following standards set forth the obligations of Transmission Providers and ISOs/RTOs for the posting of Actual Load information, and the information to be supplied on OASIS related to actual load values.
001-n.2.1
Transmission Provider Obligations

Transmission Providers shall be obligated to post actual Daily Peak Load information on OASIS on the following basis.  If the Transmission Provider is a member of an approved Independent System Operator (ISO) or Regional Transmission Organization (RTOs), their obligations under this standard are satisified by the obligations on the ISO/RTO.
001-n.2.1.1
System-wide Daily Peak load - defined as the highest integrated MWh value for any given hour during the previous calendar day as measured for theTransmission Provider’s total service territory. 

001-n.2.1.2
Native Daily Peak load - defined as the System-wide Daily Peak Load minus the integrated MWh value for that hour of all metered loads within the Transmission Provider’s service territory that are not comprised within the Transmission Provider’s Native load.

001-n.2.2
ISO/RTO Obligations

Entities recognized as approved Independent System Operators (ISOs) or Regional Transmission Organizations (RTOs) shall be obligated to post actual Daily Peak Load information on OASIS on the following basis.

001-n.2.2.1
System-wide Daily Peak load - defined as the highest integrated MWh value for any given hour during the previous calendar day as measured for the entire ISO/RTO footprint.

001-n.2.2.2
Zonal (Control Area) Daily Peak load – defined as the integrated MWh value for the hour of the System-wide Daily Peak load for load within electrically metered areas within the ISO/RTO footprint whose load forecast information must be posted as required in standard 001-n.1.
001-n.2.2.3
Load Serving Entity (LSE) Daily Peak load – defined as the integrated MWh value for the hour of the System-wide Daily Peak load for load associated with any LSE Loads whose load forecast information must be posted as required in standard 001-n.1.

001-n.2.3
OASIS Information Posting Requirments

All actual Daily Peak Load information required to be posted on OASIS by the Transmission Provider or applicable ISO/RTO shall be made available for query through the systemdata template and in compliance with standards WEQ-002, WEQ-003 and WEQ-013.

001-n.2.3.1
System-wide Daily Peak load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the Transmission Provider’s service territory or ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “SYSTEM_ACTUAL_LOAD

001-n.2.3.2
Native Daily Peak load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the Transmission Provider’s service territory or ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “NATIVE_ACTUAL_LOAD”

001-n.2.3.3
Zonal (Control Area) Daily Peak load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the metered Balancing Authority Area or former Control Area zone within the ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “ZONE_ACTUAL_LOAD”

001-n.2.3.4
Load Serving Entity (LSE) load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the LSE’s load within the ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “LSE_ACTUAL_LOAD”

001-n.2.3.5
Transmission Providers and ISOs/RTOs shall post or update all required Daily Peak load information on OASIS for the previous day by noon of the following day. Check to see how this corresponds to the load forecast.
001-n.2.3.6
The hour corresponding to the Daily Peak load values shall be represented in the systemdata tremplate START_TIME and STOP_TIME data elements..
Modifications to WEQ-013 (Revisions noted with redlines)
Business Practices for Open Access Same-Time Information Systems (OASIS) Implementation Guide

Version 1.5



013-3.3.2
System Load Related Query/Response Requirements 
Transmission Providers shall provide data for the following SYSTEM_ATTRIBUTE values related to system-wide load as required by all applicable regulations and business practices:

· ZONE_LOAD_FORECAST – defined as the forecasted load for any electrically metered areas within the ISO/RTO footprint that are either 1) a currently recognized Balancing Authority, or 2) a formerly recognized Control Area prior to ISO/RTO formation
· SYSTEM_LOAD_FORECAST - defined as the sum of all forecasted load values applied by the Transmission Provider to their computation of Available Transfer Capability.
· NATIVE_LOAD_FORECAST – defined as that portion of the total system-wide load representing metered or un-metered areas within the Transmission Provider’s service territory for which the Transmission Provider or any of its Affiliates has the obligation to serve.
· LSE_LOAD_FORECAST – defined as any forecasted load values supplied to the ISO/RTO by an external entity, exclusive of any zonal load forecast information reported under 001-n.1.2.2, that is included in the determination of the ISO/RTOs system-wide total load
· ZONE_ACTUAL_LOAD - defined as the integrated MWh value for the hour of the System-wide Daily Peak load for load within electrically metered areas within the ISO/RTO footprint whose load forecast information must be posted as required in standard 001-n.1.
· SYSTEM_ACTUAL_LOAD – defined as the highest integrated MWh value for any given hour during the previous calendar day as measured for the entire ISO/RTO footprint.
· NATIVE_ACTUAL_LOAD – defined as the System-wide Daily Peak Load minus the integrated MWh value for that hour of all metered loads within the Transmission Provider’s service territory that are not comprised within the Transmission Provider’s Native load
· LSE_ACTUAL_LOAD – defined as the integrated MWh value for the hour of the System-wide Daily Peak load for load associated with any LSE Loads whose load forecast information must be posted as required in standard 001-n.1.
The SYSTEM_ELEMENT_TYPE and SYSTEM_ELEMENT shall be used as follows:

· SYSTEM_ELEMENT_TYPE = LOAD_ZONE

· SYSTEM_ELEMENT = name of the metered zone whose forecast and actual load data is being posted; for ZONE_LOAD_FORECAST, SYSTEM_LOAD_FORECAST,  NATIVE_LOAD_FORECAST, LSE_LOAD_FORECAST, ZONE_ACTUAL_LOAD,  SYSTEM_ACTUAL_LOAD, NATIVE_ACTUAL_LOAD, or LSE_ACTUAL_LOAD, values shall be the registered NERC entiy code for the Transmission Provider, RTO/ISO, or each LSE within the RTO/ISO, as applicable.

The following table shows an example of the systemdata template Data Element usage for providing information on load related data:

	Data Element
	Restriction/Requirement

	POSTING_REF
	The unique OASIS identifier assigned to the posting

	SYSTEM_ELEMENT_TYPE
	“LOAD_ZONE”,

	SYSTEM_ELEMENT
	Name of the specific metered zone associated with the posted value

	SYSTEM_ATTRIBUTE
	“ZONE_LOAD_FORECAST”, “SYSTEM_LOAD_FORECAST”, “NATIVE_LOAD_FORECAST”, “LSE_LOAD_FORECAST”, 
“ZONE_ACTUAL_LOAD”, “SYSTEM_ACTUAL_LOAD”, “NATIVE_ACTUAL_LOAD”, or “LSE_ACTUAL_LOAD”

	START_TIME
	Beginning of date/time interval associated with the posted value

	STOP_TIME
	End of date/time interval associated with the posted value

	ATTRIBUTE_VALUE
	Value of the metered zone, actual or forecasted load over the interval of START_TIME/STOP_TIME

	ATTRIBUTE_UNITS
	”MW”

	ANNOTATION
	Corresponds to forecast postings only


Note: Elements are listed on basis of importance, which may be different from the order required in the template.
Modifications to WEQ-003 (Revisions noted with redlines)
003-0
OASIS DATA DICTIONARY Version 1.5  Modifications

Data Dictionary Element Name  
SYSTEM_ATTRIBUTE 
Valid Values 
 




LSE_LOAD_FORECAST
ZONE_ACTUAL_LOAD





NATIVE_ACTUAL_LOAD

SYSTEM_ACTUAL_LOAD

LSE_ACTUAL_LOAD

Definition of Data Element 



LSE_LOAD_FORECAST - defined as any forecasted load values supplied to the ISO/RTO by an external entity, exclusive of any zonal load forecast information reported under 001-n.1.2.2, that is included in the determination of the ISO/RTOs system-wide total load
ZONE_ACTUAL_LOAD -  defined as the integrated MWh value for the hour of the System-wide Daily Peak load for load within electrically metered areas within the ISO/RTO footprint whose load forecast information must be posted as required in standard 001-n.1. 

NATIVE_ACTUAL_LOAD – defined as the System-wide Daily Peak Load minus the integrated MWh value for that hour of all metered loads within the Transmission Provider’s service territory that are not comprised within the Transmission Provider’s Native load
LSE_ACTUAL_LOAD – defined as the integrated MWh value for the hour of the System-wide Daily Peak load for load associated with any LSE Loads whose load forecast information must be posted as required in standard 001-n.1.
SYSTEM_ACTUAL_LOAD- defined as the highest integrated MWh value for any given hour during the previous calendar day as measured for the entire ISO/RTO footprint..
4.  SUPPORTING DOCUMENTATION
a.  Description of Request:

In the FERC Order 890 under Docket Nos. RM05-17-000 and RM05-25-000 dated February 16, 2007, the Commission made the following conclusions about the requirement for the posting of load forecasts and actual load:
Paragraph 413 - The Commission adopts the proposed requirement to post on OASIS metrics related to the provision of transmission service under the OATT.  Specifically, transmission providers must post (1) the number of affiliate versus non-affiliate requests for transmission service that have been rejected and (2) the number of affiliate versus non-affiliate requests for transmission service that have been made.  This posting must detail the length of service request (e.g., short-term or long-term) and the type of service requested (e.g., firm point-to-point, non-firm point-to-point or network service).  The Commission also will require transmission providers to post their underlying load forecast assumptions for all ATC calculations and, to post on a daily basis, their actual daily peak load for the prior day.  The Commission directs transmission providers to work through NAESB to develop standards for consistent methods of posting the new requirements on OASIS.

Paragraph 416 - With regard to posting of load forecasts and actual daily peak load, we conclude that such postings are necessary to provide transparency for transmission customers.  We agree with E.ON that RTO and ISO load data needs to be posted at a sufficient granularity to allow for meaningful comparison of control area and LSE load levels.  Most RTOs and ISOs post load data for the entire footprint, but few post it on an LSE or control area basis.  We therefore direct ISOs and RTOs to post load data for the entire ISO/RTO footprint and for each LSE or control area footprint within the ISO/RTO.  This will not create an undue burden on ISOs and RTOs, since the load data for the entire footprint is an aggregation of load data across the LSEs or control areas in the footprint.  We also agree with EEI that the peak load applies to system-wide load, including native load.  We direct transmission providers to post load forecasts and actual daily peak load for both system-wide load (including native load) and native load, as this data will be useful to customers and regulators.  We deny EEI’s request for a guarantee that transmission providers will not be held accountable for producing a reasonable load forecast.  While we do not intend to penalize transmission providers for failing to account for unforeseen circumstances, we retain our ability to investigate any allegations of manipulation of load forecasts, as this could be used as a means of inappropriately denying requested transmission service.

In the FERC Order 890-A under Docket Nos. RM05-17-001, 002 and RM05-25-001, 002 dated December 28, 2007, the Commission made the following conclusions about this recommendation:
Paragraph 136 - The Commission also required transmission providers to post their underlying load forecast assumptions for all ATC calculations and to post, on a daily basis, their actual daily peak load for the prior day and load forecasts and actual daily peak load for both system-wide load (including native load) and native load.  ISOs and RTOs are required to post this load data for the entire ISO/RTO footprint and for each LSE or control area footprint within the ISO/RTO.

Paragraph 143 - In response to Constellation, we clarify that underlying load forecast assumptions should include economic and weather-related assumptions.  We revise our regulations to clearly state the obligation to post both actual daily peak load and load forecast data, as required in Order No. 890.
  We decline to adopt E.ON LSE’s request to delay release of load data required to be posted in Order No. 890.  Posting load forecast and actual load data on a control area and LSE level provides necessary transparency to transmission customers and does not, in our view, raise serious competitive implications.
  If there is customer-specific information deemed confidential by the affected customer that impedes the ability of the transmission provider to post this data, we will consider requests for exemption from the posting requirement on a case-by-case base.
The following is the excerpt from Commission regulations related to the above determinations:

890 18 CFR 37.6 Paragraph (b)(3)(iv);  
(iv) Daily load. The Transmission Provider must post on a daily basis, its actual daily peak load for the prior day.
890-A 18 CFR 37.6 Paragraph (b)(3)(iv) revised: 
(iv) Daily load. The Transmission Provider must post on a daily basis, its load forecast, including underlying assumptions, and actual daily peak load for the prior day.
2008 WEQ Annual Plan Item 2.a.i.4

Load Forecast and Actual Load Business Practice Standards associated with S&CP changes.

b.  Description of Recommendation:

c.  Business Purpose:

Implementation of FERC Orders 890 and 890-A.
d. Commentary/Rationale of Subcommittee(s)/Task Force(s):
� See Order No. 890 at P 416.


� See id. at P 417.





�Can’t recall our recent “convention” of when an enumerated standard had a title or not, and format for the title (bold, undrlined, etc.)


�Can’t recall our recent “convention” of when an enumerated standard had a title or not, and format for the title (bold, undrlined, etc.)


�If this would exclude all NITS customers under the OATT within the TPs area, does the TP always have enough telemetered information to make this calculation on a next-day basis?


�I think the intent of the order was to insure some granularity of ISO/RTO.  Is limiting this “LSE” load to being data that is supplied by the LSE for use by the RTO sufficient to avoid posting of loads that are internalized by the RTO, or for retail states where LSE load changes but modelled load is relatively static?


�As with Native load above, would ISO/RTO have this type of information by next day?


�Can’t recall our recent “convention” of when an enumerated standard had a title or not, and format for the title (bold, undrlined, etc.)


�I think the intent of the order was to insure some granularity of ISO/RTO.  Is limiting this “LSE” load to being data that is supplied by the LSE for use by the RTO sufficient to avoid posting of loads that are internalized by the RTO, or for retail states where LSE load changes but modelled load is relatively static?


�I did not envision this to be a different unique attribute.  Since it is an ISO/RTO obligation, suggest we defer to IGO to determine need


�Can’t recall our recent “convention” of when an enumerated standard had a title or not, and format for the title (bold, undrlined, etc.)


�If this would exclude all NITS customers under the OATT within the TPs area, does the TP always have enough telemetered information to make this calculation on a next-day basis?


�As with Native load above, would ISO/RTO have this type of information by next day?


�I personally prefer “SYSTEM_PEAK_LOAD”.


�Note that IF people think native-laod actual daily peak load info is required, we’ll need to define some new SYSTEM_ATTRIBUTEs.  Current 890 S&CP and IG did not envision that this was to be a requirement..





Whatever name is assigned it should be consistent; per above comment suggest NATIVE_PEAK_LOAD.


�See above





Suggest ZONE_PEAK_LOAD or ZONAL_PEAK_LOAD


�See above.





Would prefer not to introduce another attribute and would suggest that this is simply a variant of ZONE/ZONAL_PEAK_LOAD.


�Remaining changes will not be finalized until all above standards are complete.





3
February 21, 2008

Page 4

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







