WEQ 2007 Annual Plan Item 2 b (v)* and (vi)**
Language to complement MOD001, MOD004, MOD008, MOD028, MOD029, MOD030, and to incorporate NERC MOD003 language



WEQ 002-4.5.3
 INFORMATION UNDER ATC INFORMATION LINK 

The Transmission Provider shall establish a link entitled “ATC Information”, located on the OASIS home page at the Transmission Provider’s registered URL address.  Access to some of the information found under the ATC Information link above may require the user to register with the individual OASIS sites, according to WEQ 002-3.1.  
WEQ 002-4.5.3.1
Unless otherwise provided for in a required OASIS template, as defined in WEQ-002 and WEQ 013, the information posted at “ATC Information” should include the following (as applicable to the Transmission Provider’s methodologies):

· Available Transfer Capability Implementation Document (ATCID) (ref to NERC MOD001 R3)
· Contact Information for receiving and addressing questions related to the appicable Available Transfer Capability methodologies, including questions regarding derivation of values, underlying assumptions, data inputs, etc.
· Contingencies and assumptions for calculating transfer capability (ref to NERC MOD028 R2)
· Posted paths (ref to NERC MOD028 R3; Order 890 paragraph 193)

· Reports for TTC Studies (ref to NERC MOD029 R2, R9)

· Definition of Flowgates (ref to NERC MOD030 R3)

· Results of TFC Calculations (ref to NERC MOD030 R11)

· Results of AFC Calculations (ref to NERC MOD030 R21)

· Procedure for CBM (ref to NERC MOD004 R1)

· Procedure to request CBM Import MW requirement (ref to NERC MOD004 R1.1)

· Procedure and assumptions for allocating CBM (ref to NERC MOD004 R1.2)
· Procedures for CBM use (ref to NERC MOD004 R1.3)
· CBM Import Entitlement Report (ref to NERC MOD004 R7.3)

· Report required in NERC MOD004 R12 (CBM Usage Report) (ref t o NERC MOD004 R12)

· 
· CBM Implementation Document (CBMID) as required in (ref to NERC MOD004)
· TRM Implementation Document (TRMID) as required in (ref to NERC MOD008)
It is the intent that this will be included in a brand new section for 001. This section will also include the requirements for Entity Differences and other General OSASIS Requirements. (this will be developed by the ESS/ITS)

WEQ 001-XXX (Title to be determined) 
WEQ 001 – XXX.1 Procedure for Addressing Available Transfer Capability (ATC) Methodology Questions 

The Transmission Providers shall respond to questions related to the applicable Available Transfer Capability methodologies, derivation of values, underlying assumptions, data inputs, etc., within one week of the TP’s contact receipt and shall provide an answer or shall provide an estimate of the amount of time needed to fully respond.. Such questions must be submitted to the contact specified by the Transmission Provider ‘s contact information under the ATC Information Link.

PAGE  
2
9/11/07

* Business Practice Standards for ATC and AFC Calculation Methodologies to complement the NERC reliability standards created for ATC and AFC Methodologies (NERC MOD001 (Available Transfer Capability); NERC MOD028 (Network Response Available Transfer Capability); NERC MOD029 (Rated System Path Available Transfer Capability); and NERC MOD030 (Flowgate Network Response Available Transfer Capability))
** Business practice standards to set forth the procedure for input on TTC and ATC methodologies and values (During the Order 890 NERC and NAESB joint standards development effort, it was determined that the standards contained in MOD003 should be business practice standards instead of reliability standards.  NERC has requested that NAESB adopt the standards as business practices via correspondence to Ms. McQuade, NAESB President.).


