WEQ 2008 Annual Plan
	2
	Develop business practice standards in support of the FERC RM05-25-000 and RM05-17-000 (OATT Reform)

	
	b)
	Develop the needed business practices as companion to the NERC standards for ATC related efforts. (fn omitted)

	
	
	ii)
	Develop Business Practice Standards for Existing Transfer Capability (ETC)
	
	

	
	
	
	2. Business practice standards for accounting for counterflows.  These standards will be included in the ATC business practice standards.  

The business practices developed to address this item will require to coordination with the NERC Order 890 reliability standards development.

Status:  Underway
	June 1, 2008
	BPS, ESS/ITS


Order 890 Work Plan
	293
	Business practice standards for accounting for counterflows.  These standards will be included in the ATC business practice standards (Paragraph 293 will require coordination with the NERC Order 890 reliability standards development)


	WEQ 2008 Annual Plan Item 2(b)(ii)(2)
	These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed:
FORMAL COMMENT:  2nd Q 2008
WEQ EC VOTE:  2nd Quarter, 2008

RATIFICATION: July, 2008
	The ESS/ITS and BPS have created a list of items that are considered post-backs to be used in the creation of post-back requirements. NERC has requested that NAESB practices address post-back requirements. (8/16/07)


NERC MODs dated: February 4, 2008 

Standard MOD-001-1 — Available Transfer Capability
Definitions of Terms Used in Standard
Postback: Positive adjustments to ATC or AFC as defined in Business Practices. Such

Business Practices may include processing of redirects and unscheduled service.

Standard MOD-028-1 — Area Interchange Methodology

R11. When calculating firm ATC for an ATC Path for a specified period, the Transmission Service Provider shall utilize the following algorithm: [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]

ATCF = TTC – ETCF – CBM – TRM + PostbacksF + CounterflowsF

Where:

ATCF is the firm Available Transfer Capability for the ATC Path for that period.

TTC is the Total Transfer Capability of the ATC Path for that period.

ETCF is the sum of existing firm Transmission commitments for the ATC Path during that period.

CBM is the Capacity Benefit Margin for the ATC Path during that period.

TRM is the Transmission Reliability Margin for the ATC Path during that period.

PostbacksF are changes to firm ATC due to a change in the use of Firm Transmission Service for that period, as defined in Business Practices.

CounterflowsF are adjustments to firm ATC as determined by the Transmission Service Provider and specified in the ATCID.

R12. When calculating non-firm ATC for a ATC Path for a specified period, the Transmission Service Provider shall use the following algorithm: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]

ATCNF = TTC – ETCF - ETCNF – CBMS – TRMU + PostbacksNF + CounterflowsNF

Where:

ATCNF is the non-firm Available Transfer Capability for the ATC Path for that period.

TTC is the Total Transfer Capability of the ATC Path for that period.

ETCF is the sum of existing firm Transmission commitments for the ATC Path during that period.

ETCNF is the sum of existing non-firm Transmission commitments for the ATC Path during that period.

CBMS is the Capacity Benefit Margin for the ATC Path that has been scheduled without a separate reservation during that period.

TRMU is the Transmission Reliability Margin for the ATC Path that has not been released for sale (unreleased) as non-firm capacity by the Transmission Service Provider during that period.

PostbacksNF are changes to non-firm ATC due to a change in the use of Non-Firm Transmission Service for that period, as defined in Business Practices.

CounterflowsNF are adjustments to non-firm ATC as determined by the Transmission Service Provider and specified in the ATCID.

Standard MOD-029-1 — Rated System Path Methodology
R7. When calculating firm ATC for an ATC Path for a specified period, the Transmission Service Provider shall use the following algorithm: [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]

ATCF = TTC – ETCF – CBM – TRM + PostbacksF + CounterflowsF

Where

ATCF is the firm Available Transfer Capability for the ATC Path for that period.

TTC is the Total Transfer Capability of the ATC Path for that period.

ETCF is the sum of existing firm commitments for the ATC Path during that period.

CBM is the Capacity Benefit Margin for the ATC Path during that period.

TRM is the Transmission Reliability Margin for the ATC Path during that period.

PostbacksF are changes to firm Available Transfer Capability due to a change in the use of Firm Transmission Service for that period, as defined in Business Practices.

CounterflowsF are adjustments to firm Available Transfer Capability as determined by the Transmission Service Provider and specified in their ATCID.

R8. When calculating non-firm ATC for an ATC Path for a specified period, the Transmission Service Provider shall use the following algorithm: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]

ATCNF = TTC – ETCF – ETCNF – CBMS – TRMU + PostbacksNF + CounterflowsNF

Where:

ATCNF is the non-firm Available Transfer Capability for the ATC Path for that period.

TTC is the Total Transfer Capability of the ATC Path for that period.

ETCF is the sum of existing firm commitments for the ATC Path during that period.

ETCNF is the sum of existing non-firm commitments for the ATC Path during that period.

CBMS is the Capacity Benefit Margin for the ATC Path that has been scheduled during that period.

TRMU is the Transmission Reliability Margin for the ATC Path that has not been released for sale (unreleased) as non-firm capacity by the Transmission Service Provider during that period.

PostbacksNF are changes to non-firm Available Transfer Capability due to a change in the use of Non-Firm Transmission Service for that period, as defined in Business Practices.

CounterflowsNF are adjustments to non-firm Available Transfer Capability as determined by the Transmission Service Provider and specified in its ATCID.

Standard MOD-030-1 — Flowgate Methodology
R8. When calculating firm AFC for a Flowgate for a specified period, the Transmission Service Provider shall use the following algorithm: [Violation Risk Factor: Medium] [Time Horizon: Operations Planning]

AFCF = TFC – ETCFi – CBMi – TRMi + PostbacksFi + CounterflowsFi

Where:

AFCF is the firm Available Flowgate Capability for the Flowgate for that period.

TFC is the Total Flowgate Capability of the Flowgate.

ETCFi is the sum of the impacts of existing firm Transmission commitments for the Flowgate during that period.

CBMi is the impact of the Capacity Benefit Margin on the Flowgate during that period.

TRMi is the impact of the Transmission Reliability Margin on the Flowgate during that period.

PostbacksFi are changes to firm AFC due to a change in the use of Firm Transmission Service for that period, as defined in Business Practices.

CounterflowsFi are adjustments to firm AFC as determined by the Transmission Service Provider and specified in their ATCID.

R9. When calculating non-firm AFC for a Flowgate for a specified period, the Transmission Service Provider shall use the following algorithm: [Violation Risk Factor: Lower] [Time Horizon: Operations Planning]

AFCNF = TFC – ETCFi – ETCNFi – CBMSi – TRMUi + PostbacksNFi + Counterflows

Where:

ATCNF is the non-firm Available Flowgate Capability for the ATC Path for that period.

TFC is the Total Flowgate Capability of the Flowgate.

ETCFi is the sum of the impacts of existing firm Transmission commitments for the Flowgate during that period.

ETCNFi is the sum of the impacts of existing non-firm Transmission commitments for the Flowgate during that period.

CBMSi is the impact of any schedules during that period using Capacity Benefit Margin.

TRMUi is the impact on the Flowgate of the Transmission Reliability Margin that has not been released (unreleased) for sale as non-firm capacity by the Transmission Service Provider during that period.

PostbacksNF are changes to non-firm Available Flowgate Capability due to a change in the use of Non-Firm Transmission Service for that period, as defined in Business Practices.

CounterflowsNF are adjustments to non-firm AFC as determined by the Transmission Service Provider and specified in their ATCID.

Direct Comparison of NERC MOD Language

Standard MOD-001-1 — Available Transfer Capability
Definitions of Terms Used in Standard
Postback: Positive adjustments to ATC or AFC as defined in Business Practices. Such

Business Practices may include processing of redirects and unscheduled service.

Standard MOD-028-1 — Area Interchange Methodology

ATCF = TTC – ETCF – CBM – TRM + PostbacksF + CounterflowsF

PostbacksF are changes to firm ATC due to a change in the use of Firm Transmission Service for that period, as defined in Business Practices.

ATCNF = TTC – ETCF - ETCNF – CBMS – TRMU + PostbacksNF + CounterflowsNF

PostbacksNF are changes to non-firm ATC due to a change in the use of Non-Firm Transmission Service for that period, as defined in Business Practices.

Standard MOD-029-1 — Rated System Path Methodology
ATCF = TTC – ETCF – CBM – TRM + PostbacksF + CounterflowsF

PostbacksF are changes to firm Available Transfer Capability due to a change in the use of Firm Transmission Service for that period, as defined in Business Practices.

ATCNF = TTC – ETCF – ETCNF – CBMS – TRMU + PostbacksNF + CounterflowsNF

PostbacksNF are changes to non-firm Available Transfer Capability due to a change in the use of Non-Firm Transmission Service for that period, as defined in Business Practices.

Standard MOD-030-1 — Flowgate Methodology
AFCF = TFC – ETCFi – CBMi – TRMi + PostbacksFi + CounterflowsFi

PostbacksFi are changes to firm AFC due to a change in the use of Firm Transmission Service for that period, as defined in Business Practices.

AFCNF = TFC – ETCFi – ETCNFi – CBMSi – TRMUi + PostbacksNFi + Counterflows

PostbacksNF are changes to non-firm Available Flowgate Capability due to a change in the use of Non-Firm Transmission Service for that period, as defined in Business Practices.

