


The following are comments from OATI to the Load Forecast Recommendation dated March 3, 2008.  All changes to the standard recommendation with the exception of the modifications to WEQ-013 were first accepted and the new redline changes applied.

OATI would also like to comment on Puget’s comments with respect to the regulatory text pertinent to this standard.  Specifically:

However, the regulatory text reads:

18 CFR Part 37.6,(b)(3)(iv) Daily load. The Transmission Provider must post on a daily basis, its load forecast, including underlying assumptions, and actual daily peak load for the prior day.
As such, the standard should read:

1) Transmission providers must post, at a minimum, everyday by 05:00am local time, the previous day’s system-wide actual peak load value, the hour in which it occurred, and the corresponding actual native load value.

2) Transmission providers must post, at a minimum, everyday by 05:00am local time, the previous day’s system-wide forecasted load value, and the corresponding forecasted native load value.

There appears to be confusion in the wording of the regulatory text as to whether it should be read as follows:

The Transmission Provider must post on a daily basis, its load forecast, including underlying assumptions (for the prior day [implied]), and actual daily peak load for the prior day.
Or as:

The Transmission Provider must post on a daily basis, its load forecast, including underlying assumptions.  (And,  the Transmission Provider must post on a daily basis) actual daily peak load for the prior day.
From the commission determination cited by Puget:

Order 890, paragraph 413, states – “The Commission also will require transmission providers to post their underlying load forecast assumptions for all ATC calculations and, to post on a daily basis, their actual daily peak load for the prior day. 
OATI interprets this statement to more clearly point out that there are load forecast postings required to back ALL ATC calculations.   And (oh, by the way), post actual daily peak load for the prior day.
The comments proposed are to address what OATI feels is the intent of Order 890/890-A, to post its load forecast, including underlying assumptions, for all ATC calculations.
From an organizational point of view, OATI would recommend that the obligations for forecasted load be presented preceding the actual load.  The reason being that the actual value posted is the one that should be comparable in nature to the forecasted value and not the other way around as proposed.  In other words, if an ISO/RTO uses a third party supplied forecasted value in its ATCs, it should post a corresponding actual for that same zone.
1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

  X  Accept as requested


      Change to Existing Practice

      Accept as modified below


      Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
   X  Initiation




   X  Initiation 

      Modification




  _   Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

      Business Practice Standard 


  X  Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     _X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


In FERC Order 890 under Docket numbers RM05-17 and RM05-25, the Commission made conclusions regarding posting load forecast and actual peak load in paragraphs 413 and 416.  In FERC Order 890-A under Docket number RM05-17 and RM05-25 the Commission expanded on their requirements for posting load forecast under paragraph 43.  The following recommended Standards address these determinations.
Recommended Standards:
Modifications to WEQ-001 (New Requirements)
Business Practice Standards for Posting the Forecast and Actual Loads

NOTE: NAESB Staff will assign appropriate enumeration to this standard to replace “n” with next sequential standard number within WEQ-001
001-n
ACTUAL and FORECASTED LOAD 
The Transmission Provider or applicable RTO/ISO shall post on OASIS the actual daily peak load , as well as  the forecasted system–wide load, including forecasted native-load, Control Area, or individual Load Serving Entity (LSE) load, as applicable according to the following standards. If the Transmission Provider is a member of an approved Independent System Operator (ISO) or Regional Transmission Organization (RTO), their obligations under this standard are satisified by the obligations of the ISO/RTO.

001-n.1
Transmission Provider Obligations – Actual Load Postings

The Transmission Provider shall post the following actual load information on OASIS:

001-n.1.1
Actual Daily System-wide Peak Load - defined as the single maximum integrated MWh 
value as measured for the prior day using the best available information for the transmission provider’s service territory.  System-wide load includes native load.

001-n.1.2
Actual Daily Native Load - defined as the total load of Native Load Customers as defined in the approved Tariff or as defined by NERC, and shall be determined as the Actual Daily System-wide Peak Load for the prior day minus the best available information for the coincident hourly integrated MWh value for measured loads within the Transmission Provider’s service territory not considered Native Load.
001-n.2
Transmission Provider Obligations – Forecasted Load Postings
The Transmission Provider shall post the following load forecast information on OASIS:



001-n.2.1
Forecasted System-wide Load - defined as the sum of all forecasted load values applied by the Transmission Provider to their computation of Available Transfer Capability for the Transmission Provider’s entire service territory.

001-n.2.2
Forecasted Native Load - defined as that portion of the Forecasted System-wide Load representing Native Load Customers as defined in the approved Tariff or as defined by NERC.


001-n.2.2.1
The Transmission Provider shall determine the Forecasted Native Load on a comparable basis to that used to determine the Actual Daily Native Load (e.g., inclusion or exclusion of particular loads).

001-n.3
ISO/RTO Obligations – Actual Load Postings

The ISO/RTO shall post the following actual load information on OASIS:

001-n.3.1
Actual Daily System-wide Peak Load - defined as the single maximum hourly integrated MWh value for the prior day as measured for the entire ISO/RTO tariff footprint.
001-n.3.2
Actual Daily Zonal Load - defined as the coincident area or zonal actual load values from those readily available historical Control Area or Balancing Authority Area, or Load Serving Entity metered loads that are aggregated to compute the Actual Daily System-wide Peak Load.


001-n.3.2.1
If the entire ISO/RTO tariff footprint is comprised of a single Balancing Authority Area and was historically a single Control Area prior to ISO/RTO formation, the obligation for posting Actual Daily Zonal Load information has been met by posting the Actual Daily System-Wide Peak Load. 

001-n.3.3
Posting of Actual Daily System-Wide Peak Load shall meet the ISO/RTO Actual Daily Native Load posting requirement as the Transmission Provider.
001-n.4.
ISO/RTO Obligations – Forecasted Load Postings

The ISO/RTO shall post the following load forecast information on OASIS:



001-n.4.1
Forecasted System-wide Load - defined as the sum of all forecasted load values applied by the ISO/RTO to their computation of Available Transfer Capability over the entire ISO/RTO tariff footprint.

001-n.4.2
Forecasted Zonal Load - defined as the forecasted load for any electrically metered areas within the ISO/RTO footprint that are either 1) a currently recognized Balancing Authority Area, or 2) a formerly recognized Control Area prior to ISO/RTO formation, or 3) a Load Serving Entity’s (LSE) metered load for which a third-party supplied forecasted load value is incorporated into the computation of the ISO/RTO Forecasted System-wide Load.
001-n.4.2.1
If the entire ISO/RTO tariff footprint is comprised of a single Balancing Authority Area and was historically a single Control Area prior to ISO/RTO formation, the obligation for posting Forecasted Zonal Load information has been met by posting the Forecasted System-wide Load. 
001-n.4.2.2
If the ISO/RTO is providing Actual Daily Zonal Load values, the ISO/RTO shall provide comparable Forecasted Zonal Load values.    

001-n.4.3
Posting of Forecasted System-wide Load shall meet the ISO/RTO Forecasted Native Load posting requirement as the Transmission Provider.
001-n.4.4
ISOs/RTOs shall include in their ATC related methodologies and supporting data information postings on OASIS, the definitions and names associated with all Zonal (Control Area, Balancing Auhority Area, and/or LSE) loads that are included in their ATC computations and posted on OASIS.  
001-n.5
OASIS Information Posting Requirments - Actual Load

All actual load information required to be posted on OASIS by the Transmission Provider or applicable ISO/RTO shall be made available for query through the systemdata template and in compliance with standards WEQ-002, WEQ-003 and WEQ-013.  

001-n.5.1
Actual Daily System-Wide Peak Load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the Transmission Provider’s service territory or ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “SYSTEM_ACTUAL_LOAD”

001-n.5.2
Actual Daily Native Load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the Transmission Provider’s service territory 

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “NATIVE_ACTUAL_LOAD”
001-n.5.3
Actual Daily Zonal (Control Area or Balancing Authority Area, or LSE) Load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the metered Balancing Authority Area, former Control Area, or LSE load zone within the ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “ZONE_ACTUAL_LOAD”

001-n.5.4
The hour corresponding to the Actual Daily Peak Load values shall be represented in the systemdata template START_TIME and STOP_TIME data elements.
001-n.5.5
The Transmission Provider or applicable ISO/RTO shall post on OASIS the required actual load information for the prior day by noon, prevailing time, of the subsequent day.

001-n.6
OASIS Information Posting Requirments - Forecasted Load
All load forecast information required to be posted on OASIS by the Transmission Provider or applicable ISO/RTO shall be made available for query through the systemdata template and in compliance with standards WEQ-002, WEQ-003 and WEQ-013.  

001-n.6.1
Forecasted System-Wide Load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the Transmission Provider’s service territory or ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “SYSTEM_LOAD_FORECAST”

001-n.6.2
Forecasted Native Load shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the Transmission Provider’s service territory

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “NATIVE_LOAD_FORECAST”
001-n. 6.3
Forecasted Zonal Load (Balancing Authority Area, Control Area, or LSE) shall be posted on OASIS and made available for query using the following systemdata template data elements:

· SYSTEM_ELEMENT = Name associated with the metered Balancing Authority Area,former Control Area, or LSE load zone within the ISO/RTO footprint

· SYSTEM_ELEMENT_TYPE = “LOAD_ZONE” 

· SYSTEM_ATTRIBUTE = “ZONE_LOAD_FORECAST”

001-n.6.4
The time period for which the load forecast value applies shall be represented in the systemdata template START_TIME and STOP_TIME data elements.

001-n.6.5
The time granularity, e.g., daily vs. hourly, and forward time horizon, e.g., current and next 13 months, for all load forecast information postings on OASIS shall be identical to the granularity of the load forecast values and time horizon overwhich those values are incorporated into the Transmission Provider’s calculation of ATC.  To the extent that this time granularity varies relative to the lead time prior to the day of service, i.e., switch from daily to hourly values, the Transmission Provider shall reflect that change in granularity in its updates to the load forecast information postings on OASIS.  

001-n.6.6
The Transmission Provider or applicable ISOs/RTOs shall post or update all required load forecast information on OASIS concurrently with the posting of any new or updated ATC or related ATC component values that incorporate that load forecast information.

001-n.6.7
The Transmission Provider or applicable ISO/RTO  shall  post a document on the ATC Information link described in WEQ-001-13.1 that shall contain the underlying load forecast assumptions. The document shall be a descriptive statement which includes the load forecaster (methodology), all weather variables used (e.g., temperature, humidity, wind speed, number of measuring points), actual load assumptions (e.g., system-wide load, native load, historical loads, existing contracts) and economic assumptions.  This descriptive statement shall satisfy the requirement for posting underlying load forecast assumptions including economic and weather-related assumptions. 

001-n.6.8 
When there are differences or deviations in the inputs to the load forecast other than as documented in the descriptive statement specified in 001-n.6.5, a brief specific narrative explanation of the difference or deviation in the underlying load forecast assumptions shall be posted with the load forecast values using the systemdata template ANNOTATION data element.
Modifications to WEQ-013 (Revisions noted with redlines)
Business Practices for Open Access Same-Time Information Systems (OASIS) Implementation Guide

Version 1.5
013-3.3.2
System Load Related Query/Response Requirements 
Transmission Providers or applicable ISO/RTOs shall provide data for the following SYSTEM_ATTRIBUTE values related to System load postings as required by all applicable regulations and business practices:

· ZONE_LOAD_FORECAST – The applicable ISO/RTO’s anticipated Forecasted Zonal Load as specified in WEQ-001-n.4
· SYSTEM_LOAD_FORECAST – The Transmission Provider’s or applicable ISO/RTO’s anticipated Forecasted System-Wide Load as specified in WEQ-001-n.2 and WEQ-001-n.4
· NATIVE_LOAD_FORECAST – The Transmission Provider’s anticipated portion of the Forecasted System-Wide Load for the native load as specified in WEQ-001-n.2
· ZONE_ACTUAL_LOAD – The applicable ISO/RTO’s Actual Daily Zonal Load as specified in WEQ-001-n.3
· SYSTEM_ACTUAL_LOAD – The Transmission Provider’s or applicable ISO/RTO’s Actual Daily System-Wide Peak Load as specified in WEQ-001-n.1 and WEQ-001-n.3
· NATIVE_ACTUAL_LOAD – The Transmission Provider’s portion of the Actual Daily System-Wide Peak Load for the native load as specified in WEQ-001-n.1
The SYSTEM_ELEMENT_TYPE and SYSTEM_ELEMENT shall be used as follows:

· SYSTEM_ELEMENT_TYPE = LOAD_ZONE

· SYSTEM_ELEMENT = Name associated with the Transmission Provider’s services territory or ISO/RTO footprint or name associated with the metered Balancing Authority Area,former Control Area, or Load Serving Entity’s zone within the ISO/RTO footprint whose forecast and actual load data is being posted; for SYSTEM_LOAD_FORECAST,  NATIVE_LOAD_FORECAST, SYSTEM_ACTUAL_LOAD, or NATIVE_ACTUAL_LOAD, this shall be a registered NERC entity code associated with the Transmission Provider’s service territory or ISO/RTO footprint.

The following table shows an example of the systemdata template Data Element usage for providing information on load related data:

	Data Element
	Restriction/Requirement

	POSTING_REF
	The unique OASIS identifier assigned to the posting

	SYSTEM_ELEMENT_TYPE
	“LOAD_ZONE”

	SYSTEM_ELEMENT
	The name of the Balancing Authority Area, former Control Area, or LSE zone whose actual or forecasted load is being posted.

	SYSTEM_ATTRIBUTE
	One of:

“ZONE_LOAD_FORECAST”, “SYSTEM_LOAD_FORECAST”, “NATIVE_LOAD_FORECAST”, “ZONE_ACTUAL_LOAD”,
“SYSTEM_ACTUAL_LOAD”, or “NATIVE_ACTUAL_LOAD”

	START_TIME
	Beginning of date/time interval associated with the posted value

	STOP_TIME
	End of date/time interval associated with the posted value

	ATTRIBUTE_VALUE
	Value of the actual or forecasted load over the interval of START_TIME/STOP_TIME

	ATTRIBUTE_UNITS
	“MW”

	ANNOTATION
	Corresponds to forecasted load postings only, as applicable


Note: Elements are listed on basis of importance, which may be different from the order required in the template.
Modifications to WEQ-003 (Revisions noted with redlines)
	003-0
OASIS DATA DICTIONARY Version 1.5

	Data Dictionary Element Name
	Alias
	Field Format :
minimum characters  
{type of ASCII} 
maximum characters
	Restricted Values
	Definition of Data Element

	SYSTEM_ATTRIBUTE
	SYSATTR
	0{ALPHANUMERIC}15
	Valid Values:

CBM

FTRM
NFTRM
TTC

FATC

NFATC

ATC_ANNOTATION

ZONE_LOAD_FORECAST

SYSTEM_LOAD_FORECAST

NATIVE_LOAD_FORECAST

ZONE_ACTUAL_LOAD

SYSTEM_ACTUAL_LOAD

NATIVE_ACTUAL_LOAD
{Registered}
	Type of system data viewed by systemdata template:

CBM – Capacity Benefit Margin

FTRM – Transmission Reliability Margin for use in FATC

NFTRM – Transmission Reliability Margin for use in NFATC
TTC – Total Transmission Capability

FATC –Firm Available Transmission Capability

NFATC – Non-firm Available Transmission Capability

ATC_ANNOTATION – Annotation for a change in monthly or yearly posted ATC.





ZONE_LOAD_FORECAST – The applicable ISO/RTO’s anticipated Forecasted Zonal Load as specified in WEQ-001-n.4

SYSTEM_LOAD_FORECAST – The Transmission Provider’s or applicable ISO/RTO’s anticipated Forecasted System-Wide Load as specified in WEQ-001-n.2 and WEQ-001-n.4

NATIVE_LOAD_FORECAST – The Transmission Provider’s anticipated portion of the Forecasted System-Wide Load for the native load as specified in WEQ-001-n.2

ZONE_ACTUAL_LOAD – The applicable ISO/RTO’s Actual Daily Zonal Load as specified in WEQ-001-n.3

SYSTEM_ACTUAL_LOAD – The Transmission Provider’s or applicable ISO/RTO’s Actual Daily System-Wide Peak Load as specified in WEQ-001-n.1 and WEQ-001-n.3

NATIVE_ACTUAL_LOAD – The Transmission Provider’s portion of the Actual Daily System-Wide Peak Load for the native load as specified in WEQ-001-n.1
{registered} – Provider specific registered name for the data posted




































4.  SUPPORTING DOCUMENTATION
a.  Description of Request:

In the FERC Order 890 under Docket Nos. RM05-17-000 and RM05-25-000 dated February 16, 2007, the Commission made the following conclusions about the requirement for the posting of load forecasts and actual load:
Paragraph 413 - The Commission adopts the proposed requirement to post on OASIS metrics related to the provision of transmission service under the OATT.  Specifically, transmission providers must post (1) the number of affiliate versus non-affiliate requests for transmission service that have been rejected and (2) the number of affiliate versus non-affiliate requests for transmission service that have been made.  This posting must detail the length of service request (e.g., short-term or long-term) and the type of service requested (e.g., firm point-to-point, non-firm point-to-point or network service).  The Commission also will require transmission providers to post their underlying load forecast assumptions for all ATC calculations and, to post on a daily basis, their actual daily peak load for the prior day.  The Commission directs transmission providers to work through NAESB to develop standards for consistent methods of posting the new requirements on OASIS.

Paragraph 416 - With regard to posting of load forecasts and actual daily peak load, we conclude that such postings are necessary to provide transparency for transmission customers.  We agree with E.ON that RTO and ISO load data needs to be posted at a sufficient granularity to allow for meaningful comparison of control area and LSE load levels.  Most RTOs and ISOs post load data for the entire footprint, but few post it on an LSE or control area basis.  We therefore direct ISOs and RTOs to post load data for the entire ISO/RTO footprint and for each LSE or control area footprint within the ISO/RTO.  This will not create an undue burden on ISOs and RTOs, since the load data for the entire footprint is an aggregation of load data across the LSEs or control areas in the footprint.  We also agree with EEI that the peak load applies to system-wide load, including native load.  We direct transmission providers to post load forecasts and actual daily peak load for both system-wide load (including native load) and native load, as this data will be useful to customers and regulators.  We deny EEI’s request for a guarantee that transmission providers will not be held accountable for producing a reasonable load forecast.  While we do not intend to penalize transmission providers for failing to account for unforeseen circumstances, we retain our ability to investigate any allegations of manipulation of load forecasts, as this could be used as a means of inappropriately denying requested transmission service.

In the FERC Order 890-A under Docket Nos. RM05-17-001, 002 and RM05-25-001, 002 dated December 28, 2007, the Commission made the following conclusions about this recommendation:
Paragraph 143 - In response to Constellation, we clarify that underlying load forecast assumptions should include economic and weather-related assumptions.  We revise our regulations to clearly state the obligation to post both actual daily peak load and load forecast data, as required in Order No. 890.
  We decline to adopt E.ON LSE’s request to delay release of load data required to be posted in Order No. 890.  Posting load forecast and actual load data on a control area and LSE level provides necessary transparency to transmission customers and does not, in our view, raise serious competitive implications.
  If there is customer-specific information deemed confidential by the affected customer that impedes the ability of the transmission provider to post this data, we will consider requests for exemption from the posting requirement on a case-by-case base.
The following is the excerpt from Commission regulations related to the above determinations:

890 18 CFR 37.6 Paragraph (b)(3)(iv);  

(iv) Daily load. The Transmission Provider must post on a daily basis, its actual daily peak load for the prior day.

890-A 18 CFR 37.6 Paragraph (b)(3)(iv) revised: 

(iv) Daily load. The Transmission Provider must post on a daily basis, its load forecast, including underlying assumptions, and actual daily peak load for the prior day.

2008 WEQ Annual Plan Item 2.a.i.4

Load Forecast and Actual Load Business Practice Standards associated with S&CP changes.

b.  Description of Recommendation:

c.  Business Purpose:

Implementation of FERC Orders 890 and 890-A.
d. Commentary/Rationale of Subcommittee(s)/Task Force(s):

Note: Reference in section WEQ-001-n.4.5 to the ATC Information link is dependent on ratificatication of the recommendation number “2008 AP Item 2.a.i.5, 2008 AP Item 2.a.i.6, and 2008 AP Items 2.a.ii.1-3” http://www.naesb.org/pdf3/2008_weq_ap_2ai5_2ai6_2aii1-3_rec_clean.doc.
Note: Redline changes to WEQ-013-3.3.2 are based on the membership ratification of the recommendation number “2007 AP item 2(ii)” http://www.naesb.org/doc_view2.asp?doc=weq_rat013108_2007_weq_ap_2ii_rec_attach013.doc, which was ratified on February 29, 2008. 
Note: Redline changes to WEQ-003-0 are based on the membership ratification of the recommendation number “2007 AP item 2(ii)” http://www.naesb.org/doc_view2.asp?doc=weq_rat013108_2007_weq_ap_2ii_rec_attach003.doc, which was ratified on February 29, 2008. 
Please review the following Joint BPS and ESS/ITS ATC/AFC Subcommittee meeting minutes:

· February 13, 2008

· February 21-22, 2008

· February 27, 2008

Please review the Motions Document:  http://naesb.org/pdf3/weq_atc_afc022108a2.doc
� See Order No. 890 at P 416.


� See id. at P 417.





�Be consistent with wording between TP and ISO/RTO standards, whatever is decided to be the best definition.


�Is there a better way to tighten a definition of what native load is?  Isn't it customers of the TP that are not taking service under Part II (ptp) or Part III (nits) of the OATT?


�I would recommend that this obligation be reversed - actual load value should be computed comparably to the forecasted value used in ATC.


�See comments on page 1 - believe this requirement should be swapped.  Actual data must be supplied comparable to the forecast data used in ATC.





�Note that had to be a little less specific in this language.  For example, TP of CPL would be posting load forecasts for the CPLE and CPLW areas, so stating that the name would be the TP entity code is incorrect in this case.


�This was a change from the original from 15 to 20





3
March 6, 2008
Page 15

[image: image1.wmf] 

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







