
BPS/ESS/ITS Concepts 
Postbacks/Counterflows Recommendation
1. What is our scope?
Status: 
2. What does “postback” mean?
Status: 

3. What does “scheduled” and “unscheduled” mean? Is it the energy component on the tag or is it the transmission allocation on the tag? For example, if the reservation is 150 MW and the tag shows 100 MW of firm reservation capacity and 60 MW of energy, is the unscheduled (for the non-firm ATC calculation) MW 50 or 90?
Status: 

4. When would unscheduled firm be posted back to non-firm ATC? Do the standards need to address the timing horizons?
Status: 
5. When is something an ETC and when is it a postback?

Status: 

Status: 


Page 1 of 1
March 11, 2008


