BPS/ESS/ITS Parking Lot
Postbacks/Counterflows Recommendation

1. Request to NERC regarding appropriately including unscheduled firm in the determination of non-firm ATC in the MODs in either the definition of ETC or Postback.
Status: Completed 3/11/2008, memo send to A. Rodriquez
2. Clarify definition of scheduling horizon in the postback table.
Status: 
3. Delete “horizon” language in column 1 of the postback table
Status: 
4. Should CBM and TRM (scheduled or otherwise) be part of the postback list.
Status: No. Separate, specifically identified components of the ATC/AFC algorithm.

1 of 1
March 11, 2008

