ATC-AFC Guidance

2008 WEQ Annual Plan

	   2
	Develop business practice standards in support of the FERC RM05-25-000 and RM05-17-000 (OATT Reform)

	
	b)
	Develop the needed business practices as companion to the NERC standards for ATC related efforts.

	
	
	v)
	Business Practice Standards for ATC and AFC Calculation Methodologies to complement the NERC reliability standards created for ATC and AFC Methodologies (NERC MOD001 (Available Transfer Capability); NERC MOD028 (Network Response Available Transfer Capability); NERC MOD029 (Rated System Path Available Transfer Capability); and NERC MOD030 (Flowgate Network Response Available Transfer Capability)):

	
	
	
	1. Business practice standards to address  the frequency and posting requirements for all ATC components that are complementary to the related NERC reliability standards.  

The business practices developed to address this item will require to coordination with the NERC Order 890 reliability standards development.
Status:  Underway.
	June 1, 2008
	BPS/ESS/ITS

	
	
	
	2. Business practice standards for data exchange for ATC modeling complementary to the related NERC reliability standards including any OASIS posting requirements to achieve the data exchange.  

The business practices developed to address this item will require to coordination with the NERC Order 890 reliability standards development.

Status:  Underway
	June 1, 2008
	BPS/ESS/ITS


Order 890 Work Plan
Business Practice Standards for ATC and AFC Calculation Methodologies to complement the NERC reliability standards created for ATC and AFC Methodologies (NERC MOD001 (Available Transfer Capability); NERC MOD028 (Network Response Available Transfer Capability); NERC MOD029 (Rated System Path Available Transfer Capability); and NERC MOD030 (Flowgate Network Response Available Transfer Capability)):

· Business practice standards to address  the frequency and posting requirements for all ATC components that are complementary to the related NERC reliability standards (Paragraph 301 will require coordination with the NERC Order 890 reliability standards development)
· Business practice standards for data exchange for ATC modeling complementary to the related NERC reliability standards including any OASIS posting requirements to achieve the data exchange (Paragraph 310 will require coordination with the NERC Order 890 reliability standards development)

Order 890:

Commission Determination

301.
The Commission adopts the NOPR proposal and requires the development of reliability standards that ensure ATC is calculated at consistent intervals among transmission providers.  The Commission thus directs public utilities, working through NERC and NAESB, to revise reliability standard MOD-001 to require ATC to be recalculated by all transmission providers on a consistent time interval and in a manner that closely reflects the actual topology of the system, e.g., generation and transmission outages, load forecast, interchange schedules, transmission reservations, facility ratings, and other necessary data.  This process must also consider whether ATC should be calculated more frequently for constrained facilities.  ATC-related requirements for OASIS posting are discussed below.

Commission Determination

310.
The Commission adopts the NOPR proposal and directs public utilities, working through NERC, to revise the related MOD reliability standards to require the exchange of data and coordination among transmission providers and, working through NAESB, to develop complementary business practices.  The following data shall, at a minimum, be exchanged among transmission providers for the purposes of ATC modeling: (1) load levels; (2) transmission planned and contingency outages; (3) generation planned and contingency outages; (4) base generation dispatch; (5) existing transmission reservations, including counterflows; (6) ATC recalculation frequency and times; and (7) source/sink modeling identification.  The Commission concludes that the exchange of such data is necessary to support the reforms requiring consistency in the determination of ATC adopted in this Final Rule.  As explained above, transmission providers are required to coordinate the calculation of TTC/TFC and ATC/AFC with others and this requires a standard means of exchanging data.

311.
While there is a near consensus among commenters that significant improvements in the communication, coordination, and exchange of data across all transmission providers are needed to produce accurate determinations of ATC, we acknowledge the concerns of ISO/RTOs that new data exchange protocols may interfere with the existing protocols and seams coordination agreements.  Although we will not provide a blanket exemption for ISOs and RTOs from meeting or exceeding the data exchange requirements of this Final Rule, they may, as explained in section IV.C.2, demonstrate in relevant filings that their existing data exchange protocols are consistent with or superior to those that are developed in the NERC and NAESB processes. 191 

312.
With respect to concerns regarding the exchange of data that may be a subject of confidentiality and commercially sensitive, we only require information necessary for purposes of ATC modeling to be exchanged.  As suggested by some commenters, proprietary generation or market information data that might harm a competitive position should not be publicly disseminated, since that would not enhance the ability of transmission providers to accurately calculate ATC.  If any of the data are subject to confidentiality and are commercially sensitive, they must be disclosed in accordance with a confidentiality agreement.

191 We are not requiring that every transmission provider follow identical protocols.  Rather, all transmission providers must meet the relevant NERC reliability standards and NAESB business practices, and each entity will be subject to reliability standards compliance audits through which they will have to demonstrate that they meet or exceed the reliability standards.
Order 890-A
53.
We clarify in response to NorthWestern that TRM may be used to accommodate the procurement of ancillary services used to provide service under the pro forma OATT. We deny as premature EPSA’s and Williams’ requests for clarification regarding the realtime determination and posting of ATC and AFC values, as well as posting of utilization of transmission provider’s own system ETC. In Order No. 890, the Commission required an exchange of the data both for short and long-term ATC/AFC calculation that will increase the accuracy of ATC calculations.33 The Commission also required that ATC be recalculated by all transmission providers on a consistent time interval, and in a manner that closely reflects the actual topology of the system, load forecast, interchange schedules, transmission reservations, facility ratings, and other necessary data, and that NERC/NAESB revise the related reliability standard and business practices accordingly.34 EPSA and William should address their concerns through the NERC and NAESB processes implementing these requirements.

60.
Order No. 890 requires NERC and NAESB to develop a single set of ATC-related standards that will apply to all transmission providers, including RTOs and ISOs. We understand that the NERC ATC standard drafting team includes representatives from various industry sectors, including RTOs/ISOs, and we encourage NYISO to participate in the standard development process to provide NERC an opportunity to address its concerns. To the extent NYISO feels its concerns are not address in this process, it should bring the issue to the Commission’s attention on review of the resulting reliability standards.

101.
The Commission directed public utilities, working through NERC and NAESB, to revise reliability standard MOD-001 to require ATC to be recalculated by all transmission providers on a consistent time interval and in a manner that closely reflects the actual topology of the system, e.g., generation and transmission outages, load forecast, interchange schedules, transmission reservations, facility ratings, and other necessary data.  The Commission stated that this process must also consider whether ATC should be calculated more frequently for constrained facilities.

104.
The Commission agrees with Powerex that the standards adopted through the NERC and NAESB processes should serve as minimum or "no less frequent than" requirements to recalculate ATC.  Transmission providers also must update their ATC calculation when they receive substantial and material changes in data, such as updated load forecasts, changes in topology and dispatch patterns, which may be more frequent than the NERC and NAESB standards would otherwise require.  In the absence of substantial and material changes in data, transmission providers are not required to update ATC on a more frequent basis than the minimum frequency that the NERC and NAESB standards require, once implemented.  The Commission will consider the adequacy of the time frame for ATC updates on review of these standards.

148.
In Order No. 890, the Commission required transmission providers to make available, upon request, all data used to calculate ATC, TTC, CBM and TRM for any constrained posted path.   We believe that this adequately addresses Constellation’s request for access to modeling data used by the transmission provider.  Specifically, we expect transmission providers to make available, upon request and subject to appropriate confidentiality protections and CEII requirements, the following modeling data: (1) load flow base cases and generation dispatch methodology; (2) contingency, subsystem, monitoring, change files and accompanying auxiliary files; (3) transient and dynamic stability simulation data and reports on flowgates which are not thermally limited; (4) list of transactions used to update the base case for transmission service request study;        (5) special protection systems and operating guides, and specific description as to how they are modeled; (6) model configuration settings; (7) dates and capacities of new and retiring generation; (8) new and retired generation included in the model for future years; (9) production cost models (including assumptions, settings, study results, input data, etc.), subject to reasonable and applicable generator confidentiality limitations;           (10) searchable transmission maps, including PowerWorld or PSSE diagrams;             (11) OASIS names to Common Names table and PTI bus numbers; and, (12) flowgate and interface limits including limit category (thermal, steady state or transient, voltage or angular).  We decline, however, to require the transmission provider to post this information on OASIS, as Constellation suggests.  We conclude that making this information available on request provides sufficient transparency for customers without unduly burdening the transmission provider.  

149.
With regard to the modeling support information sought by Constellation, we believe much of this information should already be stated in each transmission provider’s Attachment C.  In Order No. 890, the Commission required each transmission provider to set forth in the Attachment C to its OATT the ATC calculation methodology used by the transmission provider.   To the extent necessary, we clarify that the step-by-step modeling study methodology and criteria for adding or eliminating flowgates (permanent and temporary) is part of the ATC methodology that must be stated in the transmission provider’s Attachment C.  We direct any transmission provider that has failed to include this information in its Attachment C to include that information as part of the compliance filing directed in section II.C.  If the transmission provider has already satisfied this obligation in a previous compliance filing, it should refer to that filing instead.

150.
We deny as premature Constellation’s request to require OASIS postings of additional model benchmarking and forecasting data/TSR study audit data.  Such information would be utilized in the process of updating and benchmarking models to actual events, which is the subject of ongoing efforts to modify relevant reliability standards from the MOD and facilities design, connections and maintenance (FAC) groups.

152.
We deny TDU Systems’ request to require transmission providers to grant customers access to proprietary modeling software used to calculate ATC values.  The Commission believes at this time that the requirements of Order No. 890 are sufficient to achieve the Commission’s transparency goals without further requiring the disclosure of proprietary software.  

