List of Items to Review with NERC
During April 7, 2008 Conference Call
1. NAESB believes that the following reference is within NERC’s scope because NERC defines the frequency for the calculations, (FERC Order 890-A 101 “The Commission stated that this process must also consider whether ATC should be calculated more frequently for constrained facilities.”).  Has NERC considered, addressed, or plans to address this item?
2. Is NERC addressing (FERC Order 890-A 104 “ The Commission agrees with Powerex that the standards adopted through the NERC and NAESB processes should serve as minimum or "no less frequent than" requirements to recalculate ATC.  Transmission providers also must update their ATC calculation when they receive substantial and material changes in data, such as updated load forecasts, changes in topology and dispatch patterns, which may be adopted through the NERC and NAESB processes should serve as minimum or ‘‘no less frequent than’’ requirements to recalculate ATC. Transmission providers also must update their ATC calculation when they receive substantial and material changes in data, such as updated load forecasts, changes in topology and dispatch patterns, which may be more frequent than the NERC and NAESB standards would otherwise require. In the absence of substantial and material changes in data, transmission providers are not required to update ATC on a more frequent basis than the minimum frequency that the NERC and NAESB standards require, once implemented. The Commission will consider the adequacy of the time frame for ATC updates on review of these standards.”) NAESB believes this reference is within NERC’s scope because NERC defines the frequency for the calculations.
3. NERC and NAESB to discuss including a tracking mechanism for “use of TRM” in MOD008.
