[image: image1.png]0

I

0




North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org


Home Page: www.naesb.org

Via posting

TO:
NAESB Wholesale Electric Quadrant Business Practices Subcommittee (BPS), Electronic Scheduling Subcommittee (ESS), Information Technology Subcommittee (ITS), and Interested Industry Participants

FROM: 
Jonathan Booe, Project Manager/Meeting Administration
RE:
NAESB WEQ ESS/ITS and BPS Meeting Final Minutes – March 31, 2008
DATE:

April 10, 2008


NORTH AMERICAN ENERGY STANDARDS BOARD
WHOLESALE ELECTRIC QUADRANT

Joint ESS/ITS and BPS Conference Call
March 31, 2008 – 10:00 AM to 4:00 PM Central
Final Minutes

1. Welcome

Mr. Skiba opened the meeting and welcomed the meeting participants.  Mr. Booe read the antitrust guidelines.  The participants introduced themselves and Mr. Skiba reviewed the agenda.  Ms. Otondo moved to adopt the agenda as posted. The motion passed without opposition.
2. Transmission Reliability Margin
TRM Background Document

Mr. Skiba reviewed the TRM Background Documentation work paper.  He stated that the work paper is a compilation of the information concerning TRM pulled from previous meeting minutes and work papers on the NAESB website, Order 890, and Order 890-A.  Mr. Skiba noted that in response to comments submitted by EPSA on the Changes to CBM and TRM work paper, both NERC and NAESB identified a couple of issues that should be addressed by NAESB business practices.  The group decided to add these items to the TRM Concepts document.  Mr. Skiba also noted that the WEQ Executive Committee (EC) remanded the comments submitted on the CFR 37.6 modifications to WEQ-001 at the November 6, 2008 WEQ EC meeting minutes.  Mr. Wood suggested that the group address the assignment and add it to the Concepts document.  The participants agreed.  In review of Order 890, the participants also determined that the TRM posting issue of paragraph 354 should be added to the Concept document.  Mr. Saini reviewed the current revised version of MOD008 and stated that none of the modifications made on the NERC side effect the NAESB work.  Mr. Green asked that the July 2007 Comments Submitted by Mr. Gildea also be added to the document.
TRM Concept Document

The participants reviewed the participants reviewed the TRM Concept document created from the TRM Background Documentation work paper.  Mr. Green stated that the comments submitted by Mr. Gildea were requesting a method for tracking TRM.  He stated that the amount of TRM that a Transmission Provider decides to set aside reduces the ETC, and that a method should be developed to determine if the proper amount of TRM is being withheld.  Mr. Saini stated that TRM usage cannot be tracked and made a motion to that effect.  Ms. Otondo asked if there are historic values or actual flow information that is used to determine future TRM.  Mr. Wood stated that when a Transmission Provider determines a TRM value they do not historical data because there are so many factors that can affect the usage.  Mr. Green stated that he understands that TRM is not scheduled and therefore cannot be tracked the same way as CBM, but he would like to attempt looking at some sort of historical usage of TRM as a method of benchmarking the numbers that are set aside for TRM.  Mr. Wood stated that there is nothing on that the NAESB side could do to track this, and that NERC may be able to address this.  After further discussion, Mr. Saini amended his motion to state that there is no reservation or schedule against TRM as such there is no method for NAESB to track specific usage of TRM.  The motion passed without opposition.  Mr. Green abstained.  Ms. Rehman suggested that the issue be added to items to review with NERC.
Next, the group addressed item two of the TRM Concept document.  Mr. Wood reviewed Requirements R7 and R10 of June 25, 2007 version of MOD008, and noted that the requirements have since been removed and that in the NERC standards posting is done through the TRMID.  The group agreed with Mr. Wood’s assessment.  

The group addressed item three of the TRM Concept document.  Ms. Otondo reviewed the Summary of comments on WEQ 2007 Annual Plan Item 2(c) submitted as a work paper for the November 19, 2007 meeting.  She stated that the Executive Committee asked the subcommittee to review the comments submitted on WEQ 2007 Annual Plan Item 2 (c) when drafting the other standards.  Mr. Skiba asked the group if there were specific items in the work paper, other than generic comments concerning transparency, which would apply to a TRM standard.
The group began with Southern Company Comments on WEQ-001-1.6 (b) (1) (viii) requesting consistency in the definition of TRM between the NERC Glossary of Terms and the NAESB meaning.  After discussion the group agreed that NAESB specific definition is unnecessary given that the NAESB standards reference the NERC definition and that there is no conflict between the NERC definition and WEQ-001-1.6 (b) (1) (viii).
EPSA requested that WEQ-001-1.6(b)(2)(ii) be modified to require TRM information be posted rather than just made available.  Mr. Wood stated that NERC explicitly list the parties with whom the required information has to be made available in MOD008, and that if NAESB requires the information to be posted rather than just made publicly available it will be in conflict with the NERC standard.  The group discussed whether the information should be posted or if it should be made publicly available upon request.  Mr. Wood noted that the group has been through this issue several times when discussing how to treat CBM, ATC, and TTC.  After further discussion, the participants agreed that the regulatory text as well as what is required by the draft standard for Procedure for Addressing ATC Methodology Questions included in the ATC Information Link Recommendation (WEQ 2008 Annual Plan Item 2(b)(v)(ii)) addresses the EPSA comment.  The same answer was given to the Williams comment on WEQ-001-1.6(b)(2)(ii).  Mr. Green asked if the information will be posted after it is requested. The group stated that the information will be made available to the requesting entity but will not be posted, unless the Transmission Provider wishes to post, such in a situation where a Transmission Provider (TSP) has multiple requests.
SPP requested that WEQ-001-1.6(b)(3) allow TSP’s to post by flowgate. Ms. Rehman noted that although the comment is not addressed by the Order 890 language, a request has been submitted by BPA allowing for the capability.  Mr. Bates stated that SPP is comfortable with WEQ-001-1.6(b)(3) as it is written.

The subcommittee reviewed the PJM comment on WEQ-001-1.6(b)(3)(i)(A)(1).  Ms. Otondo stated that she believes that Order 890 does not require reposting of unchanged values.  Ms. Rehman agreed and elaborated .
The group reviewed the EPSA comment on WEQ-001-1.6(b)(3)(i)(C)(3).  Mr. Skiba stated that he is having a difficult time understanding how TRM ties into the comment.  Mr. Green echoed Mr. Skiba’s comment and stated that he is satisfied that no further action be taken on the comment.  Mr. Wood stated that the same response could be given to the Williams comment on the same section.
The group reviewed SPP’s comment on section 001-1.6(b)(3)(ii)(A).  Mr. Bates asked the group where the 12 month requirement came from.  Mr. Wood explained that it came from FERC in the Order 890.  Mr. Bates stated in response that no further action needs to be taken by the subcommittee.

Next, the group addressed item four of the TRM Concept document Item 4 of Concept document.  Mr. Wood noted that this item is addressed through the system data template for posting TRM.  Ms. Otondo and Ms. Rehman confirmed Mr. Wood’s assessment.
The group reviewed the July 23-24, 2007 subcommittee meeting minutes in response to item five of the TRM Concept document.  The group determined that no action needed to be taken in response to the Mr. Gildea’s comment.
The TRM Concept document and responses provided by the subcommittee to the issues identified can be found on the NAESB website through the following link:  http://naesb.org/pdf3/weq_atc_afc033108a1.doc.
Vote on TRM Standard

Ms. Otondo stated that based upon the discussion during the day’s meeting she would like to make a motion that, after thorough review of documentation, the subcommittee has determined no further NAESB Business Practice standards are required for WEQ 2008 Annual Plan Items Transmission Reliability Margin (TRM) (2.b.iv.1-3).  The co-chairs will draft a recommendation to this effect and will post for the 30day formal comment period.  There was no further discussion on the motion.  The motion passed without opposition.  Mr. Green abstained.  
3. Adjournment
Ms. Rehman moved to adjourn.  The meeting was adjourned at 3:58 pm Central.
4. Attendance
	Name
	Organization
	Attendance

	Kathy Anderson
	Idaho Power Company
	Phone

	Kevin Bates
	SPP
	Phone

	Jenella Battles
	Midwest ISO
	Phone

	Jonathan Booe
	NAESB
	Phone

	Mary Bornholdt
	Entergy 
	Phone

	Deonne Cunningham
	NAESB
	Phone

	Jim Cyrulewski
	Representing Midwest ISO
	Phone

	Barry Green
	EPSA
	Phone

	John Harmon
	Midwest ISO
	Phone

	Tony Hunziker
	Midwest ISO
	Phone

	Marcie Otondo
	Arizona Public Service
	Phone

	Barbara Rehman
	Bonneville Power Administration
	Phone

	Narinder Saini
	Entergy
	Phone

	Ed Skiba
	Midwest ISO
	Phone

	Kathryn Wesley
	PJM
	Phone

	Don Williams
	PJM
	Phone

	JT Wood
	Southern Company
	Phone

	Kathy York
	TVA
	Phone


Joint NAESB WEQ BPS/ESS/ITS Conference Call Final Minutes

March 31, 2008

Page 4

