
BPS/ESS/ITS Concepts 
ATC-AFC Recommendation
1. Review frequency of ATC posting requirements. NAESB may determine that more frequent postings of ATC (and related values) may be appropriate for commercial purposes than those determined by NERC to be needed for reliability purposes (see NERC MOD 001).
Status: This item is linked to NERC questions.  The subcommittee will discuss with NERC on April 7th. Barbara Rehman will look at possibly combining some of these concept items.
2. Review the frequency of the ATC calculations (see NERC MOD 001 R.7) and determine whether NAESB needs to address. If NERC MODs contain requirements for calculation frequency it may not be appropriate for NAESB to specify a calculation frequency requirement. This may be beyond the scope of NAESB.
Status: Barbara Rehman will look at possibly combining some of these concept items.
3. Review the frequency of the AFC calculations (see NERC MOD 030 R.10) and determine whether NAESB needs to address. If NERC MODs contain requirements for calculation frequency it may not be appropriate for NAESB to specify a calculation frequency requirement. This may be beyond the scope of NAESB.
Status: Barbara Rehman will look at possibly combining some of these concept items.
4. Review the frequency of the TTC calculations (see NERC MOD 028 R.6, MOD 029-no requirement) and determine whether NAESB needs to address. If NERC MODs contain requirements for calculation frequency it may not be appropriate for NAESB to specify a calculation frequency requirement. This may be beyond the scope of NAESB.

Status: Barbara Rehman will look at possibly combining some of these concept items.
5. From Paragraph 50 of Order 890-A “The OASIS posting requirements regarding ATC calculation and modeling approach, studies, models and assumptions and implement them consistently for all transmission customers.”
Status:  This has been addressed in the posting of the ATCID in the ATC Information Link. 
6. Paragraph 148 in Order 890-A states  “In Order No. 890, the Commission required transmission providers to make available, upon request, all data used to calculate ATC, TTC, CBM and TRM for any constrained posted path.   We believe that this adequately addresses Constellation’s request for access to modeling data used by the transmission provider.  Specifically, we expect transmission providers to make available, upon request and subject to appropriate confidentiality protections and CEII requirements, the following modeling data: (1) load flow base cases and generation dispatch methodology; (2) contingency, subsystem, monitoring, change files and accompanying auxiliary files; (3) transient and dynamic stability simulation data and reports on flowgates which are not thermally limited; (4) list of transactions used to update the base case for transmission service request study; (5) special protection systems and operating guides, and specific description as to how they are modeled; (6) model configuration settings; (7) dates and capacities of new and retiring generation; (8) new and retired generation included in the model for future years; (9) production cost models (including assumptions, settings, study results, input data, etc.), subject to reasonable and applicable generator confidentiality limitations; (10) searchable transmission maps, including PowerWorld or PSSE diagrams;  (11) OASIS names to Common Names table and PTI bus numbers; and, (12) flowgate and interface limits including limit category (thermal, steady state or transient, voltage or angular).  We decline, however, to require the transmission provider to post this information on OASIS, as Constellation suggests.  We conclude that making this information available on request provides sufficient transparency for customers without unduly burdening the transmission provider. “ 

Status:  No NAESB business requirements are required for the paragraph listed above.
7. Paragraph 149 in Order 890-A states “To the extent necessary, we clarify that the step-by-step modeling study methodology and criteria for adding or eliminating flowgates (permanent and temporary) is part of the ATC methodology that must be stated in the transmission provider’s Attachment C.  We direct any transmission provider that has failed to include this information in its Attachment C to include that information as part of the compliance filing directed in section II.C.  If the transmission provider has already satisfied this obligation in a previous compliance filing, it should refer to that filing instead. “ 

Status:  No NAESB business requirements are required for the paragraph listed above.
8. Paragraph 150 in Order 890-A states “We deny as premature Constellation’s request to require OASIS postings of additional model benchmarking and forecasting data/TSR study audit data.  Such information would be utilized in the process of updating and benchmarking models to actual events, which is the subject of ongoing efforts to modify relevant reliability standards from the MOD and facilities design, connections and maintenance (FAC) groups.“ 

Status:  No NAESB business requirements are required for the paragraph listed above.   Upon completion of the NERC MOD the co-chairs of the ESS/ITS and BPS will determine if any additional work is required by the subcommittee.  

The SRS Co-Chairs have confirmed that the SRS would review activity on the FAC standards to determine if complementary NAESB business practices should be developed per the SRS Scope of Work.
9. Paragraph 152 in Order 890-A states “We deny TDU Systems’ request to require transmission providers to grant customers access to proprietary modeling software used to calculate ATC values. The Commission believes at this time that the requirements of Order No. 890 are sufficient to achieve the Commission’s transparency goals without further requiring the disclosure of proprietary software “ 

Status:  No additional NAESB business requirements are required for the paragraph listed above.  This was partially address through the recommendation 2008AP 2.a.i.4, 2.b.v.4, 2.b.v.5.
10. Paragraph 211in Order 890 states “As TDU Systems note, there is neither a definition of AFC in NERC’s Glossary nor an existing reliability standard that discusses the AFC method. In order to achieve consistency in each component of the ATC calculation (discussed below), we direct public utilities, working through NERC, to develop an AFC definition and requirements used to identify a particular set of transmission facilities as a flowgate. However, we remind transmission providers that our regulations require the posting of ATC values associated with a particular path, not AFC values associated with a flowgate. Transmission providers using an AFC methodology must therefore convert flowgate (AFC) values into path (ATC) values for OASIS posting. In order to have consistent posting of the ATC, TTC, CBM, and TRM values on OASIS, we direct public utilities, working through NERC, to develop in the MOD-001 standard a rule to convert AFC into ATC values to be used by transmission providers that currently use the flowgate methodology. “ 
An associated footnote states “See Order No. 890 at P 211. ATC values must  be posted for control area to control area interconnections, paths for which service is denied, curtailed or interrupted for more than 24 hours in the past 12 months, and paths for which a customer requests to have ATC or TTC posted. See 18 CFR 37.6(b)(1)(i).”

Status:  The subcommittee has determined that there are no new requirements associated to this paragraph.
11. Paragraph 301in Order 890 “The Commission adopts the NOPR proposal and requires the development of reliability standards that ensure ATC is calculated at consistent intervals among transmission providers. The Commission thus directs public utilities, working through NERC and NAESB, to revise reliability standard MOD-001 to require ATC to be recalculated by all transmission providers on a consistent time interval and in a manner that closely reflects the actual topology of the system, e.g., generation and transmission outages, load forecast, interchange schedules, transmission reservations, facility ratings, and other necessary data. This process must also consider whether ATC should be calculated more frequently for constrained facilities. ATC-related requirements for OASIS posting are discussed below. “ 

Status:  The subcommittee needs to address the posting frequency after NERC provides an answer to the recalculation frequency. 
12. Paragraph 53 in Order 890-A (concept a) “We clarify in response to NorthWestern that TRM may be used to accommodate the procurement of ancillary services used to provide service under the pro forma OATT. “ 

Status:  The TRMID will address this item and will be posted per the ATC Information Link Recommendation.  No further work is required by NAESB on this item.
13. Paragraph 53 in Order 890-A (concept b) “We deny as premature EPSA’s and Williams’ requests for clarification regarding the realtime determination and posting of ATC and AFC values, as well as posting of utilization of transmission provider’s own system ETC. “ 

Status:  ETC will be address through WEQ 2008 Annual Plan Items 2.b.ii.1-2.  
14. Paragraph 53 in Order 890-A (concept c) “In Order No. 890, the Commission required an exchange of the data both for short and long-term ATC/AFC calculation that will increase the accuracy of ATC calculations.33 
Status:  It was determined that this item was address through recommendation number 2008 AP item 2(b)(v)(2).

15. Paragraph 53 in Order 890-A (concept d) The Commission also required that ATC be recalculated by all transmission providers on a consistent time interval, and in a manner that closely reflects the actual topology of the system, load forecast, interchange schedules, transmission reservations, facility ratings, and other necessary data, and that NERC/NAESB revise the related reliability standard and business practices accordingly.34 “ 

Status:  The subcommittee needs to review posting frequency in light of NERC recalculation frequency.

16. Paragraph 60 in Order 890-A  “Order No. 890 requires NERC and NAESB to develop a single set of ATC-related standards that will apply to all transmission providers, including RTOs and ISOs. We understand that the NERC ATC standard drafting team includes representatives from various industry sectors, including RTOs/ISOs, and we encourage NYISO to participate in the standard development process to provide NERC an opportunity to address its concerns. To the extent NYISO feels its concerns are not address in this process, it should bring the issue to the Commission’s attention on review of the resulting reliability standards. “ 

Status:  No additional NAESB business requirements are required for the paragraph listed above.   Upon completion of the NERC MOD the co-chairs of the ESS/ITS and BPS will determine if any additional work is required by the subcommittee.  


Page 3 of 3
March 28, 2008


