Summary of Directives in FERC Orders 890 and 693 and Corresponding ATC-Related Standards and Requirements

	NERC
Topic
	Order
	Cite
	NERC
 Brief Description
	NERC Addressed
 by
	Detailed Citation
	NAESB
Addressed 
by
	NAESB 

Topic

	ATC 

	890

890 A 
	211

50
	Standard AFC-ATC

Calculation


	MOD-030 R9


	211. As TDU Systems note, there is neither a definition of AFC in NERC’s Glossary nor an

existing reliability standard that discusses the AFC method. In order to achieve consistency

in each component of the ATC calculation (discussed below), we direct public utilities,

working through NERC, to develop an AFC definition and requirements used to identify a

particular set of transmission facilities as a flowgate. However, we remind transmission

providers that our regulations require the posting of ATC values associated with a particular

path, not AFC values associated with a flowgate. Transmission providers using an AFC

methodology must therefore convert flowgate (AFC) values into path (ATC) values for OASIS posting. In order to have consistent posting of the ATC, TTC, CBM, and TRM values on OASIS, we direct public utilities, working through NERC, to develop in the MOD-001 standard a rule to convert AFC into ATC values to be used by transmission providers that currently use the flowgate methodology.
F. 32 See Order No. 890 at P 211. ATC values must

 be posted for control area to control area

interconnections, paths for which service is denied, curtailed or interrupted for more than 24 hours in the past 12 months, and paths for which a customer requests to have ATC or TTC posted. See 18 CFR 37.6(b)(1)(i).
50…We believe that the ATC requirements in Order No. 890 allow sufficient flexibility so that utilities, working through NERC/ NAESB, can develop ATC standards that continue to provide reliability and are compatible with all other mandatory reliability standards or business practices, yet provide discretion where appropriate. If a transmission provider is faced with unique system conditions or modeling assumptions related to firm transmission service reservations31 that are not addressed in the ATC-related NERC reliability standards, it must make them transparent through its Attachment C filing and the OASIS posting requirements regarding ATC calculation and modeling approach, studies, models and  assumptions and implement them consistently for all transmission customers.

	Multiple BPs
2008 AP Item 2.b.vii


	WEQ-001-13.1.

WEQ-002-4.3.4.4

WEQ-002-4.5.2
WEQ-003

WEQ-013.3.3
(Ratified 2/29/08)
WEQ-13-1

WEQ-013.1.5

WEQ-001-XXX.1 (ATC Link) - all proposed


	
	890 
890 A
	301
310

53

60

101

104

148

149
150

152
	ATC to be recalculated by

all transmission providers on a consistent time

interval and in a manner that closely reflects the

actual topology of the system


	MOD-001 R2, R9


	301. The Commission adopts the NOPR proposal and requires the development of reliability

standards that ensure ATC is calculated at consistent intervals among transmission

providers. The Commission thus directs public utilities, working through NERC and NAESB,

to revise reliability standard MOD-001 to require ATC to be recalculated by all transmission

providers on a consistent time interval and in a manner that closely reflects the actual

topology of the system, e.g., generation and transmission outages, load forecast,

interchange schedules, transmission reservations, facility ratings, and other necessary data. This process must also consider whether ATC should be calculated more frequently for

constrained facilities. ATC-related requirements for OASIS posting are discussed below.
53.
We clarify in response to NorthWestern that TRM may be used to accommodate the procurement of ancillary services used to provide service under the pro forma OATT. We deny as premature EPSA’s and Williams’ requests for clarification regarding the realtime determination and posting of ATC and AFC values, as well as posting of utilization of transmission provider’s own system ETC. In Order No. 890, the Commission required an exchange of the data both for short and long-term ATC/AFC calculation that will increase the accuracy of ATC calculations.33 The Commission also required that ATC be recalculated by all transmission providers on a consistent time interval, and in a manner that closely reflects the actual topology of the system, load forecast, interchange schedules, transmission reservations, facility ratings, and other necessary data, and that NERC/NAESB revise the related reliability standard and business practices accordingly.34 EPSA and William should address their concerns through the NERC and NAESB processes implementing these requirements.
60. Order No. 890 requires NERC and NAESB to develop a single set of ATC-related standards that will apply to all transmission providers, including RTOs and ISOs. We understand that the NERC ATC standard drafting team includes representatives from various industry sectors, including RTOs/ISOs, and we encourage NYISO to participate in the standard development process to provide NERC an opportunity to address its concerns. To the extent NYISO feels its concerns are not address in this process, it should bring the issue to the Commission’s attention on review of the resulting reliability standards.

101.The Commission directed public utilities, working through NERC and NAESB, to revise reliability standard MOD-001 to require ATC to be recalculated by all transmission providers on a consistent time interval and in a manner that closely reflects the actual topology of the system, e.g., generation and transmission outages, load forecast, interchange schedules, transmission reservations, facility ratings, and other necessary data.  The Commission stated that this process must also consider whether ATC should be calculated more frequently for constrained facilities.
104. The Commission agrees with Powerex that the standards adopted through the NERC and NAESB processes should serve as minimum or "no less frequent than" requirements to recalculate ATC.  Transmission providers also must update their ATC calculation when they receive substantial and material changes in data, such as updated load forecasts, changes in topology and dispatch patterns, which may be adopted through the NERC and NAESB

processes should serve as minimum or

‘‘no less frequent than’’ requirements to

recalculate ATC. Transmission

providers also must update their ATC

calculation when they receive substantial and material changes in data, such as updated load forecasts, changes in topology and dispatch

patterns, which may be more frequent

than the NERC and NAESB standards would otherwise require. In the absence of substantial and material changes in data, transmission providers are not required to update ATC on a more frequent basis than the minimum

frequency that the NERC and NAESB standards require, once implemented. The Commission will consider the adequacy of the time frame for ATC

updates on review of these standards.
148.  In Order No. 890, the Commission required transmission providers to make available, upon request, all data used to calculate ATC, TTC, CBM and TRM for any constrained posted path.   We believe that this adequately addresses Constellation’s request for access to modeling data used by the transmission provider.  Specifically, we expect transmission providers to make available, upon request and subject to appropriate confidentiality protections and CEII requirements, the following modeling data: (1) load flow base cases and generation dispatch methodology; (2) contingency, subsystem, monitoring, change files and accompanying auxiliary files; (3) transient and dynamic stability simulation data and reports on flowgates which are not thermally limited; (4) list of transactions used to update the base case for transmission service request study; (5) special protection systems and operating guides, and specific description as to how they are modeled; (6) model configuration settings; (7) dates and capacities of new and retiring generation; (8) new and retired generation included in the model for future years; (9) production cost models (including assumptions, settings, study results, input data, etc.), subject to reasonable and applicable generator confidentiality limitations; (10) searchable transmission maps, including PowerWorld or PSSE diagrams;  (11) OASIS names to Common Names table and PTI bus numbers; and, (12) flowgate and interface limits including limit category (thermal, steady state or transient, voltage or angular).  We decline, however, to require the transmission provider to post this information on OASIS, as Constellation suggests.  We conclude that making this information available on request provides sufficient transparency for customers without unduly burdening the transmission provider.  
149.
With regard to the modeling support information sought by Constellation, we believe much of this information should already be stated in each transmission provider’s Attachment C.  In Order No. 890, the Commission required each transmission provider to set forth in the Attachment C to its OATT the ATC calculation methodology used by the transmission provider.   To the extent necessary, we clarify that the step-by-step modeling study methodology and criteria for adding or eliminating flowgates (permanent and temporary) is part of the ATC methodology that must be stated in the transmission provider’s Attachment C.  We direct any transmission provider that has failed to include this information in its Attachment C to include that information as part of the compliance filing directed in section II.C.  If the transmission provider has already satisfied this obligation in a previous compliance filing, it should refer to that filing instead.
150.
We deny as premature Constellation’s request to require OASIS postings of additional model benchmarking and forecasting data/TSR study audit data.  Such information would be utilized in the process of updating and benchmarking models to actual events, which is the subject of ongoing efforts to modify relevant reliability standards from the MOD and facilities design, connections and maintenance (FAC) groups.
152. We deny TDU Systems’ request

to require transmission providers to grant customers access to proprietary modeling software used to calculate ATC values. The Commission believes at this time that the requirements of Order No. 890 are sufficient to achieve the Commission’s transparency goals

without further requiring the disclosure

of proprietary software.


	WEQ 2008 Annual Plan Item 2(b)(v)(1)
Business Practice Standards for ATC and AFC Calculation Methodologies to complement the NERC reliability standards created for ATC and AFC Methodologies (NERC MOD001 (Available Transfer Capability); NERC MOD028 (Network Response Available Transfer Capability); NERC MOD029 (Rated System Path Available Transfer Capability); and NERC MOD030 (Flowgate Network Response Available Transfer Capability)):

· Business practice standards to address  the frequency and posting requirements for all ATC components that are complementary to the related NERC reliability standards (Paragraph 301 will require coordination with the NERC Order 890 reliability standards development)

…   
	

	
	
	310
	
	
	
	
	

	
	
	
	
	
	
	
	


PAGE  
1
Page 1 of 6

