

[image: image1.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: 
WEQ

                                       Requesters:
ESS/ITS/BPS Subcommittee

                                       Request No.: 
2008 AP Item XXXX
                                       Request Title:
WEQ-001 changes for “Postback for Posted ATC and AFC” for Use in NERC MOD Standards

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

      Accept as requested



 XX   Change to Existing Practice

XX Accept as modified below


      Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
 XX Initiation




 XX Initiation 

      Modification




      Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

      Business Practice Standard 


      Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


Business practice standards to set forth the procedure for determination of Postbacks for use in various ATC methodologies of the NERC MOD Standard Requirements (REF ONLY REMOVE LATER MOD-028 R11 ATC Firm and R12 ATC-NonFirm; MOD-029 R7 ATC-Firm and R8 ATC-NonFirm ; MOD-030 R8 AFC-Firm and R9 AFC-NonFirm).  The Order 890 paragraph 293XXXX requires the development of Business Practice Standards to treat postbacks consistently and this issue has not been addressed in NERC standards.  Therefore, NAESB should develop standards to address the consistency issue.  (During the Order 890 NERC and NAESB joint standards development effort, it was determined that the requirements and determination for Postback contained in the NERC MOD standards MOD028, MOD-029, and MOD-030 should be NAESB business practice standards instead of details being contained in the reliability standards). Postback “consistency” is across transmission providers, not only consistency across horizons 
NERC has requested that NAESB adopt the standards as business practices via correspondence to Ms. McQuade, NAESB President.)  This item will require coordination with the NERC Order 890 reliability standards development because the language to address this item is contained within a draft standard that addresses items that are dependent on NERC deliverables, i.e., the Postback element is a varaible in the NERC MOD standard ATC and AFc calculations.  cites for Postback are :.
Recommended Standards:

The following are proposed redlined changes and additions to WEQ-001-XX OASIS XXXXXXXXXXXXX  Standards and the addition of WEQ-001-xx Available transfer capability (ATC) methodology questions
001-XX
Available transfer capability (ATC) methodology STANDARDS
001-13.1
Definition of Postback
A Postback is an addition to Existing Transmission Service (ETC) that increases AFC or ATC and can apply to both Firm (ATCF) and Non-Firm (ATCNF) ATC Calculations.  
001-13.2
Application of Postback
There are six (6) different categories of Postbacks and a TP may or may not use.  Selection of one category may exclude the use of another category (see Appendix for Examples).  A Postback is the change in ATC: 
Category 1: due to a change in status or capacity (such as a redirect) of a Transmission Service request prior to inclusion in the recalculation of ATC/ETC (e.g. from confirmed),
Category 2: due to a potential change in status or capacity (such as a counteroffer) or inclusion of a Transmission Service request that is pending (e.g. not confirmed),
Category 3:  if all firm reservations (confirmed) are included in ETC for use in the non-firm ATC calculation, the inclusion of unscheduled firm Transmission Service will be a postback in the determination of non-firm ATC
Category 4:  if scheduled firm transmission service is included in the ETC for use in the non-firm ATC calculation, there is no need to postback unscheduled Transmission Service
Category 5:  if all non-firm reservations (confirmed) are included in ETC for use in the non-firm ATC calculation, the inclusion of unscheduled non-firm Transmission Service will be a postback in the determination of non-firm ATC
Category 6:  if scheduled non-firm transmission service is included in the ETC for use in the non-firm ATC calculation, there is no need to postback unscheduled Transmission Service
Still need to address this item below
1. What does “scheduled” and “unscheduled” mean? Is it the energy component on the tag or is it the transmission allocation on the tag? For example, if the reservation is 150 MW and the tag shows 100 MW of firm reservation capacity and 60 MWh of energy, is the unscheduled (for the non-firm ATC calculation) MW 50 or 90?
Status: 03/12/2008 – No decision, including no decision on whether to include definition in standard. Jim Ecklekamp will create additional examples and have posted for the March 28, 2008 meeting. Subcommittee members to do research to answer the following questions:

· Block/Static schedules - Energy profile vs. transmission allocation on the tag/schedule

· Dynamic schedules - Energy profile vs. transmission allocation on the tag/schedule

· Transmission allocation – is that a reservation? It can be the total or any portion of the reservation.

· Differences between POR MW and POD MW (or Source and Sink) to account for losses – as related to postbacks and how it impacts ATC. Is this an issue when loss schedules are separate schedules from the transmission schedule?

· Is the postback by POR/POD or Source/Sink? It should be consistent with the ATC calculation.

· Is this a reliability issue or a commercial issue? What components are reliability and what components are commercial?
001-13.2
Other Considerations and Their Effect on Postback
The following actions impact both the posted ATC and the internal adjusted ATC (to recognize pending requests). It is recognized that a Provider’s application of postbacks in the defined categories will effect the ATC values and this list will be conditional of the approved tariff of the Transmission Provider. Not all considerations may be incorporated by every Transmission Provider.

· The application of counter flows is the effect of transmission service from other paths on the ATC of the path being calculated and is different from a Postbacks which is on the same path for which ATC is being calulated. 

· The decision whether transmission service is an ETC or a Postback is defined by how the TP handles transmission service during the scheduling horizon ( see Examples in Appendix). Status: 03/12/2008 – Memo sent to A. Rodriquez on March 11, 2008.
· The application of Postback can reflect differences related to the NERC MOD (28, 29, 30) methodology used by the TP, but only the arithmetic use of Postback in either the TTC calculation in MOD028 and MOD029 or in the AFC Calculation in MOD030.  The net effect on the ATC calculated value should be the same. Do the standards need to address the timing horizons? Is this tied to NERC MOD (28, 29, 30) methodology used by the TP? Need to review NERC dictionary. Don’t think time horizons are defined in NAESB BPS.

Draft List of Postbacks that apply to both Internally Adjusted ATC and Posted ATC

ATC and AFC equations use different rules for determining postbacks based on whether the calculation is for Firm or Non-Firm. Firm calculations utilize the term PostbacksF, while non-firm calculations use the term PostbacksNF.  The two values are defined with the following equations:

PostbacksF = PostbacksFRD  + PostbacksFRS  + PostbacksFRC  + PostbacksFO
Where 

PostbacksFRD  are Firm Redirects.  A Firm Redirect of a Firm Point-to-Point reservation causes a postback to Firm ATC on the parent reservation’s path for the time interval and amount of the Firm Redirect. Note that a Non-Firm Redirect of a Firm reservation does not impact the Firm ATC on the parent reservation’s path, and should not be included.
PostbacksFRS are Firm Resales. A Firm Resale of a Firm Point-to-Point reservation causes a postback to Firm ATC for the time interval and amount of the Firm Resale, which is immediately used by the Confirmed Resale Request. 

PostbacksFRC are Firm Recalls. A Recall of Firm Capacity that does not result in a status of DISPLACED causes a postback to Firm ATC for the time interval and amount of the Recall.

PostbacksFO are other Firm postbacks, as defined in tariffs or other business practices and as described in the ATCID.

PostbacksNF = PostbacksNFU  + PostbacksNFRC  + PostbacksNFO
Where

PostbacksNFU  are all unscheduled Firm Transmission Service 
after the Firm scheduling deadline as described in the ATCID.
, less Firm Postbacks.  Unscheduled Firm Transmission Service (including service that was never scheduled and service that was scheduled but terminated at the customer’s request) 
must be offered as Non-Firm once the Firm scheduling deadline has passed.  Firm Postbacks are already accounted for in the Non-Firm ATC calculation, and should be deducted to eliminate double counting. 

PostbacksNFRC are Non-Firm Recalls. A Recall of Non-Firm Capacity that does not result in a status of DISPLACED causes a postback to Non-Firm ATC for the time interval and amount of the Recall.

PostbacksNFO are other Non-Firm postbacks, as defined in tariffs or other business practices and as described in the ATCID.

Determination of Internal ATC and AFC 

Entities may use additional terms in the ATC and AFC equations to determine Internal ATC and AFC values as described below for both Firm and Non-Firm.  
If these terms are used, the entity must document their use in the ATCID.

ATCFI = ATCF​ – RequestsFO
Where 

RequestsFO is one or more of the following 

· Requests for Firm Transmission Service in a state of STUDY

· Requests for Firm Transmission Service in a state of ACCEPTED

· Requests for Firm Transmission Service in a state of COUNTEROFFER

· Requests for Firm Transmission Service in a state of REBID

ATCNFI = ATCNF​ – RequestsNFO
Where 

RequestsNFO is one or more of the following 

· Requests for Non-Firm Transmission Service in a state of STUDY

· Requests for Non-Firm Transmission Service in a state of ACCEPTED

· Requests for Non-Firm Transmission Service in a state of COUNTEROFFER

· Requests for Non-Firm Transmission Service in a state of REBID
AFCFI = AFCF​ – RequestsFOi
Where 

RequestsFOi is the impacts on flowgates of one or more of the following 

· Requests for Firm Transmission Service in a state of STUDY

· Requests for Firm Transmission Service in a state of ACCEPTED

· Requests for Firm Transmission Service in a state of COUNTEROFFER

· Requests for Firm Transmission Service in a state of REBID

AFCNFI = AFCNF​ – RequestsNFOi
Where 

RequestsNFOi is the impacts on flowgates of one or more of the following 

· Requests for Non-Firm Transmission Service in a state of STUDY

· Requests for Non-Firm Transmission Service in a state of ACCEPTED

· Requests for Non-Firm Transmission Service in a state of COUNTEROFFER

· Requests for Non-Firm Transmission Service in a state of REBID
001-XX.XX
ATC and AFC CALCULATIONS – INTERNALLY ADJUSTED ATC AND POSTED ATC
At this time, the NAESB business practices will only address the list of postbacks that apply to both internally adjusted ATC and posted ATC (and not the postbacks for the Internally adjusted ATC only).  [INCLUDE AN EXAMPLE IN APPENDIX ON HOW THIS WORKS]. The following explains the concept of Internally adjusted ATC and posted ATC for ATC and AFC Calculations. Internally adjusted ATC and AFC Calculations are those Calculations that are performed as part of the evaluation of ATC requests were there are requests in ACCEPTED or COUNTEROFFER status that have priority over new non-PRECONFIRMED requests (This internal concept may be applied to requests in other statuses and may be used by the TP as explained in their ATCID.

Posted ATC and AFC Calculations are those Calculations that are performed and the resulting ATC or AFC is posted to the OASIS which is viewable by the customer and available for sale. The Calculation is based on Transmission service only in CONFIRMED status.  No other requests can change the status of Transmission service in CONFIRMED status except the customer requesting an ANNULLMENT. Posted or External ATC or AFC Calculations can not include requests in other statuses used by the TP, but can use only Transmission Service in CONFIRMED status that is expected to be scheduled as explained in their ATCID.  Instead of Transmission service in CONFIRMED status, a TP may use all or part of Transmission service that is from Schedules instead of Reservations for time periods has explained in the ATCID. Example using Transmission Service from Schedules that have NERC Tags Ids for the next 24 hours and Transmission Service in CONFIRMED status from OASIS reservations thereafter.

001-XX.XX
CONDITIONS FOR USE IN CALCULTION OF ATC- TABLE OF ITEMS

Motion 3 (3/11/08)--The postback standard shall include a table of items with conditions for use in the calculation of ATC, unless otherwise accounted for in ETC, as defined by the TP in their ATCID. The postback standard shall also allow for a TP to include additional item(s) not called out as a postback in the NAESB BPS provided the TP includes a description of such additional item in their ATCID.

	POSTBACK
	ACTION
	Internal Only?
	Category

FATC
	Category

NFATC
	NAESB BP

	1. Annulled, Displaced, Recalled Firm reservation posts back to F ATC and may also post back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being annulled. 

	Annul

Displace,

Recall
	
	1
	1 or during Scheduling 

3, 4 if scheduled
	Annulled and Displaced are defined states. Displaced is in 013-2.4

Recalled in 013-2.5.

	2. Annulled, Displaced, Recalled Non-Firm reservation posts back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being annulled. 

	Annul, Displace,

Recall
	
	N/A
	1 or during Scheduling horizon 

5, 6 if scheduled
	Annulled and Displaced are defined states. Displaced is in 013-2.4

Recalled in 013-2.5.

	3. 
	
	
	
	
	

	4. 
	
	
	
	
	

	5. Firm Redirect of a Firm PTP causes post back to F ATC on the path of the Parent reservations’ path for the time interval of the Firm Redirect and may also post back to NF ATC depending on the horizon.  
(Note:  Non-Firm Redirect of a Firm reservation does not impact the Firm ATC on the Parent Reservation’s path.) 
	Firm Redirect
	
	1
	1 if prior to the scheduling horizon
	Firm Redirects in 001-9. 

	6. Firm Redirect of a Firm PTP may cause post back to F ATC on the path of the Parent reservations’ path for rollover rights that were set-aside in the Firm ATC calculation.  This is dependent on the term of the Firm Redirect. 

	Firm Redirect Rollover Rights
	
	1
	1
	Rollover (renewal) of Redirects is in 001-9.7

	7. 
	
	
	
	
	

	8. 
	
	
	
	
	

	9. Downward adjustments and terminations of Firm Network schedule (7FN) may post back to NF ATC depending on the horizon. 
	Release of Unscheduled Firm Network to NF
	
	N/A
	3,4 in Scheduling Horizon
	ESS/ITS is currently working on NITS-related BPS.

	10. 
	
	
	
	
	

	11. Downward adjustments and terminations of Firm PTP schedules (7F) may post back to NF ATC depending on the horizon. 
	Release of Unscheduled Firm PtP to NF
	
	N/A
	3,4 in Scheduling Horizon
	Do not believe that release of unscheduled capacity is addressed in any NAESB BPS.

	12. Downward adjustments and terminations of Non-Firm PTP schedules (NERC priority 2NH-5NM), Secondary Network schedules (6NN), Secondary PTP schedules (1NS)   may post back to NF ATC depending on the horizon. 
	Release of Unscheduled Non-Firm to NF
	
	N/A
	N/A

 Except when TPs ATCID specifies, then 5, 6 in Scheduling Horizon 
	Do not believe that release of unscheduled capacity is addressed in any NAESB BPS.

	13. 
	
	
	
	
	

	14. 
	
	
	
	
	

	15. Unscheduled Firm Network reservations posts back to NF ATC. 
	Release of Unscheduled Firm Network to NF
	
	N/A
	3, 4 in Scheduling Horizon
	Do not believe that release of unscheduled capacity is addressed in any NAESB BPS. ESS/ITS is currently working on NITS-related BPS. 

	16. Unscheduled Firm PTP reservations posts back to NF ATC. 
	Release of Unscheduled Firm PtP to NF
	
	N/A
	3,4 in Scheduling Horizon
	Do not believe that release of unscheduled capacity is addressed in any NAESB BPS.

	17. Unscheduled Non-Firm PTP reservations (including Secondary PTP) posts back to NF ATC. 

	Release of Unscheduled Non-Firm PtP Reservation to NF
	
	N/A
	N/A Except when TPs ATCID specifies then 5, 6 in Scheduling Horizon 
	Do not believe that release of unscheduled capacity is addressed in any NAESB BPS.

	18. Unscheduled Secondary Network reservations (Non-Firm Network – as info, this is not a redirect of a Firm Network) posts back to NF ATC. 

	Release of Unscheduled Secondary Network Reservation to NF
	
	N/A
	N/A Except when TPs ATCID specifies then 5, 6 in Scheduling Horizon
	Do not believe that release of unscheduled capacity is addressed in any NAESB BPS. ESS/ITS is currently working on NITS-related BPS.

	19. 
	
	
	N
	Y
	

	20. Termination of a DNR that then results in the termination/ reduction of a firm transmission reservation posts back to F ATC and may also post back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being annulled. 

	Termination of DNR
	
	1
	1 or during Scheduling 

3, 4 if scheduled
	ESS/ITS is currently working on NITS-related BPS.

	21. Terminated Secondary Network reservation posts back to NF ATC depending on the horizon and whether the reservation was scheduled prior to being annulled. 

	Termination of Secondary Network
	
	N/A
	5, 6 in Scheduling Horizon for some TPs
	ESS/ITS is currently working on NITS-related BPS.

	22. Relinquish secondary non-firm PtP capacity
	Relinquish
	
	N/A
	1 if prior to Scheduling horizon; N/A during scheduling horizon, unless TP’s ATCID allows during scheduling then 

5, 6
	001-10.5.

	23. 
	
	
	
	
	


The following actions impact only the internal adjusted ATC (to recognize pending requests). It is recognized that a Provider’s use of this list will be conditional of the approved tariff of the Transmission Provider. Not all may be incorporated by every Transmission Provider.

Draft List of Postbacks for Internally Adjusted ATC Only

	POSTBACK
	ACTION
	FATC
	NFACT
	NAESB BP

	1. Counteroffer with lower MW of a Firm PTP or Network request posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Counteroffer
	Y
	Y
	

	2. 
	
	
	Y
	

	3. 
	
	
	
	

	4. 
	
	
	
	

	5. Counteroffer with lower MW of a Non-Firm PTP (including Secondary) or Secondary Network request may post back to NF ATC depending on the horizon. 

	Counteroffer
	2
	2
	

	6. 
	
	
	
	

	7. 
	
	
	
	

	8. 
	
	
	
	

	9. 
	
	
	
	

	10. 
	
	
	
	

	11. Retracted Firm Network request that has been Accepted or counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Retract
	2
	2 if not Scheduling Horizon
	

	12. 
	
	
	
	

	13. Retracted Firm PTP request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Retract
	Y
	Y
	

	14. Retracted Firm PTP request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Retract
	Y
	Y
	

	15. Retracted Non-Firm PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

	Retract
	N
	Y
	

	16. Retracted Non-Firm PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

	Retract
	N
	Y
	

	17. Retracted Secondary Network request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

	Retract
	N
	Y
	

	18. Retracted Secondary Network request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

	Retract
	N
	Y
	

	19. Retracted Secondary PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

	Retract
	N
	Y
	

	20. Retracted Secondary PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

	Retract
	N
	Y
	

	21. Superseded Firm Network request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Supersede
	Y
	Y
	

	22. Superseded Firm Network request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Supersede
	Y
	Y
	

	23. Superseded Firm PTP request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Supersede
	Y
	Y
	

	24. Superseded Firm PTP request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Supersede
	Y
	Y
	

	25. Superseded Non-Firm PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

	Supersede
	N
	Y
	

	26. Superseded Non-Firm PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

	Supersede
	N
	Y
	

	27. Superseded Secondary Network request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

	Supersede
	N
	Y
	

	28. Superseded Secondary Network request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

	Supersede
	N
	Y
	

	29. Superseded Secondary PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

	Supersede
	N
	Y
	

	30. Superseded Secondary PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

	Supersede
	N
	Y
	

	31. Withdrawn Firm Network request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Withdraw
	Y
	Y
	

	32. Withdrawn Firm Network request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Withdraw
	Y
	Y
	

	33. Withdrawn Firm PTP request that has been Accepted by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Withdraw
	Y
	Y
	

	34. Withdrawn Firm PTP request that has been Counteroffered by the TP posts back to F ATC and may also post back to NF ATC depending on the horizon. 

	Withdraw
	Y
	Y
	

	35. Withdrawn Non-Firm PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

	Withdraw
	N
	Y
	

	36. Withdrawn Non-Firm PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

	Withdraw
	N
	Y
	

	37. Withdrawn Secondary Network request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

	Withdraw
	N
	Y
	

	38. Withdrawn Secondary Network request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

	Withdraw
	N
	Y
	

	39. Withdrawn Secondary PTP request that has been Accepted by the TP may post back to NF ATC depending on the horizon. 

	Withdraw
	N
	Y
	

	40. Withdrawn Secondary PTP request that has been Counteroffered by the TP may post back to NF ATC depending on the horizon. 

	Withdraw
	N
	Y
	

	41. Unused TRM firm and non-firm

	
	
	
	

	42. Unused CBM firm and non-firm

	
	
	
	


001-XX.XX
APPENDIX 
Postback definition: The change in ATC:REMOVE THIS DEFINTION SECTION PRIOR TO POSTING DRAFT
Category 1: due to a change in status or capacity (such as a redirect) of a Transmission Service request prior to inclusion in the recalculation of ATC/ETC (e.g. from confirmed),

Category 2: due to a potential change in status or capacity (such as a counteroffer) or inclusion of a Transmission Service request (i.e. pending – e.g. not confirmed), 

Category 3:  if all firm reservations (confirmed) are included in ETC for use in the non-firm ATC calculation, the inclusion of unscheduled firm Transmission Service will be a postback in the determination of non-firm ATC

Category 4:  if scheduled firm transmission service is included in the ETC for use in the non-firm ATC calculation, there is no need to postback unscheduled Transmission Service

Category 5:  if all non-firm reservations (confirmed) are included in ETC for use in the non-firm ATC calculation, the inclusion of unscheduled non-firm Transmission Service will be a postback in the determination of non-firm ATC

Category 6:  if scheduled non-firm transmission service is included in the ETC for use in the non-firm ATC calculation, there is no need to postback unscheduled Transmission Service

Examples of the application of  different Postback categories and its effect on ATCNF depending on the way transmission service is applied during the scheduling horizon:

If you have 100 MW of firm reservations, and 60 MW were scheduled (40 MW unscheduled) on that 100 MW, during the scheduling horizon:

ATCF = TTC – 100(ETC Firm) – CBM – TRM (prior to the scheduling horizon)

Postback as applied in Category 3:   ATCNF = TTC – 100(ETC Firm) – CBM – TRM + 40(PostBack)

Postback as applied in Category 4:   ATCNF = TTC – 60(ETC Firm) – CBM – TRM + 0 (PostBack)

Interim Postbacks may occur when, due to the methodology and the TP’s ATC calculation and posting frequency used for determining ATC, there is a lag between action on a reservation and the formal recalculation of ATC reflecting the action on the reservation. 

Actions that remove a reservation from being a firm commitment (e.g. annulment, displacement) are ETC and don’t require a business practice.




�Is this correct?  Reading the S&CP, it appears to be.


�NAESB needs to add requirement that ATCID include this.


�Intended to cover Firm Network too.


�NAESB needs to add requirement that ATCID include this.


�Intent of this is to cover all those “tags.”


�NAESB needs to add requirement that ATCID include this.


�All the postbacks for things like retracted, superseded, etc..., are unnecessary if you say this.  Then, once they get out of these transient states, they automatically get posted back.  Not sure the language is quite right, but you get the idea.  


�Should not be included, as these states are not “Confirmed” and would not be in ATC anyway,


�Should not be included, as these states are not “Confirmed” and would not be in ATC anyway,


�I did not include this because I don’t understand why this would be true.


�Since roll-over rights are further than a year out, do we need them?  If so, do you grant rollover on the redirect, or on the original (only should postback if you grant rollover on the redirect). 


�Don’t think this is correct, is it?  This would mean that NF ATC never went down until scheduled.  If that was the case, then why would I need a non-firm ATC based on any reservations at all?


�Don’t think this is correct, is it?  This would mean that NF ATC never went down until scheduled.  If that was the case, then why would I need a non-firm ATC based on any reservations at all?


�Should not be included, as only DNRs are used to determine firm ATC.  By un-designating it, it is removed automatically.  


�Not sure about this one, but thought you did not need a reservation for Secondary.  


�I think you mean REBID (customer can’t counteroffer), but REBID can’t change MW.  Right?


�Counteroffer results in a new value for the request.  No need to postback. Note that customer cannot counteroffer; they can REBID


�RETRACT is a final state, and the TSP should not post back; they should ignore all retracted.


�RETRACT is a final state, and the TSP should not post back; they should ignore all retracted.


�RETRACT is a final state, and the TSP should not post back; they should ignore all retracted.


�RETRACT is a final state, and the TSP should not post back; they should ignore all retracted.


�RETRACT is a final state, and the TSP should not post back; they should ignore all retracted.


�RETRACT is a final state, and the TSP should not post back; they should ignore all retracted.


�RETRACT is a final state, and the TSP should not post back; they should ignore all retracted.


�RETRACT is a final state, and the TSP should not post back; they should ignore all retracted.


�RETRACT is a final state, and the TSP should not post back; they should ignore all retracted.


�SUPERSEDED is a final state, and the TSP should not post back; they should ignore all superseded.


�SUPERSEDED is a final state, and the TSP should not post back; they should ignore all superseded.


�SUPERSEDED is a final state, and the TSP should not post back; they should ignore all superseded.


�SUPERSEDED is a final state, and the TSP should not post back; they should ignore all superseded.


�SUPERSEDED is a final state, and the TSP should not post back; they should ignore all superseded.


�SUPERSEDED is a final state, and the TSP should not post back; they should ignore all superseded.


�SUPERSEDED is a final state, and the TSP should not post back; they should ignore all superseded.


�SUPERSEDED is a final state, and the TSP should not post back; they should ignore all superseded.


�SUPERSEDED is a final state, and the TSP should not post back; they should ignore all superseded.


�SUPERSEDED is a final state, and the TSP should not post back; they should ignore all superseded.


�WITHDRAWN is a final state, and the TSP should not post back; they should ignore all WITHDRAWN.


�WITHDRAWN is a final state, and the TSP should not post back; they should ignore all WITHDRAWN.


�WITHDRAWN is a final state, and the TSP should not post back; they should ignore all WITHDRAWN.


�WITHDRAWN is a final state, and the TSP should not post back; they should ignore all WITHDRAWN.


�WITHDRAWN is a final state, and the TSP should not post back; they should ignore all WITHDRAWN.


�WITHDRAWN is a final state, and the TSP should not post back; they should ignore all WITHDRAWN.


�WITHDRAWN is a final state, and the TSP should not post back; they should ignore all WITHDRAWN.


�WITHDRAWN is a final state, and the TSP should not post back; they should ignore all WITHDRAWN.


�WITHDRAWN is a final state, and the TSP should not post back; they should ignore all WITHDRAWN.


�WITHDRAWN is a final state, and the TSP should not post back; they should ignore all WITHDRAWN.


�Already incorporated into NERC standard


�Already incorporated into NERC standard





3
March 12, 2008

Page 1

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







