NYISO Reply to NAESB Informal Inquiry
	Standard Reference 
	Information
	Willing to make Available to Reliability Entities Only
	Market Sensitive Information
	Willing to post on OASIS

	MOD-001R10.1
	Expected generation and Transmission outages, additions, and retirements
	Yes. Will require development of procedures, processes and staffing
	Expected generation outages are considered market sensitive
	NYISO posts Transmission outages. Would not post generation outages, additions & retirements

	MOD-001R10.2
	Peak Load forecasts
	Yes. Will require development of procedures, processes and staffing
	No
	NYISO currently posts hourly loads going out seven days

	MOD-001R10.6
	Grandfathered firm and non-firm contracts
	Not applicable to NYISO because of FERC approved Tariff 

	MOD-001R10.9
	Power flow models and underlying assumptions
	Yes. Will require development of procedures, processes and staffing
	Yes
	No

	MOD-001R10.10
	Contingencies, provided in one or more of the following formats:

     - A list of Elements

     - A list of Flowgates

     - A set of selection criteria that can be applied to the Transmission model used by the Transmission Operator and/or Transmission Service Provider
	Yes. Will require development of procedures, processes and staffing
	Yes
	No

	MOD-001R10.11
	Facility Ratings
	Yes. Will require development of procedures, processes and staffing
	Yes
	No

	MOD-001R10.12
	Counterflows
	Not applicable to NYISO because of FERC approved Tariff 

	MOD-001R10.13
	Values of ATC, ETC, CBM,  TRM, and TTC for all Posted Paths
	
	No
	Yes

	MOD-001R10.14
	Values of TFC and AFC for any Flowgates considered by the Transmission Service Provider when selling Transmission service
	Not applicable to NYISO because of FERC approved Tariff

	MOD-001R10.15
	Source and sink identification and mapping to the model
	Yes. Will require development of procedures, processes and staffing
	Yes
	No

	MOD 004 R3.1.2
	Identification of all applicable reserve margin and resource adequacy requirements, and the entity(ies) responsible for establishing them, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities for each CBM request.
	NYISO will provide CBMID to other reliability functions. This will require the development of procedures, processes and staffing.
	Yes
	No

	MOD 004 R3.1.3
	A summary of the results of resource studies performed to determine the amount of the request, not to include confidential information for each CBM request.
	NYISO will provide CBMID to other reliability functions. This will require the development of procedures, processes and staffing.
	Yes
	No

	MOD 004

R3.1.4
	All resource studies (and supporting information) performed to determine the amount of the request for each CBM request.
	NYISO will provide CBMID to other reliability functions. This will require the development of procedures, processes and staffing.
	Yes
	No

	MOD 004 R7
	Supporting data, including any models used for allocating CBM over each Posted Path or Flowgate.
	NYISO will provide CBMID to other reliability functions. This will require the development of procedures, processes and staffing.
	Yes
	No

	MOD 008 R3
	All underlying assumptions, work papers and load flow base cases used to determine TRM
	NYISO will provide CBMID to other reliability functions. This will require the development of procedures, processes and staffing.
	Yes
	No

	MOD 028 
	All requirements 
	Method not chosen as applicable to NYISO

	MOD 029 R1
	A transmission model for the Transmission Operator Area, contiguous Transmission Operator Area and Transmission Operator Areas linked by a joint operating agreement which includes all generating facilities over 20 MVA, phase shifters, current facility ratings as specified by GOs and TOs, generation and transmission additions and retirements, SPSs and any other modeling requirements that are not as specified in the ATCID. 


	Currently providing this information to reliability functions in New York. NYISO would be willing to provide this information to neighboring reliability functions. This will require the development of procedures, processes and staffing.
	Yes
	No

	MOD 029 R3 and R4
	· The most current value of TTC considering any SOL that limits that path.

· The study report that documents the TTC assumptions
	
	No
	NYISO posts TTCs

	MOD 029 R5
	Calculated values for firm Existing Transmission Commitments (ETC) including its component parts, i.e. firm capacity reserved for native load including firm Network Integration Transmission Service to serve load including native load growth and losses not included in TRM or CBM, Grandfathered Firm Transmission Service and previously executed bundled energy and transmission contracts, firm capacity for confirmed Point-to-Point Transmission Service, capacity reserved for roll-over rights, capacity reserved for other services, contracts or agreements. 
	This will require the development of procedures, processes and staffing.
	Yes
	No

	MOD 029 R6
	Calculated values for non-firm Existing Transmission Commitments (ETC) including its component parts, i.e. non-firm Network Integration Transmission Service to serve load including native load growth and losses not included in TRM or CBM, Grandfathered Non-Firm Transmission Service and previously executed bundled energy and transmission contracts, non-firm capacity for previously confirmed Point-to-Point Transmission Service, capacity reserved for other services, contracts or agreements not included above.  
	This will require the development of procedures, processes and staffing.
	Yes
	No

	MOD 029 R7
	Firm ATC including its component parts, i.e. TTC, firm ETC, CBM, TRM, Postbacks and Counterflows as per the ATCID.
	
	No
	NYISO posts ATC, TTC, CBM and TRM

	MOD 029 R8
	Non-firm ATC including its component parts, i.e. TTC, firm ETC, non-firm ETC, CBM that has been scheduled, TRM that has not been released for sale as non-firm capacity, Postbacks that represent adjustments to non-firm ATC and counterflows that represent adjustments to non-firm ATC as per the ATCID
	
	No
	NYISO posts non-firm ATC, TTC CBM and TRM

	MOD 030
	All requirements 
	Method not chosen as applicable to NYISO


