[image: image1.png]



                                        North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org

Home Page: www.naesb.org


This work paper identifies the data addressed in NERC ATC Standards (MOD - 001, MOD – 004, MOD – 008, MOD – 028, MOD – 029 and MOD – 030) as posted as of October 31, 2007 and categorizes whether or not the data will be available on OASIS. 
	List of ATC Related Information

	Standard Reference 
	Information
	Available on OASIS (yes or no)
	Comments 

	MOD-001R2
	ATC values 
	Yes
	PJM posts ATC values on OASIS.

	MOD-001R3
	The ATCID document 


	Yes
	PJM believes the ATCID can be made available except for market sensitive specifics on generation dispatch, block dispatch, participation factors, unit commitment and some ETC information.

	MOD-001R10.1
	Expected generation and Transmission outages, additions, and retirements
	TBD
	PJM believes that future generation outages and some transmission outages need to remain confidential because of the market sensitive nature of these outages.  Non-market sensitive transmission outages are currently posted on OASIS.  Outage changes that affect ATC are posted.

	MOD-001R10.2
	Peak Load forecasts
	TBD
	PJM currently posts an RTO-wide Load Forecast on the PJM website.  Individual LSE load information needs to remain confidential because of the market sensitive nature of the information. 


	MOD-001R10.3

	Unit commitments and dispatch orders, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run, in one of the following formats chosen by the data provider:

· Dispatch order

· Participation factors

· Block dispatch

	No
	PJM believes that unit commitment, dispatch order, participation factors, and blocked dispatch should remain confidential because of the market sensitive nature of this generation related- information.


	MOD-001R10.4
	Firm and non-firm Network Integration Transmission Service details
	Yes
	Some details are required to be masked for a period of time. NITS does not require a reservation unless its external designated

	MOD-001R10.5
	Confirmed firm and non-firm Transmission reservations
	Yes
	Some details are required to be masked for a period of time.

	MOD-001R10.6
	Grandfathered firm and non-firm contracts
	TBD
	 Some details are required to be masked for a period of time.

	MOD-001R10.7
	Firm roll-over rights
	Yes
	PJM believes that only its own reservations with assumed roll-over rights should be made available, not those of other Transmission Service Providers that PJM may use.

	MOD-001R10.8
	Any firm and non-firm adjustments to reflect parallel path impacts
	No
	PJM believes circulation is an adjustment made real time to reflect the fact that something (topology etc.) is different than what we have modeled therefore circulation has become problematic.  Words before the fact is not going to help and just one more thing to complicate compliance. 

	MOD-001R10.9
	Power flow models and underlying assumptions
	TBD
	PJM load that the Load flow models contains both market sensitive information and CEII  

	MOD-001R10.10
	Contingencies, provided in one or more of the following formats:

     - A list of Elements

     - A list of Flowgates

     - A set of selection criteria that can be applied to the Transmission model used by the Transmission Operator and/or Transmission Service Provider
	TBD
	PJM believes that the list of Flowgates used for ATC calculations can be made available, but in the form in which it is used related to the model. It is not the responsibility of a TSP to provide the data in another format. Exact contingency definition for limiting bulk power elements is CEII protected information

	MOD-001R10.11
	Facility Ratings
	TBD
	PJM believes that although Facility Rating data may be posted for many facilities, if required to provide ratings, the TSP would only be responsible for their own data on those facilities used to define flowgates not all facilities contained in the model or ratings provided by other TP’s.

	MOD-001R10.12
	Counterflows
	TBD
	PJM believes that this information can be made available, however, PJM also understands that this information in some cases could be of a sensitive nature.

	MOD-001R10.13
	Values of ATC, ETC, CBM,  TRM, and TTC for all Posted Paths
	Yes for ATC, CBM, TRM, and TTC

Posting requirements for ETC to be determined
	PJM believes that this ATC, CBM. TRM, TTC and ETC (OASIS reservations) information can be made available with the exception of some ETC data related to generation to load impacts because of the market sensitive nature of this data. Need to limit the volatility of TTC for flowgate paradigm



	MOD-001R10.14
	Values of TFC and AFC for any Flowgates considered by the Transmission Service Provider when selling Transmission service
	TBD
	PJM believes that although TFC and Facility Rating data may be posted for many facilities, if required to provide ratings, the TSP would only be responsible for their own TFC and AFC data on those facilities used as flowgates not all facilities contained in the model or ratings, TFC, or AFC provided by other TSP’s

	MOD-001R10.15
	Source and sink identification and mapping to the model
	TBD
	PJM believes that this data required under the NERC MOD standards can be provided in the same format or similar format in which it is used.

	MOD004 R1
	CBM Implementation Document (CBMID)
	Yes


	PJM believes that this information is required under the NERC MOD Standards. The general description can be made available except for market sensitive specifics regarding generator outage information, information regarding dispatch, and certain load information.  Additionally the critical transmission contingency  information is an CEII issue.

	MOD 004 R3
	LSE Request for CBM set aside
	Yes
	This requirement is to specific regarding a certain industry segment. Individual CBM requests is not the only paradigm used in the industry.  Organized markets have no structure to allow an LSE to submit a request for CBM .

 PJM and other organized markets do not use this type to process and believes that it should not be provided if not used, however if used these requests should be made available as information required under the NERC MOD Standards. If this paradigm is not used the  CBMID should describe the aggregate CBM calculation.

	MOD 004 R3.1.1
	Generation Capability Import Requirement for each CBM request
	Yes
	This requirement is to specific regarding a certain industry segment.  PJM and other organized markets do not base the GCIR on CBM requests.PJM believes that this information is required under the NERC MOD Standards, but the requirement should be such that areas with operating an organized market with centralized planning can describe the GCIR without providing market sensitive or CEII information.  Also this information may not have to be provide in the same place as other ATC related information.

	MOD 004 R3.1.1.1
	The Balancing Authority(ies) from which generation supporting the GCIR will be supplied or the specific Posted Paths to be utilized for import of the generation supporting the GCIR.
	Yes
	PJM does not use this type to process and believes that it should not be provided if not used, however if used these requests should be made available as information required under the NERC MOD Standards. An alternative description of probability methods used to determine this annual value can be provided to meet this requirement.

	MOD 004 R3.1.1.2
	A monthly GCIR value for each month during the current year and following year for each Balancing Authority or Posted Path.
	Yes
	PJM believes that this information is required under the NERC MOD Standards, but may not have to be provide in the same place as other ATC related information. Additionally, PJM does not agree that this must be a monthly value 
The Standard has been modified to recognize that the GCIR can be an annual not monthly calculation.

	MOD 004 R3.1.1.3
	An annual GCIR value for each subsequent year for each Balancing Authority or Posted Path.
	Yes
	PJM believes that this information is required under the NERC MOD Standards, but may not have to be provide in the same place as other ATC related information. 

	MOD 004 R3.1.2
	Identification of all applicable reserve margin and resource adequacy requirements, and the entity(ies) responsible for establishing them, such as municipalities, state commissions, regional transmission organizations, independent system operators, Regional Reliability Organizations, or regional entities for each CBM request.
	TBD
	PJM does not use this type to process and believes that it should not be provided if not used, however if used these requests should be made available as information required under the NERC MOD Standards. 

	MOD 004 R3.1.3
	A summary of the results of resource studies performed to determine the amount of the request, not to include confidential information for each CBM request.
	TBD
	This requirement is to specific regarding a certain industry segment.  PJM and other organized markets do not base the GCIR on CBM requests. 
PJM does not use this type to process and believes that it should not be provided if not used, however if used these requests should be made available as information required under the NERC MOD Standards. 

	MOD 004

R3.1.4
	All resource studies (and supporting information) performed to determine the amount of the request for each CBM request.
	TBD 
	The method for submission of the data underlying the CBM request to the TP has not been determined by NAESB.

The list of resource studies may be made publicly available on OASIS if provided by the Customer, but the studies themselves may not be provided publicly on OASIS.

NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns
PJM does not use this type to process and agrees that the list of resource studies may be made publicly available on OASIS if provided by the Customer, but the studies themselves may not be provided publicly on OASIS. The studies contain market sensitive and CEII information.  

	MOD 004 R4.2
	Monthly CBM set aside by the TP for each posted path or flowgate and that is used in the ATC calculation.


	Yes
	Similar information is generated in response to R6.1 
PJM does not agree that this must be a monthly value 

The Standard has been modified to recognize that the GCIR and the resultant CBM can be an annual not monthly calculation.)

	MOD 004 R4.2/R4.3
	Quantity of CBM requested but not available
	Yes
	Mechanism to be determined

Similar information is generated in response to R6.1
This requirement is to specific regarding a certain industry segment.  PJM and other organized markets do not process CBM requests.  The standard has been modified to allow a composite CBM calculation as part of a reserve sharing agreement.  The sum of CBM requests has no meaning for this segment of the industry.

	MOD 004 R5.4.1
	Annual CBM set aside by the TP for each posted path or flowgate for each of the years specified in the original CBM request and that is used in the ATC calculation 
	Yes
	Similar information is generated in response to R6.1 PJM believes that annual CBM set aside data, if required to provide, the TP would only be responsible for their own data on the flowgates used in the process not all facilities contained in the model or CBM provided by other TP’s. 

	MOD 004 R5.4.2
	Quantity of CBM requested but not available 
	Yes
	Mechanism to be determined

Similar information is generated in response to R6.1 PJM does not use this type to process and agrees that the requests can be made publicly available on OASIS This requirement is to specific regarding a certain industry segment.  PJM and other organized markets do not process CBM requests.  The standard has been modified to allow a composite CBM calculation as part of a reserve sharing agreement.  The sum of CBM requests has no meaning for this segment of the industry.

	MOD 004 R7
	Supporting data, including any models used for allocating CBM over each Posted Path or Flowgate.


	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns
PJM believes that this data is not required only the CBM set aside on each flowgate is required. 

	MOD 004 R8
	LSE’s Interchange Transaction Tag 
	The values for data elements in scheduledata for implemented tags will be available on OASIS
	This requirement is to specific for a certain industry segment.  PJM and other organized markets do not rely on the LSE to submit an interchange transaction tag when utilizing the  transmission preserved via the CBM margin.  PJM does not use this type to process and agrees that the requests can be made publicly available on OASIS.)

	MOD 004 R10
	TSP approval of LSE Transaction Tags 
	The values for data elements in scheduledata for implemented tags will be available on OASIS
	This is consistent with all other tags
PJM does not use this type to process and agrees that the requests can be made publicly available on OASIS. 

	MOD 008 R1
	TRM Implementation Document (TRMID)
	Yes
	PJM believes that this document can be made publicly available.

	MOD 008 R3
	All underlying assumptions, work papers and load flow base cases used to determine TRM
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns
PJM believes that this data is not required only the TRM set aside on each flowgate is required.  Work papers and load flows will conain both market sensitive and CEII information and should not be required

	MOD 008 R5; 5.1; 5.2; 5.3
	TRM Values, updated at least once every 13 months, for same day and real time; day ahead and pre-schedule; and beyond the day ahead and pre-schedule up to 13 months ahead.
	Yes
	PJM believes that this is reasonable

	MOD 028 R1 and R1.1-1.4
	ATCID including information on accounting for interchange schedules, contractual obligations for allocation of TTC and use of contingencies.
	Yes
	PJM believes the ATCID can be made available except for market sensitive specifics on generation dispatch, block dispatch, participation factors, and unit commitment information.

	MOD 028 R2 and 2.1-2.3
	A transmission model including facility ratings specified by GOs and TOs for the TOs RC and immediately adjacent and beyond RCs 
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns
PJM believes that although Facility Rating data may be posted for many facilities, if required to provide ratings, the TSP would only be responsible for their own data on those facilities used to define limits and not all facilities contained in the model or ratings provided by other TP’s.

	MOD 028 R3.1,3.2,4.1 and 4.2
	For four different time periods, specifically on-peak and next day intra peak (R3.1), for off-peak and next day (R3.2), for days 2 through 31, (R4.1) and for months 2 though 13 (R4.2):

· Expected Generation outages, additions and retirements

· Expected Transmission outages, additions and retirements

· Peak load forecast for the on-peak, off-peak, day or month as appropriate

· Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, (within or out of economic dispatch) as they are expected to run.
	· No

· TBD

· TBD

· No
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns (the four sets of data identified should each be evaluated for public release separately)

Forecast load data to be addressed in the business practice standard for posting underlying forecast assumptions for all ATC calculations – Paragraph 413 of Order 890
PJM believes that generation outages and some transmission outages need to remain confidential because of the market sensitive nature of these outages.  Non-market sensitive transmission outages are currently posted on OASIS.  Outage changes that affect ATC are posted.

	MOD 028 R8
	Current value of TTCs provided within seven calendar days of its determination
	Yes
	

	MOD 028 R9
	Calculated values for firm Existing Transmission Commitments (ETC) including its component parts, firm Network Integration Transmission Service, Grandfathered Firm Transmission Service and previously executed bundled energy and transmission contracts, firm capacity for confirmed Point-to-Point Transmission Service, capacity reserved for roll-over rights, capacity reserved for other services such as firm adjustments for impacts on other posted paths
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 028 R10
	Calculated values for non-firm Existing Transmission Commitments (ETC) including its component parts, i.e. non-firm Network Integration Transmission Service, Grandfathered Non-Firm Transmission Service and previously executed bundled energy and transmission contracts, non-firm capacity for previously confirmed Point-to-Point Transmission Service, capacity reserved for other services such as firm adjustments for impacts on other posted paths
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 028 R11
	Firm ATC including its component parts, i.e. TTC, firm ETC, CBM, TRM, Postbacks and Counterflows as per the ATCID.
	Yes for Firm ATC, TTC, CBM, and TRM

TBD for firm ETC, Postbacks, and Counterflows
	For the items marked TBD:  NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns



	MOD 028 R12
	Non-firm ATC including its component parts, i.e. TTC, firm ETC, non-firm ETC, CBM that has been scheduled, TRM that has not been released for sale as non-firm capacity, Postbacks that represent adjustments to non-firm ATC counterflows that represent adjustments to non-firm ATC as per the ATCID
	Yes for Non-firm ATC, TTC, and TRM that has not been released for sale as non-firm capacity

TBD for CBM that has been scheduled, non-firm ETC, firm ETC, Postbacks, and Counterflows
	For the items marked TBD:  NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 029 R1
	A transmission model for the Transmission Operator Area, contiguous Transmission Operator Area and Transmission Operator Areas linked by a joint operating agreement which includes all generating facilities over 20 MVA, phase shifters, current facility ratings as specified by GOs and TOs, generation and transmission additions and retirements, SPSs and any other modeling requirements that are not as specified in the ATCID. 


	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 029 R3 and R4
	· The most current value of TTC considering any SOL that limits that path.

· The study report that documents the TTC assumptions
	· Yes

· TBD


	For the items marked as TBD, NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 029 R5
	Calculated values for firm Existing Transmission Commitments (ETC) including its component parts, i.e. firm capacity reserved for native load including firm Network Integration Transmission Service to serve load including native load growth and losses not included in TRM or CBM, Grandfathered Firm Transmission Service and previously executed bundled energy and transmission contracts, firm capacity for confirmed Point-to-Point Transmission Service, capacity reserved for roll-over rights, capacity reserved for other services, contracts or agreements. 
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 029 R6
	Calculated values for non-firm Existing Transmission Commitments (ETC) including its component parts, i.e. non-firm Network Integration Transmission Service to serve load including native load growth and losses not included in TRM or CBM, Grandfathered Non-Firm Transmission Service and previously executed bundled energy and transmission contracts, non-firm capacity for previously confirmed Point-to-Point Transmission Service, capacity reserved for other services, contracts or agreements not included above.  
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 029 R7
	Firm ATC including its component parts, i.e. TTC, firm ETC, CBM, TRM, Postbacks and Counterflows as per the ATCID.
	Yes for Firm ATC, TTC, CBM, and TRM

TBD for firm ETC, Postbacks, and Counterflows
	For the items marked TBD:  NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns



	MOD 029 R8
	Non-firm ATC including its component parts, i.e. TTC, firm ETC, non-firm ETC, CBM that has been scheduled, TRM that has not been released for sale as non-firm capacity, Postbacks that represent adjustments to non-firm ATC and counterflows that represent adjustments to non-firm ATC as per the ATCID
	Yes for Non-firm ATC, TTC, and TRM that has not been released for sale as non-firm capacity

TBD for CBM that has been scheduled, non-firm ETC, firm ETC, Postbacks, and Counterflows
	For the items marked TBD:  NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

	MOD 030 R2
	Provide all updated TFCs including the mechanism by which the flowgate was identified (criteria R2.1.1, R2.1.2, R2.1.3, R2.1.3.1 and R2.3 as appropriate)
	Yes
	PJM believes that although Facility Rating data may be posted for many facilities, if required to provide ratings, the TSP would only be responsible for their own data on those facilities used to define flowgates not all facilities contained in the model or ratings provided by other TSP’s.

	MOD 030 R3 and R5
	A transmission model containing modeling data and topology for facilities within its RCs area and at least 3 contiguous buses in adjacent RC areas that are directly and synchronously connected and synchronous facilities beyond three buses and containing ratings specified by the TO and GO.
	TBD
	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns
PJM believes that although TFC and Facility Rating data may be posted for many facilities, if required to provide ratings, the TSP would only be responsible for their own modeling data and topology for their own TFC and AFC data on those facilities used as flowgates not all facilities contained in the model or ratings, TFC, or AFC provided by other TSP’s

	MOD 030 R5
	All expected Generation outages, additions and retirements in the TSP’s area, the area of all adjacent TSPs and all TSPs for which there is a coordination agreement.

All expected Transmission outages, additions and retirements in the TSP’s area, the area of all adjacent TSPs and all TSPs for which there is a coordination agreement
	Generation outages: No

Transmission outages:  TBD
	For items marked TBD, NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns
PJM believes that generation outages and some transmission outages need to remain confidential because of the market sensitive nature of these outages.  Non-market sensitive transmission outages are currently posted on OASIS.  Outage changes that affect ATC are posted.

	MOD 030 R6
	R6.1.1. For on-peak intra-day and next-day AFCs

6.1.1.1. Peak Load forecast for the on-peak period calculated, consistent with that used for planning and operations for applicable time periods, including native load and network service load

6.1.1.2. Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.

R6.1.2. For off-peak intra-day and next-day AFCs

6.1.2.1. Peak Load forecast for the off-peak period calculated, consistent with that used for planning and operations for applicable time periods, including Native Load and network service Load

6.1.2.2. Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.

R6.1.3. For days two through 31AFCs

6.1.3.1.1 Peak Load forecast for the day calculated, consistent with that used for planning and operations for applicable time periods, including native load and network service load

6.1.3.2. Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.

R6.1.4. For months two through 13 AFCs

6.1.4.1. Peak Load forecast for the month calculated, consistent with that used for planning and operations for applicable time periods, including native load and network service load

6.1.4.2. Unit commitment and dispatch order, to include all designated network resources and other resources that are committed or have the legal obligation to run, as they are expected to run.

R6.2. The impact of all confirmed firm Point-to-Point Transmission Service expected to be

scheduled, including roll-over rights for Firm Transmission Service contracts, for the Transmission Service Provider’s area not included in the model.

R6.3. The impact of any confirmed firm Point-to-Point Transmission Service expected to be scheduled, filtered to reduce or eliminate duplicate impacts from transactions

using Transmission service from multiple Transmission Service Providers, including roll-over rights for Firm Transmission Service contracts, not included in the model in

excess of 3% (or less if desired)  for all adjacent  Transmission Service Providers and any other

Transmission Service Providers with which coordination agreements have been executed. The impact of any Grandfathered firm contracts expected to be scheduled

for the Transmission Service Provider’s area not included in the model.

R6.4. The impact of any Grandfathered firm contracts expected to be scheduled not included in the model in excess of 3% (or less if desired)  for all adjacent Transmission Service Providers and any other Transmission Service Providers with which coordination agreements have been executed.


	Forecast Load data:  TBD

Unit commitment and dispatch order:  No

R6.2, R6.3,and R6.4:  TBD


	NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

Forecast load data to be addressed in the business practice standard for posting underlying forecast assumptions for all ATC calculations – Paragraph 413 of Order 890
PJM believes that the same load forecast used to set ATC values should be made publicly available on OASIS and currently is for PJM.

	MOD 030 R7
	Firm AFC including its component parts, i.e. TFC, firm ETC, CBM, TRM, Postbacks and Counterflows as per the ATCID.
	Yes for Firm AFC, TFC, CBM, and TRM

TBD for firm ETC, Postbacks, and Counterflows
	For the items marked TBD:  NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns

PJM believes that this ATC, CBM. TRM, TTC, postbacks and ETC (OASIS reservations) information can be made available with the exception of some ETC data related to generation to load impacts because of the market sensitive nature of this data, but the data is to be made available in the same format in which it is used in the ATC process.

	MOD 030 R8
	Non-firm AFC including its component parts, i.e. TFC, firm ETC, non-firm ETC, CBM that has been scheduled, TRM that has not been released for sale as non-firm capacity, Postbacks that represent adjustments to non-firm ATC and counterflows that represent adjustments to non-firm ATC as per the ATCID
	Yes for Non-firm AFC, TFC, and TRM that has not been released for sale as non-firm capacity

TBD for CBM that has been scheduled, firm ETC, non-firm ETC, Postbacks, and Counterflows
	For the items marked TBD:  NERC will review for reliability/security concerns and NAESB will review for commercial sensitivity concerns. 

PJM believes that this AFC, CBM. TRM, TTC and ETC (OASIS reservations) information can be made available with the exception of some Firm ETC data related to generation to load impacts because of the market sensitive nature of this data.

	MOD 030 R9
	Data used to convert AFC and TFC to ATC and TTC including the available or total partial transfer capabilities for all impacted flowgates and the distribution factors for each flowgate relative to a specified path
	Yes
	PJM believes that although TFC and Facility Rating data may be posted for many facilities, if required to provide ratings, the TSP would only be responsible for their own TFC and AFC data on those facilities used as flowgates not all facilities contained in the model or ratings, TFC, or AFC provided by other TSP’s








Availability of ATC Information on OASIS based on the NERC ATC Reliability Standards

Revised January 18, 2007

Page 1 of 22

