List of ATC Information
Comments of the Bonneville Power Administration

2/8/08


1.  Expected generation and transmission outages, additions and retirements. (MOD 1 R10.1, and MOD 30 R.5)  Information on generation outages of significant length should be available upon request to entities with a need to know, for example, the maintenance outages of large nuclear plants that require cyclic maintenance outages of a month or greater.  However, information on specific units out for maintenance at a generating facility for a short period of time (i.e., less than 1 month) should not be available publicly or upon request except for reliability purposes and to users of that specific system for addressing scheduling and other load responsibility issues.
2.  Firm Rollover Rights.  Regarding the column on the List, “Available on OASIS (yes or no)”, if information is to be made available on OASIS, it will be helpful to describe the information provided.  For example, with regard to firm rollover rights, describe whether ROR information added to ETC is based on the executed contract or based on the pro forma section 2.2 exercise of right of first refusal competition outcome and whether the information an aggregated amount for all RORs or by individual AREFs, etc.
3. Values for ATC, TTC, CBM, TRM, ETC for Posted Paths. (MOD 29 R.7, MOD 29 R.5, and MOD 29 R.6)  The specific variables that are added to the ETC for modeling should be made available to the stakeholder's and/or user's of the transmission system in order to allow verification and transparency for how ATC is calculated, and to verify the specifics of the less dynamic ETC variables.  This is essential for paths between BA’s used for transfer customers. For ATC Paths, breakouts for ETC should be provided so users can tell whether specific power delivery requirements are properly represented. Transparency of ETC allows the users of the system to better understand the issues of transfer, scheduling and load requirements and empowers the users to mitigate transfer issues as necessary.

4.  With regard to posting TFC and AFC values for flowgates:

· Contingencies should not be posted publicly
· ETC should not be posted with every change because of its dynamic nature

· Post AFC/TFC values under ATC Information link 

