[image: image1.png]0

I

0




North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org


Home Page: www.naesb.org

TO:
NAESB Wholesale Electric Quadrant Business Practices Subcommittee (BPS), Electronic Scheduling Subcommittee (ESS), Information Technology Subcommittee (ITS), and Interested Industry Participants

FROM: 
Jonathan Booe, Project/Meeting Manager
RE:
Final Minutes from the NAESB Joint BPS/ESS/ITS Meeting in Houston, Texas – July 23-24, 2007
DATE:

August 6, 2007


Wholesale Electric Quadrant

Joint ESS/ITS and BPS Meeting; Houston Texas
July 23, 2007 1:00 PM to 5:00 PM Central and
July 24, 2007 9:00 AM to 12:00 PM Central

FINAL MINUTES

1. Welcome
Mr. Wood opened the meeting and welcomed the meeting participants.  Mr. Booe read the antitrust guidelines.  The subcommittee reviewed the agenda and it was adopted by consensus.
2. Review drafting language submitted by Mr. Wood at the July 6, 2007 meeting that complements NERC MOD004 (CBM) and MOD008 (TRM) 
The Subcommittee reviewed the work paper submitted by Mr. Wood that includes proposed business practices/revisions to existing business practices to complement the NERC reliability standards MOD004 (CBM) and MOD008 (TRM):  Changes to CBM and TRM Submitted by JT Wood, Southern Company.  Mr. Wood explained that the work paper reflects the language on pages 1043-1060 from Order 890 verbatim.  He stated that in his opinion incorporating the language directly from Order 890 is the proper way to meet the requirements of the Order.  Mr. Saini discussed postponing the drafting of the definitions for CBM and TRM, until the definitions developed by NERC have become finalized.  
The subcommittee undertook to review the Comments on Changes to CBM and TRM Work paper, Submitted by EPSA, and asked Mr. Gildea to present his proposed modifications.  Mr. Gildea stated that he and Mr. Bennett collaborated to draft the comments, and that the definition for TRM is too vague.  He stated that the scope needs to be understood, and that the use of the term “reasonable” in the definition makes it too broad.  Mr. Wood noted that the scope of these terms is currently being debated at NERC.  Mr. Gildea stated that it was his impression that the NERC team had deferred the issue to NAESB.   Mr. Saini and Mr. Wood explained that the definitions in the business practice standard are more general, while the definitions under development by NERC are to be more specific.  Mr. Wood stated that NERC is the proper forum to discuss the calculations and methodologies of determining TRM, and that NAESB is responsible for development of business practice standards for posting TRM.  Mr. Smith concurred with Mr. Wood’s explanation.  Mr. Gildea stated that he believes the definition and the scope of the definition is a commercial issue and therefore under the purview of NAESB.  Mr. Sorenson asked the group if there is something in the current NERC definition of TRM that needs to be better stated.  Mr. Gildea asked how the group intended to make TRM transparent.  Ms. Rehman responded that NAESB will satisfy transparency by defining a place to post the TRM.  Mr. Gildea asked the group which document contained the posting information.  The group directed Mr. Gildea to Draft Language for NAESB business practices to complement MOD001, MOD004, MOD008, and MOD028-30 - 7/6/07.  Mr. Gildea asked the purpose of the work of the Subcommittee if NERC is supposedly handling the substantive issues.  Mr. Pritchard answered that NAESB provides the place and method for posting, while NERC provides the calculations and methodologies for what is posted.  The group discussed the Draft Language for NAESB business practices to complement MOD001, MOD004, MOD008, and MOD028-30.
  The group decided to present NERC with the comments from EPSA at the next joint meeting so that both groups could work to determine which aspects of the comments should be addressed by the NAESB ESS/ITS and BPS and which aspects of the comments should be addressed by the NERC ATC Drafting Team.
3. Draft Modifications to WEQ 001 to address Order 890
Next, the subcommittee undertook to review modifications to the WEQ 001 Mr. Wood made based upon Order 890:  Draft Modifications to WEQ to Address Order 890.  Mr. Wood explained that he incorporated the direct language from FERC Order 890 into the standard.  The group changed WEQ 001-1.6(b) from Posting Transmission Capability to Posting Transfer Capability.  The group discussed removing the posting requirement for Constrained Paths when the TTC estimate for the Path changes by more than 10 percent.  The group could not come to a consensus, and decided to leave a note about the proposed change in the section.  The group also removed references to the Federal Power Act and Commission to ensure applicability to those outside of the Commission’s jurisdiction, and made a few other minor corrections.  Ms. Rehman made a motion to post the document for informal comment until the August 15, 2007 meeting.  The motion passed by consensus.  The Request for Informal Comment can be found at: http://naesb.org/pdf2/weq_atc_afc073007_reqcom_corrected.doc and the revised work paper is posted as an attachment to the minutes at:  http://www.naesb.org/pdf2/weq_atc_afc072307a1.doc
4. Draft List of ATC information that will not be made publicly available

Next, the group created a table which will list all of the ATC information that will not be made publicly available on the OASIS system.  The subcommittee reviewed the requirements of NERC MOD001 (ATC) and MOD004 (CBM) and discussed whether the information should be considered commercially sensitive and made available.  The link to the portion of what was completed during this meeting if provided here:  List of ATC Information not to be Made Publicly Available.  Mr. Saini undertook to complete the list before the group’s next meeting in Colorado Springs, Colorado on August 16-17, 2007. 
5. Future Schedule of Meetings
August 16-17, 2007:  The NAESB ESS/ITS and BPS will meet jointly in Colorado Springs Colorado.  The following represents the agenda items NAESB wishes to include in the July 11, 2007 joint meeting:
· Draft responses to the NAESB assigned EPSA comments on the changes to CBM and TRM

· Review comments submitted in response to the Request for Informal Comment on the draft modifications to WEQ 001 to address Order 890

· Continue drafting the list of ATC information that will not be publicly available

· Discuss status with regard to the Order 890 Work Plan  

6. Adjournment

The meeting adjourned at 11:55 AM Central.

7. Attendance

	Name:
	Organization:
	July 24
	July 25

	Jonathan Booe
	NAESB
	In Person
	In Person

	Jim Cyrulewski
	JDRJC Associates 
	Phone
	Phone

	Marilyn Franz
	SPPC/NEVP
	Phone
	Phone

	Michael Gildea
	Constellation Energy
	Phone
	Phone

	Angela Gonzales
	NAESB
	In Person
	In Person

	Laura Kennedy
	NAESB
	Phone
	Phone

	Ron Mucci 
	Williams
	Phone
	

	Alan Pritchard
	Duke Energy
	In Person
	In Person

	Barbara Rehman
	BPA
	Phone
	Phone

	Narinder Saini
	Entergy
	In Person
	In Person

	Jerry Smith
	Arizona Public Service
	In Person
	In Person

	Paul Sorenson
	OATI
	In Person
	In Person

	Dana Stone
	TVA
	In Person
	In Person

	J.T. Wood
	Southern Company
	In Person
	In Person

	Kathy York
	TVA
	In Person
	In Person


�Mr. Gildea submitted the following comments in relation to the discussion and to relay that he must sign off from the conference call:  “I disagree that we should be working on this document given the limited scope you portrayed to me earlier in the call.  I need to sign off from this call. But want to let the minutes reflect Constellation Energy does not support this language in any fashion. 


Michael Gildea”





Joint NAESB WEQ BPS/ESS/ITS Meeting Final Minutes – July 23-24, 2007

Page 1

