	Standard Reference 
	Information
	Publicly Available (yes or no )
	Comments 

	MOD-001R4.
	
	yes
	Shall be addressed in NAESB standard

	MOD-001R4.1.
	Information describing how the selected methodology (or methodologies) has been implemented, in such detail that, given the same information used by the Transmission Service Provider, the results of the ATC or AFC calculations may be validated.


	yes
	

	MOD-001R4.2.
	A description of the manner in which the Transmission Service Provider will account for counter flows, for both its own facilities and those of adjacent Transmission Service Providers.
	yes
	

	MOD-001R4.3.
	The identity of the Planning Coordinator and Reliability Coordinator associated with each Facility under the Transmission Service Provider’s tariff.
	yes
	

	MOD-001R4.4.
	The identity of the Transmission Service Providers to which it provides data for use in calculating transfer capability.
	yes
	

	MOD-001R4.5.
	The identity of the Transmission Service Providers from which it receives data for use in calculating transfer capability
	yes
	

	MOD-001R7.1.
	
	yes
	Shall be addressed in NAESB standard

	MOD-001R7.2.
	
	no
	

	MOD-001R7.3.
	
	no
	

	MOD-001R7.4.
	
	yes
	In existing NAESB standard

	MOD-001R7.5.
	
	no
	

	MOD-001R7.6.
	
	no
	

	MOD-001R7.7.
	
	no
	

	MOD-001R7.8.
	
	no
	

	MOD-001R7.9.
	
	no ?
	

	MOD-001R7.10.
	
	no
	

	MOD-001R7.11.
	
	no
	

	MOD-001R7.12.
	
	no
	

	MOD-001R9.
	
	no
	

	MOD-001R10.
	
	no
	

	MOD-004R1.
	
	yes
	Shall be addressed in NAESB standard

	MOD-004R1.1.
	
	yes
	

	MOD-004R1.2.
	
	yes
	

	MOD-004R1.3.
	
	yes
	

	MOD-004R1.4.
	
	yes
	

	MOD-004R2.
	
	upon request 
	Shall be addressed in NAESB standard

	MOD-004R3.1.
	
	yes
	MOD-030R21 Shall be addressed in NAESB standard

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


