
INFORMAL COMMENTS
Quadrant:
Wholesale Electric Quadrant

Topic: 
Proposed Changes WEQ 002 Section 4.5.3 Information Under ATC Information Link

Submitted By:
Ed Skiba, Midwest ISO (on behalf of Renuka Chatterjee, Allen McKee, and Neil Shah)
Date:
September 10, 2007

Comments on WEQ 002-4.5.3 INFORMATION UNDER ATC INFORMATION LINK:

The Midwest ISO is concerned that the proposed language of WEQ 002-4.5.3.2 will be difficult to monitor and measure, with the result that it will be cost-prohibitive for affected entities to demonstrate compliance.  Under the current language, Transmission Providers must respond to questions on ATC calculations or similarly derived values within one week, without regard to whatever ad hoc medium might be used to deliver the question.  Such questions can apparently be submitted by anyone to any person associated with the Transmission Provider.  This requirement, if adopted, may potentially place an enormous burden on the Transmission Provider to monitor every telephone conversation, email, or correspondence of every employee, or risk violating this requirement.
Midwest ISO is also concerned that requiring a reply (or an estimate of needed time to develop a reply) within one week ignores the fact that Transmission Provider employees may have other responsibilities, priorities, and emergencies that preclude providing an answer with a week’s time.  Accordingly, Midwest ISO recommends that the time limit for response to these questions be extended to 10 business days.
Midwest ISO recommends that the NAESB WEQ subcommittee replace the language of proposed WEQ 002-4.5.3.2 with the following modification:

WEQ 002-4.5.3.2 The Transmission Providers shall respond to written questions from registered OASIS users related to the applicable Available Transfer Capability methodologies, derivation of values, underlying assumptions, data inputs, etc., within 10 business days and shall provide an answer or shall provide an estimate of the amount of time needed to fully respond.  Such questions must be submitted to a representative or email address designated by the Transmission Provider.   

